# Submission ID #: 71209

# Scriptwriter Name: Pallavi Sharma

# Project Page Link: https://review.jove.com/account/file-uploader?src=21718793

Title: Real-Time Label-Free Imaging and Quantitative Analysis of Macrophage Morphodynamics Using Optical Diffraction Tomography

# Authors and Affiliations:

Chen Sun1, Jie-jie Zhu2, Yan-qing Yang2, Si-yu Liu1, Ke-bin Shi2, Cheng Peng1

1Sichuan Provincial Key Laboratory of Innovation and Efficient Utilization of Chinese Medicine Germplasm Resources, Chengdu University of Traditional Chinese Medicine

2Yangtze Delta Institute of Optoelectronics, Peking University

# Corresponding Authors:

Ke-bin Shi 	(kebinshi@pku.edu.cn)

Cheng Peng 	(pengchengchengdu@126.com)

# Email Addresses for All Authors:

Chen Sun 	(sunchencd@126.com)

Jie-jie Zhu	(zj291027@163.com)

Yan-qing Yang	(yangyanqing@pellucid-optics.cn)

Si-yu Liu	(1317295721@qq.com)

Ke-bin Shi 	(kebinshi@pku.edu.cn)

Cheng Peng 	(pengchengchengdu@126.com)

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  NO

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  YES

3. Filming location: Will the filming need to take place in multiple locations?   NO

4. Testimonials (optional): Would you be open to filming two short testimonial statements live during your JoVE shoot? These will not appear in your JoVE video but may be used in JoVE’s promotional materials. YES

Current Protocol Length

Number of Steps:  11

Number of Shots:  35

# Interviews

Videographer: Obtain headshots for all authors available at the filming location.

INTRODUCTION:

REQUIRED: Summarize your research focus and the main questions it aims to answer.

  - Chen Sun: We developed a label-free ODT-based workflow to monitor dynamic macrophage behavior at the single-cell level.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Describe the research gap or limitation in existing methods and how this protocol addresses them.

  - Chen Sun: Traditional endpoint assays cannot continuously track live-cell dynamics, while ODT enables long-term label-free observation of living cells.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

CONCLUSION:

Describe the most important consideration or challenge when performing this protocol.

  - Ke-bin Shi: The most important consideration while performing this protocol is maintaining stable focus and appropriate cell density for reliable long-term single-cell tracking.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Are there any additional methods or analyses that can be performed following this procedure?

  - Ke-bin Shi: This workflow can be combined with multimodal imaging, 3D reconstruction, and additional quantitative morphological analyses.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

How can future studies build on this work? Describe the questions or research directions that can be investigated next.

  - Ke-bin Shi: Future studies may further improve automated analysis in complex cellular environments and expand this workflow to other live-cell systems.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Videographer: Obtain headshots for all authors available at the filming location.

# Testimonial Questions (OPTIONAL):

# Videographer: Please capture all testimonial shots in a wide-angle format with sufficient headspace, as the final videos will be rendered in a 1:1 aspect ratio. Testimonial statements will be presented live by the authors, sharing their spontaneous perspectives.

What problem in your field of research does your JoVE article address?

  - Ke-bin Shi, Professor, Peking University,: (authors will present their testimonial statements live)

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

What value do you expect this video article to have for other researchers working in your field?

  - Ke-bin Shi, Professor, Peking University,: (authors will present their testimonial statements live)

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Videographer: Please film the testimonials in both English and Chinese

# Protocol

Videographer: Please always record an audio slate while filming each shot mentioned in the shotlist.

- Optical Diffraction Tomography (ODT) Acquisition

Demonstrators: Chen Sun and Jie-jie Zhu

  - To begin, take cultured RAW264.7 (Raw-Two-Sixty-Four-Point-Seven) macrophage cells with 80 to 90 percent confluency and treat them with lipopolysaccharide and Baicalin [1]. Then, turn on the optical diffraction tomography imaging system [2] and start the environmental control module [3].

    - WIDE: Talent at the working area, adding LPS and BAI+LPS to the culture dish. Videographer: Please obtain CU shot as well for this shot.

    - Talent turning on the optical diffraction tomography imaging system.

    - Talent starting the environmental control module. NOTE: It has been filmed by the photographer

  - Set the stage temperature to 37 degrees Celsius [1] and the carbon dioxide concentration to 5 percent [2]. Then, allow the system to equilibrate for at least 20 minutes [3].

    - Talent setting the stage temperature to 37 degrees Celsius.

    - Talent setting the carbon dioxide concentration to 5 percent.

    - Shot of the system equilibrating.

  - After opening the acquisition software, place the culture dish on the imaging stage [1]. Use a 60X (Sixty-X) objective with a numerical aperture of 1.42 to locate cells [2] and select isolated cells with clear boundaries for imaging [3]. NOTE: The VO is edited for the deleted shot

    - SCREEN: Show the acquisition software opening.  NOTE: SC quality not good

    - Talent placing the culture dish on the imaging stage.

    - SCREEN: 7.12_JOVE_71209_2.3.3.mp4

    - SCREEN: 7.12_JOVE_71209_2.3.4.mp4

  - Set the imaging interval to 8 minutes and the total number of frames to 181 [1].

    - SCREEN: 7.12_JOVE_71209_2.4.1.mp4

  - Enable the autofocus function to maintain focus during time-lapse imaging and start time-lapse acquisition [1]. Monitor system stability during acquisition [2].

    - SCREEN: 7.12_JOVE_71209_2.5.1.mp4

    - Talent monitoring system stability during acquisition.

- Quantitative Analysis of Macrophage Morphodynamics

  - After image acquisition, the software automatically performs image reconstruction using the built-in standard algorithm. Wait until the progress bar is complete [1].

    - SCREEN: 7.12_JOVE_71209_3.1.1+3.1.2.mp4

  - In the analysis software, import the raw dataset by selecting Import Raw Data, browsing to the target folder, and choosing the file [1].

    - SCREEN: 7.12_JOVE_71209_3.2.1.mp4

  - Then, click “Cell“ to perform automatic segmentation using consistent settings across datasets [1].

    - SCREEN: 7.12_JOVE_71209_3.3.1.mp4

  - Select cells that do not overlap with neighboring cells [1], are not in contact with image boundaries [2], and can be continuously tracked throughout the time series [3].

    - SCREEN: 7.12_JOVE_71209_3.4.1.mp4

    - SCREEN: 7.12_JOVE_71209_3.4.2.mp4

    - SCREEN: 7.12_JOVE_71209_3.4.3.mp4: 00:02-end

  - Select a fixed number of cells per field of view for consistent analysis across datasets [1]. Go to the Long-term Tracking module [2].

    - SCREEN: 7.12_JOVE_71209_3.5.1.mp4: 00:03-end

    - SCREEN: 7.12_JOVE_71209_3.5.2.mp4

  - Then, enter the start and end frame [2]. Click Track to initiate tracking based on the consistency of cell positions between consecutive frames [1].

    - SCREEN: 7.12_JOVE_71209_3.6.1.mp4

    - SCREEN: 7.12_JOVE_71209_3.6.2.mp4

  - Click on Export, then select Chart System followed by Track Chart. Choose Cell as the segmentation category and specify the tracking frame range [1].

    - SCREEN: 7.12_JOVE_71209_3.7.1.mp4

  - Select the output parameters, such as Area and Perimeter. Click Export Image or Excel and save the file [1].

    - SCREEN: 7.12_JOVE_71209_3.9.1.mp4: 00:15-00:35

  - Calculate the average migration speed in micrometers per hour for each cell based on the centroid displacement across the entire time series [1].

    - SCREEN: 7.12_JOVE_71209_3.10.1 00:05-00:24

# Results

- Results

  - Time-lapse optical diffraction tomography imaging enabled continuous recording of single-cell morphological changes over time [1].

    - LAB MEDIA: Figure 2.

  - At early timepoints, cells in both lipopolysaccharide and lipopolysaccharide with Baicalin groups exhibited relatively round morphology with clear boundaries and minimal variation [1].

    - LAB MEDIA: Figure 2. Video editor: Highlight the panels labeled 6 h in both rows, showing round cells with smooth edges

  - After 8 hours, cells showed increased morphological diversity, including spreading, irregular edges, and protrusions [1]. At later stages, these changes intensified, with greater contour complexity and heterogeneity.[2].

    - LAB MEDIA: Figure 2. Video editor: Highlight the panels labeled 12 h and 18 h showing cells with uneven shapes and extensions at the same location as shown in the 24 h image.

    - LAB MEDIA: Figure 2. Video editor: Highlight the 24 h panels and the inset showing irregular and complex cell shapes

  - Representative single-cell tracking trajectories were visualized over time for both treatment groups [1].

    - LAB MEDIA: Figure 3A.

  - Projected cell area remained relatively stable during the early phase in both groups, fluctuating around 140 to 170 square micrometers [1]. After approximately 12 hours, a subset of cells exhibited increased projected area, with more pronounced changes during 12–24 hours [1].

    - LAB MEDIA: Figure 3B. Video editor: Highlight the area plot under LPS and BAI+LPS and emphasize the lines cluster around 140–170 (y axis) between 0 and 8

    - LAB MEDIA: Figure 3B. Video editor: Highlight the area plot under LPS and BAI+LPS and emphasize the lines between 12-24 h

  - Under lipopolysaccharide treatment, some cells showed rapid expansion in projected area exceeding 400 to 500 square micrometers [1]. However, under lipopolysaccharide treatment with Baicalin, most cells maintained a projected area of 250 to 300 square micrometers during the later stage [2].

    - LAB MEDIA: Figure 3B. Video editor: Highlight the lines in the LPS area plot between 400-500 (y-axis) and between 12-24 h

    - LAB MEDIA: Figure 3B. Video editor: Highlight the lines in the BAI+LPS area plot, between 250–300 (y-axis) at 12-24 h

  - Cell perimeter remained around 40 to 50 micrometers during the early phase in both groups [1].

    - LAB MEDIA: Figure 3B. Video editor: Highlight perimeter plot and emphasize the lines in the early time region (0–12 h) where values cluster near 40–50

  - In the mid-to-late phase, some cells treated with lipopolysaccharide exceeded 100 micrometers in perimeter [1], while most cells treated with lipopolysaccharide and Baicalin remained around 70 micrometers at later stages [2].

    - LAB MEDIA: Figure 3B. Video editor: Highlight the lines staying above 100 in the LPS perimeter plot between 12-24 h

    - LAB MEDIA: Figure 3B. Video editor: Highlight the lines between 40-80 (y-axis) in the BAI+LPS perimeter at 12-24 h

- RAW264.7
Pronunciation link: No confirmed link found
IPA: No verified IPA available
Phonetic Spelling: raw two·sixty·four point seven

- Macrophage
Pronunciation link: https://www.merriam-webster.com/dictionary/macrophage
IPA: /ˈmæk.rəˌfeɪdʒ/
Phonetic Spelling: mak·ruh·fayj

- Confluency
Pronunciation link: https://www.merriam-webster.com/dictionary/confluence
IPA: /kənˈfluː.ən.si/
Phonetic Spelling: kun·floo·uhn·see

- Lipopolysaccharide
Pronunciation link: https://www.merriam-webster.com/medical/lipopolysaccharide
IPA: /ˌlɪp.oʊˌpɑː.liˈsæk.ə.raɪd/
Phonetic Spelling: lip·oh·pol·ee·sak·uh·ryde

- Baicalin
Pronunciation link: https://www.howtopronounce.com/baicalin
IPA: /ˈbaɪ.kə.lɪn/
Phonetic Spelling: bye·kuh·lin

- Diffraction
Pronunciation link: https://www.merriam-webster.com/dictionary/diffraction
IPA: /dɪˈfræk.ʃən/
Phonetic Spelling: dih·frak·shuhn

- Tomography
Pronunciation link: https://www.merriam-webster.com/dictionary/tomography
IPA: /təˈmɑː.ɡrə.fi/
Phonetic Spelling: tuh·mog·ruh·fee

- Equilibrate
Pronunciation link: https://www.merriam-webster.com/dictionary/equilibrate
IPA: /ˌiː.kwəˈlaɪ.breɪt/
Phonetic Spelling: ee·kwuh·ly·brayt

- Numerical aperture
Pronunciation link: https://www.merriam-webster.com/dictionary/aperture
IPA: /nuːˈmer.ɪ.kəl ˈæp.ɚ.tʃɚ/
Phonetic Spelling: noo·mer·ih·kuhl ap·er·cher

- Autofocus
Pronunciation link: https://www.merriam-webster.com/dictionary/autofocus
IPA: /ˈɔː.toʊˌfoʊ.kəs/
Phonetic Spelling: aw·toh·foh·kuhs

- Segmentation
Pronunciation link: https://www.merriam-webster.com/dictionary/segmentation
IPA: /ˌseɡ.mənˈteɪ.ʃən/
Phonetic Spelling: seg·muhn·tay·shuhn

- Morphodynamics
Pronunciation link: https://www.howtopronounce.com/morphodynamics
IPA: /ˌmɔːr.foʊ.daɪˈnæm.ɪks/
Phonetic Spelling: mor·foh·dye·nam·iks

- Reconstruction
Pronunciation link: https://www.merriam-webster.com/dictionary/reconstruction
IPA: /ˌriː.kənˈstrʌk.ʃən/
Phonetic Spelling: ree·kun·struk·shuhn

- Trajectories
Pronunciation link: https://www.merriam-webster.com/dictionary/trajectory
IPA: /trəˈdʒek.tɚ.iz/
Phonetic Spelling: truh·jek·tuh·reez

- Centroid
Pronunciation link: https://www.merriam-webster.com/dictionary/centroid
IPA: /ˈsen.trɔɪd/
Phonetic Spelling: sen·troyd

- Displacement
Pronunciation link: https://www.merriam-webster.com/dictionary/displacement
IPA: /dɪsˈpleɪs.mənt/
Phonetic Spelling: dis·plays·muhnt

- Morphological
Pronunciation link: https://www.merriam-webster.com/dictionary/morphological
IPA: /ˌmɔːr.fəˈlɑː.dʒɪ.kəl/
Phonetic Spelling: mor·fuh·loj·i·kuhl

- Protrusions
Pronunciation link: https://www.merriam-webster.com/dictionary/protrusion
IPA: /proʊˈtruː.ʒən/
Phonetic Spelling: proh·troo·zhuhn

- Heterogeneity
Pronunciation link: https://www.merriam-webster.com/dictionary/heterogeneity
IPA: /ˌhet̬.ɚ.oʊ.dʒəˈniː.ə.t̬i/
Phonetic Spelling: het·uh·roh·juh·nee·uh·tee

- Micrometers
Pronunciation link: https://www.merriam-webster.com/dictionary/micrometer
IPA: /maɪˈkrɑː.mə.t̬ɚ/
Phonetic Spelling: my·krah·muh·ter