# Submission ID #: 71209

# Scriptwriter Name: Pallavi Sharma

# Project Page Link: https://review.jove.com/account/file-uploader?src=21718793

Title: Real-Time Label-Free Imaging and Quantitative Analysis of Macrophage Morphodynamics Using Optical Diffraction Tomography

# Authors and Affiliations:

Chen Sun1, Jie-jie Zhu2, Yan-qing Yang2, Si-yu Liu1, Ke-bin Shi2#, Cheng Peng1#

1Sichuan Provincial Key Laboratory of Innovation and Efficient Utilization of Chinese Medicine Germplasm Resources, Chengdu University of Traditional Chinese Medicine

2Yangtze River Delta Institute of Optoelectronic Science, Peking University

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

Ke-bin Shi 	(kebinshi@pku.edu.cn)

Cheng Peng 	(pengchengchengdu@126.com)

# Email Addresses for All Authors:

Chen Sun 	(sunchencd@126.com)

Jie-jie Zhu	(zj291027@163.com)

Yan-qing Yang	(yangyanqing@pellucid-optics.cn)

Si-yu Liu	(1317295721@qq.com)

Ke-bin Shi 	(kebinshi@pku.edu.cn)

Cheng Peng 	(pengchengchengdu@126.com)

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

4. Testimonials (optional): Would you be open to filming two short testimonial statements live during your JoVE shoot? These will not appear in your JoVE video but may be used in JoVE’s promotional materials. Enter Yes or No.

If Yes, please provide the full name and position (e.g., Director of [Institute Name], Senior Researcher [University Name], etc.) of the author willing to participate.

Enter full author name, Enter author position

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  12

Number of Shots:  30

# Interviews

Videographer: Obtain headshots for all authors available at the filming location.

Answers to these questions will become interview statements that you will deliver on camera.

- Introduction: Answer the 1st REQUIRED prompt and 1 additional question; Conclusion: Answer any 3 questions. No more than 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- Speak naturally and avoid reading the lines.

- Limit the length of each statement to 20 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

Authors: Please note that the questions will not appear on screen. Please answer in stand-alone full sentence with sufficient context

INTRODUCTION:

REQUIRED: Summarize your research focus and the main questions it aims to answer.

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the research gap or limitation in existing methods and how this protocol addresses them.

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the research contexts or systems in which this protocol can be applied.

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

CONCLUSION:

What does this protocol allow researchers to study or measure?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the most important consideration or challenge when performing this protocol.

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Are there any additional methods or analyses that can be performed following this procedure?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

How can future studies build on this work? Describe the questions or research directions that can be investigated next.

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Videographer: Obtain headshots for all authors available at the filming location.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) with purple font are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that the videographer will capture.

Videographer: Please always record an audio slate while filming each shot mentioned in the shotlist.

- Optical Diffraction Tomography Acquisition

Demonstrator: Click here to enter name of demonstrator(s)

If the same person is the demonstrator throughout, mention them once here and remove the "Demonstrator" field from the other sections; if the demonstrator changes, retain the field in the respective sections.

  - To begin, take cultured RAW264.7 (Raw-Two-Sixty-Four-Point-Seven) macrophage cells with 80 to 90 percent confluency and treat them with LPS and Baicalin [1]. Then, turn on the optical diffraction tomography imaging system [1] and start the environmental control module [2].

    - WIDE: Talent at the working area, adding LPS and BAI+LPS to the culture dish. Videographer: Please obtain CU shot as well for this shot.

    - Talent turning on the optical diffraction tomography imaging system.

    - SCREEN: Talent starting the environmental control module.

Authors: Please create screen capture videos of the shots labeled as SCREEN, create a screenshot summary, and upload the files to your project page as soon as possible:https://review.jove.com/account/file-uploader?src=21718793

  - Set the stage temperature to 37 degrees Celsius [1] and the carbon dioxide concentration to 5 percent [2]. Then, allow the system to equilibrate for at least 20 minutes [3].

    - Talent setting the stage temperature to 37 degrees Celsius.

    - Talent setting the carbon dioxide concentration to 5 percent.

    - Shot of the system equilibrating.

  - Next, place the culture dish on the imaging stage [1]. Use a 60 times objective with a numerical aperture of 1.42 to locate cells [2] and select isolated cells with clear boundaries for imaging [3].

    - Talent placing the culture dish on the imaging stage.

    - SCREEN: Talent locating cells with the 60 times objective.

    - SCREEN: Talent selecting isolated cells with clear boundaries.

  - Open the acquisition software [1]. Set the imaging interval to 8 minutes and the total number of frames to 180 [2].

    - SCREEN: Show the acquisition software opening.

    - SCREEN: Show the imaging interval set to 8 minutes and show the total number of frames set to 180.

  - Enable the autofocus function to maintain focus during time-lapse imaging and start time-lapse acquisition [1]. Monitor system stability during acquisition [2].

    - SCREEN: Show the autofocus function being enabled. Show time-lapse acquisition starting.

    - Talent monitoring system stability during acquisition.

- Image Reconstruction and Quantitative Analysis

  - Open the reconstruction software [1]. Click Data Processing and select Import Raw Data [2]. Browse to the folder containing the raw data [3], select the target file and import the dataset [4].

    - SCREEN: Show Intellyseg version 2.1.0 launching on the computer.

    - SCREEN: Show the cursor clicking Data Processing and selecting Import Raw Data.

    - SCREEN: Show the file browser navigating to the folder containing the raw data.

    - SCREEN: Show the target file being selected and the dataset being imported.

  - Wait until the progress bar is complete [1] and click Process to perform image reconstruction using the standard algorithm implemented in the software [2].

    - SCREEN: Show the progress bar reaching completion.

    - SCREEN: Show the cursor clicking Process to start reconstruction.

  - Next, open the analysis software [1]. Click Import Data and load the reconstructed dataset [2].

    - SCREEN: Show the analysis software launching.

    - SCREEN: Show the cursor clicking Import Data. Show the reconstructed dataset being loaded.

  - Then, open the Cell Analysis module [1]. Click Cell to perform automatic segmentation using consistent settings across datasets [2].

    - SCREEN: Show the Cell Analysis module opening.

    - SCREEN: Show the cursor clicking Cell to initiate automatic segmentation.

  - Select cells that do not overlap with neighboring cells [1], are not in contact with image boundaries [2], and are continuously trackable throughout the time series [3].

    - SCREEN: Show selection of a cell with no overlap with neighboring cells.

    - SCREEN: Show selection of a cell not touching the image boundaries.

    - SCREEN: Show selection of a cell that remains continuously trackable across frames.

  - Select a fixed number of cells per field of view for consistent analysis across datasets [1]. Open the Long-term Tracking module [1].

    - SCREEN: Show exactly 8 cells being selected within a single field of view.

    - SCREEN: Show the Long-term Tracking module opening.

  - Then, enter the start and end frame [2]. Click Track to initiate tracking based on cell position consistency between consecutive frames [1].

    - SCREEN: Show the start frame and end frame value being entered.

    - SCREEN: Show the cursor clicking Track to begin tracking.

# Results

Please review this section to make sure that it accurately reflects your findings.

- This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 202.

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

  - Time-lapse optical diffraction tomography imaging enabled continuous recording of single-cell morphological changes over time [1].

    - LAB MEDIA: Figure 2.

  - At early time points, cells in both lipopolysaccharide and Baicalin plus lipopolysaccharide groups exhibited relatively round morphology with clear boundaries and minimal variation [1].

    - LAB MEDIA: Figure 2. Video editor: Highlight the panels labeled 0 h and 6 h in both rows showing round cells with smooth edges

  - After 8 hours, cells showed increased morphological diversity, including spreading, irregular edges, and protrusions [1]. At later stages, these changes intensified, with greater contour complexity and heterogeneity.[2].

    - LAB MEDIA: Figure 2. Video editor: Highlight the panels labeled 12 h and 18 h showing cells with uneven shapes and extensions

    - LAB MEDIA: Figure 2. Video editor: Highlight the 24 h panels and zoom into the inset showing irregular and complex cell shapes

  - Representative single-cell tracking trajectories were visualized over time for both treatment groups [1].

    - LAB MEDIA: Figure 3A.

  - Projected cell area remained relatively stable during the early phase in both groups, fluctuating around 140 to 170 square micrometers [1]. After approximately 12 hours, a subset of cells exhibited increased projected area, with more pronounced changes during 12–24 hours [1].

    - LAB MEDIA: Figure 3B. Video editor: Highlight the early time region (0–8 h) on the area plots where lines cluster around 140–170

    - LAB MEDIA: Figure 3B. Video editor: Highlight the region after 12 h where several lines trend upward

  - Under lipopolysaccharide treatment, some cells showed rapid expansion in projected area exceeding 400 to 500 square micrometers [1]. However, under Baicalin plus lipopolysaccharide treatment, most cells maintained a projected area of 250 to 300 square micrometers during the later stage [2].

    - LAB MEDIA: Figure 3B. Video editor: Highlight the lines in the LPS area plot that rise above 400–500

    - LAB MEDIA: Figure 3B. Video editor: Highlight the lines in the BAI+LPS area plot staying around 250–300 at later times

  - Cell perimeter remained around 40 to 50 micrometers during the early phase in both groups [1].

    - LAB MEDIA: Figure 3B. Video editor: Highlight the early time region (0–8 h) on the perimeter plots where values cluster near 40–50

  - In the mid-to-late phase, some lipopolysaccharide-treated cells exceeded 100 micrometers in perimeter [1], whereas most Baicalin plus lipopolysaccharide-treated cells remained around 70 micrometers at later stages [2].

    - LAB MEDIA: Figure 3B. Video editor: Highlight the lines in the LPS perimeter plot that rise above 100

    - LAB MEDIA: Figure 3B. Video editor: Highlight the lines in the BAI+LPS perimeter plot near 70 at later times