# Submission ID #: 71248

# Scriptwriter Name: Sri Lakshmi Priya

# Project Page Link: https://review.jove.com/account/file-uploader?src=21730688

# Title: Measuring Proton Conductivity in MOF-Based Mixed Matrix Membranes by Electrochemical Impedance Spectroscopy

# Authors and Affiliations:

Ermias Mideksa, Edgar Anies, Vanessa Pimenta, Christian Serre

Institut des Matériaux Poreux de Paris, ESPCI Paris, École Normale Supérieure, CNRS, PSL University

# Corresponding Authors:

Vanessa Pimenta		(vanessa.pimenta@espci.fr)

# Christian Serre			(christian.serre@espci.fr)

# Email Addresses for All Authors:

Ermias Mideksa		(ermias.mideksa@espci.fr)

Edgar Anies			(edgar.anies@espci.fr)

Vanessa Pimenta		(vanessa.pimenta@espci.fr)

# Christian Serre			(christian.serre@espci.fr)

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  No

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Yes

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   No

4. Testimonials (optional): Would you be open to filming two short testimonial statements live during your JoVE shoot? These will not appear in your JoVE video but may be used in JoVE’s promotional materials. No

Current Protocol Length

Number of Steps:  16

Number of Shots:  34

# Interviews

Videographer: Obtain headshots for all authors available at the filming location.

Authors: Answers are slightly edited in accordance with journal guidelines. Please note that the questions will not appear on screen. Please answer in stand-alone full sentence with sufficient context

INTRODUCTION:

REQUIRED: Summarize your research focus and the main questions it aims to answer.

  - Ermias A. Mideksa: Our protocol focuses on measuring the in-plane proton conductivity of MOF-polymer mixed-matrix membranes using Electrochemical Impedance spectroscopy under controlled humidity and temperature conditions.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Describe the research contexts or systems in which this protocol can be applied.

  - Ermias. A. Mideksa: This protocol can be applied to polymer or MOF-based mixed-matrix membranes for proton exchange membrane fuel cell applications.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

CONCLUSION:

Describe the most important consideration or challenge when performing this protocol.

  - Ermias. A. Mideksa: The most important considerations are proper membrane placement, workstation connection, and membrane equilibration at the specified humidity and temperature.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Are there any additional methods or analyses that can be performed following this procedure?

  - Ermias. A. Mideksa: Additional methods that can be performed following this procedure include combining in-plane and through-plane conductivity measurements to reliably evaluate proton conductivity.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

How can future studies build on this work? Describe the questions or research directions that can be investigated next.

  - Ermias. A. Mideksa: Future studies can build on this work by testing membrane performance in membrane electrode assemblies and fuel cell stacks under real operating conditions.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Videographer: Obtain headshots for all authors available at the filming location.

# Protocol

Videographer: Please always record an audio slate while filming each shot mentioned in the shotlist.

- In-Plane Proton Conductivity Measurements

Demonstrator: Ermias A. Mideksa

  - To begin, obtain the previously prepared polyvinyl alcohol or PVA (P-V-A) and PVA mixed-matrix membranes containing MIP-207 (M-I-P-two-zero-seven) sulfonic acid membrane samples [1].

    - WIDE: Talent placing the previously prepared membranes on the workstation.   Videographer: Please obtain CU shot as well for this shot.

  - Cut the fabricated membrane samples according to the in-plane measurement cell geometry [1]. Using a micrometer, measure the sample dimensions and thickness at several positions [2]. Calculate and record the average thickness [3].

    - Talent cutting the fabricated membrane samples according to the in-plane measurement cell geometry.

    - Talent measuring the sample dimensions and thickness at several positions using a micrometer.

    - Talent recording the calculated average thickness.

  - Assemble the conductivity cell by placing the membrane between 2 electrodes with a known geometric contact area, A [1]. Then, sandwich the assembly between 2 Teflon cells [2] and gently tighten it with screws and hex nuts to ensure good interfacial contact [3].

    - Talent placing the membrane between 2 electrodes.

    - Talent placing the assembly between 2 Teflon cells.

    - Talent tightening the assembly with screws and hex nuts.

  - Place the assembled Teflon cells inside a climatic humidity chamber directly connected to a potentiostat [1]. Set the chamber to the desired temperature and relative humidity or RH (R-H) conditions [2].

    - Talent placing the assembled Teflon cells inside the climatic humidity chamber.

    - Talent setting the desired temperature and relative humidity conditions in the climatic humidity chamber.

  - Program the temperature and relative humidity set points directly on the programmable humidity chamber [1]. Allow the set points to change automatically over time without manual intervention [2].

    - SCREEN: Show the programmable humidity chamber interface while the temperature and relative humidity set points are entered.

Authors: Please create screen capture videos of the shots labeled as SCREEN,

# create a screenshot summary, and upload the files to your project page as soon as possible:  https://review.jove.com/account/file-uploader?src=21730688

Videographer: Please film the computer screen as a back up

    - SCREEN: Show the programmed temperature and relative humidity sequence running on the humidity chamber interface.

  - Connect the in-plane conductivity cell to the potentiostat equipped with a frequency response analyzer [1]. Place the setup at the selected temperature and RH condition [2]. Allow the membrane to equilibrate for 1 hour before measurement [3].

    - Talent connecting the in-plane conductivity cell to the potentiostat.

    - Talent placing the setup at the selected temperature and RH condition.

    - Shot of the membrane setup equilibrating in the selected condition.

  - Specify a frequency range using the electrochemical impedance spectroscopy or EIS (E-I-S) software from 1 megahertz to 1 hertz with at least 2 measurements per frequency [1]. Set the alternating current or AC (A-C) perturbation amplitude to 20 millivolts [2]. Start the measurement and record the impedance spectrum for subsequent analysis [3].

    - SCREEN: Show the electrochemical impedance spectroscopy software while entering the frequency range from 1 megahertz to 1 hertz.

    - SCREEN: Show the alternating current perturbation amplitude set to 20 millivolts.

    - SCREEN: Show the measurement starting and the impedance spectrum being recorded.

  - Save the impedance spectrum for subsequent analysis after the measurement is complete [1].

    - SCREEN: Show the completed impedance spectrum being saved for subsequent analysis.

  - Turn the humidity chamber off [1] and allow it to cool for 1 hour until the temperature is below 30 degrees Celsius [2]. Remove the measurement cells from the humidity chamber [3], disassemble [4], and confirm that the membrane remains mechanically intact with no visible wear or tear, after the proton conductivity measurement conditions [5].

    - Talent turning the humidity chamber off.

    - Shot of the humidity chamber cooling until the temperature is below 30 degrees Celsius.

    - Talent removing the measurement cells from the humidity chamber.

    - Talent disassembling the measurement cells.

    - Talent inspecting the membrane for visible wear and tear.

  - Dry the membrane [1] and store it in a dedicated plastic bag to verify structural and mechanical properties after the conductivity measurements [2].

    - Talent drying the membrane.

    - Talent storing the membrane in a dedicated plastic bag.

  - Analyze the EIS results by determining the membrane resistance from the Nyquist plot [1]. Read the resistance as the intersection between the high-frequency semicircle and the real axis [2].

    - SCREEN: Show the Nyquist plot of negative imaginary impedance versus real impedance.

    - SCREEN: Show the high-frequency semicircle and mark the point where it intersects the real axis.

  - Alternatively, read the resistance from the Bode plot [1]. Identify the resistance as the ordinate at the slope rupture [2].

    - SCREEN: Show the Bode plot of logarithm of impedance magnitude versus frequency.

    - SCREEN: Mark the slope rupture on the Bode plot and highlight the corresponding impedance value used as the membrane resistance.

  - Calculate the proton conductivity from the measured membrane resistance [1-TXT].

    - SCREEN: Show the proton conductivity being calculated using the equation. TXT: σ= LRA= LRWT

  - Generate plots of proton conductivity versus temperature using the data analysis tool [1].

    - SCREEN: Show the proton conductivity versus temperature plot generated in the data analysis tool.

  - Construct an Arrhenius plot [1-TXT]. Extract the activation energy from the linear fit [2-TXT].

    - SCREEN: Show the Arrhenius plot TXT: In(σ) versus 1/T

    - SCREEN: Show the extraction of activation energy from the linear fit.

TXT: lnσ=lnA-EakBT

  - Decide whether proton transport occurs by a vehicular or by a hopping mechanism [1].

    - SCREEN: Show the activation energy value and label the proton transport mechanism as vehicular or hopping.

# Results

- Results

  - The Nyquist plots for the PVA mixed-matrix membranes containing MIP-207-sulfonic acid showed a reduction of the semicircle with increasing temperature [1], indicating decreased bulk resistance [2].

    - LAB MEDIA: Figure 6 A. Video editor: Highlight all the curves.

    - LAB MEDIA: Figure 6 A.

  - Proton conductivity increased monotonically with temperature for both the pristine PVA membrane [1] and the PVA mixed-matrix membranes containing MIP-207-sulfonic acid [2].

    - LAB MEDIA: Figure 6 B. Video editor: Highlight the blue line labeled “PVA” from 30 degrees Celsius to 60 degrees Celsius.

    - LAB MEDIA: Figure 6 B. Video editor: Highlight the red line labeled “PVA/MIP-207-SO3H” from 30 degrees Celsius to 60 degrees Celsius.

  - The PVA mixed-matrix membranes containing MIP-207-sulfonic acid exhibited a proton conductivity of 0.74 millisiemens per centimeter [1], compared with 0.31 millisiemens per centimeter for pristine PVA [2].

    - LAB MEDIA: Figure 6 B. Video editor: Highlight the red square data point at 60 degrees Celsius on the “PVA/MIP-207-SO3H” line.

    - LAB MEDIA: Figure 6 B. Video editor: Highlight the blue circular data point at 60 degrees Celsius on the “PVA” line.

  - Arrhenius plots showed linear fits for both the pristine PVA membrane [1] and the PVA mixed-matrix membranes containing MIP-207-sulfonic acid membrane [2].

    - LAB MEDIA: Figure 7. Video editor: Highlight the blue trendline labeled “PVA”.

    - LAB MEDIA: Figure 7. Video editor: Highlight the red trendline labeled “PVA/MIP-207-SO3H”.

  - The PVA mixed-matrix membranes containing MIP-207-sulfonic acid exhibited an activation energy of 0.65 electronvolts [1], while pristine PVA exhibited an activation energy of 0.46 electronvolts [2].

    - LAB MEDIA: Figure 7. Video editor: Highlight the value “Ea = 0.65 eV” in the legend for “PVA/MIP-207-SO3H”.

    - LAB MEDIA: Figure 7. Video editor: Highlight the value “Ea = 0.46 eV” in the legend for “PVA”.

  - These activation energy values indicated a predominantly vehicular proton transport mechanism for the composite membrane [1], while both vehicular and hopping mechanisms occurred in pristine PVA [2].

    - LAB MEDIA: Figure 7. Video editor: Highlight the red data series and trendline labeled “PVA/MIP-207-SO3H”.

    - LAB MEDIA: Figure 7. Video editor: Highlight the blue data series and trendline labeled “PVA”.