# Submission ID #: 71279

# Scriptwriter Name: Sri Lakshmi Priya

# Project Page Link: https://review.jove.com/account/file-uploader?src=21740143

# Title: The Common Class of Vasculitis-Associated Genetic Variants in Type I Interferonopathies Within a Pediatric Cohort

# Authors and Affiliations:

# Nida Gürbüz¹, Shams Ismayilova², Gulnar Ahmadova³, Güzide Aksu¹, Afig Berdeli¹²⁴, Rena Çiftçi5

# ¹Department of Pediatrics, Division of Pediatric Rheumatology, Faculty of Medicine, Ege University

# ²Department of Stem Cell Sciences, Institute of Health Sciences, Ege University

# ³Department of Biotechnology, Graduate School of Natural and Applied Sciences, Ege University

# ⁴Department of Molecular Medicine, Faculty of Medicine, Ege University

# 5Department of Physics, Faculty of Science, Ege University

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

# Nida Gürbüz				nida.gurbuz@ege.edu.tr

# Rena Çiftçi					rena.ciftci@ege.edu.tr

# Email Addresses for All Authors:

# Shams Ismayilova			93210000379@ogrenci.ege.edu.tr

# Gulnar Ahmadova			91240000847@ogrenci.ege.edu.tr

# Güzide Aksu				guzide.aksu@ege.edu.tr

# Afig Berdeli				afig.berdeli@ege.edu.tr

# Nida Gürbüz				nida.gurbuz@ege.edu.tr

# Rena Çiftçi				rena.ciftci@ege.edu.tr

## Author Questionnaire

1. We have marked your project as author-provided footage, meaning you film the video yourself and provide JoVE with the footage to edit. JoVE will not send the videographer. Please confirm that this is correct.

☐ Correct

☐ Incorrect

2. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

3. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen captured video files to your project page as soon as possible.

4. Proposed filming date: To help JoVE process and publish your video in a timely manner, please indicate the proposed date that your group will film here: MM/DD/YYYY

DO NOT use this draft script for filming. Please wait until your script is finalized to begin the filming process.

When you are ready to submit your video files, please contact our Content Manager, Utkarsh Khare.

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  17

Number of Shots:  58

# Interviews

Answers to these questions will become interview statements that you will deliver on camera.

- Introduction: Answer the 1st REQUIRED prompt and 1 additional question; Conclusion: Answer any 3 questions. No more than 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- Speak naturally and avoid reading the lines.

- Limit the length of each statement to 20 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

Authors: Please note that the questions will not appear on screen. Please answer in stand-alone full sentence with sufficient context.

INTRODUCTION:

REQUIRED: Summarize your research focus and the main questions it aims to answer.

  - Enter full author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the research gap or limitation in existing methods and how this protocol addresses them.

  - Enter full author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the research contexts or systems in which this protocol can be applied.

  - Enter full author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

CONCLUSION:

What does this protocol allow researchers to study or measure?

  - Enter full author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the most important consideration or challenge when performing this protocol.

  - Enter full author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Are there any additional methods or analyses that can be performed following this procedure?

  - Enter full author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

How can future studies build on this work? Describe the questions or research directions that can be investigated next.

  - Enter full author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Ethics Title Card

This research has been approved by the Ethics Committee at Ege University Faculty of Medicine

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that you/your videographer will capture.

- DNA Fragmentation and Adapter Ligation

Demonstrator: Click here to enter name of demonstrator(s)

If the same person is the demonstrator throughout, mention them once here and remove the "Demonstrator" field from the other sections; if the demonstrator changes, retain the field in the respective sections.

  - To begin, obtain the DNA [1]. Transfer 20 microliters of diluted DNA into new sterile PCR tubes [2]. Add 2 microliters of fragmentation and adenylation buffer to each tube [3], and add 3 microliters of fragmentation and adenylation enzyme mix to each tube for a total reaction volume of 25 microliters [4]. After mixing the reaction gently, briefly centrifuge the tubes [5].

    - WIDE: Talent sitting with the tubes containing DNA on the workbench

    - Talent transferring diluted DNA into PCR tubes.

    - Talent adding fragmentation and adenylation buffer to each tube.

    - Talent adding fragmentation and adenylation enzyme mix to each tube.

    - Talent placing the tubes in the centrifuge.

  - Run the fragmentation program on the thermal cycler to generate DNA fragments with an average size of 200 to 300 base pairs [1]. Immediately after completion, briefly centrifuge the tubes [2] and place them on ice [3].

    - Talent placing the tubes in the thermal cycler.

    - Talent placing the tubes in the centrifuge.

    - Talent placing the tubes on ice.

  - Add 2.5 microliters of sequencing adapter to each fragmentation product [1]. Then, add 10 microliters of ligation master mix and pipette the mixture gently to ensure homogeneity [2]. After briefly centrifuging the tubes, incubate at 20 degrees Celsius for 15 minutes with the thermal cycler lid open [3]. Again, centrifuge briefly and keep the tubes on ice [4].

    - Talent adding sequencing adapter to each fragmentation product.

    - Talent adding ligation master mix to the tube.

    - Talent placing the tubes in the thermal cycler with the lid open.

    - Talent placing the tubes on ice.

- Bead-Based Purification

Demonstrator: Click here to enter name of demonstrator(s)

  - Add 30 microliters of magnetic beads to each sample [1]. Pipette thoroughly until a homogeneous suspension is obtained [2]. Incubate the mixture at room temperature for 5 minutes and then place the tubes on a magnetic stand for 3 minutes [3]. Once the supernatant has cleared, carefully remove it [4].

    - Talent adding magnetic beads to each sample.

    - Talent pipetting the mixture thoroughly to obtain a homogeneous suspension.

    - Talent taking the tubes from the workbench and placing it on the magnetic stand.

    - Talent removing the cleared supernatant.

  - Wash the pellet twice with 100 microliters of 80% ethanol [1]. After removing the residual ethanol, air-dry the beads on the magnetic stand for up to 5 minutes [2].

    - Talent adding 80% ethanol to the pellet.

    - Shot of the beads on the magnetic stand kept undisturbed.

  - Resuspend the pellet with 9 microliters of nuclease-free water and incubate at room temperature for 2 minutes [1]. After magnetic separation for 3 minutes, transfer 7.5 microliters of supernatant to a new labeled PCR tube [2].

    - Talent adding nuclease-free water to the beads and keeping it aside for incubation.

    - Talent transferring the supernatant to a new labeled PCR tube.

- Library Amplification and Post-PCR Purification

Demonstrator: Click here to enter name of demonstrator(s)

  - Dilute the in vitro transcription or IVT (I-V-T) primers by combining 20 microliters of primer stock with 80 microliters of nuclease-free water [1]. Prepare the PCR reaction and pipette the mixture gently [2]. Run the PCR-3 program [3].

    - WIDE: Talent diluting the in vitro transcription primers with nuclease-free water.

    - TEXT ON A PLAIN BACKGROUND:

PCR reaction (Total volume 17.5 µL):

IVT primer 1 - 2.5 µL

IVT primer 2 - 2.5 µL

Library amplification master mix - 12.5 µL

    - Talent placing the tube in the thermal cycler.

  - Add 25 microliters of magnetic beads to each PCR product [1]. Incubate for 5 minutes at room temperature and then place the tubes on a magnetic stand for magnetic separation [2]. Wash the beads with 100 microliters of 80% ethanol [3]. Air-dry the beads for up to 5 minutes [4].

    - Talent adding magnetic beads to the PCR product.

    - Resuse 3.1.3

    - Talent adding 80% ethanol to the beads.

    - Shot of beads on the magnetic stand.

  - Add 11 microliters of nuclease-free water to the beads [1]. After transferring 10 microliters of supernatant to a new tube, measure the library concentration and confirm that it exceeds 25 nanograms per microliter [2].

    - Talent adding nuclease-free water to the beads.

    - Talent measuring the library concentration.

- Hybridization and Capture of Hybridized Targets onto Streptavidin Beads

Demonstrator: Click here to enter name of demonstrator(s)

  - Pool libraries by combining eight patient samples and adjust the volume to 12.5 microliters with nuclease-free water if necessary [1]. Preincubate the hybridization mix at 65 degrees Celsius for 15 minutes [2]. Add the hybridization reagents sequentially [3]. Initiate the 16-hour hybridization program [4].

    - Shot of pooling patient libraries into a single tube.

    - Talent placing the hybridization mix in the thermal cycler.

    - TEXT ON A PLAIN BACKGROUND:

Hybridization Reagents:

Blocking solution
Universal blocking oligonucleotides
Exome capture probe
Nuclease-free water
Hybridization enhancer

    - Talent initiating the hybridization program on the thermal cycler.

  - Wash the streptavidin beads three times with binding buffer [1]. After 16 hours of hybridization, add the hybridization mixture to the beads [2]. Incubate at 25 degrees Celsius for 30 minutes, mixing gently every 5 minutes [3].

    - Talent adding binding buffer to the streptavidin beads.

    - Talent adding the hybridization mixture to the streptavidin beads.

    - Talent placing the bead mixture for incubation into the incubator, taking it out for mixing, and placing it back.

  - Wash the beads with capture wash buffer 1 at room temperature [1]. Then, wash the beads three times with prewarmed capture wash buffer 2 at 48 degrees Celsius [2]. Resuspend the pellet in 23 microliters of nuclease-free water [3].

    - Talent adding capture wash buffer 1 to the beads.

    - Talent performing washes with prewarmed capture wash buffer 2.

    - Talent resuspending the pellet in nuclease-free water.

- Preparation of ssDNA and DNA Nanoball Formation

Demonstrator: Click here to enter name of demonstrator(s)

  - Add 24 microliters of tris-ethylenediaminetetraacetic acid or TE (T-E) buffer to the sample [1]. Denature the mixture at 95 degrees Celsius for 3 minutes [2] and immediately place it on ice [3]. Add a master mix containing splint ligation buffer and rapid DNA ligase [4]. Run the SS-2 (S-S-two) program at 37 degrees Celsius for 30 minutes to circularize the single-stranded DNA or ssDNA (S-S-D-N-A) [5].

    - WIDE: Talent adding TE buffer to the sample.

    - Talent placing the tube in the thermal cycler.

    - Talent placing the sample on ice.

    - Talent adding the master mix to the sample.

    - Talent placing the tube in the thermal cycler.

  - Add digestion buffer and digestion enzyme mix to the sample [1]. Run the SS-3 (S-S-three) program at 37 degrees Celsius for 30 minutes [2]. Then, add 3.75 microliters of digestion stop buffer [3]. Add 85 microliters of magnetic beads [4] and perform standard bead purification [5].

    - Talent adding digestion buffer and digestion enzyme mix to the sample.

    - Talent placing the tube in the thermal cycler.

    - Talent adding digestion stop buffer to the sample.

    - Talent adding magnetic beads to the sample.

    - Talent performing bead purification.

  - After transferring 15 microliters of supernatant to a new tube, measure the concentration and confirm that it is between 0.8 and 2 nanograms per microliter [1].

    - Talent measuring the sample concentration.

  - Add the deoxyribonucleic acid nanoball or DNB (D-N-B) reaction components [1] sequentially [2]. Run the DNB-1 and DNB-2 programs sequentially [3].

    - Talent adding the DNB reaction components into the tube.

    - TEXT ON A PLAIN BACKGROUND:

DNB reaction components:

DNB formation buffer

Low-EDTA TE buffer

DNB enzyme mix 1

DNB enzyme mix 2

    - Talent placing the tube in the thermal cycler.

  - Add 20 microliters of DNB reaction stop buffer [1]. Gently mix 5 to 8 times using wide-bore pipette tips [2]. Confirm that the DNB concentration is between 8 and 40 nanograms [3]. Load the prepared DNBs onto the DNA nanoball sequencing platform for high-throughput sequencing [4]. Analyze the sequencing data [5].

    - Talent adding DNB nanoball reaction stop buffer to the sample.

    - Talent gently mixing the reaction using a wide-bore pipette tip.

    - Talent reviewing the DNA nanoball concentration result.

    - Talent loading the prepared DNA nanoballs onto the sequencing platform.

    - Talent reviewing the sequencing data analysis results on a computer.

# Results

Please review this section to make sure that it accurately reflects your findings.

- You/Your videographer does not have to record this section. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 129.

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

  - The most frequently affected genes were ADAR in 25 patients [1] and DNASE1 (D-N-ase) in 24 patients [2].

    - LAB MEDIA: Table 2. Video editor: Show the rows 45 to 63 labelled 'ADAR'

    - LAB MEDIA: Table 2. Video editor: Show the rows 64 to 79 labelled 'DNASE1'

  - DNASE1 variants were exclusively class 3 [1] and the majority of ADAR variants were class 3 [2], with only 1 class 2 variant [3].

    - LAB MEDIA: Table 2. Authors: What to highlight for this step?

    - LAB MEDIA: Table 2. Authors: What to highlight for this step?

    - LAB MEDIA: Table 2. Authors: What to highlight for this step?

  - Class 3 variants predominated across nearly all genes in the cohort [1].

    - LAB MEDIA: Table 3. Authors: What to highlight for this step?

  - RNASEH2B (R-N-ase-H-two-B) [1], TREX1 [2], SAMHD1 [3], and DNASE1L3 (D-N-ase-one-L-three) [4] contained both class 3 and class 2 variants, while SAMHD1 also included a class 1 variant [5].

    - LAB MEDIA: Table 3. Authors: What to highlight for this step?

    - LAB MEDIA: Table 3. Authors: What to highlight for this step?

    - LAB MEDIA: Table 3. Authors: What to highlight for this step?

    - LAB MEDIA: Table 3. Authors: What to highlight for this step?

    - LAB MEDIA: Table 3. Authors: What to highlight for this step?

  - In the wild-type computational model, the signaling cascade demonstrated rapid homeostatic attenuation, characterized by an activation peak at 45 minutes [1] followed by rapid clearance driven by programmed negative feedback at 0.45 per minute via simulated SOCS1 expression [2].

    - LAB MEDIA: Table 5. Video editor: Highlight the cell '45 minutes' in the row 'Wild-Type (WT)'.

    - LAB MEDIA: Table 5. Video editor: Highlight the cell '0.45 min-1' in the row 'Wild-Type (WT)'.

  - Modeling gain-of-function variations in STING1 [1] and tyrosine kinase 2 or TYK2 (T-Y-K-two) pathways [2] revealed severe threshold shifts, resulting in a persistent, nonattenuating hyper-inflammatory state [3].

    - LAB MEDIA: Table 5. Video editor: Highlight the row labelled 'STING1'.

    - LAB MEDIA: Table 5. Video editor: Highlight the row labelled 'TYK2'.

    - LAB MEDIA: Table 5.