# Submission ID #: 71279

# Scriptwriter Name: Sri Lakshmi Priya

# Project Page Link: https://review.jove.com/account/file-uploader?src=21740143

# Title: The Common Class of Vasculitis-Associated Genetic Variants in Type I Interferonopathies Within a Pediatric Cohort

# Authors and Affiliations:

# Nida Gürbüz¹, Shams Ismayilova², Gulnar Ahmadova³, Güzide Aksu¹, Afig Berdeli¹²⁴, Rena Çiftçi5

# ¹Department of Pediatrics, Division of Pediatric Rheumatology, Faculty of Medicine, Ege University

# ²Department of Stem Cell Sciences, Institute of Health Sciences, Ege University

# ³Department of Biotechnology, Graduate School of Natural and Applied Sciences, Ege University

# ⁴Department of Molecular Medicine, Faculty of Medicine, Ege University

# 5Department of Physics, Faculty of Science, Ege University

# Corresponding Authors:

# Nida Gürbüz				nida.gurbuz@ege.edu.tr

# Rena Çiftçi					rena.ciftci@ege.edu.tr

# Email Addresses for All Authors:

# Shams Ismayilova			93210000379@ogrenci.ege.edu.tr

# Gulnar Ahmadova			91240000847@ogrenci.ege.edu.tr

# Güzide Aksu				guzide.aksu@ege.edu.tr

# Afig Berdeli				afig.berdeli@ege.edu.tr

# Nida Gürbüz				nida.gurbuz@ege.edu.tr

# Rena Çiftçi				rena.ciftci@ege.edu.tr

## Author Questionnaire

1. We have marked your project as author-provided footage, meaning you film the video yourself and provide JoVE with the footage to edit. JoVE will not send the videographer. Please confirm that this is correct.

√ Correct

☐ Incorrect

2. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  No

3. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  No

4. Proposed filming date: To help JoVE process and publish your video in a timely manner, please indicate the proposed date that your group will film here: 6/12/2026

When you are ready to submit your video files, please contact our Content Manager, Utkarsh Khare.

Current Protocol Length

Number of Steps:  17

Number of Shots:  58

# Interviews

Authors: Answers are slightly edited in accordance with journal guidelines. Please note that the questions will not appear on screen. Please answer in stand-alone full sentence with sufficient context.

INTRODUCTION:

REQUIRED: Summarize your research focus and the main questions it aims to answer.

  - Dr. Nida GÜRBÜZ: Our research focuses on identifying interferonopathy-related variants in pediatric vasculitis to improve genetic diagnosis and to understand disease mechanisms.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Describe the research contexts or systems in which this protocol can be applied.

  - Dr. Nida GÜRBÜZ: This protocol can be applied in pediatric rheumatology, vasculitis, autoinflammatory disease, and interferonopathy research.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

CONCLUSION:

What does this protocol allow researchers to study or measure?

  - Dr. Nida GÜRBÜZ: This procedure enables identification, classification, and clinical interpretation of interferonopathy-associated variants and genotype–phenotype relationships.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Describe the most important consideration or challenge when performing this protocol.

  - Dr. Nida GÜRBÜZ: The greatest challenge is accurately interpreting rare variants through clinical correlation and established classification guidelines.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

How can future studies build on this work? Describe the questions or research directions that can be investigated next.

  - Dr. Nida GÜRBÜZ: Future studies building on this work can validate novel variants, investigate mechanisms, and develop personalized treatments for interferon-driven diseases.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Ethics Title Card

This research has been approved by the Ethics Committee at Ege University Faculty of Medicine

# Protocol

- DNA Fragmentation and Adapter Ligation

Demonstrator: Dr. Nida GÜRBÜZ

  - To begin, obtain the DNA [1]. Transfer 20 microliters of diluted DNA into new sterile PCR tubes [2]. Add 2 microliters of fragmentation and adenylation buffer to each tube [3], and add 3 microliters of fragmentation and adenylation enzyme mix to each tube for a total reaction volume of 25 microliters [4]. After gently mixing the reaction, briefly centrifuge the tubes [5].

    - WIDE: Talent sitting with the tubes containing DNA on the workbench

    - Talent transferring 20 µL of diluted DNA into PCR tubes.

    - Talent adding 2 µL of fragmentation and adenylation buffer to each tube.

    - Talent adding 3 µL of fragmentation and adenylation enzyme mix to each tube.

    - Talent placing the tubes in the centrifuge.

  - Run the fragmentation program on the thermal cycler to generate DNA fragments with an average size of 200 to 300 base pairs [1]. Immediately after completion, briefly centrifuge the tubes [2] and place them on ice [3].

    - Talent placing the tubes in the thermal cycler.

    - Talent placing the tubes in the centrifuge.

    - Talent placing the tubes on ice.

- Adapter Ligation

  - Add 2.5 microliters of sequencing adapter to each fragmentation product [1]. Then, add 10 microliters of ligation master mix and pipette the mixture gently to ensure homogeneity [2]. After briefly centrifuging the tubes, incubate at 20 degrees Celsius for 15 minutes with the thermal cycler lid open [3]. Again, centrifuge briefly and keep the tubes on ice [4].

    - Talent adding 2.5 µL of sequencing adapter to each fragmentation product.

    - Talent adding 10 µL of ligation master mix to the tube and pipetting it.

    - Talent placing the tubes in the thermal cycler with the lid open.

    - Talent placing the tubes on ice.

- Bead-Based Purification

  - Add 30 microliters of magnetic beads to each sample [1]. Pipette thoroughly until a homogeneous suspension is obtained [2]. Incubate the mixture at room temperature for 5 minutes and then place the tubes on a magnetic stand for 3 minutes [3]. Once the supernatant has cleared, carefully remove it [4].

    - Talent adding 30 µL of magnetic beads to each sample.

    - Talent pipetting the mixture thoroughly to obtain a homogeneous suspension.

    - Talent taking the tubes from the workbench and placing it on the magnetic stand.

    - Talent removing the cleared supernatant.

  - Wash the pellet twice with 100 microliters of 80% ethanol [1]. After removing the residual ethanol, air-dry the beads on the magnetic stand for up to 5 minutes [2].

    - Talent adding 100 µL of 80% ethanol to the pellet.

    - Shot of the beads on the magnetic stand kept undisturbed.

  - Resuspend the pellet with 9 microliters of nuclease-free water and incubate at room temperature for 2 minutes [1]. After 3 minutes of magnetic separation, transfer 7.5 microliters of the supernatant to a new, labeled PCR tube [2].

    - Talent adding 9 µL of nuclease-free water to the beads and keeping them aside for incubation.

    - Talent transferring the supernatant to a new labeled PCR tube.

- Library Amplification

  - Dilute the in vitro transcription, or IVT (I-V-T), primers by combining 20 microliters of primer stock with 80 microliters of nuclease-free water [1]. Prepare the PCR reaction [2] and pipette the mixture gently [3]. Run the PCR-3 program [4].

    - Talent adding 80 µL of nuclease-free water and 20 µL of primer stock to the tube containing in vitro transcription primers.

    - Talent adding reagent into the reaction mixture tube.

    - TEXT ON A PLAIN BACKGROUND:

PCR reaction (Total volume 17.5 µL):

IVT primer 1 - 2.5 µL

IVT primer 2 - 2.5 µL

Library amplification master mix - 12.5 µL

    - Talent placing the tube in the thermal cycler.

- Post-PCR Purification

  - Add 25 microliters of magnetic beads to each PCR product [1]. Incubate for 5 minutes at room temperature and then place the tubes on a magnetic stand for magnetic separation [2]. Wash the beads with 100 microliters of 80% ethanol [3]. Air-dry the beads for up to 5 minutes [4].

    - Talent adding 25 µL of magnetic beads to the PCR product.

    - Resuse 3.1.3

    - Talent adding 100 µL of 80% ethanol to the beads.

    - Shot of beads on the magnetic stand.

  - Add 11 microliters of nuclease-free water to the beads [1]. After transferring 10 microliters of supernatant to a new tube, measure the library concentration and confirm that it exceeds 25 nanograms per microliter [2].

    - Talent adding 11 µL of nuclease-free water to the beads.

    - Talent measuring the library concentration in NanoDrop.

- Pooling and Hybridization

  - Pool libraries by combining eight patient samples and adjust the volume to 12.5 microliters with nuclease-free water if necessary [1]. Preincubate the hybridization mix at 65 degrees Celsius for 15 minutes [2]. Add the hybridization reagents [3] sequentially [4]. Initiate the 16-hour hybridization program [5].

    - Shot of pooling patient libraries into a single tube.

    - Talent placing the hybridization mix in the thermal cycler.

    - Talent adding hybridization reagents into the tube.

    - TEXT ON A PLAIN BACKGROUND:

Hybridization Reagents:

Blocking solution
Universal blocking oligonucleotides
Exome capture probe
Nuclease-free water
Hybridization enhancer

    - Talent initiating the hybridization program on the thermal cycler.

- Capture of Hybridized Targets onto Streptavidin Beads

  - Wash the streptavidin beads three times with binding buffer [1]. After 16 hours of hybridization, add the hybridization mixture to the beads [2]. Incubate at 25 degrees Celsius for 30 minutes, mixing gently every 5 minutes [3].

    - Talent adding binding buffer to the streptavidin beads.

    - Talent adding the hybridization mixture to the streptavidin beads.

    - Talent placing the bead mixture for incubation into the incubator, taking it out for mixing, and placing it back.

  - Wash the beads with capture wash buffer 1 at room temperature [1]. Then, wash the beads three times with prewarmed capture wash buffer 2 at 48 degrees Celsius [2]. Resuspend the pellet in 23 microliters of nuclease-free water [3].

    - Talent adding capture wash buffer 1 to the beads.

    - Talent performing washes with prewarmed capture wash buffer 2.

    - Talent resuspending the pellet in 23 µL of nuclease-free water.

- Preparation of ssDNA

  - Add 24 microliters of TE (T-E) buffer to the sample [1]. Denature the mixture at 95 degrees Celsius for 3 minutes [2] and immediately place it on ice [3]. Add a master mix containing splint ligation buffer and rapid DNA ligase [4]. Run the SS-2 (S-S-two) program at 37 degrees Celsius for 30 minutes to circularize the single-stranded DNA [5].

    - Talent adding 24 µL of TE buffer to the sample.

    - Talent placing the tube in the thermal cycler.

    - Talent placing the sample on ice.

    - Talent adding the master mix to the sample.

    - Talent placing the tube in the thermal cycler.

  - Add digestion buffer and digestion enzyme mix to the sample [1]. Run the SS-3 (S-S-three) program at 37 degrees Celsius for 30 minutes [2]. Then, add 3.75 microliters of digestion stop buffer [3]. Add 85 microliters of magnetic beads [4] and perform standard bead purification [5].

    - Talent adding digestion buffer and digestion enzyme mix to the sample.

    - Talent placing the tube in the thermal cycler.

    - Talent adding 3.75 µL of digestion stop buffer to the sample.

    - Talent adding 85 µL of magnetic beads to the sample.

    - Talent performing bead purification.

  - After transferring 15 microliters of supernatant to a new tube, measure the concentration and confirm that it is between 0.8 and 2 nanograms per microliter [1].

    - Talent measuring the sample concentration using NanoDrop.

- DNB Formation

  - Add the deoxyribonucleic acid nanoball, or DNB (D-N-B), reaction components [1] sequentially [2]. Run the DNB-1 and DNB-2 programs sequentially [3].

    - Talent adding the DNB reaction components into the tube.

    - TEXT ON A PLAIN BACKGROUND:

DNB reaction components:

DNB formation buffer

Low-EDTA TE buffer

DNB enzyme mix 1

DNB enzyme mix 2

    - Talent placing the tube in the thermal cycler.

  - Add 20 microliters of DNB reaction stop buffer [1]. Gently mix 5 to 8 times using wide-bore pipette tips [2]. Confirm that the DNB concentration is between 8 and 40 nanograms [3]. Load the prepared DNBs onto the DNA nanoball sequencing platform for high-throughput sequencing [4]. Analyze the sequencing data [5].

    - Talent adding 20 µL DNB nanoball reaction stop buffer to the sample.

    - Talent gently mixing the reaction using a wide-bore pipette tip.

    - Shot of NanoDrop display showing DNB concentration between 8 and 40.

    - Talent loading the prepared DNA nanoballs onto the sequencing platform.

    - Talent reviewing the sequencing data analysis results on a computer.

# Results

- Results

  - The most frequently affected genes were ADAR (ADAR) in 25 patients [1] and DNASE1 (D-N-ase-one) in 24 patients [2].

    - LAB MEDIA: Table 2. Video editor: Show the rows 45 to 63 labelled 'ADAR'

    - LAB MEDIA: Table 2. Video editor: Show the rows 64 to 79 labelled 'DNASE1'

  - DNASE1 variants were exclusively class 3 [1], and the majority of ADAR variants were class 3, with only 1 class 2 variant [2].

    - LAB MEDIA: Table 2. Video editor: Highlight the rows 65 – 67, 70 & 76

    - LAB MEDIA: Table 2. Video editor: Highlight the rows 45 – 47

  - In the wild-type computational model, the signaling cascade demonstrated rapid homeostatic attenuation, characterized by an activation peak at 45 minutes [1] followed by rapid clearance driven by programmed negative feedback at 0.45 per minute via simulated SOCS1 (socs-one) expression [2].

    - LAB MEDIA: Table 5. Video editor: Highlight the cell '45 minutes' in the row 'Wild-Type (WT)'.

    - LAB MEDIA: Table 5. Video editor: Highlight the cell '0.45 min-1' in the row 'Wild-Type (WT)'.

  - Modeling gain-of-function variations in STING1 (sting-one) [1] and tyrosine kinase 2 or TYK2 (T-Y-K-two) pathways [2] revealed severe threshold shifts, resulting in a persistent, nonattenuating hyper-inflammatory state [3].

    - LAB MEDIA: Table 5. Video editor: Highlight the row labelled 'STING1'.

    - LAB MEDIA: Table 5. Video editor: Highlight the row labelled 'TYK2'.

    - LAB MEDIA: Table 5.