# Submission ID #: 71307

# Scriptwriter Name: Sri Lakshmi Priya

# Project Page Link: https://review.jove.com/account/file-uploader?src=21748683

# Title: Quantitative Live Cell Imaging of Nuclear Shape and Chromatin Dynamics During Development and Environmental Stress in Arabidopsis thaliana Root

# Authors and Affiliations:

Joh Demura-Devore, M. Arif Ashraf

Department of Botany, University of British Columbia

# Corresponding Authors:

M. Arif Ashraf 			arif.ashraf@botany.ubc.ca

# Email Addresses for All Authors:

Joh Demura-Devore 		jdemurad@student.ubc.ca

M. Arif Ashraf 			arif.ashraf@botany.ubc.ca

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar? Yes

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Yes

3. Filming location: Will the filming need to take place in multiple locations?   Yes

4. Testimonials (optional): Would you be open to filming two short testimonial statements live during your JoVE shoot? These will not appear in your JoVE video but may be used in JoVE’s promotional materials. No

Current Protocol Length

Number of Steps:  39

Number of Shots:  56

# Interviews

Videographer: Obtain headshots for all authors available at the filming location.

INTRODUCTION:

REQUIRED: Summarize your research focus and the main questions it aims to answer.

  - Joh Demura-Devore: Our research investigates genes and mechanisms that enable long-term root recovery from osmotic stress to fortify crops against drought.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Describe the research contexts or systems in which this protocol can be applied.

  - Joh Demura-Devore: Although developed for Arabidopsis roots, this protocol can be adapted to systems with fluorescent protein marker lines.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

CONCLUSION:

What does this protocol allow researchers to study or measure?

  - Joh Demura-Devore: This protocol enables tracking and quantification of fluorescently labeled protein movement over time in Arabidopsis roots.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Describe the most important consideration or challenge when performing this protocol.

  - Joh Demura-Devore: The most important challenge in this protocol is obtaining high-quality images, as photobleaching and sample drift can make tracking difficult.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

How can future studies build on this work? Describe the questions or research directions that can be investigated next.

  - Joh Demura-Devore: Future studies should investigate the mechanisms underlying the reduced chromatin movement observed in our study.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Videographer: Obtain headshots for all authors available at the filming location.

# Protocol

Videographer: Please always record an audio slate while filming each shot mentioned in the shotlist.

NOTE: SCREEN timestamps for protocol were added at the postshoot stage. Please contact the postshoot note integrator (Sri Lakshmi Priya) for queries regarding lab media.

- Live Imaging of Nuclear Envelope and Chromatin Dynamics in A. thaliana Roots

Demonstrator: Joh Demura-Devore

  - Obtain the growth plates containing Arabidopsis thaliana seedlings prepared for imaging [1-TXT].

    - WIDE: Talent walking into the room with a tray of growth plates. TXT: WIP1-GFP x CENH3-mRFP Videographer: Please obtain CU shot as well for this shot.

  - Pipette 60 microliters of pure water onto a glass slide [1].

    - Talent pipetting 60 microliters of pure water onto a glass slide.

  - Lay 3 six-day-old A. thaliana seedling roots into the water [1].

    - CLOSE-UP: Talent positioning 3 six-day-old Arabidopsis thaliana seedling roots in the water on the glass slide.

  - Place a 22-millimeter × 22-millimeter number 1.5 coverslip over the roots without covering the leaves [1].

    - CLOSE-UP: Shot of placing the coverslip over the roots while ensuring the leaves remain uncovered.

  - In Confocal microscope settings, set the laser exposure time to 1000 milliseconds [1].

    - SCREEN: Show the confocal microscope acquisition settings and enter 1000 milliseconds as the laser exposure time. Note: The videographer has filmed the SC in section 2.

  - In the laser combiner settings, set the 488-nanometer laser to 50% for green fluorescent protein or GFP (G-F-P) imaging [1]. Set the 561-nanometer laser to 50% for red fluorescent protein or RFP (R-F-P) imaging [2]. Image the sample using a 20× objective lens without optical zoom [3].

    - SCREEN: Show the laser combiner panel and the 488 nanometer laser power being adjusted to 50% for GFP. Videographer’s Note: 2.6.1 and 2.6.2 were combined.

    - SCREEN: Show the laser combiner panel and the 561 nanometer laser power being adjusted to 50% for RFP.

    - SCREEN: Show the objective selection and acquisition settings being configured with a 20× objective lens and no optical zoom.

  - Set the Z-slice step size to 0.3 micrometers [1].

    - SCREEN: Show the Z-stack settings and step size of 0.3 micrometers being entered.

  - Set the imaging interval to 1 minute [1] and the total imaging duration to 10 minutes [2].

    - SCREEN: Show the time-lapse settings and enter an interval of 1 minute. Videographer’s Note: 2.8.1 and 2.8.2 were combined.

    - SCREEN: Show the time-lapse settings and enter a total duration of 10 minutes.

  - Locate the roots [1] and select up to 20 Z-slices [2]. Capture 16-bit images [3].

    - SCOPE: Show the live microscope view as the roots are located within the sample. Note: The videographer has filmed the scope shot.

    - SCREEN: Show the 20 Z-slices being selected. Videographer’s Note: 2.9.2 and 2.9.3 were combined

    - SCREEN: Show the 16-bit image settings being enabled.

  - Start the time-lapse acquisition and save the time-lapse as a TIFF file using lossless compression [1].

    - SCREEN: Show the acquisition software and click the Start Timelapse button to begin recording and select TIFF format with lossless compression enabled before saving the file.

  - Move the acquired data to a computer for analysis [1].

    - Talent transferring the acquired imaging data to a computer for subsequent analysis.

- Chromatin Tracking and Analysis

  - Open the ImageJ (Image-J) or Fiji software [1].

    - SCREEN: 71307_screenshot_1.mp4: 00:04-00:11

  - Click and drag the .vsi (V-S-I) file onto the main ImageJ or Fiji application window [1].

    - SCREEN: 71307_screenshot_1.mp4: 00:23-00:26

  - In the Bio-Formats Import Options prompt, click OK in the bottom right [1].

    - SCREEN: 71307_screenshot_1.mp4: 00:26-00:33

  - Then, in the Bio-Formats Series Options prompt, ensure Series 1 is selected [1]. Click OK in the bottom left [2].

    - SCREEN: 71307_screenshot_1.mp4: 00:33-00:36

    - SCREEN: 71307_screenshot_1.mp4: 00:36-00:39

  - Once the image has loaded, split the signals by selecting Image [1]. Select Color and choose Split Channels [2]. View the separate windows generated for GFP-labeled nuclei and RFP-labeled chromatin [3].

    - SCREEN: 71307_screenshot_1.mp4: 00:58-01:07

    - SCREEN: 71307_screenshot_1.mp4: 01:08-01:11

    - SCREEN: 71307_screenshot_1.mp4: 01:12-01:13

  - Determine which of the 2 image windows corresponds to chromatin [1].

    - SCREEN: 71307_screenshot_1.mp4: 01:14-01:20

  - After clicking the chromatin image window, apply the Z-project operation by selecting Image, choosing Stacks, and then clicking Z Project from the main ImageJ window [1].

    - SCREEN: 71307_screenshot_1.mp4: 01:24-01:31

  - Change the projection type to Max Intensity [1]. Ensure that All Time Frames is active and click OK to generate the projection [2].

    - SCREEN: 71307_screenshot_1.mp4: 01:32-01:38

    - SCREEN: 71307_screenshot_1.mp4: 01:32-01:38     Notes: 3.8.1 and 3.8.2 were combined. Show the SC only once.

  - Open the contrast menu by pressing Ctrl+Shift+C [1] or by selecting Image and choosing Adjust, and then clicking Brightness or Contrast from the main ImageJ window [2].

    - Close-up shot of pressing Ctrl+Shift+C

    - SCREEN: 71307_screenshot_1.mp4: 01:51-01:56

  - Slide the Minimum bar to the left until the chromatin is clearly visible [1].

    - SCREEN: 71307_screenshot_1.mp4: 01:57-02:08

  - Navigate to the Plugins, click the down arrow in the Plugins menu to scroll to the tracking option [1].

    - SCREEN: 71307_screenshot_1.mp4: 02:09-02:15

  - Select Tracking and click TrackMate [1].

    - SCREEN: 71307_screenshot_1.mp4: 02:16-02:18

  - Confirm that the calibration settings are accurate and click Next [1].

    - SCREEN: 71307_screenshot_1.mp4: 02:19-02:25

  - Select Thresholding Detector and click Next [1].

    - SCREEN: 71307_screenshot_1.mp4: 02:26-02:30

  - Move to the last frame of the time-lapse on the image window [1].

    - SCREEN: 71307_screenshot_1.mp4: 02:31-02:35

  - Click Auto next to the intensity threshold and click Preview [1].

    - SCREEN: 71307_screenshot_1.mp4: 02:36-02:39

  - Adjust the intensity threshold and click Preview [1]. Repeat the adjustment and preview process until all chromatin is included with minimal noise, and click Next [2].

    - SCREEN: 71307_screenshot_1.mp4: 02:40-02:46

    - SCREEN: 71307_screenshot_1.mp4: 02:47-02:49

  - Allow the initial thresholding detection to complete and click Next [1].

    - SCREEN: 71307_screenshot_1.mp4: 02:50-02:52

  - Manually adjust the threshold until only chromatin is visible and click Next [1].

    - SCREEN: 71307_screenshot_1.mp4: 02:53-03:09

  - Ignore the spot filtering page Adjust the fluorescence image display and click Next [1].

    - SCREEN: 71307_screenshot_1.mp4: 03:10-03:21

  - Select Simple LAP Tracker and click Next [1].

    - SCREEN: 71307_screenshot_1.mp4: 03:22-03:26

  - Set the linking max distance to 5 microns [1], gap-closing max distance to 15 microns [2], gap-closing maximum frame gap to 1, and click Next [3].

    - SCREEN: 71307_screenshot_1.mp4: 03:27-03:31 Note: 3.22.1, 3.22.2, 3.22.3 were combined. Show the SC only once.

    - SCREEN: 71307_screenshot_1.mp4: 03:27-03:31

    - SCREEN: 71307_screenshot_1.mp4: 03:27-03:31

  - Allow tracking to complete [1]. Observe the tracks displayed in the original image window and click Next [2].

    - SCREEN: 71307_screenshot_1.mp4: 03:32-03:34 Note: 3.23.1 and 3.23.2 were combined. Show the SC only once.

    - SCREEN: 71307_screenshot_1.mp4: 03:32-03:34

  - Press the green + (green-plus) button in the bottom left corner to create a filter [1]. Select Number of Spots in Track mode and click Auto [2].

    - SCREEN: 71307_screenshot_1.mp4: 03:35-03:38

    - SCREEN: 71307_screenshot_1.mp4: 03:39-03:51

  - Adjust the threshold slider, ensure the filter mode is set to Above, and then click Next [1].

    - SCREEN: 71307_screenshot_1.mp4: 03:52-04:04

  - Click the Tracks button at the bottom of the display options page [1]. Select Export to CSV [2].

    - SCREEN: 71307_screenshot_1.mp4: 04:05-04:11

    - SCREEN: 71307_screenshot_1.mp4: 04:12-04:17

  - Ignore the built-in plotting page and click Next [1].

    - SCREEN: 71307_screenshot_1.mp4: 04:18-04:23

  - Review the TrackMate analysis results, click Capture Overlay, and then choose Execute [1]. Save the video by selecting File and clicking Save As, and then choosing GIF [2].

    - SCREEN: 71307_screenshot_1.mp4: 04:24-04:37

    - SCREEN: 71307_screenshot_1.mp4: 04:38-04:56

# Results

- Results

  - Salt-treated root cells appeared stressed [1], and centromeric foci appeared larger than in control conditions [2].

    - LAB MEDIA: Figure 8. Video editor: Emphasize the right image labeled Salt.

    - LAB MEDIA: Figure 8. Video editor: Emphasize the magenta dots in both the images labeled salt and control.

  - Chromatin speed was significantly higher in control conditions [1] than in 100 millimolar sodium chloride-treated conditions [2].

    - LAB MEDIA: Figure 9. Video editor: Emphasize the Control blue plot.

    - LAB MEDIA: Figure 9. Video editor: Emphasize the Salt pink plot.

Pronunciation guides:

- Arabidopsis
Pronunciation link: https://www.merriam-webster.com/dictionary/Arabidopsis
IPA: /ˌer.ə.bəˈdɑːp.sɪs/
Phonetic Spelling: air·uh·buh·DAHP·sis

- thaliana
Pronunciation link: https://www.howtopronounce.com/thaliana
IPA: /ˌθɑːliˈɑːnə/
Phonetic Spelling: thah·lee·AH·nuh

- seedlings
Pronunciation link: https://www.merriam-webster.com/dictionary/seedling
IPA: /ˈsiːd.lɪŋ/
Phonetic Spelling: SEED·ling

- microliters
Pronunciation link: https://www.merriam-webster.com/dictionary/microliter
IPA: /ˈmaɪ.kroʊˌliː.t̬ɚ/
Phonetic Spelling: MY·kroh·lee·ter

- coverslip
Pronunciation link: https://www.merriam-webster.com/dictionary/coverslip
IPA: /ˈkʌv.ɚˌslɪp/
Phonetic Spelling: KUV·er·slip

- Confocal
Pronunciation link: https://www.merriam-webster.com/dictionary/confocal
IPA: /kənˈfoʊ.kəl/
Phonetic Spelling: kuhn·FOH·kuhl

- fluorescent
Pronunciation link: https://www.merriam-webster.com/dictionary/fluorescent
IPA: /flʊˈres.ənt/, /flɔːˈres.ənt/
Phonetic Spelling: floor·ESS·ent

- objective
Pronunciation link: https://www.merriam-webster.com/dictionary/objective
IPA: /əbˈdʒek.tɪv/
Phonetic Spelling: ub·JEK·tiv

- optical
Pronunciation link: https://www.merriam-webster.com/dictionary/optical
IPA: /ˈɑːp.tɪ.kəl/
Phonetic Spelling: AHP·tih·kuhl

- micrometers
Pronunciation link: https://www.merriam-webster.com/dictionary/micrometer
IPA: /maɪˈkrɑː.mə.t̬ɚ/
Phonetic Spelling: my·KRAH·muh·ter

- acquisition
Pronunciation link: https://www.merriam-webster.com/dictionary/acquisition
IPA: /ˌæk.wəˈzɪʃ.ən/
Phonetic Spelling: ak·wuh·ZIH·shuhn

- TIFF
Pronunciation link: https://www.merriam-webster.com/dictionary/TIFF
IPA: /tɪf/
Phonetic Spelling: tiff

- ImageJ
Pronunciation link: https://imagej.net/ij/
IPA: /ˈɪm.ɪdʒ dʒeɪ/
Phonetic Spelling: IM·ij·JAY

- Fiji
Pronunciation link: https://www.merriam-webster.com/dictionary/Fiji
IPA: /ˈfiː.dʒi/
Phonetic Spelling: FEE·jee

- Bio-Formats
Pronunciation link: https://www.openmicroscopy.org/bio-formats/
IPA: /ˈbaɪ.oʊ ˈfɔːr.mæts/
Phonetic Spelling: BY·oh FOR·mats

- chromatin
Pronunciation link: https://www.merriam-webster.com/dictionary/chromatin
IPA: /ˈkroʊ.mə.tɪn/
Phonetic Spelling: KROH·muh·tin

- nuclei
Pronunciation link: https://www.merriam-webster.com/dictionary/nucleus
IPA: /ˈnuː.kli.aɪ/
Phonetic Spelling: NOO·klee·eye

- projection
Pronunciation link: https://www.merriam-webster.com/dictionary/projection
IPA: /prəˈdʒek.ʃən/
Phonetic Spelling: pruh·JEK·shuhn

- intensity
Pronunciation link: https://www.merriam-webster.com/dictionary/intensity
IPA: /ɪnˈten.sə.t̬i/
Phonetic Spelling: in·TEN·suh·tee

- Plugins
Pronunciation link: https://www.merriam-webster.com/dictionary/plug-in
IPA: /ˈplʌɡˌɪn/
Phonetic Spelling: PLUG·in

- TrackMate
Pronunciation link: https://imagej.net/plugins/trackmate/
IPA: /ˈtræk.meɪt/
Phonetic Spelling: TRAK·mate

- calibration
Pronunciation link: https://www.merriam-webster.com/dictionary/calibration
IPA: /ˌkæl.əˈbreɪ.ʃən/
Phonetic Spelling: kal·uh·BRAY·shuhn

- Thresholding
Pronunciation link: https://www.merriam-webster.com/dictionary/threshold
IPA: /ˈθreʃˌhoʊl.dɪŋ/
Phonetic Spelling: THRESH·hohl·ding

- detector
Pronunciation link: https://www.merriam-webster.com/dictionary/detector
IPA: /dɪˈtek.tɚ/
Phonetic Spelling: dih·TEK·ter

- fluorescence
Pronunciation link: https://www.merriam-webster.com/dictionary/fluorescence
IPA: /flʊˈres.əns/, /flɔːˈres.əns/
Phonetic Spelling: floor·ESS·uhns

- microns
Pronunciation link: https://www.merriam-webster.com/dictionary/micron
IPA: /ˈmaɪ.krɑːn/
Phonetic Spelling: MY·kron

- centromeric
Pronunciation link: https://www.howtopronounce.com/centromeric
IPA: /ˌsen.trəˈmer.ɪk/
Phonetic Spelling: sen·truh·MAIR·ik

- foci
Pronunciation link: https://www.merriam-webster.com/dictionary/focus
IPA: /ˈfoʊ.saɪ/
Phonetic Spelling: FOH·sye

- sodium
Pronunciation link: https://www.merriam-webster.com/dictionary/sodium
IPA: /ˈsoʊ.di.əm/
Phonetic Spelling: SOH·dee·uhm

- chloride
Pronunciation link: https://www.merriam-webster.com/dictionary/chloride
IPA: /ˈklɔːr.aɪd/
Phonetic Spelling: KLOR·ide