# Submission ID #: 71307

# Scriptwriter Name: Sri Lakshmi Priya

# Project Page Link: https://review.jove.com/account/file-uploader?src=21748683

# Title: Quantitative Live Cell Imaging of Nuclear Shape and Chromatin Dynamics During Development and Environmental Stress in Arabidopsis thaliana Root

# Authors and Affiliations:

Joh Demura-Devore, M. Arif Ashraf

Department of Botany, University of British Columbia

# Corresponding Authors:

M. Arif Ashraf 			arif.ashraf@botany.ubc.ca

# Email Addresses for All Authors:

Joh Demura-Devore 		jdemurad@student.ubc.ca

M. Arif Ashraf 			arif.ashraf@botany.ubc.ca

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar? Yes

If Yes, can you record movies/images using your own microscope camera?

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Scope Shot: 2.9.1

Videographer: Please film the above-mentioned scope shot using a scope kit.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Yes

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Yes

If Yes, how far apart are the locations? ~50 meters.

4. Testimonials (optional): Would you be open to filming two short testimonial statements live during your JoVE shoot? These will not appear in your JoVE video but may be used in JoVE’s promotional materials. No

Current Protocol Length

Number of Steps:  39

Number of Shots:  56

# Interviews

Videographer: Obtain headshots for all authors available at the filming location.

Authors: Answers are slightly edited in accordance with journal guidelines. Please note that the questions will not appear on screen. Please answer in stand-alone full sentence with sufficient context

INTRODUCTION:

REQUIRED: Summarize your research focus and the main questions it aims to answer.

  - Joh Demura-Devore: Our research investigates genes and mechanisms that enable long-term root recovery from osmotic stress to fortify crops against drought.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Describe the research contexts or systems in which this protocol can be applied.

  - Joh Demura-Devore: Although developed for Arabidopsis roots, this protocol can be adapted to systems with fluorescent protein marker lines.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

CONCLUSION:

What does this protocol allow researchers to study or measure?

  - Joh Demura-Devore: This protocol enables tracking and quantification of fluorescently labeled protein movement over time in Arabidopsis roots.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Describe the most important consideration or challenge when performing this protocol.

  - Joh Demura-Devore: The most important challenge in this protocol is obtaining high-quality images, as photobleaching and sample drift can make tracking difficult.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

How can future studies build on this work? Describe the questions or research directions that can be investigated next.

  - Joh Demura-Devore: Future studies should investigate the mechanisms underlying the reduced chromatin movement observed in our study.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Videographer: Obtain headshots for all authors available at the filming location.

# Protocol

Videographer: Please always record an audio slate while filming each shot mentioned in the shotlist.

- Live Imaging of Nuclear Envelope and Chromatin Dynamics in A. thaliana Roots

Demonstrator: Joh Demura-Devore

  - Obtain the growth plates containing Arabidopsis thaliana seedlings prepared for imaging [1-TXT].

    - WIDE: Talent walking into the room with a tray of growth plates. TXT: WIP1-GFP x CENH3-mRFP Videographer: Please obtain CU shot as well for this shot.

  - Pipette 60 microliters of pure water onto a glass slide [1].

    - Talent pipetting 60 microliters of pure water onto a glass slide.

  - Lay 3 six-day-old A. thaliana seedling roots into the water [1].

    - CLOSE-UP: Talent positioning 3 six-day-old Arabidopsis thaliana seedling roots in the water on the glass slide.

  - Place a 22-millimeter × 22-millimeter number 1.5 coverslip over the roots without covering the leaves [1].

    - CLOSE-UP: Shot of placing the coverslip over the roots while ensuring the leaves remain uncovered.

  - In Confocal microscope settings, set the laser exposure time to 1000 milliseconds [1].

    - SCREEN: Show the confocal microscope acquisition settings and enter 1000 milliseconds as the laser exposure time.

Authors: Please create screen capture videos of the shots labeled as SCREEN,

# create a screenshot summary, and upload the files to your project page as soon as possible: https://review.jove.com/account/file-uploader?src=21748683

# Videographer: Please film the computer screen as a back up

  - In the laser combiner settings, set the 488-nanometer laser to 50% for green fluorescent protein or GFP (G-F-P) imaging [1]. Set the 561-nanometer laser to 50% for red fluorescent protein or RFP (R-F-P) imaging [2]. Image the sample using a 20× objective lens without optical zoom [3].

    - SCREEN: Show the laser combiner panel and the 488 nanometer laser power being adjusted to 50% for GFP.

    - SCREEN: Show the laser combiner panel and the 561 nanometer laser power being adjusted to 50% for RFP.

    - SCREEN: Show the objective selection and acquisition settings being configured with a 20× objective lens and no optical zoom.

  - Set the Z-slice step size to 0.3 micrometers [1].

    - SCREEN: Show the Z-stack settings and step size of 0.3 micrometers being entered.

  - Set the imaging interval to 1 minute [1] and the total imaging duration to 10 minutes [2].

    - SCREEN: Show the time-lapse settings and enter an interval of 1 minute.

    - SCREEN: Show the time-lapse settings and enter a total duration of 10 minutes.

  - Locate the roots [1] and select up to 20 Z-slices [2]. Capture 16-bit images [3].

    - SCOPE: Show the live microscope view as the roots are located within the sample.

    - SCREEN: Show the 20 Z-slices being selected.

    - SCREEN: Show the 16-bit image settings being enabled.

  - Start the time-lapse acquisition and save the time-lapse as a TIFF file using lossless compression [1].

    - SCREEN: Show the acquisition software and click the Start Timelapse button to begin recording and select TIFF format with lossless compression enabled before saving the file.

  - Move the acquired data to a computer for analysis [1].

    - Talent transferring the acquired imaging data to a computer for subsequent analysis.

- Chromatin Tracking and Analysis

  - Open the ImageJ (Image-J) or Fiji software [1].

    - SCREEN: Show the ImageJ/Fiji application being launched and the main interface opening.

  - Click and drag the .vsi (V-S-I) file onto the main ImageJ or Fiji application window [1].

    - SCREEN: Show the .vsi file being dragged from a folder and dropped onto the main ImageJ/Fiji window.

  - In the Bio-Formats Import Options prompt, click OK in the bottom right [1].

    - SCREEN: Show the Bio-Formats Import Options dialog box and click the OK button in the bottom right.

  - Then, in the Bio-Formats Series Options prompt, ensure Series 1 is selected [1]. Click OK in the bottom left [2].

    - SCREEN: Show the Bio-Formats Series Options dialog and cursor clicking on Series 1.

    - SCREEN: Show the cursor clicking the OK button in the bottom left of the dialog box.

  - Once the image has loaded, split the signals by selecting Image [1]. Select Color and choose Split Channels [2]. View the separate windows generated for GFP-labeled nuclei and RFP-labeled chromatin [3].

    - SCREEN: Show the loaded image in ImageJ/Fiji and click the Image menu with the cursor.

    - SCREEN: Show the cursor clicking Color submenu and then clicking Split Channels.

    - SCREEN: Show the resulting separate image windows displaying the GFP-labeled nuclei channel and the RFP-labeled chromatin channel.

  - Determine which of the 2 image windows corresponds to chromatin [1].

    - SCREEN: Show the 2 image windows and point to the window containing the chromatin signal using cursor.

  - After clicking the chromatin image window, apply the Z-project operation by selecting Image, choosing Stacks, and then clicking Z Project from the main ImageJ window [1].

    - SCREEN: From the main ImageJ menu, navigate to Image > Stacks > Z Project and open the Z Project dialog box.

  - Change the projection type to Max Intensity [1]. Ensure that All Time Frames is active and click OK to generate the projection [2].

    - SCREEN: Show the projection type being changed to Max Intensity.

    - SCREEN: Show the All Time Frames option enabled and cursor clicking OK.

  - Open the contrast menu by pressing Ctrl+Shift+C [1] or by selecting Image and choosing Adjust, and then clicking Brightness or Contrast from the main ImageJ window [2].

    - Close-up shot of pressing Ctrl+Shift+C

    - SCREEN: Show the main ImageJ window and cursor selecting Image > Adjust > Brightness/Contrast.

  - Slide the Maximum bar to the left until the chromatin is clearly visible [1].

    - SCREEN: Show the Maximum slider being moved to the left and the chromatin signal becoming more visible.

  - Navigate to the Plugins, click the down arrow in the Plugins menu to scroll to the tracking option [1].

    - SCREEN: Show the cursor navigating to the Plugins, clicking the down arrow in the Plugins menu, and scrolling to the tracking section.

  - Select Tracking and click TrackMate [1].

    - SCREEN: Show the Tracking submenu being selected and TrackMate being launched.

  - Confirm that the calibration settings are accurate and click Next [1].

    - SCREEN: Show the TrackMate initial settings page with the calibration settings displayed and cursor clicking Next to continue.

  - Select Thresholding Detector and click Next [1].

    - SCREEN: Show Thresholding Detector being selected and the cursor clicking Next.

  - Move to the last frame of the time-lapse on the image window [1].

    - SCREEN: Shot of navigating to the final frame of the time-lapse.

  - Click Auto next to the intensity threshold and click Preview [1].

    - SCREEN: Show the Auto threshold button being selected and the cursor clicking Preview.

  - Adjust the intensity threshold and click Preview [1]. Repeat the adjustment and preview process until all chromatin is included with minimal noise, and click Next [2].

    - SCREEN: Show the threshold value being adjusted and cursor clicking Preview.

    - SCREEN: Show repeated threshold optimization until chromatin is accurately detected with minimal background noise and cursor clicking Next.

  - Allow the initial thresholding detection to complete and click Next [1].

    - SCREEN: Show the thresholding detection results being generated and cursor clicking Next.

  - Manually adjust the threshold until only chromatin is visible and click Next [1].

    - SCREEN: Show the threshold being adjusted manually and cursor clicking Next.

  - Ignore the spot filtering page and click Next [1].

    - SCREEN: Show the spot filtering page and cursor clicking Next.

  - Select Simple LAP Tracker and click Next [1].

    - SCREEN: Show Simple LAP Tracker being selected and cursor clicking Next.

  - Set the linking max distance to 5 microns [1], gap-closing max distance to 15 microns [2], gap-closing maximum frame gap to 1, and click Next [3].

    - SCREEN: Show the linking max distance field being set to 5 microns.

    - SCREEN: Show the gap-closing max distance field being set to 15 microns

    - SCREEN: Show the gap-closing max frame gap field being set to 1, and cursor clicking Next.

  - Allow tracking to complete [1]. Observe the tracks displayed in the original image window and click Next [2].

    - SCREEN: Show TrackMate processing the tracking analysis.

    - SCREEN: Show the resulting tracks overlaid on the original image sequence and cursor clicking Next.

  - Press the green + (green-plus) button in the bottom left corner to create a filter [1]. Select Number of Spots in Track mode and click Auto [2].

    - SCREEN: Show the green + button being selected.

    - SCREEN: Show Number of Spots in Track being chosen from the filter options and the cursor clicking the Auto button.

  - Ensure the filter mode is set to Above, then click Next [1].

    - SCREEN: Show the filter mode set to Above and cursor clicking Next.

  - Click the Tracks button at the bottom of the display options page [1]. Select Export to CSV [2].

    - SCREEN: Show the display options page and click the Tracks button.

    - SCREEN: Show the export menu and select Export to CSV.

  - Ignore the built-in plotting page and click Next [1].

    - SCREEN: Show the plotting page and cursor clicking Next.

  - Click Capture Overlay and then choose Execute [1]. Save the video by selecting File and clicking Save As, and then choosing GIF [2].

    - SCREEN: Show the final TrackMate page and cursor selecting Capture Overlay and then clicking Execute.

    - SCREEN: Navigate to File > Save As > GIF and save the video file.

# Results

- Results

  - Salt-treated root cells appeared stressed [1], and centromeric foci appeared larger than in control conditions [2].

    - LAB MEDIA: Figure 8. Video editor: Emphasize the right image labeled Salt.

    - LAB MEDIA: Figure 8. Video editor: Emphasize the magenta dots in both the images labeled salt and control.

  - Chromatin speed was significantly higher in control conditions [1] than in 100 millimolar sodium chloride-treated conditions [2].

    - LAB MEDIA: Figure 9. Video editor: Emphasize the Control blue plot.

    - LAB MEDIA: Figure 9. Video editor: Emphasize the Salt pink plot.