# Submission ID #: 71345

# Scriptwriter Name: Kathyayani Sridharan

# Project Page Link: https://review.jove.com/account/file-uploader?src=21760273

# Title: Automated Operant Intermittent Alcohol Drinking in Socially-Housed Mice Via the Intellicage Testing System

# Authors and Affiliations:

# Lucy G Anderson, Roland Bock, Theodore H Averbeck, Veronica A Alvarez

# Laboratory on Neurobiology of Compulsive Behaviors, National Institute on Mental Health, Intramural Research Program, National Institutes of Health, Bethesda

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

# Veronica A Alvarez			alvarezva@mail.nih.gov

# Email Addresses for All Authors:

Lucy G Anderson 			lgander@stanford.edu

Roland Bock 				roland.bock@nih.gov

Theodore H Averbeck			theohaverbeck@gmail.com

Veronica A Alvarez			alvarezva@mail.nih.gov

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

4. Testimonials (optional): Would you be open to filming two short testimonial statements live during your JoVE shoot? These will not appear in your JoVE video but may be used in JoVE’s promotional materials. Enter Yes or No.

If Yes, please provide the full name and position (e.g., Director of [Institute Name], Senior Researcher [University Name], etc.) of the author willing to participate.

Enter full author name, Enter author position

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps: 23

Number of Shots:  57 (27 SC)

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

Answers to these questions will become interview statements that you will deliver on camera.

- Introduction: Answer the 1st REQUIRED prompt and 1 additional question; Conclusion: Answer any 3 questions. No more than 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- Speak naturally and avoid reading the lines.

- Limit the length of each statement to 20 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

Authors: Please note that the questions will not appear on screen. Please answer in stand-alone full sentence with sufficient context

INTRODUCTION:

REQUIRED: Summarize your research focus and the main questions it aims to answer.

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the research gap or limitation in existing methods and how this protocol addresses them.

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the research contexts or systems in which this protocol can be applied.

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

CONCLUSION:

What does this protocol allow researchers to study or measure?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the most important consideration or challenge when performing this protocol.

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Are there any additional methods or analyses that can be performed following this procedure?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

How can future studies build on this work? Describe the questions or research directions that can be investigated next.

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Videographer: Obtain headshots for all authors available at the filming location.

# Ethics Title Card

This research has been approved by the Institutional Animal Care and Use Committee (IACUC) at National Institutes of Health, Bethesda

Authors: Please confirm if the name of the specific institution responsible for the ethical oversight of the study is appropriate

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) with purple font are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that the videographer will capture.

Videographer: Please always record an audio slate while filming each shot mentioned in the shotlist.

- IntelliCage Setup for Socially Housed Murine Alcohol Behaviors

Demonstrator: Click here to enter name of demonstrator(s)

If the same person is the demonstrator throughout, mention them once here and remove the "Demonstrator" field from the other sections; if the demonstrator changes, retain the field in the respective sections.

  - To begin, equip the plastic home cage with 5 compressed cotton fiber pads [1-TXT] and 2 small cotton squares [2-TXT]. Place 4 plastic burrowing structures for bedding and enrichment [3]. Place the top lid with operant corners onto the plastic home cage [4].

    - WIDE: Talent arranging the compressed cotton fiber pads inside the plastic home cage. TXT= Fiber pads= 15.24 x 25.4 cm Videographer: Please obtain CU shot as well for this shot.

    - Talent placing the small cotton squares into the plastic home cage. TXT: cotton squares= 5.08 x 5.08 cm

    - Talent placing the plastic burrowing structures inside the home cage.

    - Talent positioning the top lid with operant corners over the plastic home cage.

  - Use provided cables to connect all operant corners to the central microprocessor [1]. Use CAN (Can) cables to connect the central microprocessor to a computer preloaded with TSE (T-S-E) software [2]. Connect all cages with separate male and female control and  LBN (L-B-N) animal groups serially to the same computer [3-TXT].

    - Talent connecting the operant corners to the central microprocessor with the provided cables.

    - Talent connecting the central microprocessor to the computer with CAN cables.

    - Shot of multiple cages in series connected to the same computer. TXT: LBN: limited bedding and nesting

  - Connect the microprocessor to the power source [1]. Ensure that the LED (L-E-D) lights in each corner switch on [2] and that all 8 motorized doors move [3].

    - Talent connecting the microprocessor to the power source.

    - Shot of the LED lights switching on in each corner.

    - Shot of the motorized doors moving.

  - Fill 8 sipper bottles with approximately 250 milliliters each of tap water or another liquid [1]. Securely press on the caps to ensure a proper seal [2]. Gently twist the sipper bottles into the lickometer openings to ensure a tight connection to the lickometer [3]. Fill the food hopper with rodent chow [4].

    - Talent filling the sipper bottles with tap water.

    - Talent pressing caps securely onto the filled sipper bottles.

    - Talent twisting the filled sipper bottles into the lickometer openings.

    - Talent filling the food hopper with rodent chow.

  - Turn on the computer [1]. Open the Controller application to load the desired experiment file [2].

    - Talent turning on the computer.

    - SCREEN: Show the Controller application opening on the computer.

- Running the Operant, Intermittent Alcohol Drinking Experiment

Demonstrator: Click here to enter name of demonstrator(s)

  - After verifying the readability of RFID (R-F-I-D) transponders implanted in experimental mice and recording their body weights, place up to 16 same-sex mice in the prepared IntelliCage apparatus [1-TXT]. Load the Habituation.experiment file into the “Controller” application and start recording to ensure all visits, nosepokes, and licks are being captured whenever a mouse enters the operant corner [2]. Following 24 hours of habituation, run the Water Training.experiment file to check and verify that all mice learnt to nosepoke on an FR-3 (fixed ratio-three) schedule to access the sipper bottle nozzles [3]. (Authors: We incorporated this step concisely for a logical, cohesive flow and understanding. Please let us know if this is suitable or if a different approach would be preferred.)

    - Talent placing the RFID transponder-implanted mice in prepared IntelliCage apparatus. TXT: RFID: Radiofrequency Identification

    - SCREEN: Show the Habituation.experiment file loaded on the Controller application and the data recording

    - SCREEEN: Show the Water Training.experiment file loaded and show the data pertaining to mice performance in FR-3 schedule.

  - To perform the intermittent alcohol drinking test post experimental day 4, prepare 20 percent alcohol using 95 percent ethanol, 190 proof, in tap water, volume per volume, at approximately 250 milliliters per bottle [1]. Stop running the Water Training.experiment file [2].

    - Talent preparing the 20 percent alcohol solution.

    - SCREEN: Show the Water Training.experiment file and stop the running experiment.

  - Remove the sipper water bottles in operant corners 2 and 4 [1]. Replace each bottle with approximately 250 milliliters of 20 percent alcohol [2].

    - Talent removing the sipper bottles from the specified operant corners.

    - Talent replacing each removed bottle with a bottle containing 20 percent alcohol.

  - Gently twist the new alcohol-containing sipper bottles into the lickometer openings for a tight connection [1]. Load the Intermittent Alcohol.experiment file [2]. Start recording from twelve-thirty PM on experiment day till the same time the following day for 24-hour intermittent alcohol access [3]. (Authors: We have added this time point detail here to provide context. Please suggest if this is appropriate or you would prefer an alternate approach)

    - Talent twisting the alcohol-containing sipper bottles into the lickometer openings.

    - SCREEN: Show the Intermittent Alcohol.experiment file being loaded.

    - SCREEN: Show recording being started in the software.

  - Verify that the program successfully switched from the “Water Access ONLY” to the “Alcohol Access ON” module [1] and the visits, nosepokes, and licks were recorded by the software for each mouse [2]. Confirm that all motorized doors are opening properly [3].

    - SCREEN: Show the program module switched from Water Access ONLY to Alcohol Access ON

    - SCREEN: Show visit, nosepoke, and lick events being recorded for each mouse.

    - Shot of the motorized doors opening properly. (Authors: Please specify if this step can be seen virtually on the software application? If yes, this shot will be changed to a SCREEN shot, and the screen capture for this needs to be provided.)

  - After completion of 24-hour intermittent alcohol access period, verify that the licks got recorded in the operant corners containing alcohol [1]. Perform a cage change [1] and remove all sipper bottles during consecutive “Water Access ONLY” periods [2].

    - SCREEN: Show recorded lick data for the operant corners containing alcohol.

    - Talent performing the cage change.

    - Talent removing all sipper bottles from the cage.

  - To assess punishment-insensitive drinking post experimental day 16, prepare 0.5 millimolar and 1 millimolar quinine-adulterated 20 percent alcohol [1]. Fill each sipper bottle in the alcohol corners with approximately 250 milliliters of 0.5 millimolar quinine-adulterated 20 percent alcohol solution [2].

    - Talent preparing the quinine-adulterated 20 percent alcohol solutions.

    - Talent filling each alcohol-corner sipper bottle with 0.5 millimolar quinine-adulterated 20 percent alcohol solution.

  - Gently twist the new alcohol-containing sipper bottles into the lickometer openings to ensure a tight connection to the lickometer [1]. Load the Intermittent Alcohol.experiment file [2] and start recording as demonstrated previously [3]. (Authors: We have omitted these steps to avoid redundancy. Please let us know if this works for you, or if you would prefer them to be explicitly included.)

    - Talent twisting the new alcohol-containing sipper bottles into the lickometer openings.

    - SCREEN: Show the Intermittent Alcohol.experiment file being loaded.

    - SCREEN: Show recording being started in the software.

  - Before twelve-thirty PM on the next alcohol day, replace each bottle in the alcohol corner with approximately 250 milliliters of 1 millimolar quinine-adulterated 20 percent alcohol solution [1]. Keep the experiment running during the bottle switch [2].

    - Talent replacing each alcohol-corner bottle with 1 millimolar quinine-adulterated 20 percent alcohol solution.

    - SCREEN: Show that the experiment remains running during the bottle switch.

  - On the next alcohol day, before twelve-thirty PM, remove sipper bottles containing adulterated alcohol [1]. Replace each bottle with approximately 250 milliliters of unadulterated 20 percent alcohol for the free-access alcohol drinking phase [2].

    - Talent removing sipper bottles containing adulterated alcohol.

    - Talent replacing each removed bottle with unadulterated 20 percent alcohol.

- Data Analysis of Drinking Behaviors in Control and LBN Mice

Demonstrator: Click here to enter name of demonstrator(s)

  - Compile all data, including zip files output by the Controller application and the CSV (C-S-V) file containing mouse body weight data [1].

    - SCREEN: Show the zip files output by the Controller application and the CSV files data being compiled.

  - Download the R project template from the GitHub repository [1]. Rename the project to match the experiment [2].

    - SCREEN: Show the GitHub repository and download the R project template.

    - SCREEN: Show the project folder being renamed to match the experiment.

  - Open the data/C1 subfolder containing the sample data files [1]. Replace the archive files with the personalized data archives [2].

    - SCREEN: Show the data/C1 subfolder containing the sample data files.

    - SCREEN: Show the sample archive files being replaced with personalized data archives.

  - Launch RStudio [1] and open the project [2].

    - SCREEN: Show RStudio launching.

    - SCREEN: Show the project opening in RStudio.

  - In the files section at the bottom right corner of RStudio, navigate to the qmd (Q-M-D) folder [1]. Open the IC_template.qmd file [2].

    - SCREEN: Show the files section at the bottom right corner of RStudio and navigate to the qmd folder.

    - SCREEN: Show the IC_template.qmd file being opened.

  - Duplicate the template file [1] and rename it to match the experiment [2].

    - SCREEN: Show the template file being duplicated.

    - SCREEN: Show the duplicated file being renamed to match the experiment.

  - Adjust the metadata in the YAML header portion of the duplicated file [1]. Then, adjust the initial code chunk [2].

    - SCREEN: Show the metadata in the YAML header being adjusted.

    - SCREEN: Show the initial code chunk being adjusted.

  - Adjust the group names in the IC_Commons.R file in the R directory to match the experimental groups [1]. Replace the template group names, Control and LBN, as needed [2]. Run the notebook file [3].

    - SCREEN: Show the IC_Commons.R file in the R directory and adjust the group names.

    - SCREEN: Show the template group names Control and LBN being replaced.

    - SCREEN: Show the notebook file running in RStudio.

# Results

Please review this section to make sure that it accurately reflects your findings.

- This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 077.

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

  - Across all days of intermittent alcohol drinking, both control [1] and limited bedding and nesting, or LBN-reared mice showed wide variations in the daily alcohol licks relative to their body weights [2].

    - LAB MEDIA: Figure 6A. Video Editor: Please emphasize the left side of the graph showing lines with gray points along with the heading “Control”

    - LAB MEDIA: Figure 6A. Video Editor: Please emphasize the right side of the graph showing lines with pink points along with the heading “LBN”

  - LBN-reared mice generally drank more alcohol per gram of body weight [1] than controls during intermittent drinking [2].

    - LAB MEDIA. Figure 6A. Video Editor: Please emphasize the regions corresponding to X-axis value 6 and beyond in both “Control” and “LBN” panels simultaneously

  - Similarly, in punishment-insensitive drinking, control mice showed a general reduction in mean alcohol licks per day [1], whereas the LBN-reared mice didn’t show a significant difference in alcohol intake [2].

    - LAB MEDIA. Figure 6B. Video Editor: Please emphasize the heights of the lines within the yellow highlighted range in “Control” panel

    - LAB MEDIA. Figure 6B. Video Editor: Please emphasize the heights of the lines within the yellow highlighted range in “LBN” panel.