# Submission ID #: 71345

# Scriptwriter Name: Kathyayani Sridharan

# Project Page Link: https://review.jove.com/account/file-uploader?src=21760273

# Title: Automated Operant Intermittent Alcohol Drinking in Socially-Housed Mice via the Intellicage Testing System

# Authors and Affiliations:

# Lucy G Anderson, Roland Bock, Theodore H Averbeck, Veronica A Alvarez

# Section on Neurobiology of Compulsive Behaviors, National Institute on Mental Health, Intramural Research Program, National Institutes of Health, Bethesda

# Corresponding Authors:

# Veronica A Alvarez			alvarezva@mail.nih.gov

# Email Addresses for All Authors:

Lucy G Anderson 			lgander@stanford.edu

Roland Bock 				roland.bock@nih.gov

Theodore H Averbeck			theohaverbeck@gmail.com

Veronica A Alvarez			alvarezva@mail.nih.gov

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar? No

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Yes

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

Authors: Please create screen capture videos for shots labelled as SCREEN, create a screenshot summary, and upload the files to your project page as soon as possible: https://review.jove.com/account/file-uploader?src=21760273

3. Filming location: Will the filming need to take place in multiple locations?   Yes,  in same building, just on two different floors (accessible by elevator)

4. Testimonials (optional): Would you be open to filming two short testimonial statements live during your JoVE shoot? These will not appear in your JoVE video but may be used in JoVE’s promotional materials. Yes

Current Protocol Length

Number of Steps: 22

Number of Shots:  52 (26 SC)

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

Authors: Please note that the questions will not appear on screen. Please answer in stand-alone full sentence with sufficient context

Note: The statements have been edited for length and clarity

INTRODUCTION:

REQUIRED: Summarize your research focus and the main questions it aims to answer.

  - Lucy Anderson: Our lab focuses on the cellular and circuit mechanisms mediating compulsive behaviors, specifically individual vulnerability to compulsive alcohol drinking.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Describe the research gap or limitation in existing methods and how this protocol addresses them.

  - Lucy Anderson: Unlike conventional alcohol use disorder preclinical models, we present a high-throughput social alcohol drinking task without isolation stress confounds.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

CONCLUSION:

What does this protocol allow researchers to study or measure?

  - Lucy Anderson: Automated, home-cage monitoring systems, such as the IntelliCage, enable long-term assessment of operant, alcohol drinking behaviors in group-housed mice.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Are there any additional methods or analyses that can be performed following this procedure?

  - Lucy Anderson: We present adaptable code for preliminary analysis of operant intermittent alcohol-drinking paradigm data, customizable for specific research applications.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

How can future studies build on this work? Describe the questions or research directions that can be investigated next.

  - Lucy Anderson: This flexible AUD paradigm easily adapts for chronic drinking, punishment-insensitive testing, or variable operant ratios.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Videographer: Obtain headshots for all authors available at the filming location.

# `Testimonial Questions (OPTIONAL):

# Videographer: Please capture all testimonial shots in a wide-angle format with sufficient headspace, as the final videos will be rendered in a 1:1 aspect ratio. Testimonial statements will be presented live by the authors, sharing their spontaneous perspectives.

- Testimonial statements will not appear in the video but may be featured in the journal’s promotional materials.

- Provide the full name and position (e.g., Director of [Institute Name], Senior Researcher [University Name], etc.) of the author delivering the testimonial.

- Please answer the testimonial question live during the shoot, speaking naturally and in your own words in complete sentences.

What problem in your field of research does your JoVE article address?

  - Lucy Anderson, former Post-Baccalaureate Fellow, Laboratory on the Neurobiology of Compulsive Behaviors: (authors will present their testimonial statements live)

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

What value do you expect this video article to have for other researchers working in your field?

  - Lucy Anderson, former Post-Baccalaureate Fellow, Laboratory on the Neurobiology of Compulsive Behaviors: (authors will present their testimonial statements live)

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# Ethics Title Card

This research has been approved by the Institutional Animal Care and Use Committee (IACUC) at National Institutes of Health, Bethesda

# Protocol

Videographer: Please always record an audio slate while filming each shot mentioned in the shotlist.

- IntelliCage Setup for Socially Housed Murine Alcohol Behaviors

Demonstrator: Lucy Anderson

  - To begin, equip the plastic home cage with 5 compressed cotton fiber pads [1-TXT] and 2 small cotton squares [2-TXT]. Place 4 plastic burrowing structures for bedding and enrichment [3]. Place the top lid with operant corners onto the plastic home cage [4].

    - WIDE: Talent arranging the compressed cotton fiber pads inside the plastic home cage. TXT= Fiber pads= 15.24 x 25.4 cm Videographer: Please obtain CU shot as well for this shot.

    - Talent placing the small cotton squares into the plastic home cage. TXT: cotton squares= 5.08 x 5.08 cm

    - Talent placing the plastic burrowing structures inside the home cage.

    - Talent positioning the top lid with operant corners over the plastic home cage.

  - Use provided cables to connect all operant corners to the central microprocessor [1]. Use CAN (Can) cables to connect the central microprocessor to a computer preloaded with TSE (T-S-E) software [2]. Connect all cages with separate male and female control and limited bedding and nesting, or LBN (L-B-N) animal groups serially to the same computer [3].

    - Talent connecting the operant corners to the central microprocessor with the provided cables.

    - Talent connecting the central microprocessor to the computer with CAN cables.

    - Talent showing multiple cages in series connected to the same computer.

  - Connect the microprocessor to the power source [1]. Ensure that the LED (L-E-D) lights in each corner switch on [2] and that all 8 motorized doors move [3].

    - Talent connecting the microprocessor to the power source.

    - Talent checking the LED lights switching on in each corner. Videographer: Please capture the LED lights in each corner

    - Talent checking the motorized doors moving. Videographer: Please capture the shot of the doors moving

  - Fill 8 sipper bottles with approximately 250 milliliters each of tap water or another liquid [1]. Securely press on the caps to ensure a proper seal [2]. Gently twist the sipper bottles into the lickometer openings to ensure a tight connection to the lickometer [3]. Fill the food hopper with rodent chow [4].

    - Talent filling the sipper bottles with tap water.

    - Talent pressing caps securely onto the filled sipper bottles.

    - Talent twisting the filled sipper bottles into the lickometer openings.

    - Talent filling the food hopper with rodent chow.

- Running the Operant, Intermittent Alcohol Drinking Experiment

Demonstrator: Lucy Anderson

  - After verifying the readability of RFID (R-F-I-D) transponders implanted in experimental mice and recording their body weights, place up to 16 same-sex mice in the prepared IntelliCage apparatus [1-TXT]. Turn on the computer [2]. Open the Controller application to load the desired experiment file [3]. Load the Habituation.experiment file into the “Controller” application and start recording to ensure all visits, nosepokes, and licks are being captured whenever a mouse enters the operant corner [4]. Following 24 hours of habituation, run the Water Training.experiment file to check and verify that all mice learnt to nosepoke on an FR-3 (fixed ratio-three) schedule to access the sipper bottle nozzles [5].

    - Talent placing the RFID transponder-implanted mice in prepared IntelliCage apparatus. TXT: RFID: Radiofrequency Identification

    - Talent turning on the computer.

    - SCREEN: Show the Controller application opening on the computer.

    - SCREEN: Show the Habituation.experiment file loaded on the Controller application and the data recording

    - SCREEEN: Show the Water Training.experiment file loaded and show the data pertaining to mice performance in the FR-3 schedule.

  - To begin intermittent alcohol drinking after successful water training, prepare 20 percent alcohol using 95 percent ethanol, 190 proof, in tap water, volume per volume, at approximately 250 milliliters per bottle [1].

    - Talent preparing the 20 percent alcohol solution.

  - Remove the sipper water bottles in operant corners 2 and 4 [1]. Replace each bottle with approximately 250 milliliters of 20 percent alcohol [2].

    - Talent removing the sipper bottles from the specified operant corners.

    - Talent replacing each removed bottle with a bottle containing 20 percent alcohol.

  - Stop running the Water Training.experiment file [1]. Load the Intermittent Alcohol.experiment file [2].

    - SCREEN: Show the Water Training.experiment file and stop the running experiment.

    - SCREEN: Show the Intermittent Alcohol.experiment file being loaded.

  - After starting the mice on the "Water Access Only" module, verify the system switches to "Alcohol Access ON" at twelve-thirty PM  the following day, and that licks are recorded in operant corners 2 and 4 [1]. Throughout the experiment, regularly check that the software records visits, nosepokes, and licks for each mouse [2]. Confirm that all motorized doors are opening properly [3].

    - SCREEN: Show the program module switched from Water Access ONLY to Alcohol Access ON

    - SCREEN: Show visit, nosepoke, and lick events being recorded for each mouse. the motorized doors opening properly.

    - Talent checking that the motorized doors are opening properly. Videographer: Please capture the opening of the motorized doors.

  - Next, replace the alcohol and water bottles while performing the cage changes at least once per week during the "Water Access ONLY" periods [1].

    - Talent replacing all sipper bottles from the cage.

  - To assess punishment-insensitive drinking, prepare 0.5 millimolar and 1 millimolar quinine-adulterated 20 percent alcohol [1]. Fill each sipper bottle in the alcohol corners with approximately 250 milliliters of 0.5 millimolar quinine-adulterated 20 percent alcohol solution [2].

    - Talent preparing the quinine-adulterated 20 percent alcohol solutions.

    - Talent filling each alcohol-corner sipper bottle with 0.5 millimolar quinine-adulterated 20 percent alcohol solution.

  - Load the Intermittent Alcohol.experiment file [1] and start recording as demonstrated previously [2].

    - SCREEN: Show the Intermittent Alcohol.experiment file being loaded.

    - SCREEN: Show recording being started in the software.

  - After the first quinine adulterated alcohol day, replace each bottle in operant corner 2 and 4 with approximately 250 milliliters of 1 millimolar quinine-adulterated 20 percent alcohol solution [1]. Keep the experiment running during the bottle switch [2].

    - Talent replacing each alcohol-corner bottle with 1 millimolar quinine-adulterated 20 percent alcohol solution.

    - SCREEN: Show that the experiment remains running during the bottle switch.

  - After the second quinine-adulterated alcohol day, remove sipper bottles containing adulterated alcohol [1]. Replace each bottle with approximately 250 milliliters of unadulterated 20 percent alcohol and return mice to intermittent alcohol drinking or free-access alcohol drinking phase [2].

    - Talent removing sipper bottles containing adulterated alcohol.

    - Talent replacing each removed bottle with unadulterated 20 percent alcohol.

- Data Analysis of Drinking Behaviors in Control and LBN Mice

Demonstrator: Roland Bock

  - Compile all data, including zip files output by the Controller application and the CSV (C-S-V) file containing mouse body weight data [1].

    - SCREEN: Show the zip files output by the Controller application and the CSV files data being compiled.

  - Download the R project template from the GitHub repository [1]. Rename the project to match the experiment [2].

    - SCREEN: Show the GitHub repository and download the R project template.

    - SCREEN: Show the project folder being renamed to match the experiment.

  - Open the data/C1 subfolder containing the sample data files [1]. Replace the archive files with the personalized data archives [2].

    - SCREEN: Show the data/C1 subfolder containing the sample data files.

    - SCREEN: Show the sample archive files being replaced with personalized data archives.

  - Launch RStudio [1] and open the project [2].

    - SCREEN: Show RStudio launching.

    - SCREEN: Show the project opening in RStudio.

  - In the files section at the bottom right corner of RStudio, navigate to the qmd (Q-M-D) folder [1]. Open the IC_template.qmd file [2].

    - SCREEN: Show the files section at the bottom right corner of RStudio and navigate to the qmd folder.

    - SCREEN: Show the IC_template.qmd file being opened.

  - Duplicate the template file [1] and rename it to match the experiment [2].

    - SCREEN: Show the template file being duplicated.

    - SCREEN: Show the duplicated file being renamed to match the experiment.

  - Adjust the metadata in the YAML header portion of the duplicated file [1]. Then, adjust the initial code chunk [2].

    - SCREEN: Show the metadata in the YAML header being adjusted.

    - SCREEN: Show the initial code chunk being adjusted.

  - Adjust the group names in the IC_Commons.R file in the R directory to match the experimental groups [1]. Replace the template group names, Control and LBN, as needed [2]. Run the notebook file [3].

    - SCREEN: Show the IC_Commons.R file in the R directory and adjust the group names.

    - SCREEN: Show the template group names Control and LBN being replaced.

    - SCREEN: Show the notebook file running in RStudio.

# Results

- Results

  - Across all days of intermittent alcohol drinking, both control [1] and LBN-reared mice showed wide variations in the daily alcohol licks relative to their body weights [2].

    - LAB MEDIA: Figure 6A. Video Editor: Please emphasize the left side of the graph showing lines with gray points along with the heading “Control”

    - LAB MEDIA: Figure 6A. Video Editor: Please emphasize the right side of the graph showing lines with pink points along with the heading “LBN”

  - LBN-reared mice generally drank more alcohol per gram of body weight [1] than controls during intermittent drinking [2].

    - LAB MEDIA. Figure 6A. Video Editor: Please emphasize the regions corresponding to X-axis value 6 and beyond in both “Control” and “LBN” panels simultaneously

  - Similarly, in punishment-insensitive drinking, control mice showed a general reduction in mean alcohol licks per day [1], whereas the LBN-reared mice didn’t show a significant difference in alcohol intake [2].

    - LAB MEDIA. Figure 6B. Video Editor: Please emphasize the heights of the lines within the yellow highlighted range in “Control” panel

    - LAB MEDIA. Figure 6B. Video Editor: Please emphasize the heights of the lines within the yellow highlighted range in “LBN” panel.