# Submission ID #: 71458

# Scriptwriter Name: Kathyayani Sridharan

# Project Page Link: https://review.jove.com/account/file-uploader?src=21794738

# Title: High-Throughput Screening of L-Lactic Acid-Hyperproducing Bacillus coagulans Mutants Using an Automated Droplet Microfluidic Platform

# Authors and Affiliations:

# Xin Da*1,2, Shuang Li*2, Qingyuan Wang3, Xunxun Luo2, Dezhi Geng4, Xiaojie Guo5, Liyan Wang5, Dongliang Jiang3, Yi Wang2,6,7, Xin-Hui Xing2,8,9,10, Zhenglian Xue1, Chong Zhang2,6,7,10

# 1College of Biology and Food Engineering, Anhui Polytechnic University

# 2Ministry of Education Key Laboratory for Industrial Biocatalysis, Institute of Biochemical Engineering, Department of Chemical Engineering, Tsinghua University

# 3Henan Jindan Lactic Acid Technology Co., Ltd.

# 4Institute of Biopharmaceutical and Health Engineering, Tsinghua Shenzhen International Graduate School

# 5Jiangsu TMAXTREE Biotechnology Co., Ltd.

# 6Beijing Key Laboratory of Recombinant Proteins and Biomanufacturing

# 7State Key Laboratory of Green Biomanufacturing

# 8Institute of Biopharmaceutical and Health Engineering, Tsinghua Shenzhen International Graduate School

# 9Key Laboratory of Active Proteins and Peptides, Green Biomanufacturing of Guangdong Higher Education Institutes, Tsinghua Shenzhen International Graduate School

# 10Center for Synthetic and Systems Biology, Tsinghua University

*These authors contributed equally

# Corresponding Authors:

Zhenglian Xue 				xuezl@ahpu.edu.cn

# Chong Zhang 					chongzhang@tsinghua.edu.cn

# Email Addresses for All Authors:

Xin Da 					3043412334@qq.com

Shuang Li 					lishuang24@mails.tsinghua.edu.cn

Qingyuan Wang 				865359253@qq.com

Xunxun Luo 					2644295692@qq.com

Dezhi Geng 					gdezhi9@163.com

Xiaojie Guo 					guoxjustc@163.com

Liyan Wang 					wangliyan@biobreeding.com

Dongliang Jiang 				517482318@qq.com

Yi Wang 					wangyi671@mail.tsinghua.edu.cn

Xin-Hui Xing					xhxing@tsinghua.edu.cn

Zhenglian Xue 				xuezl@ahpu.edu.cn

Chong Zhang 					chongzhang@tsinghua.edu.cn

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar? No

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage? Yes

3. Filming location: Will the filming need to take place in multiple locations? No

4. Testimonials (optional): Would you be open to filming two short testimonial statements live during your JoVE shoot? These will not appear in your JoVE video but may be used in JoVE’s promotional materials. No

Current Protocol Length

Number of Steps: 23

Number of Shots: 60 (23 SC)

# Interviews

Videographer: Obtain headshots for all authors available at the filming location.

Authors: Please note that the questions will not appear on screen. Please answer in stand-alone full sentence with sufficient context

Note: The statements have been slightly edited.

INTRODUCTION:

REQUIRED: Summarize your research focus and the main questions it aims to answer.

  - Xin Da: Our research focuses on developing a droplet microfluidic platform-based workflow for the rapid screening of high-yield microbial mutants.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Describe the research contexts or systems in which this protocol can be applied.

  - Xin Da: This protocol is for industrial microbial breeding, especially for culturable bacteria that secrete small‑molecule metabolites or enzymes and can be adapted for strict anaerobes.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

CONCLUSION:

What does this protocol allow researchers to study or measure?

  - Xin Da: This protocol measures secreted products and enriches the best producer strains from large mutant libraries via droplet sorting.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Describe the most important consideration or challenge when performing this protocol.

  - Xin Da: The key challenges include choosing a biosensor with high specificity for the target metabolite and optimizing culture conditions for both droplet stability and strong signals.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Are there any additional methods or analyses that can be performed following this procedure?

  - Xin Da: After sorting, microplate primary screening, shake‑flask validation, HPLC‑based L‑lactic acid quantification, and evaluation of genetic stability across four generations can be performed.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Videographer: Obtain headshots for all authors available at the filming location.

# Protocol

Videographer: Please always record an audio slate while filming each shot mentioned in the shotlist.

- High-Efficiency Single Cell Encapsulation of Mutant Bacillus coagulans

Demonstrator: Xin Da

  - To begin, pipette 300 microliters of fluorinated oil into the oil phase inlet vial [1] and 500 microliters of the bacterial suspension into the aqueous phase inlet vial prior to setting up in the microfluidic platform [2].

    - WIDE: Talent pipetting fluorinated oil into the oil phase inlet vial. Videographer: Please obtain CU shot as well for this shot.

    - Talent pipetting the bacterial suspension into the aqueous phase inlet vial.

  - After peeling off the tape on the droplet generation chip surface, connect the oil vial, sample vial, and collection vial to the chip's corresponding wells in sequence [1].

    - Talent connecting the vials to the corresponding chip wells.

  - After securing the chip on the microfluidic instrument stage, connect the air tubes to the inlet vials one by one according to the gas path labels [1]. Open the automated droplet microfluidic platform, or the DREM (Drem) Cell software [2]. Adjust the stage movement knob according to the arrow directions on the chip to move the field of view to the droplet generation site [3].

    - Talent connecting the air tubes to the inlet vials.

    - SCREEN: 71458_screening_1.mp4. 00:01–00:05; 00:14–00:16 (Authors: Please specify if the pronunciation of software name, as “Drem” is appropriate.)

    - Talent adjusting the stage movement knob. Videographer: Please capture the arrow directions on the chip.

  - Click on Imaging in the interface of the DREM Cell software to open the Imaging window [1]. Next, open the Camera MV window with a grid calibration panel to visualize the focal plane [2]. In the imaging window, drag the Brightness Control and Z-axis sliders to adjust image brightness and focus [3]. To initiate droplet generation, click Start under the Generation tab, then select Yes in the notification window [4]. Click the plus button next to the Speed and Size controls to increase both the generation speed and droplet size [5].

    - SCREEN: 71458_screening_2.mp4.00:00–00:04

    - SCREEN: 71458_screening_2.mp4.00:05–00:08

    - SCREEN: 71458_screening_2.mp4.00:09–00:12; 00:15–00:21

    - SCREEN: 71458_screening_3.mp4. 00:00–00:04

    - SCREEN: 71458_screening_3.mp4. 00:06–00:16

  - Once the droplet generation state remains consistent, quickly replace the collection vial for harvesting the water-in-oil samples [1]. To stop the droplet collection after 30 minutes, click Stop, then select Yes in the pop-up window [2].

    - Talent replacing the collection vial.

    - SCREEN: 71458_screening_3.mp4. 00:28–00:36

  - Gently remove the collection tube from the chip [1]. Place the tube and collection vial vertically and wait for the droplets in the tube to enter the collection vial [2].

    - Talent removing the collection tube from the chip.

    - Talent placing the tube and collection vial vertically.

- B. coagulans Micro Cultivation and Lactic Acid Sensor Pico-Injection

  - Add 1 milliliter of mineral oil to the collection tube [1]. Place the loosely capped collection tube upright inside a 15-milliliter centrifuge tube containing sterile water and incubate at 45 °C for 10 hours. [2].

    - Talent adding mineral oil to the collection tube.

    - Talent placing the collection tube upright in the 15-milliliter centrifuge tube.

  - For droplet pico-injection, pipette 300 microliters of fluorinated oil into the oil phase inlet vial in the laminar flow hood [1]. Replace the inlet vial cap on the collection tube with a new one [2]. Trim the new inlet vial tip to reach below the liquid level of the droplets in the sample vial [3]. Tighten the cap to prevent leakage [4].

    - Talent pipetting fluorinated oil into the oil phase inlet vial in the laminar flow hood.

    - Talent replacing the inlet vial cap with a new cap.

    - Talent trimming the tip of the new inlet vial.

    - Talent tightening the cap.

  - Pipette 500 microliters of the lactic acid sensor into the reagent inlet vial [1], then add 500 microliters of sterile phosphate-buffered saline buffer [2].

    - Talent pipetting the lactic acid sensor into the reagent inlet vial.

    - Talent adding sterile PBS buffer to the reagent inlet vial.

  - Use a blade to cut through the tape covering the electrode wells to expose the electrodes [1]. Set the multimeter to continuity mode and test the circuit connection and the chip's short-circuit status [2].

    - Talent cutting through the tape covering the electrode wells.

    - Talent testing the circuit connection with the multimeter.

  - After peeling off the tape on the chip surface, connect the oil vial, sample vial, reagent vial, and collection vial to the corresponding wells of the chip in sequence [1]. Secure and set up the chip on the stage as demonstrated previously [2].

    - Talent connecting the vials to the corresponding chip wells.

    - Talent placing and securing the chip on the stage.

  - After opening the software, adjust the stage movement knob according to the arrow directions on the chip to move the field of view to the electrode area of the droplet chip [1]. Under the Picoinjection tab, click Start, select Yes in the pop-up window, then click Start Picoinjection [2]. Click on Imaging to access and adjust the droplet Speed and spacing controls [3].

    - Talent adjusting the stage movement knob. Videographer: Please capture the arrow directions on the chip.

    - SCREEN: 71458_screening_4.mp4. 00:00–00:10

    - SCREEN: 71458_screening_4.mp4. 00:11–00:20

  - Wait for droplets to enter the field of view after initial air discharge [1]. Adjust the droplet injection speed, spacing between individual droplets, and injection volume by clicking the plus and minus buttons of Speed, Distance, and Reagent Volume controls [2].

    - SCREEN: 71458_screening_14.mp4. 00:00–00:06 (Authors: Please suggest if this screen capture is appropriate to be placed here.)

    - SCREEN: 71458_screening_5.mp4. 00:00–00:06; 00:11–00:17; 00:26–00:30

  - Double-click the MindVision software icon to open the camera panel for observing the stable droplet injection into the sensor [1]. After stabilization, quickly replace the collection vial to start droplet collection [2]. After 2 hours, click Stop to end the droplet pico-injection [3]. Gently remove the collection tube from the chip [4]. Place the tube and collection vial vertically and wait for the droplets in the tube to enter the collection vial [5].

    - SCREEN: 71458_screening_6.mp4. 00:00–00:07

    - Talent replacing the collection vial.

    - SCREEN: 71458_screening_5.mp4. 01:01–01:11

    - Talent removing the collection tube from the chip.

    - Talent placing the tube and collection vial vertically.

- Fluorescence-Activated Droplet Sorting of Lactic Acid-Hyperproducing Mutants

Demonstrator: Xin Da

  - In the laminar flow hood, pipette 300 microliters of fluorinated oil into the oil-phase inlet vial [1]. Replace the inlet vial cap of the collection tube containing microinjected droplets with a new cap [2].

    - Talent pipetting fluorinated oil into the oil phase inlet vial.

    - Talent replacing the inlet vial cap of the collection tube.

  - After exposing the electrodes and confirming normal circuit connection with the multimeter, peel off the tape on the chip surface [1]. Connect the oil vial, sample vial, and sorting collection vial to the corresponding wells of the chip in sequence [2].

    - Talent peeling tape from the chip surface.

    - Talent connecting the vials to the corresponding chip wells.

  - After securing the chip and connecting the air tubes to the inlet vials, open both MindVision and DREM Cell Imaging softwares [1]. Adjust the stage movement knob according to the arrow directions on the chip to move the field of view to the electrode area of the droplet chip [2]. Under the Sorting tab, click Start, select Yes in the pop-up window, then click Start Sorting [3].

    - SCREEN: 71458_screening_7.mp4. 00:04–00:16 (Authors: Please specify if this narration is appropriate.)

    - Talent adjusting the stage movement knob. Videographer: Please capture the arrow directions on the chip.

    - SCREEN: 71458_screening_8.mp4. 00:00–00:09

  - After completion of initial air discharge and setting the detection channel to 488 nanometers, toggle On to select the laser [1]. Click Record, then, under Real-time Signal Graph, select the dot plot and histogram icons to visualize the acquisition of droplet fluorescence signals [2]. To set the sorting threshold, click the rectangle tool in the dot plot window to select the top 0.1 percent of the total fluorescence signals, then set the deflection force to medium, and toggle the sorting switch to On [3]. Collect droplets with fluorescence signal values above this threshold [4].

    - SCREEN: 71458_screening_8.mp4. 00:10–00:16

    - SCREEN: 71458_screening_8.mp4. 00:17–00:26

    - SCREEN: 71458_screening_8.mp4. 00:55–01:10

    - SCREEN: 71458_screening_9.mp4. 00:28–00:35. Video Editor: Please emphasize the text “Sorted” and the dynamic values beside it in the given timestamp.

  - Click Data Recording again to re-record the fluorescence signals from the remaining droplets and sort the target droplets based on the set threshold [1]. After selecting the target droplet region, turn on the Sorting Switch and set the deflection force value [2]. Allow the equipment to start sorting droplets [3].

    - SCREEN: 71458_screening_9.mp4. 00:12–00:19

    - SCREEN: 71458_screening_9.mp4. 00:19–00:25

    - SCREEN: 71458_screening_10.mp4. 00:13–00:19

  - After the equipment stabilizes for 5 minutes, replace the collection vial to collect positive droplets [1]. Click Stop under the Sorting tab, then click Yes in the pop-up window to stop droplet sorting [2]. Gently remove the collection tube from the chip [3]. Place the tube and collection vial vertically to ensure that the droplets in the tube enter the collection vial [4].

    - Talent replacing the collection vial.

    - SCREEN: 71458_screening_11.mp4. 00:00–00:08

    - Talent removing the collection tube from the chip.

    - Talent placing the tube and collection vial vertically.

  - After droplet collection is completed, export the scatter plot data corresponding to the fluorescence signal values of all droplets and the sorted positive droplets to a spreadsheet for further analysis [1].

    - SCREEN: 71458_screening_12.mp4. 00:01–00:06 and 71458_screening_13.mp4, 00:00–00:06

  - Remove the chip, oil phase inlet vial, sample vial, and reagent vial from the stage [1]. Click on the Close icon, then select Yes in the pop-up window to close the software [2].

    - Talent removing the chip and vials from the stage.

    - SCREEN: 71458_screening_11.mp4. 00:13–00:26

  - Add 500 microliters of demulsifier to the droplet collection tube [1-TXT]. After 5 minutes, add 500 microliters of fresh screening medium for recovery, followed by culture validation of high-yielding strains [2].

    - Talent adding demulsifier to the droplet collection tube. TXT: Demulsifier: 1H, 1H, 2H, 2H-perfluorooctanol

    - Talent adding fresh screening medium to the droplet collection tube.

# Results

- Results

  - In vitro characterization of the lactic acid sensor showed that the fluorescence intensity increased with increasing concentrations from 100 micromolar to 10 millimolar [1].

    - LAB MEDIA: Figure 5A. Video editor: Please emphasize the rising curve at X-axis value 100 µM to 10000 µM, while simultaneously highlighting the highest bar in the inset image labelled L-lactate.

  - The sensor’s recovery rate measurement to validate the lactic acid detection showed a rate of approximately 109 percent in screening medium [1] and 98 percent in aqueous solution [2], with relative standard deviations remaining below 5 percent [3].

    - LAB MEDIA: Figure 5C. Video editor: Highlight the bar labelled 'Medium' along with the value 108.81 mentioned in the table above.

    - LAB MEDIA: Figure 5C. Video editor: Highlight the bar labelled 'H2O' along with the value 98.39 mentioned in the table above.

    - LAB MEDIA: Figure 5C. Video editor: Highlight the column STD% in the table along with the values under it.

  - The sensor exhibited excellent linearity in the range of 0 to 0.6 grams per litre after 5 minutes of mixing 1 in 1 ratio with L-lactic acid standards in microplate assays [1]. During droplet-based screening validation on the microfluidic platform, the sensor exhibited a significant rightward shift in fluorescence signal with increasing L-lactic acid concentration [2].

    - LAB MEDIA: Figure 5D. Video editor: Highlight the red-color trend line and the legend corresponding to red dot labelled '5 min' simultaneously.

    - LAB MEDIA: Figure 5E. Video editor: Except the control histogram on the extreme left and its corresponding legend, highlight each histogram peak with its corresponding legend one-by-one simultaneously.

  - Dynamic monitoring of the growth status of the bacterial strains in pico-injected droplets showed that they entered the logarithmic phase at 6 hours of culture [1], and bacterial biomass in the droplets increased significantly at 10 hours [2].

    - LAB MEDIA: Figure 6A. Video editor: Highlight the droplet image labelled '6 h'.

    - LAB MEDIA: Figure 6A. Video editor: Highlight the droplet image labelled '10 h'.

  - Equal volume injection of sensor into droplets cultured for different durations showed the significantly enhanced fluorescence signal of the droplets after 10 hours of culture [1], indicating 10 hours as the optimal culture time for strains in droplets [2].

    - LAB MEDIA: Figure 6B. Video editor: Highlight the red dotted circle in the fluorescence panel corresponding to '10 h' image.

    - LAB MEDIA: Figure 6B. Video editor: Highlight the red dotted circle in the bright field panel corresponding to '10 h' image.