# Submission ID #: 71469

# Scriptwriter Name: Poornima G

# Project Page Link: https://review.jove.com/account/file-uploader?src=21798093

# Title: Combined Assessment of Body Composition and Neuromuscular Performance in Clinical Practice

# Authors and Affiliations:

# Marco A. Minetto1*, Marta Boccardo1, Chiara Busso1, Marco Trucco2, Alberto Botter3, Steven B. Heymsfield4, Angelo Pietrobelli4,5

# 1Division of Physical Medicine and Rehabilitation, Department of Surgical Sciences, University of Turin

# 2Presidio Sanitario San Camillo, Opera San Camillo Foundation

# 3Laboratory for Engineering of the Neuromuscular System (LISiN), Department of Electronics and Telecommunication, Politecnico di Torino

# 4Pennington Biomedical Research Centre

# 5Department of Surgical Sciences, Dentistry, Gynaecology and Paediatrics, Paediatric Unit, University of Verona

☒   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

# Marco A. Minetto                          marco.minetto@unito.it

# Email Addresses for All Authors:

# Marta Boccardo                            marta.boccardo@polito.it

# Chiara Busso                                  chiara.busso@unito.it

# Marco Trucco                                marco.trucco@unito.it

# Alberto Botter                               alberto.botter@polito.it

# Steven B. Heymsfield                   steven.heymsfield@pbrc.edu

# Angelo Pietrobelli                         angelo.pietrobelli@univr.it

# Marco A. Minetto                         marco.minetto@unito.it

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  No

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Yes

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   No

If Yes, how far apart are the locations? Click to enter distance between locations.

4. Testimonials (optional): Would you be open to filming two short testimonial statements live during your JoVE shoot? These will not appear in your JoVE video but may be used in JoVE’s promotional materials. No

If Yes, please provide the full name and position (e.g., Director of [Institute Name], Senior Researcher [University Name], etc.) of the author willing to participate.

Enter full author name, Enter author position

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  23

Number of Shots:  38 (30 SC)

# Interviews

Videographer: Obtain headshots for all authors available at the filming location.

Answers to these questions will become interview statements that you will deliver on camera.

- Introduction: Answer the 1st REQUIRED prompt and 1 additional question; Conclusion: Answer any 3 questions. No more than 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- Speak naturally and avoid reading the lines.

- Limit the length of each statement to 20 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

Authors: Please note that the questions will not appear on screen. Please answer in stand-alone full sentence with sufficient context

INTRODUCTION:

REQUIRED: Summarize your research focus and the main questions it aims to answer.

  - Steven Heymsfield: This study evaluated a multifrequency bioelectrical impedance analyzer and a force analyzer that when combined gives novel information on a person’s muscle mass and function.

Describe the research gap or limitation in existing methods and how this protocol addresses them.

  - Steven Heymsfield: This combined technology fills an important gap in evaluation of patient musculoskeletal mass and function, key clinical markers of multiple health outcomes.

Describe the research contexts or systems in which this protocol can be applied.

  - Steven Heymsfield: This unique feature of these combined body composition and muscle function measurements is that the devices are adapted for use in clinical settings, an area now lacking in this kind of practical technology.

CONCLUSION:

What does this protocol allow researchers to study or measure?

  - Marco A. Minetto: Bioelectrical impedance analysis enables to estimate clinically relevant body composition variables such as total body water and fat free mass, while the chair stand test enables to evaluate leg strength, standing speed, and stability.

Describe the most important consideration or challenge when performing this protocol.

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Are there any additional methods or analyses that can be performed following this procedure?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

How can future studies build on this work? Describe the questions or research directions that can be investigated next.

  - Angelo Pietrobelli: Among the many new questions, the methods we described will put forth the question of what biomarkers are associated with various disease states. Do changes in body composition and neuromuscular performance precede and predict the occurrence of clinical symptoms?

Videographer: Obtain headshots for all authors available at the filming location.

# Ethics Title Card

This research has been approved by the Ethics Committee of the University of Turin and the Territorial Ethics Committees of Turin

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) with purple font are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that the videographer will capture.

Videographer: Please always record an audio slate while filming each shot mentioned in the shotlist.

- Subject Registration and Body Composition Assessment Setup

Demonstrator: Minetto Marco Alessandro

  - To begin, measure the subject's height to the nearest 0.5 centimeter using a stadiometer [1].

    - WIDE: Talent measuring the subject's height with a stadiometer.  Videographer: Please obtain CU shot as well for this shot.

  - Double-click the software icon on the desktop to launch the application [1] and navigate to the subject registration section [2]. Click on Add + (plus) to create a new subject profile [3].

    - SCREEN: Double-click the software icon on the desktop and show the application opening.

    - SCREEN: Navigate to the subject registration section within the software.

    - SCREEN: Click on Add + and display the new subject profile form.

Authors: Please create screen capture videos of the shots labeled as SCREEN, write a screenshot summary, and upload the files to your project page as soon as possible:

Watch this video and apply the settings while capturing the screen to obtain high-quality videos: https://www.youtube.com/watch?v=Y67dM1kKcTE

  - Enter the subject's gender, last name, first name, and date of birth [1]. Enter the address, ZIP code, country, e-mail address, telephone number, and mobile number [2]. Click on Save [3].

    - SCREEN: Enter the subject's gender, last name, first name, and date of birth in the profile form.

    - SCREEN: Enter the address, ZIP code, country, e-mail address, telephone number, and mobile number.

    - SCREEN: Click on Save to save the subject profile.

  - Click on Go to home screen. Then, click on the rightmost button to proceed [1].

    - SCREEN: Click on Go to home screen. Click on the rightmost button to continue.

  - Click on Analysis to proceed to the assessment setup [1].

    - SCREEN: Click on Analysis and display the assessment setup screen.

  - Select Standard or Athlete as the body type according to the subject's activity level [1]. Enter the subject's height and clothing weight [2]. Click on Start Analysis [3].

    - SCREEN: Select Standard or Athlete in the body type settings.

    - SCREEN: Enter the subject's height and clothing weight.

    - SCREEN: Click on Start Analysis to begin the assessment.

- Body Composition Measurement

Demonstrator: Minetto Marco Alessandro

  - Instruct the subject to step onto the device [1] and follow the on-screen instructions [2].

    - Talent instructing the subject and subject stepping onto the device.

    - SCREEN: Show the on-screen instructions during device setup.

  - Instruct the subject to hold the hand electrodes with the arms relaxed and straight, held slightly away from the torso, during the measurement [1].

    - Talent instructing the subject to hold the hand electrodes with the arms relaxed and straight, held slightly away from the torso.

  - Ask the subject to return the hand electrodes [1] and step off the device after the measurement is complete [2].

    - Talent asking the subject to return the hand electrodes.

    - Talent asking the subject to step off the device after the measurement is complete.

  - Review the automatically generated body composition report [1].

    - SCREEN: Show the automatically generated body composition report.

  - Record the fat-free mass, muscle mass, fat mass, body fat percentage, and basal metabolic rate [1]. Then, click on Save [2]. Share the results by clicking on Share [3].

    - SCREEN: Record the fat-free mass, muscle mass, fat mass, body fat percentage, and basal metabolic rate from the report.

    - SCREEN: Click on Save.

    - SCREEN: Click on Share to share the results.

- Neuromuscular Performance Assessment Setup

Demonstrator: Minetto Marco Alessandro

  - Open the software and click on the application window [1]. Enter the password and click on Next [2].

    - SCREEN: Open the software and Click on the application window.

    - SCREEN: Enter the password. Click on Next.

  - Click on Muscle Function. Then, click on Register [1].

    - SCREEN: Click on Muscle Function. Click on Register.

  - Enter the name, date of birth, gender, body weight, height, and body type [1]. Select Standard if the subject is sedentary or recreationally active, or select Athlete if the subject performs 12 or more hours of exercise per week or participates in organized team or individual sports that involve regular competition and require systematic training [2].

    - SCREEN: Enter the name, date of birth, gender, body weight, and height.

    - SCREEN: Select Standard or Athlete as the body type.

  - Click on Register and Start Measurement [1].

    - SCREEN: Click on Register and Start Measurement.

- Sit-to-Stand Muscle Function Test

Demonstrator: Minetto Marco Alessandro

  - Ask the subject to place both feet on the two metal plates of the platform [1].

    - Subject placing both feet on the two metal plates of the platform.

  - Select 1, 2, or 3 sit-to-stand repetitions and click on Start Measurement [1].

    - SCREEN: Select 1, 2, or 3 sit-to-stand repetitions.  Click on Start Measurement.

  - Instruct the subject to sit upright with the arms crossed over the chest and the knees flexed to approximately 70 degrees [1].

    - Subject sitting upright with the arms crossed over the chest and the knees flexed to approximately 70 degrees.

  - Instruct the subject to stand as quickly as possible when prompted [1] and to sit down when instructed by the system [2].

    - Subject standing as quickly as possible when prompted.

    - Subject sitting down when instructed by the system.

  - Inform the subject that the test is complete when the audio message indicates the end of the measurement [1].

    - Talent informing the subject that the test is complete by gesturing.

  - Click on Back, Exit, or Print Out to close the session and review the automatically generated report [1].

    - SCREEN: Click on Back, Exit, or Print Out to close the session. Show the automatically generated report.

  - Record the leg muscle strength, standing speed, and stability values [1]. Review the strength and stability T-score graph to evaluate overall neuromuscular performance [2].

    - SCREEN: Record the leg muscle strength, standing speed, and stability values.

    - SCREEN: Show the strength and stability T-score graph.

  - Print the report by clicking on Print Out [1].

    - SCREEN: Click on Print Out to print the report.

# Results

Please review this section to make sure that it accurately reflects your findings.

- This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 170.

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

  - Results were obtained for body composition[1] and neuromuscular performance immediately after the assessment [2].

    - LAB MEDIA: Figure 1

    - LAB MEDIA: Figure 2C

  - Body composition and neuromuscular performance variables were compared between four representative male subjects: an athlete, a sedentary healthy subject, a person with obesity, and a patient with Parkinson's disease [1].

    - LAB MEDIA: Table 2 Video editor: highlight the columns for athlete, sedentary, Obese, patient with Parkinson’s sequentially when the VO mentions those names

  - Hydration status was within the expected range in the athlete, sedentary healthy subject, and patient with Parkinson's disease [1], whereas lower values were observed in the person with obesity [2].

    - LAB MEDIA: Table 2. Video editor: Highlight the total body water/body weight ratio row across athlete, sedentary, patient with Parkinson’s columns.

    - LAB MEDIA: Table 2. Video editor: Highlight the total body water/body weight ratio row in Obese column.

  - The sarcopenia index was within the normal range in the athlete, sedentary healthy subject, and person with obesity [1], but was reduced in the patient with Parkinson's disease at 7.15 kilogram per square meter [2].

    - LAB MEDIA: Table 2. Video editor: Highlight the sarcopenia index row across athlete, sedentary,and obese patient with Parkinson’s columns.

    - LAB MEDIA: Table 2. Video editor: Highlight the sarcopenia index row in Parkinson’s column.

  - Total-body phase angle and extracellular water-to-intracellular water resistance ratios showed different highest and lowest values across the athlete, person with obesity, and patient with Parkinson's disease [1].

    - LAB MEDIA: Table 2. Video editor: Highlight the total-body phase angle, total-body extracellular water-to-intracellular water resistance ratio, and lower-limb extracellular water-to-intracellular water resistance ratio rows.

  - The athlete and sedentary healthy subject exhibited normal muscle mass and neuromuscular performance characteristics [1], whereas the patient with Parkinson's disease displayed reduced muscle mass and impaired strength parameters consistent with a sarcopenic profile [2].

    - LAB MEDIA: Table 2. Video editor: Highlight the muscle mass, leg muscle strengths, rate of force development rows for the athlete and sedentary healthy subject.

    - LAB MEDIA: Table 2. Video editor: Highlight the muscle mass, leg muscle strengths, rate of force development rows for the patient with Parkinson's disease.

NOTE to the Authors:

You have two options for filming and submitting the SCREEN footage:

Option 1: Uploading Separate Clips (Highly Recommended)

Please upload a separate video file for each SCREEN shot (tagged as SCREEN), naming the file according to the shot number (e.g., 2.4.3, 1.5.1, 3.2.1, 3.1.3, etc.).

- Each clip must be a maximum of 20 to 25 seconds to match the voice narration.

- If an action takes longer, provide only the best, most representative 20-25 second segment.

- Please do not provide longer clips as we won’t be able to use them.

Option 2: Uploading a Single Continuous Video

If you prefer to record all steps together and upload a single video file, that is acceptable. In this case, you must write the precise timestamp for each shot within the script.

For example, if the action described in shot 2.13.1 is present in the file xxx.mp4 and occurs between timestamps 00:30 and 00:45 , then write the following in the script after each shot description or as a comment bubble.

(write the file name and timestamp after each shot): [File name] [Start Time]-[End Time]

- Example 	2.13.1  SCREEN: performing ...........action. xxx.mp4 00:30-00:45

2.13.2, SCREEN: cutting the…..........action. xxx.mp4 01:10-01:20

- The duration between the start and end times for each shot must be limited to 20 to 25 seconds.

- If a shot is longer than 25 seconds, choose two short segments (one at the beginning and one at the end) that collectively do not exceed 25 seconds.

- Example: 3.1.1 SCREEN: inserting a needle... xxx.mp4 00:00-00:10 and 02:30-02:40