# Submission ID #: 71526

# Scriptwriter Name: Kathyayani Sridharan

# Project Page Link: https://review.jove.com/account/file-uploader?src=21815478

# Title: Colony-Forming Unit Assay Adapted for Patient-Derived Bone Marrow and Peripheral Blood Mononuclear Cells

# Authors and Affiliations:

# Mariapia Riso1,2,3, Prachiben P. Patel1,2,3, Jinghang Zhang4, Aditi Shastri1,2,3,5, Samarpana Chakraborty1,2,3

# 1Department of Developmental & Molecular Biology, Albert Einstein College of Medicine

# 2Ruth L. and David S. Gottesman Stem Cell Institute, Albert Einstein College of Medicine

# 3Montefiore-Einstein Comprehensive Cancer Center, Albert Einstein College of Medicine

# 4Albert Einstein Flow Cytometry Core, Albert Einstein College of Medicine

# 5Department of Hematology Oncology, Montefiore Medical Center, Albert Einstein College of Medicine

# Corresponding Authors:

Mariapia Riso			mariapia.riso@einsteinmed.edu

# Samarpana Chakraborty	samarpana.chakraborty1@einsteinmed.edu

# Email Addresses for All Authors:

Prachiben P. Patel		prachiben.patel@einsteinmed.edu
Jinghang Zhang		jinghang.zhang@einsteinmed.edu

Aditi Shastri			ashastri@montefiore.org

Mariapia Riso			mariapia.riso@einsteinmed.edu

Samarpana Chakraborty	samarpana.chakraborty1@einsteinmed.edu

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  No

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage? Yes, all done!

3. Filming location: Will the filming need to take place in multiple locations? Yes, Same building, same floor

4. Testimonials (optional): Would you be open to filming two short testimonial statements live during your JoVE shoot? These will not appear in your JoVE video but may be used in JoVE’s promotional materials. Yes

Current Protocol Length

Number of Steps: 14

Number of Shots: 52

# Interviews

Videographer: Obtain headshots for all authors available at the filming location.

INTRODUCTION:

REQUIRED: Summarize your research focus and the main questions it aims to answer.

  - Aditi Shastri: Our research investigates how genetic, epigenetic, and environmental stressors can drive hematopoietic stem cells toward leukemic transformation.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Describe the research contexts or systems in which this protocol can be applied.

  - Mariapia Riso: This CFU assay protocol provides a functional measure of therapeutic response in preclinical models of leukemia.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

CONCLUSION:

What does this protocol allow researchers to study or measure?

  - Samarpana Chakraborty: This assay measures the differentiation capacities of human or murine-derived HSCs into erythroid or myeloid lineages in response to treatment.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Are there any additional methods or analyses that can be performed following this procedure?

  - Prachiben P. Patel: Cells harvested from this assay can be used for several downstream analyses, such as flow cytometry, RT-qPCR, and western blotting.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

How can future studies build on this work? Describe the questions or research directions that can be investigated next.

  - Samarpana Chakraborty: This assay can help in the identification of promising therapeutic candidates for further preclinical testing, and eventually for translation into the clinic.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Videographer: Obtain headshots for all authors available at the filming location.

# `Testimonial Questions (OPTIONAL):

# Videographer: Please capture all testimonial shots in a wide-angle format with sufficient headspace, as the final videos will be rendered in a 1:1 aspect ratio. Testimonial statements will be presented live by the authors, sharing their spontaneous perspectives.

- Testimonial statements will not appear in the video but may be featured in the journal’s promotional materials.

- Provide the full name and position (e.g., Director of [Institute Name], Senior Researcher [University Name], etc.) of the author delivering the testimonial.

- Please answer the testimonial question live during the shoot, speaking naturally and in your own words in complete sentences.

What problem in your field of research does your JoVE article address?

  - Aditi Shastri, Principal Investigator and Hematologist/Oncologist, Albert Einstein College of Medicine/Montefiore: (authors will present their testimonial statements live)

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

What is the key takeaway you hope viewers remember after watching your video article?

  - Aditi Shastri, Principal Investigator and Hematologist/Oncologist, Albert Einstein College of Medicine/Montefiore: (authors will present their testimonial statements live)

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

# Ethics Title Card

This research has been approved by the Institutional Review Board (IRB) at Albert Einstein College of Medicine and Montefiore Medical Center.

# Protocol

Videographer: Please always record an audio slate while filming each shot mentioned in the shotlist.

- Cell Preparation and Viability Assessment of Patient-Derived Bone Marrow Cells or PBMC

Demonstrator: Mariapia Riso

  - To begin, warm Iscove's Modified Dulbecco's Medium, or IMDM (I-M-D-M), fetal bovine serum, or FBS (F-B-S), and penicillin-streptomycin antibiotics to 37 degrees Celsius for at least 30 minutes [1]. Next, warm the semisolid media to room temperature for at least 30 minutes after thawing it overnight at 4 degrees Celsius [2]. Prepare a waste beaker containing 10% bleach solution to dispose of contaminated pipette tips and serological pipettes [3]. Thaw frozen bone marrow cells isolated through density gradient centrifugation methods, in a 37 degrees Celsius water bath [4] and immediately place them on ice [5].

    - WIDE: Talent placing IMDM media, fetal bovine serum, and penicillin-streptomycin antibiotics in a warming area set to 37 degrees Celsius. Videographer: Please obtain CU shot as well for this shot.

    - Talent placing the semisolid media bottle at room temperature.

    - Talent preparing a waste beaker containing 10% bleach solution.

    - Talent thawing frozen cell samples in a water bath.

    - Talent transferring the thawed cells onto ice.

  - Suspend the cells in 5 milliliters [1] of complete growth media [2]. Use acridine orange and propidium iodide dyes with an automated cell counter to determine the cell concentration and viability [3]. Centrifuge the cells at 350 g for 5 minutes at room temperature to pellet the cells [4].

    - Talent resuspending cells in complete growth media.

    - TEXT ON A PLAIN BACKGROUND

Complete Growth Media

- IMDM

- 4% FBS

- 1% Penicillin-Streptomycin

    - Talent loading stained cells into an automated cell counter.

    - Talent placing the sample into a centrifuge.

  - After discarding the supernatant, resuspend the cells in 5 milliliters of sterile Dulbecco’s phosphate-buffered saline, or DPBS (D-P-B-S) [1]. Centrifuge again to wash the cells [2]. Following the removal of DPBS, suspend the cells in complete growth media to achieve 100,000 cells per well in a 6-well plate [3].

    - Talent resuspending the pellet in Dulbecco’s phosphate-buffered saline.

    - Talent placing the tube into a centrifuge.

    - Talent adjusting the cell concentration in complete growth media

- Drug Treatment and Plating of Drug-treated Cell Suspension

  - On the day of plating, thaw [1] the prepared drug aliquots on ice [2]. Vortex to mix, then, spin down the aliquots in a tabletop mini centrifuge for 30 seconds at maximum speed [3].

    - Talent thawing the drug aliquot on ice.

    - TEXT ON A PLAIN BACKGROUND

Drug Treatments

- 10M Pyrimethamine

- 4M Venetoclax

- Combination of 10M Pyrimethamine and 4M Venetoclax

- Vehicle Control or DMSO

    - Talent placing the aliquot into a tabletop mini centrifuge. Note: This shot also included vortexing the drug aliquots before centrifuging, narration is also updated accordingly.

  - Vortex the semisolid media vigorously until completely homogenized [1]. Leave the media undisturbed in the hood at room temperature for 30 minutes to allow bubbles to rise [2]. Attach a blunt-end 16-gauge needle to a 3-milliliter syringe [3]. Use the syringe to aliquot 3 milliliters of semisolid media into sterile 15-milliliter conical tubes, setting aside for 30 minutes [4]. Next, add drug treatments, not exceeding 10 microliters, to each aliquot of semi-solid media [5].

    - Talent vortexing the semisolid media bottle.

    - Talent placing the media bottle undisturbed in the hood.

    - Talent attaching a blunt-end 16-gauge needle to a syringe.

    - Talent dispensing semisolid media into sterile conical tubes.

    - Talent adding drug to the semisolid media aliquots. Author’s note: This shot also included a close-up shot.

  - After vortexing for complete drug incorporation, add 200,000 cells in 100 microliters of growth media to each 3-milliliter aliquot of semisolid media [1]. Vortex in short bursts until the mixture is homogenized [2]. Drop another 16-gauge needle and a 3-milliliter syringe into the cell mixture, leaving it undisturbed for 30 minutes [3].

    - Talent adding cells to the semisolid media.

    - Talent placing the cell and drug-media mixture on the vortex for mixing.

    - Talent placing the needle and syringe into the mixture. Author’s note: This shot also included a close-up shot.

  - Use the submerged needle and syringe to aspirate the cell and drug mixture without introducing air bubbles [1]. After allowing the mixture to settle for 3 to 5 minutes at the bottom of the tube, aspirate the remaining volume, avoiding air bubbles [2]. Add the mixture dropwise into 2 wells of an outer column of a sterile 6-well plate [3]. Gently tilt the plate in circular motions to spread the mixture evenly across the wells [4].

    - Talent aspirating the mixture with the submerged syringe.

    - Talent aspirating the remaining mixture collected at the bottom from the tube walls.

    - Talent dispensing the mixture into two wells.

    - Talent tilting the plate to distribute the mixture evenly.

  - Add 5 milliliters of sterile water to each well in the center column [1]. Incubate the plate at 37 degrees Celsius with 5% carbon dioxide [2].

    - Talent adding sterile water to the center wells.

    - Talent placing the plate into an incubator.

- Colony Imaging and Counting

  - Insert a light diffuser into the top lens of the microscope apparatus [1]. In the imaging system interface, under the capture tab, set the objective to 4X magnification [2]. Select the light source as Trans to switch the microscope to brightfield mode [3]. After the microscope light icon turns on, adjust the intensity using the coarse slider to a range of 0.03 [4]. Next, click on the autofocus icon and adjust fine focus controls to obtain a sharp image, as required [5].

    - Talent inserting a light diffuser into the microscope.

    - SCREEN: 71526_screenshot_1.mp4. 00:00–00:06

    - SCREEN: 71526_screenshot_1.mp4. 00:08–00:14

    - SCREEN: 71526_screenshot_1.mp4. 00:18–00:21; 00:24–00:28

    - SCREEN: 71526_screenshot_1.mp4. 00:30–00:33; 00:36–00:39; 00:40–00:45

  - Under the automate tab showing the image capture pattern, set the appropriate area and field acquisition orders, select the stitch images option, and then click on Done [1]. In the Image Save Settings menu, click Review, then select the option to tile or merge raw images from each well [2]. Under the Settings tab, general menu, select the option to invert images horizontally and vertically [3]. Configure autofocus to refocus in each well, and click on Done [4]. Return to the automate tab and run the automated plate scan and manually count total, myeloid, and erythroid colonies using the merged images [5].

    - SCREEN: 71526_screenshot_2.mp4. 00:02–00:11; 00:13–00:14

    - SCREEN: 71526_screenshot_2.mp4. 00:14– 00:22

    - SCREEN: 71526_screenshot_2.mp4. 00:29– 00:33; 00:34–00:37

    - SCREEN: 71526_screenshot_2.mp4. 00:39–00:42

    - SCREEN: 71526_screenshot_2.mp4. 00:44–00:48; 00:51–00:55; 01:52–01:54

- Cell Harvesting and Freezing for Downstream Flow Cytometric Analysis

  - Add 5 milliliters of warmed FACS buffer to the surface of each well [1]. Incubate the plates at 37 degrees Celsius for at least 30 minutes to dissolve the semisolid media [2]. Thoroughly resuspend the cells using a 5-milliliter pipette [3]. Transfer the cell suspension to a sterile 50 milliliter conical tube [4]. After washing each well 3 times with warmed FACS buffer, transfer the wash volume to the same tube [5].

    - Talent adding warmed FACS buffer to the wells.

    - Talent placing the plate into an incubator.

    - Talent resuspending cells with a pipette.

    - Talent transferring cells into a sterile conical tube.

    - Talent collecting the wash solution into same 50 mL tube.

  - Followed by vortexing in 4 to 5 short bursts, centrifuge the suspension at 400 g for 10 minutes at room temperature [1]. Incubate at 37 degrees Celsius for 10 to 15 minutes to dissolve remaining media [2]. Pellet the cells again [3].

    - Talent placing the tube into a centrifuge.

    - Talent placing the tube into an incubator. Note: Shots 5.2.2 and 5.2.3 and their corresponding narrations were omitted.

    - Talent preparing the sample for a second centrifugation.

  - After discarding the supernatant, resuspend the cells in 10 milliliters of FACS buffer [1]. Centrifuge at 400 g for 10 minutes at room temperature to pellet the cells [2].

    - Talent resuspending cells in FACS buffer.

    - Talent placing the sample into a centrifuge.

  - Resuspend the cells in freezing media [1]. Aliquot 3 million cells into each cryovial [2]. Place the cryovials into a controlled-rate freezing container at minus 80 degrees Celsius for 24 hours, followed by transfer to liquid nitrogen storage [3].

    - Talent resuspending cells in freezing media.

    - Talent dispensing cells into cryovials.

    - Talent placing cryovials into a controlled-rate freezing container.

# Results

- Results

  - Enumerated colony counts from a patient-derived sample at 13 days post-plating shows fewer overall colonies in the pyrimethamine-only treatment [1] and combination treatment with venetoclax [2].

    - LAB MEDIA: Figure 3B. Video Editor: Please emphasize the “Pyr” and “Combo” bars in the top “total counts” graph.

  - Representative images show that myeloid colonies appear as dispersed clusters without clearly defined edges and are typically more translucent and less pigmented [1]. Erythroid colonies appear as more defined, dense colonies or colony clusters with red or dark pigmentation and clear, defined edges [2]. Overlapping colonies are categorized as mixed, multipotent progenitor colonies [3].

    - LAB MEDIA: Figure 4A. Video Editor: Please emphasize the spread-out cluster in the left panel.

    - LAB MEDIA: Figure 4B. Video Editor: Please emphasize the dense, red colored cluster in the left panel.

    - LAB MEDIA: Figure 4C. Video Editor: Please highlight both less dense and highly dense clusters in the center panel.

Pronunciation Guide:

- Viability
Pronunciation link: https://www.merriam-webster.com/dictionary/viability
IPA: /ˌvaɪ.əˈbɪl.ə.t̬i/
Phonetic Spelling: vy·uh·bil·uh·tee

- Patient-derived
Pronunciation link: https://www.merriam-webster.com/dictionary/patient
IPA: /ˈpeɪ.ʃənt/; /dɪˈraɪvd/
Phonetic Spelling: pay·shuhnt; dih·ryvd

- Bone Marrow
Pronunciation link: https://www.merriam-webster.com/dictionary/bone%20marrow
IPA: /ˈboʊn ˌmer.oʊ/
Phonetic Spelling: bohn·mair·oh

- PBMC
Pronunciation link: No confirmed link found
IPA: No confirmed IPA found
Phonetic Spelling: pee·bee·em·see

- Iscove's
Pronunciation link: No confirmed link found
IPA: No confirmed IPA found
Phonetic Spelling: iss·kohvz

- Dulbecco's
Pronunciation link: No confirmed link found
IPA: No confirmed IPA found
Phonetic Spelling: dul·bek·ohz

- IMDM
Pronunciation link: No confirmed link found
IPA: No confirmed IPA found
Phonetic Spelling: eye·em·dee·em

- Fetal
Pronunciation link: https://www.merriam-webster.com/dictionary/fetal
IPA: /ˈfiː.t̬əl/
Phonetic Spelling: fee·tuhl

- Bovine
Pronunciation link: https://www.merriam-webster.com/dictionary/bovine
IPA: /ˈboʊ.vaɪn/
Phonetic Spelling: boh·vyn

- Penicillin-streptomycin
Pronunciation link: https://www.merriam-webster.com/dictionary/penicillin
IPA: /ˌpen.əˈsɪl.ɪn/; /ˌstrep.təˈmaɪ.sɪn/
Phonetic Spelling: pen·uh·sil·in; strep·tuh·my·sin

- Semisolid
Pronunciation link: https://www.merriam-webster.com/dictionary/semisolid
IPA: /ˌsem.iˈsɑː.lɪd/
Phonetic Spelling: sem·ee·saa·lid

- Thawing
Pronunciation link: https://www.merriam-webster.com/dictionary/thaw
IPA: /ˈθɔː.ɪŋ/
Phonetic Spelling: thaw·ing

- Density
Pronunciation link: https://www.merriam-webster.com/dictionary/density
IPA: /ˈden.sə.t̬i/
Phonetic Spelling: den·suh·tee

- Gradient
Pronunciation link: https://www.merriam-webster.com/dictionary/gradient
IPA: /ˈɡreɪ.di.ənt/
Phonetic Spelling: gray·dee·uhnt

- Centrifugation
Pronunciation link: https://www.merriam-webster.com/dictionary/centrifugation
IPA: /ˌsen.trə.fjuːˈɡeɪ.ʃən/
Phonetic Spelling: sen·truh·fyoo·gay·shuhn

- Acridine
Pronunciation link: https://www.howtopronounce.com/acridine
IPA: /ˈæk.rɪ.diːn/
Phonetic Spelling: ak·ruh·deen

- Propidium
Pronunciation link: https://www.howtopronounce.com/propidium
IPA: /proʊˈpɪd.i.əm/
Phonetic Spelling: proh·pid·ee·uhm

- Iodide
Pronunciation link: https://www.merriam-webster.com/dictionary/iodide
IPA: /ˈaɪ.əˌdaɪd/
Phonetic Spelling: eye·uh·dyd

- Automated
Pronunciation link: https://www.merriam-webster.com/dictionary/automated
IPA: /ˈɔː.t̬əˌmeɪ.t̬ɪd/
Phonetic Spelling: aw·tuh·may·tuhd

- Supernatant
Pronunciation link: https://www.merriam-webster.com/dictionary/supernatant
IPA: /ˌsuː.pɚˈneɪ.tənt/
Phonetic Spelling: soo·per·nay·tuhnt

- Phosphate-buffered
Pronunciation link: https://www.merriam-webster.com/dictionary/phosphate
IPA: /ˈfɑːs.feɪt/; /ˈbʌf.ɚd/
Phonetic Spelling: fos·fayt; buf·erd

- DPBS
Pronunciation link: No confirmed link found
IPA: No confirmed IPA found
Phonetic Spelling: dee·pee·bee·ess

- Aliquots
Pronunciation link: https://www.merriam-webster.com/dictionary/aliquot
IPA: /ˈæl.əˌkwɑːt/
Phonetic Spelling: al·uh·kwaht

- Pyrimethamine
Pronunciation link: https://www.merriam-webster.com/dictionary/pyrimethamine
IPA: /ˌpɪr.əˈmeθ.ə.miːn/
Phonetic Spelling: peer·uh·meth·uh·meen

- Venetoclax
Pronunciation link: https://www.howtopronounce.com/venetoclax
IPA: /vəˌnɛtəˈklæks/
Phonetic Spelling: vuh·net·uh·klaks

- DMSO
Pronunciation link: No confirmed link found
IPA: No confirmed IPA found
Phonetic Spelling: dee·em·ess·oh

- Homogenized
Pronunciation link: https://www.merriam-webster.com/dictionary/homogenize
IPA: /həˈmɑː.dʒə.naɪzd/
Phonetic Spelling: huh·mah·juh·nyzd

- Blunt-end
Pronunciation link: https://www.merriam-webster.com/dictionary/blunt-end
IPA: /ˈblʌnt ˌend/
Phonetic Spelling: blunt·end

- Conical
Pronunciation link: https://www.merriam-webster.com/dictionary/conical
IPA: /ˈkɑː.nɪ.kəl/
Phonetic Spelling: kon·ih·kuhl

- Incubate
Pronunciation link: https://www.merriam-webster.com/dictionary/incubate
IPA: /ˈɪn.kjəˌbeɪt/
Phonetic Spelling: in·kyuh·bayt

- Carbon dioxide
Pronunciation link: https://www.merriam-webster.com/dictionary/carbon%20dioxide
IPA: /ˈkɑːr.bən daɪˈɑːk.saɪd/
Phonetic Spelling: kar·buhn dye·ok·syd

- Diffuser
Pronunciation link: https://www.merriam-webster.com/dictionary/diffuser
IPA: /dɪˈfjuː.zɚ/
Phonetic Spelling: dih·fyoo·zer

- Microscope
Pronunciation link: https://www.merriam-webster.com/dictionary/microscope
IPA: /ˈmaɪ.krəˌskoʊp/
Phonetic Spelling: my·kruh·skohp

- Apparatus
Pronunciation link: https://www.merriam-webster.com/dictionary/apparatus
IPA: /ˌæp.əˈræt̬.əs/
Phonetic Spelling: ap·uh·rat·uhs

- Magnification
Pronunciation link: https://www.merriam-webster.com/dictionary/magnification
IPA: /ˌmæɡ.nə.fəˈkeɪ.ʃən/
Phonetic Spelling: mag·nuh·fuh·kay·shuhn

- Brightfield
Pronunciation link: No confirmed link found
IPA: No confirmed IPA found
Phonetic Spelling: bryt·feeld

- Autofocus
Pronunciation link: https://www.merriam-webster.com/dictionary/autofocus
IPA: /ˌɔː.toʊˈfoʊ.kəs/
Phonetic Spelling: aw·toh·foh·kuhs

- Automate
Pronunciation link: https://www.merriam-webster.com/dictionary/automate
IPA: /ˈɔː.t̬əˌmeɪt/
Phonetic Spelling: aw·tuh·mayt

- Myeloid
Pronunciation link: https://www.merriam-webster.com/dictionary/myeloid
IPA: /ˈmaɪ.ə.lɔɪd/
Phonetic Spelling: my·uh·loyd

- Erythroid
Pronunciation link: https://www.merriam-webster.com/dictionary/erythroid
IPA: /ɪˈrɪθ.rɔɪd/
Phonetic Spelling: ih·rith·royd

- Downstream
Pronunciation link: https://www.merriam-webster.com/dictionary/downstream
IPA: /ˌdaʊnˈstriːm/
Phonetic Spelling: down·streem

- Cytometric
Pronunciation link: https://www.merriam-webster.com/dictionary/cytometry
IPA: /ˌsaɪ.təˈmet.rɪk/
Phonetic Spelling: sy·tuh·met·rik

- FACS
Pronunciation link: No confirmed link found
IPA: No confirmed IPA found
Phonetic Spelling: faks

- Cryovial
Pronunciation link: https://www.howtopronounce.com/cryovial
IPA: /ˈkraɪ.oʊˌvaɪ.əl/
Phonetic Spelling: kry·oh·vy·uhl

- Cryovials
Pronunciation link: https://www.howtopronounce.com/cryovial
IPA: /ˈkraɪ.oʊˌvaɪ.əlz/
Phonetic Spelling: kry·oh·vy·uhlz

- Controlled-rate
Pronunciation link: https://www.merriam-webster.com/dictionary/control
IPA: /kənˈtroʊld reɪt/
Phonetic Spelling: kuhn·trohld·rayt