# Submission ID #: 71598

# Scriptwriter Name: Sri Lakshmi Priya

# Project Page Link: https://review.jove.com/account/file-uploader?src=21837438

# Title: Detailed Preparation of Ni-NTA Lipid Monolayer Affinity Grids for Cryo-EM Structural Analysis of Soluble Polyhistidine-Tagged Protein Complexes

# Authors and Affiliations:

Clara Lenger1, Daniel Yoon2, Irene C. Franco3, Aleksandra Skrajna3, Richard W. Baker1,4, Joshua D. Strauss1

1Department of Biochemistry and Biophysics, UNC Chapel Hill School of Medicine

2Department of Electrical and Computer Engineering, North Carolina State University

3Department of Chemistry and Biochemistry, Division of Physical and Biological Sciences, University of California Santa Cruz

4UNC Lineberger Comprehensive Cancer Center, UNC Chapel Hill School of Medicine

# Corresponding Authors:

Richard W. Baker 		baker@med.unc.edu

Joshua D. Strauss 		joshua_strauss@med.unc.edu

# Email Addresses for All Authors:

Clara Lenger 			lenger@email.unc.edu

Daniel Yoon			dyoon5@ncsu.edu

Irene C. Franco 		icfranco@ucsc.edu

Aleksandra Skrajna		askrajna@ucsc.edu

Richard W. Baker 		baker@med.unc.edu

Joshua D. Strauss 		joshua_strauss@med.unc.edu

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  No

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  	No

3. Filming location: Will the filming need to take place in multiple locations?   No

4. Testimonials (optional): Would you be open to filming two short testimonial statements live during your JoVE shoot? These will not appear in your JoVE video but may be used in JoVE’s promotional materials. No

Current Protocol Length

Number of Steps:  31

Number of Shots:  55

# Interviews

Videographer: Obtain headshots for all authors available at the filming location.

Authors: Answers are slightly edited in accordance with journal guidelines. Please note that the questions will not appear on screen. Please answer in stand-alone full sentence with sufficient context

INTRODUCTION:

REQUIRED: Summarize your research focus and the main questions it aims to answer.

  - Clara Lenger: Our research focuses on addressing limitations at the lab bench during sample preparation for protein structural determination via cryo-EM.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Describe the research gap or limitation in existing methods and how this protocol addresses them.

  - Clara Lenger: This protocol addresses existing gaps by modifying grid surfaces to selectively capture particles, concentrate dilute samples, and tether proteins from the air-water interface.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

CONCLUSION:

What does this protocol allow researchers to study or measure?

  - Clara Lenger: This method can be used as a platform for structural analysis of soluble his-tagged protein complexes using cryoEM.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Describe the most important consideration or challenge when performing this protocol.

  - Clara Lenger:  The most important challenge in this protocol is the lipid casting and transfer step, which this publication aims to explain thoroughly.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Are there any additional methods or analyses that can be performed following this procedure?

  - Clara Lenger: Following this procedure, proteins can be investigated using several cryo-EM methods, including single-particle analysis, tomography, and cryo-TEM imaging.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Videographer: Obtain headshots for all authors available at the filming location.

# Protocol

Videographer: Please always record an audio slate while filming each shot mentioned in the shotlist.

- Preparation of Lipid Monolayer and Transfer to TEM Grids

Demonstrator: Clara Lenger

  - On a well-lit black benchtop [1], arrange the materials required for the lipid casting setup [2]. Orient the flat arm of each pair of anti-capillary tweezers to the carbon side of a TEM (T-E-M) grid [3-TXT]. Clamp the grid along the reinforced outer edge [4]. Repeat the procedure for all TEM grids [5].

    - WIDE: Talent standing at the well-lit black benchtop Videographer’s NOTE: Took 2 takes, not sure if take 1 was in focus

    - TEXT ON A PLAIN BACKGROUND:

LED lamp

Chilled low-salt buffer

Lidded buffer waste bottle

EtOH

EtOH waste bottle

A bottle of castor oil with a dropper

Lipid mixture

Petri dish

2.5 µL syringe

12 pairs of anti-capillary tweezers

12 TEM grids

Low-lint tissues

    - Talent orienting the flat arm of the anti-capillary tweezers to the carbon side of a TEM grid. NOTE: 2.1.3 and 2.1.4 were combined

    - Talent clamping the TEM grid along its reinforced outer edge. TXT: TEM: Transmission Electron Microscopy

    - Shot showing multiple TEM grids clamped in anti-capillary tweezers.

  - Fill the small Petri dish with chilled low-salt buffer [1]. Place 1 large drop of castor oil at the center of the buffer surface [2].

    - Close-up shot of the small Petri dish being filling with chilled low-salt buffer. Videographer’s NOTE: 2.2.1 and 2.2.2 were combined, extra takes were separated

    - Talent dispensing a drop of castor oil onto the center of the buffer surface.

  - Using the 2.5 microliter syringe, draw 1 microliter of lipid mixture [1]. Lower the syringe needle tip to the center of the castor oil [2]. Dispense the lipid mixture as a droplet hanging from the needle bevel just above the surface [3]. Gently touch the droplet to the castor oil [4].

    - Talent drawing 1mL of lipid mixture into the 2.5 microliter syringe. Videographer’s NOTE: Extra take

    - CU: Shot of lowering the syringe needle tip toward the center of the castor oil. Videographer’s NOTE: 2.3.2, 2.3.3, 2.3.4 combined

    - Close-up of a lipid droplet hanging from the needle bevel above the surface.

    - Shot of gently touching the lipid droplet to the castor oil.

  - Using the LED lamp, confirm the formation of a flat lipid circle measuring 2 to 3 centimeters in diameter and surrounded by a ring of castor oil [1]. If this morphology is not observed, discard the buffer from the casting dish [2]. Rinse the dish with reagent ethanol [3], dry it with low-lint tissues [4], and reapply the low-salt buffer, castor oil, and lipid mixture [5].

    - Close-up shot of illuminated casting dish containing a flat lipid circle measuring 2 to 3 centimeters in diameter and surrounded by a ring of castor oil  Videographer’s NOTE: 2.4.1, 2.4.2 combined

    - Shot of discarding the buffer from the casting dish.

    - Shot of rinsing the casting dish with reagent ethanol.

    - Shot of drying the casting dish with low-lint tissues

    - Shot of reapplying low-salt buffer, castor oil, and lipid mixture to the casting dish

  - Transfer the lipid monolayer onto a TEM grid by lowering the clamped TEM grid to the center of the lipid cast with the carbon side facing downward [1]. Gently touch the entire carbon surface to the lipid monolayer without submerging or releasing the TEM grid [2].

    - Talent lowering the clamped TEM grid toward the center of the lipid cast with the carbon side facing downward. Videographer’s NOTE: 2.5.1, 2.5.2 combined

    - Close-up of the entire carbon surface touching the lipid monolayer.

  - Inspect the lipid grid to confirm complete liquid coverage and absence of castor oil [1]. Discard oily grids and repeat the transfer procedure for all remaining TEM grids [2].

    - Close-up of the lipid grid with complete liquid coverage and absence of castor oil.  Videographer’s NOTE: took extra takes

    - Talent discarding the oily TEM grid. Videographer’s NOTE: took extra takes

- Preparation of the Humidity Chamber and Lipid Grid Incubation

  - Set the cryo-plunger humidity chamber to 4 degrees Celsius [1] and the humidity to 100 percent [2].

    - Show the temperature being set to 4 degrees Celsius in the cryo-cryo-plunger touchscreen. Videographer’s NOTE: 3.1.1, 3.1.2 combined

    - Show the humidity being set to 100 percent in the cryo-plunger touchscreen.

  - Install blot paper onto the blotting pads and equilibrate for at least 1 hour [1].

    - Talent installing blot paper onto the blotting pads and leaving it undisturbed.

  - Place at least 20 milliliters of dilution buffer on ice and chill it for at least 20 minutes [1].

    - Talent placing a container holding 20 milliliters of dilution buffer onto ice and leaving it on ice.

  - Prepare the area adjacent to the cryo-plunger [1]. Gather the required materials [2] and place them near the cryo-plunger [3].

    - Shot of the cryo-plunger workstation and surrounding benchtop area

    - TEXT ON A PLAIN BACKGROUND:

Baking dish

3D-printed tweezer holder

Self-sealing film strip, 25–35 cm × 10 cm

Aluminum foil strip, 35–45 cm × 30.4 cm

Ice

Paper towels

Tap water

    - Talent placing the materials near the cryo-plunger.

  - Position the baking dish lengthwise adjacent to the cryo-plunger and fill halfway with ice [1]. Cover with paper towels and lightly wet it with tap water [2].

    - Talent positioning the baking dish lengthwise adjacent to the cryo-plunger and filling the baking dish halfway with ice.

    - Talent covering the ice with paper towels and lightly wetting the paper towels with tap water.

  - Position the strip of self-sealing film lengthwise on the far half of the baking dish directly over the wet paper towels [1].

    - Talent placing the strip of self-sealing film lengthwise on the far half of the baking dish directly over the wet paper towels

  - Position the 3D-printed tweezer holder lengthwise in the center of the baking dish, directly on the wet paper towels and self-sealing film [1].

    - Talent positioning the 3D-printed tweezer holder lengthwise in the center of the baking dish, directly on the wet paper towels and self-sealing film.

  - Place the clamped lipid grids in the benchtop humidity chamber over the self-sealing film with the lipid side facing upward [1].

    - Talent placing the clamped lipid grids over the self-sealing film with the lipid side facing upward in the benchtop humidity chamber.

  - Apply 2 microliters of sample dilution buffer to each lipid surface [1]. Cover the humidity chamber with aluminum foil to minimize evaporation [2].

    - Talent applying 2 microliters of sample dilution buffer to a lipid grid.

    - Talent covering the benchtop humidity chamber with aluminum foil.

  - Maintain hydration of each lipid grid by applying an additional 2 microliters of dilution buffer whenever less than 1 microliter of liquid remains on the grid [1].

    - Talent applying additional dilution buffer to a lipid grid.

  - Equilibrate the hydrated lipid grids in the chilled humidity chamber for at least 15 minutes [1].

    - Shot of hydrated lipid grids in the chilled benchtop humidity chamber.

  - Apply 3 microliters of polyhistidine-tagged sample to each hydrated lipid grid [1]. Cover the chamber with foil to minimize evaporation and incubate the grids for at least 15 minutes [2].

    - Talent applying 3 microliters of polyhistidine-tagged sample to a hydrated lipid grid.

    - Talent covering the benchtop humidity chamber with aluminum foil and leaving it undisturbed.

  - Maintain hydration of each lipid grid by applying an additional 2 microliters of chilled dilution buffer whenever less than 2 microliters of liquid remain on the grid [1].

    - Talent applying additional dilution buffer to a lipid grid.

- Preparation of the Cryo-plunger Pot

  - Assemble the cryo-plunger pot, including the spindle used for indirect cooling of the brass cup [1].

    - Talent assembling the cryo-plunger pot and installing the spindle.

  - After labeling the cryo-grid boxes, place them inside the cryo-plunger pot [1].

    - Talent placing the labeled cryo-grid boxes inside the cryo-plunger pot.

  - Fill the cryo-plunger pot with liquid nitrogen [1] and cover it to minimize ice contamination [2].

    - Talent filling the cryo-plunger pot with liquid nitrogen.

    - Talent covering the cryo-plunger pot.

  - Maintain the liquid nitrogen level above the cryo-grid boxes by periodically adding additional liquid nitrogen [1].

    - Talent adding LN2 to maintain the LN2 level above the cryo-grid boxes.

  - Cool the metal components and cryo-grid boxes to liquid nitrogen temperature for at least 10 minutes [1].

    - Shot of the metal components and cryo-grid boxes submerged in liquid nitrogen in the cryo-plunger pot.

  - Fill the brass cup with a 60 to 40 liquid propane-ethane mixture and equilibrate the mixture to liquid nitrogen temperature for at least 5 minutes [1].

    - Talent filling the brass cup surrounded by liquid nitrogen with the liquid propane-ethane mixture and leaves it in place

- Plunge-Freezing of Lipid Grids

  - Verify that the propane-ethane temperature is below minus 185 degrees Celsius [1] and remove the spindle [2].

    - Shot of the thermometer probe immersed in the propane-ethane mixture, with the display reading below -185 degrees Celsius

    - Shot of the spindle being removed from the cryo-plunger pot.

  - Dispense three 50-microliter drops of dilution buffer in a line onto a secured 10 by 10-centimeter piece of self-sealing film [1].

    - Talent dispensing three 50 microliter drops of dilution buffer in a line onto the self-sealing film.

  - Wash 1 clamped lipid grid by sequentially touching the lipid surface to each dilution buffer drop [1]. Release the grid on the final dilution buffer drop [2].

    - Shot of the lipid surface of the clamped grid sequentially touching each dilution buffer drop.

    - Shot of releasing the lipid grid onto the final dilution buffer drop.

  - Using the cryo-plunger tweezers, pick up the floating lipid grid [1]. Mount the grid into the cryo-plunger [2].

    - Shot of the floating lipid grid being picked up with the cryo-plunger tweezers.

    - Shot of the lipid grid being mounted into the cryo-plunger.

  - Absorb the used buffer drops with a lint-free tissue and discard [1]. Apply the cryo-plunger settings to the lipid grid [2]. Plunge-freeze the lipid grid into the propane-ethane mixture [3].

    - Talent removing the used buffer drops with a lint-free tissue and discarding it.

    - TEXT ON A PLAIN BACKGROUND:

Cryo-plunger settings:

Wait time: 0 s

Total blot: 1

Blot force: −10

Blot time: 4 s

Drain time: 0 s

    - Talent initiating plunge-freezing of the lipid grid into the propane-ethane mixture.

  - Transfer the cryo-grid from the propane-ethane cup into an available slot in a cryo-grid box and repeat the plunge-freezing procedure for all remaining lipid grids [1].

    - Talent transferring the cryo-grid from the propane-ethane cup into a slot in a cryo-grid box.

# Results

- Results

  - After plunge-freezing, the polyhistidine-tagged Staphylococcus aureus glutamate synthase or HIS-tagged GS (hiss-tagged-G-S) particles, with an average particle count of 274 particles per micrograph, appeared evenly distributed across the lipid monolayer with minimal or no overlap [1].

    - LAB MEDIA: Figure 6C. Video editor: Emphasize the particles.

  - Lipid grids exhibited higher particle density [1] relative to non-lipid grids prepared at the same protein concentration [2].

    - LAB MEDIA: Figure 7. Video editor: Emphasize panels K and O.

    - LAB MEDIA: Figure 7. Video editor: Emphasize panel G.

  - Although particle stacking was observed [1], particles on lipid grids exhibited minimal overlap and remained within a similar focal plane [2].

    - LAB MEDIA: Figure 7K, O. Video editor: Emphasize the stacked chains of particles.

    - LAB MEDIA: Figure 7. Video editor: Emphasize panels K and O.

  - In contrast, particles on non-lipid grids appeared at substantially different focal depths [1], with aggregation observed at 1 milligram per milliliter [2].

    - LAB MEDIA: Figure 7C, G. Video editor: Highlight the black and white arrows and the particles indicated by the arrows.

    - LAB MEDIA: Figure 7C. Video editor: Emphasize clumps of particles.

  - Lipid cryo-grids containing 0.05% N-dodecyl-beta-D-maltoside or DDM (D-D-M) exhibited gaps in the lipid monolayer [1], lipid micelles on the grid surface [2], and reduced particle density [3] relative to the control condition [4].

    - LAB MEDIA: Figure 8I. Video editor: Highlight the arrow and the small light patch indicated by the arrow.

    - LAB MEDIA: Figure 8K. Video editor: Highlight the arrow and the big dark grey circled region that the arrow indicates.

    - LAB MEDIA: Figure 8. Video editor: Emphasize panel F.

    - LAB MEDIA: Figure 8. Video editor:  Emphasize panel C

  - Ice quality varied across grid squares, with regions showing thin or absent ice [1], uneven ice distribution [2], or excessively thick ice [3].

    - LAB MEDIA: Figure 9A. Video editor: Highlight the dashed circular region in the center of the grid square.

    - LAB MEDIA: Figure 9B. Video editor: Highlight the dashed oval region.

    - LAB MEDIA: Figure 9C. Video editor: Highlight the white arrow and the large dark region indicated by the arrow.

  - Failure to transfer the lipid monolayer resulted in cryo-grids containing empty holes [1] or holes with vitreous ice lacking lipid film and exhibiting few or no particles [2].

    - LAB MEDIA: Figure 10A. Video editor: Emphasize the large empty circular hole in the center of the image.

    - LAB MEDIA: Figure 10B, C. Video editor: In 10B, emphasize the large circular hole in the center and the half in the left. In 10C, emphasize the edge line  and its light gray center, avoiding the round black structures.