# Submission ID #: 71604

# Scriptwriter Name: Poornima G

# Project Page Link: https://review.jove.com/account/file-uploader?src=21839268

# Title: Western Blot Analysis of Microtubule-Associated Protein Light Chain 3 to Monitor Autophagosomal Dynamics in Mouse-Derived Pancreatic Cancer Cells

# Authors and Affiliations:

Felipe J. Renna¹,2, Raul Mostoslavsky3, Maria I. Vaccaro¹,2

¹Traslational Medicine Research Unit,  Center for Medical Education and Clinical Research (CEMIC)

²Programa de Estudios Pancreaticos, Hospital de Clinicas “Jose de San Martin”,  Universidad de Buenos Aires

3The Massachusetts General Hospital Cancer Center, Harvard Medical School

# Corresponding Authors:

# Maria I. Vaccaro		mvaccaro@cemic.edu.ar

# Email Addresses for All Authors:

# Felipe J. Renna		frenna@cemic.edu.ar

# Raul Mostoslavsky		rmostoslavsky@mgh.harvard.edu

# Maria I. Vaccaro		mvaccaro@cemic.edu.ar

## Author Questionnaire

1. We have marked your project as author-provided footage, meaning you film the video yourself and provide JoVE with the footage to edit. JoVE will not send the videographer. Please confirm that this is correct.

√ Correct

2. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  No.

3. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Yes, all done.

4. Proposed filming date: To help JoVE process and publish your video in a timely manner, please indicate the proposed date that your group will film here:

When you are ready to submit your video files, please contact our Content Manager, Utkarsh Khare.

Current Protocol Length

Number of Steps:  25

Number of Shots:  57 (15 SC)

# Interviews

Authors: Please note that the questions will not appear on screen. Please answer in stand-alone full sentence with sufficient context.

INTRODUCTION:

REQUIRED: Summarize your research focus and the main questions it aims to answer.

  - Felipe Renna: This work describes the technical optimization and standardization of a classical LC3 immunoblotting protocol in KPC-derived pancreatic cancer cells.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Felipe Renna: This workflow provides a reliable approach for monitoring autophagosomal dynamics in a faithful pancreatic cancer model.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Describe the most important consideration or challenge when performing this protocol.

  - Felipe Renna: The most important consideration when performing this protocol is using the correct lysis buffer with precise detergent concentrations.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Are there any additional methods or analyses that can be performed following this procedure?

  - Felipe Renna: This immunoblotting workflow can detect LC3 in immunoprecipitation eluates to analyze protein interactions, and even in extracellular vesicles.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Ethics Title Card

This research has been approved by the Institutional Animal Care and Use Committee (IACUC) at Massachusetts General Hospital

# Protocol

- Cell Seeding and Gemcitabine Treatment

Demonstrator: Felipe Renna

  - To begin, prepare a cell suspension of low-passage KPC-derived pancreatic tumor cells in supplemented RPMI 1640 medium [1-TXT], and seed them at approximately 3.5 × 105 cells per well in a 6-well plate [2].

    - WIDE: Talent mixing the prepared cell suspension by pipetting in the hood. TXT: KPC: KrasG12D; Trp53f/+; p48-Cre

    - Talent seeding KPC-derived pancreatic tumor cells into the 6-well plate.

  - Culture the cells at 37 degrees Celsius in a humidified incubator with 5% carbon dioxide [1]. Twenty-four hours after seeding, replace the spent medium with fresh medium [2]. Continue incubating under the same conditions until the cells reach 70 to 90% confluence [3].

    - WIDE: Talent placing the 6-well plate into a humidified incubator.

    - Talent replacing the medium in the 6-well plate with fresh medium.

    - Talent placing the 6-well plate back into the humidified incubator.

  - Prepare a 10 millimolar gemcitabine solution in the supplemented RPMI medium one day before lysis [1]. Add 4 microliters of the 10 millimolar gemcitabine solution to each well to achieve a final concentration of 20 micromolar [2].

    - Talent adding medium and mixing the tube containing gemcitabine.

    - Close-up of talent adding 4 microliters of the gemcitabine solution to each well of the 6-well plate.

  - Incubate the cells for 24 hours at 37 degrees Celsius in a humidified incubator with 5% carbon dioxide [1].

    - WIDE: Talent placing the 6-well plate into a humidified incubator.

- Cell Lysis and Protein Sample Preparation

  - Place the culture plate on ice [1] and wash the cells three times with cold PBS [2].

    - Talent placing the plate on ice.

    - Talent adding PBS to the cells in the plate.

  - Add 80 microliters of the lysis buffer supplemented with protease inhibitors to each well [1-TXT]. Using the wide proximal end of a P200 pipette tip, thoroughly scrape the entire surface of each well to detach the cells [2].

    - Talent adding the lysis buffer supplemented with protease inhibitors to each well. TXT: Lysis buffer: 50 mM Tris-HCl, pH 8.0, 150 mM NaCl, 1% Triton X-100, and 0.1% SDS

    - Talent scraping the entire surface of each well with the wide proximal end of a P200 pipette tip.

  - Collect the lysate into a microcentrifuge tube [1] and keep it on ice for 15 minutes [2].

    - Talent collecting the lysate into a microcentrifuge tube.

    - Talent placing the microcentrifuge tube on ice.

  - Centrifuge the samples at 16,900 g and 4 degrees Celsius for 10 minutes [1] and transfer the supernatant to a clean microcentrifuge tube [2]. Remove an aliquot for protein quantification and keep it on ice until the analysis [3].

    - WIDE: Talent placing the samples in the centrifuge.

    - Talent transferring the supernatant to a clean microcentrifuge tube.

    - Talent removing an aliquot and placing the aliquot on ice.

  - For 77.5 microliters of lysate, add 25.8 microliters of the Laemmli sample buffer and mix thoroughly [1].

    - Talent adding 25.8 microliters of the Laemmli sample buffer to 77.5 microliters of lysate and mixing.

- SDS-PAGE

  - Heat the prepared samples at 96 degrees Celsius for 5 minutes [1].

    - WIDE: Talent placing the samples into the heating device.

  - Load 70 micrograms of each sample onto a 15% SDS-polyacrylamide gel with a thickness of 1.5 millimeters [1]. Start the electrophoresis at 90 volts [2] and continue until the dye front enters the resolving gel [3].

    - Talent loading 70 micrograms of each sample onto the 15% sodium dodecyl sulfate-polyacrylamide gel.

    - Talent starting the run.

    - Shot of the dye front entering the resolving gel.

  - Then, increase the voltage to 120 volts [1] and continue electrophoresis until the dye front reaches or runs off the bottom of the gel [2]. Stop the run before the 10-kilodalton marker of the molecular weight ladder runs off the gel [3].

    - Talent increasing the electrophoresis voltage to 120 volts.

    - Shot of the dye front reaching the bottom of the gel.

    - Talent stopping the run and showing the 10kd marker at the bottom of the gel.

  - Using a cutting tool, cut the gel at approximately 25 kilodaltons to separate the upper and lower portions [1].

    - Talent cutting the gel at approximately 25 kilodaltons to separate the upper and lower portions.

- Protein Transfer and Immunoblotting

  - Assemble the protein transfer setup using a 0.2 micrometer polyvinylidene fluoride membrane pre-activated with methanol in a transfer buffer [1]. Transfer proteins at 200 milliamperes for 1 hour for the lower gel portion below 25 kilodaltons and 2.5 hours for the upper gel portion above 25 kilodaltons [2].

    - Talent assembling the protein transfer setup with the pre-activated polyvinylidene fluoride membrane.

    - Talent placing the transfer assembly into the transfer apparatus and adjusting the settings.

  - Block the membrane for 1 hour in the blocking buffer with gentle agitation [1]. Prepare a 1 to 1,000 solution of the anti-LC3 primary antibody in the blocking buffer containing 0.1% Tween-20 [2]. Incubate the membrane overnight at 4 degrees Celsius with the anti-LC3 primary antibody while gently agitating [3].

    - Talent placing the membrane into the blocking buffer.

    - Talent preparing the anti-LC3 primary antibody solution in the blocking buffer containing Tween-20.

    - Talent placing the primary antibody solution in the box with the membrane and then moving the box to a rotator at 4 °C. Authors: Please film 2 scenes and label them as 5.2.3a and 5.2.3b

  - Next day, wash the membrane four times for 5 minutes with TBS containing 0.1% Tween-20 [1].

    - Talent adding tris-buffered saline containing Tween-20 to the membrane and placing the box on a rocker.

  - Prepare a 1 to 2,000 solution of the horseradish peroxidase-conjugated anti-rabbit secondary antibody in the blocking buffer [1]. Incubate the membrane with the secondary antibody for 1 hour at room temperature under gentle agitation [2]. Wash the membrane four times for 5 minutes with TBS containing 0.1% Tween-20 [3]. Then, wash the membrane twice with tris-buffered saline [4].

    - Talent adding the horseradish peroxidase-conjugated anti-rabbit secondary antibody to the buffer solution.

    - Talent placing the secondary antibody solution in the box with the membrane.

    - Talent adding TBST to the membrane and placing the box on rocker.

    - Talent removing the previous wash buffer and adding TBS.

- Chemiluminescent Detection and Image Acquisition

  - Prepare the two-component enhanced chemiluminescence substrate by mixing equal volumes of the Reagent A luminol or enhancer solution and the Reagent B peroxide solution immediately before use [1]. Gently blot the excess liquid from the membrane with a laboratory wipe [2], then place the membrane in an opaque box [3].

    - Talent mixing equal volumes of Reagent A and Reagent B.

    - Talent gently blotting the excess liquid from the membrane with a laboratory wipe.

    - Talent placing the membrane in an opaque box.

  - Add the enhanced chemiluminescence solution to the membrane [1], close the box, and incubate for 5 minutes. Allow the excess solution to drain from the membrane [2].

    - Talent adding the enhanced chemiluminescence solution to the membrane.

    - Talent closing the opaque box and keeping it aside

  - Then, place the membrane in the imaging system for signal detection [1] and acquire the images according to the manufacturer's instructions [3].

    - Talent placing the membrane in the imaging system.

    - Talent acquiring the images using the imaging system.

- Densitometric Analysis of LC3-II Bands in Fiji

  - Drag and drop the image file into the Fiji window to open it [1]. Convert the image to 8-bit grayscale by selecting the Image menu, choosing the Type option, and selecting 8-bit [2].

    - SCREEN: 71604_SCREENSHOT_1 00:01-00:05.

    - SCREEN: 71604_SCREENSHOT_1 00:05-00:08.

  - If necessary, rotate the image to align the bands horizontally by selecting the Image menu, choosing the Transform option, and selecting Rotate [1]. Enable the Preview option [2] and set the grid to an appropriate number of lines, such as 20 [3]. Adjust the rotation angle until the bands are properly aligned [4].

    - SCREEN: 71604_SCREENSHOT_1 00:08-00:14.

    - SCREEN: 71604_SCREENSHOT_1 00:15-00:17.

    - SCREEN: 71604_SCREENSHOT_1 00:17-00:19.

    - SCREEN: 71604_SCREENSHOT_1 00:20-00:30.

  - Use the rectangular selection tool to define a region of interest around the first lane, including only the band corresponding to LC3-II (L-C-3-2) [1]. Select the Analyze menu, choose Gels, and click on Select First Lane [2]. Move the same region of interest to the next lane and position it around the corresponding band [3].

    - SCREEN: 71604_SCREENSHOT_1 00:31-00:44.

    - SCREEN: 71604_SCREENSHOT_1 00:44-00:48.

    - SCREEN: 71604_SCREENSHOT_1 00:48-00:56.

  - Select the Analyze menu, choose Gels, and click on Select Next Lane [1]. Repeat adjusting the region of interest and lane selection until the final lane is selected [2]. Generate the intensity profiles by selecting the Analyze menu, choosing Gels, and selecting Plot Lanes [3].

    - SCREEN: 71604_SCREENSHOT_1 00:56-01:00.

    - SCREEN: 71604_SCREENSHOT_1 01:55-02:02.

    - SCREEN: 71604_SCREENSHOT_1 02:08-02:12.

  - Use the straight-line tool to define the baseline for each peak [1] and quantify the band intensity using the wand tool [2]. Finally, normalize the values to a loading control [3].

    - SCREEN: 71604_SCREENSHOT_1 02:13-02:31.

    - SCREEN: 71604_SCREENSHOT_1 02:36-02:53.

    - SCREEN: 71604_SCREENSHOT_1 02:55-03:06.

# Results

- Results

  - A significant 59% increase in LC3-II levels was observed in gemcitabine-treated cells compared with untreated cells, as shown by the quantification of the LC3-II band densitometry normalized to actin [1].

    - LAB MEDIA: Figure 2B. Video editor: Highlight the bar labeled “Gemcitabine-treated” that is visibly higher than the bar labeled “Untreated”.

  - VMP1 expression showed an approximately 90% reduction in VMP1 KD cells compared with pLKO.1 (P-L-K-O-1) cells [1].

    - LAB MEDIA: Figure 2D. Video editor: Highlight the data for “VMP1 KD” and show that it is much lower than “pLKO.1”.

  - A significant 43% increase in LC3-II levels was observed in VMP1 KD cells compared with pLKO.1 controls [1].

    - LAB MEDIA: Figure 2F. Video editor: Highlight the bar labeled “VMP1 KD” that is visibly higher than the bar labeled “pLKO.1”.

  - When a lysis buffer with a low detergent concentration was used, only the LC3-I band was clearly visible [1], whereas the LC3-II band was barely detectable and markedly reduced relative to LC3-I (L-C-3-1) [2].

    - LAB MEDIA: Figure 2G. Video editor: Highlight the clearly visible LC3-I band.

    - LAB MEDIA: Figure 2G. Video editor: Highlight the faint LC3-II band and compare it with the stronger LC3-I band.

  - Using a different primary antibody resulted in LC3-I being barely detectable [1], and the LC3-II signal being substantially weaker than that obtained with the antibody used in the preceding experiments [2].

    - LAB MEDIA: Figure 2H. Video editor: Highlight the very faint LC3-I band.

    - LAB MEDIA: Figure 2H. Video editor: Highlight the weak LC3-II band visible in the blot.