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7.1.1 Show the image file being dragged and dropped into the Fiji window. (00:01-00:05)
7.1.2 Show selection of Image > Type > 8-bit. (00:05-00:08)
7.2.1. Show selection of Image > Transform > Rotate. (00:08-00:14)
7.2.2. Show the Preview option being enabled. (00:15-00:17)
7.2.3 Show the grid being set to 20 lines. (00:17-00:19)
7.2.4 Show adjustment of the rotation angle until the bands are aligned horizontally. (00:20-00:30)
7.3.1. Show the rectangular selection tool defining a region of interest around the LC3-II band in the first lane. (00:31-00:44)
7.3.2. Show selection of Analyze > Gels > Select First Lane. (00:31-00:48)
7.3.3. Show the same region of interest being moved to the corresponding band in the next lane. (00:48-00:56)
7.4.1. Show selection of Analyze > Gels > Select Next Lane. (00:56-00:59)
7.4.2. Show the final lane being selected. (01:55-02:02)
7.4.3. Show selection of Analyze > Gels > Plot Lanes. (02:08-02:12)
7.5.1. Show the straight-line tool defining the baselines for the peaks. (02:13-02:31)
7.5.2. Show the wand tool quantifying the band intensity. (02:36-02:53)
7.5.3. Show the values being normalized to a loading control. (02:55-03:06)


