# Submission ID #: 71652

# Scriptwriter Name: Pallavi Sharma

# Project Page Link: https://review.jove.com/account/file-uploader?src=21853908

Title: Establishing a Microfluidic Co-Culture Blood–Brain Barrier Model Using Human Brain Endothelial Cells and Astrocytes

# Authors and Affiliations:

Sarah Aimee Boardman1,2, Jenna Marie Rosano3, Claire Dawn Hetherington1,2, Cordelia Dunai1,2,4, Thomas David Bateman-Price5, Marie Held6, Thomas Waring6, Marco Marcello6, Franklyn Nkongho Egbe1,2, Mark Alexander Ellul1,2,4,7, Stephen T.J. Ray2,8, Riccardo Vincenzo D’Elia5,9, Adjanie Patabendige1,2,10,11, Esther García-Tuñón12,13*, Gwen Fewell3*, Benedict Daniel Michael1,2,4,7*

*These senior authors contributed equally to this work.

¹Clinical Infection, Microbiology, and Immunology, University of Liverpool, Institute of Infection, Veterinary and Ecological Science

²Liverpool Interdisciplinary Neuroscience Centre, University of Liverpool

³SynVivo Inc.,

⁴NIHR Health Protection Research Unit (HPRU) in Emerging and Zoonotic Infections at University of Liverpool

⁵Human and Biological Advantage, Defence Science and Technology Laboratory (Dstl)

⁶Centre for Cell Imaging, Liverpool Shared Research Facilities, University of Liverpool

⁷Department of Neurology, Walton Centre Foundation Trust

8Department of Paediatric Infectious Disease and Immunology, Oxford University Hospitals NHS Foundation Trust

9Strathclyde Institute of Pharmacy & Biomedical Sciences (SIPBS), University of Strathclyde

10Metabolic Disorders and Cancer Research Centre, College of Science and Engineering, University of Derby

¹¹Liverpool Centre for Cardiovascular Science, University of Liverpool

¹²School of Engineering, University of Liverpool

¹3Materials Innovation Factory, University of Liverpool

# Corresponding Authors:

Benedict Daniel Michael 	(benmic@liverpool.ac.uk; ORCID: 0000-0002-8693-8926)

# Email Addresses for All Authors:

Sarah Aimee Boardman 	(saimeeb@liverpool.ac.uk; ORCID: 0000-0003-4385-6004)

Jenna Marie Rosano 		(jenna@synvivobio.com)

Claire Dawn Hetherington 	(claire.hetherington@liverpool.ac.uk; ORCID: 0009-0003-9234-4459)

Cordelia Dunai 		(cdunai@liverpool.ac.uk; ORCID: 0000-0001-5799-2387)

Thomas David Bateman-Price (tbprice@dstl.gov.uk; ORCID: 0000-0003-0706-2901)

Marie Held 			(mheldb@liverpool.ac.uk; ORCID: 0000-0003-0118-5898)

Thomas Waring 		(twaring@liverpool.ac.uk; ORCID: 0000-0002-3280-8886)

Marco Marcello 		(m.marcello@liverpool.ac.uk; ORCID: 0000-0002-2392-8640)

Franklyn Nkongho Egbe 	(fnkongho@liverpool.ac.uk; ORCID: 0000-0002-9547-4609)

Mark Alexander Ellul 		(ellulm@liverpool.ac.uk; ORCID: 0000-0002-6115-8245)

Stephen T.J. Ray		(stephen.ray@paediatrics.ox.ac.uk)

Riccardo Vincenzo D'Elia 	(rvdelia@dstl.gov.uk; ORCID: 0000-0002-4432-2314)

Adjanie Patabendige 		(a.patabendige@derby.ac.uk; ORCID: 0000-0003-1550-3084)

Esther García-Tuñón 		(egarciat@liverpool.ac.uk; ORCID: 0000-0001-9507-4501)

Gwen Fewell 			(gwen@synvivobio.com)

Benedict Daniel Michael 	(benmic@liverpool.ac.uk; ORCID: 0000-0002-8693-8926)

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  No

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  No

3. Filming location: Will the filming need to take place in multiple locations?   Yes—office and lab

In the same building, one floor apart, 2 minute walk. Lift is available.

4. Testimonials (optional): Would you be open to filming two short testimonial statements live during your JoVE shoot? These will not appear in your JoVE video but may be used in JoVE’s promotional materials. Yes

Current Protocol Length

Number of Steps:  30

Number of Shots:  56

# Interviews

Videographer: Obtain headshots for all authors available at the filming location.

Authors: Please note that the questions will not appear on screen. Please answer in stand-alone full sentence with sufficient context

INTRODUCTION:

REQUIRED: Summarize your research focus and the main questions it aims to answer.

  - Sarah Boardman: Our research focuses on a 3D flow-based microfluidic BBB model, including endothelial cells and astrocytes, to investigate cellular mechanisms.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Describe the research contexts or systems in which this protocol can be applied.

  - Sarah Boardman: This platform is suitable for investigating how the BBB reacts to shear flow, pathogens, and inflammatory responses.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

CONCLUSION:

What does this protocol allow researchers to study or measure?

  - Sarah Boardman: This protocol allows users to assess barrier integrity via TEER, immunofluorescent staining, and qPCR, as well as determine the fluid mechanics.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Are there any additional methods or analyses that can be performed following this procedure?

  - Sarah Boardman: Further techniques, such as supernatant analysis of biomarkers and permeability to fluorescent tracers, are possible using this model.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

How can future studies build on this work? Describe the questions or research directions that can be investigated next.

  - Sarah Boardman: Future work aims to integrate more cell types to produce an enhanced BBB model to understand cellular interactions in disease.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Videographer: Obtain headshots for all authors available at the filming location.

# `Testimonial Questions (OPTIONAL):

# Videographer: Please capture all testimonial shots in a wide-angle format with sufficient headspace, as the final videos will be rendered in a 1:1 aspect ratio. Testimonial statements will be presented live by the authors, sharing their spontaneous perspectives.

- Testimonial statements will not appear in the video but may be featured in the journal’s promotional materials.

- Provide the full name and position (e.g., Director of [Institute Name], Senior Researcher [University Name], etc.) of the author delivering the testimonial.

- Please answer the testimonial question live during the shoot, speaking naturally and in your own words in complete sentences.

What is the key takeaway you hope viewers remember after watching your video article?

  - Cordelia Dunai, Postdoc at University of Liverpool: (authors will present their testimonial statements live)

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

How does the video format of your article help you to share your work with the broader scientific community?

  - Sarah Boardman, Ph.D. student at U of Liverpool, : (authors will present their testimonial statements live)

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

# Protocol

Videographer: Please always record an audio slate while filming each shot mentioned in the shotlist.

- Microfluidic Chip Tubing Setup and PBS Perfusion

Demonstrator: Sarah Boardman

  - To begin, cut the outlet tubing to a length of 10 centimeters [1]. Insert Tygon tubing into the three outlet ports and three electrode ports of the microfluidic chip using sterile tweezers [2].

    - WIDE: Talent cutting outlet tubing to a length of 10 cm

    - Talent inserting tubing into the outlet ports of the microfluidic chip using sterile tweezers. Videographer: Please obtain CU shot as well for this shot.

  - Insert an electrode into the tubing to determine the required tubing length for the electrode ports [1]. Mark the appropriate position, remove the electrode [2], and cut the tubing at the marked location [3].

    - Talent inserting an electrode into tubing.

    - Talent marking the tubing at the appropriate position and removing the electrode.

    - Talent cutting the tubing at the marked location.

  - To perfuse the chip, attach approximately 24 centimeters of Tygon tubing to a 1-milliliter syringe needle [1]. Aspirate PBS into the syringe and tubing until the system is filled and free of visible air bubbles [2].

    - Talent attaching Tygon tubing to a 1-milliliter syringe needle.

    - Talent aspirating PBS into the syringe and tubing.

  - Using sterile tweezers, insert the PBS-filled tubing into one outer apical-channel inlet port [1]. Gently depress the syringe plunger until approximately three drops of PBS emerge from the outlet tubing [2]. Apply a clamp to the outlet tubing [3].

    - Talent inserting the PBS-filled tubing into the outer apical-channel inlet port using sterile tweezers.

    - Talent gently depressing the syringe plunger.

    - Talent applying a clamp to outlet tubing.

  - Continue depressing the syringe plunger until PBS fills the electrode chamber and electrode-port tubing, and approximately three drops emerge from the electrode-port tubing [1]. Apply a clamp to the electrode-port tubing [2]. Then, cut the inlet tubing, leaving approximately 8 centimeters attached to the chip and clamp [3].

    - Talent gently depressing the syringe plunger until the electrode chamber is filled.

    - Talent applying a clamp to the electrode-port tubing.

    - Talent cutting inlet tubing and applying a clamp.

  - After completing the procedure to perfuse the second outer apical and inner basolateral channels, keep the tubing connected to the basolateral channel syringe [1]. Only remove the syringe barrel from the needle assembly to allow for a subsequent connection to the pneumatic primer system [2].

    - Shot of the tubing attached to the syringe connected to the basolateral channel.

    - Talent removing the syringe barrel from the needle assembly.

- Chip Priming with Nitrogen Gas

  - Attach the pneumatic primer to the nitrogen-gas cylinder [1]. Then, attach the multiport manifold to the pneumatic primer to enable simultaneous priming of multiple chips [2].

    - Shot of the pneumatic primer connected to the nitrogen-gas cylinder.

    - Shot of the multiport manifold connected to the pneumatic primer.

  - Next, connect the chip to the manifold by securing the syringe needle attached to the chip tubing into the luer-lock connector closest to the pneumatic primer [1]. Connect additional chips to downstream luer-lock connectors as required [2].

    - Talent securing the syringe needle attached to the chip tubing into the luer-lock connector closest to the pneumatic primer.

    - Talent connecting additional chips to downstream luer-lock connectors.

  - Then, open the nitrogen-gas cylinder regulator and maintain the inlet pressure below 20 pounds per square inch [1]. Set the pneumatic-primer pressure to 7.5 pounds per square inch and prime the chips for 25 to 30 minutes [2]. Disconnect the chips from the manifold [3] and inspect the channels under a microscope for residual air bubbles [4].

    - Talent opens the nitrogen-gas cylinder regulator and sets the pressure to 20psi/inch.

    - Talent setting the pneumatic primer regulator to 7.5psi/inch

    - Talent disconnecting the chips from the manifold.

    - SCREEN: Microfluidic channels visible with residual air bubbles being inspected. Videographer: Please record the computer screen for this shot

- Measurement of Background Transendothelial Electrical Resistance (TEER)

  - Remove the humidity box containing the microfluidic chip coated with laminin, Matrigel, and fibronectin from the incubator [1] and disinfect the external surface with 70% ethanol [2].

    - Talent removing the humidity box containing the microfluidic chip from the incubator.

    - Talent disinfecting the external surface of the humidity box with 70 percent ethanol.

  - Once the humidity box is placed in a biosafety cabinet, place the chip on a hot plate set to 37 degrees Celsius for 10 minutes before measurement [1]. Remove the clamps from the electrode-port tubing [2].

    - Talent placing the chip on a hot plate.

    - Talent removing the clamps from the electrode-port tubing.

  - Disinfect two electrodes using 70 percent ethanol [1]. Insert one electrode into the apical electrode port tubing and another into the shared basolateral port tubing [2]. Advance the electrodes until the tips contact the glass base [3].

    - Talent disinfecting two electrodes with 70 percent ethanol.

    - Talent inserting an electrode into the tubing of apical electrode port and basolateral electrode port

    - Talent advancing the electrodes until the tips contact the glass base of the electrode chambers.

  - Attach the micro-grabbers to the electrodes [1]. Measure TEER for both apical channels at 500 hertz, 1 kilohertz, and 10 kilohertz. Record at least three measurements at each frequency [2]. If performing calibration, connect micro-grabbers to resistors instead [3].

    - Talent attaching the micro-grabbers to the electrodes.

    - Talent measuring TEER for the apical channels with the impedance analyzer.

    - Talent showing micro-grabbers attached to resistor.

  - Remove the electrodes carefully to minimize fluid displacement and prevent air bubbles from forming [1]. Disinfect the electrodes with 70 percent ethanol before reuse [2].

    - Talent carefully removing the electrodes from the electrode-port tubing.

    - Talent disinfecting the electrodes with 70 percent ethanol.

- First Cerebral Microvascular Endothelial Cell Seeding Under Inverted Conditions

  - After detaching and filtering the cultured endothelial cells, transfer the filtered cell suspension to a sterile microcentrifuge tube for immediate use and [1] store it in an incubator at 37 degrees Celsius and 5% carbon dioxide between chip seedings [2].

    - Talent transferring the filtered cell suspension into a sterile microcentrifuge tube. TXT: Cells used: hCMEC/D3

    - Talent placing the tube in the incubator.

  - Attach 15 centimeters of Tygon tubing to a 1-milliliter syringe and needle [1].

    - Talent attaching 15 centimeters of Tygon tubing to a 1-milliliter syringe and needle.

  - Remove the endothelial cell suspension and the humidity box containing the coated microfluidic chip from the incubator [1]. Disinfect the external surfaces of the microcentrifuge tube and the humidity box with 70% ethanol before placing them in the biosafety cabinet [2].

    - Talent removing the endothelial cell suspension and the humidity box containing the coated microfluidic chip from the incubator.

    - Talent disinfecting the external surfaces of the microcentrifuge tube and humidity box with 70 percent ethanol.

  - Mix the endothelial cell suspension by gentle inversion or flicking immediately before aspiration [1].

    - Talent gently inverting or flicking the microcentrifuge tube containing the endothelial cell suspension.

  - Aspirate the endothelial cell suspension into the tubing and syringe until approximately 100 microliters remain within the syringe barrel [1]. Return the remaining cell suspension to the incubator between chip seedings [2].

    - Talent aspirating the endothelial cell suspension into the tubing and syringe.

    - Talent placing the remaining cell suspension into the incubator.

  - Then, remove the clamp from the outlet tubing connected to one outer apical channel [1].

    - Talent removing the clamp from the outlet tubing connected to the outer apical channel.

  - Apply a drop of endothelial cell culture medium to the inlet port, then gently remove the existing tubing [1].

    - Talent applying a drop of endothelial cell culture medium to the inlet port and removing the tubing

  - Gently depress the syringe plunger until a small meniscus forms at the tubing outlet [1].

    - Talent gently depressing the syringe plunger until a small meniscus forms at the tubing outlet.

  - Insert the tubing into the inlet port connected to the apical channel [1]. Slowly depress the syringe plunger until approximately three drops of endothelial cell suspension emerge from the outlet tubing [2]. Reapply the clamp to the outlet tubing [3].

    - Talent inserting the tubing into the inlet port connected to the apical channel.

    - Talent slowly depressing the syringe plunger until endothelial cell suspension droplets emerge from the outlet tubing.

    - Talent reapplying the clamp to the outlet tubing.

  - Cut the inlet tubing to leave approximately 5 centimeters attached to the chip and apply a clamp [1].

    - Talent cutting the inlet tubing to leave approximately 5 centimeters attached to the chip and applying the clamp.

  - After repeating the same procedure to seed the second apical channel, use a microscope to confirm that endothelial cell coverage is at least 70 percent and evenly distributed [1].

    - LAB MEDIA: (Figure 3A).

  - If necessary, use tweezers to gently adjust the attached tubing while observing the cells under the microscope to promote uniform cell distribution [1]. Stop adjusting when the cells are evenly distributed throughout the channel [2].

    - Talent adjusts the attached tubing while observing the cells under the microscope.

    - SCREEN: Shot of the evenly adjusted cells throughout the channel.

Videographer: Please record the computer screen for this shot

  - Place the seeded chips in an inverted orientation inside the humidity box with the glass surface facing upward and the PDMS surface facing downward [1].

    - Talent placing the seeded chips in an inverted orientation inside the humidity box.

  - Secure the chip with masking tape attached to both ends of the glass slide and fixed to the inside of the humidity box lid [1]. Close the humidity box lid carefully, ensuring that all tubing remains inside the container [2].

    - Talent securing the chip to the inside of the humidity-box lid using masking tape.

    - Talent carefully closing the humidity-box lid with all tubing positioned inside the container.

  - Transfer the humidity box to an incubator at 37 degrees Celsius and 5 percent carbon dioxide for at least 4 hours [1].

    - Talent placing the humidity box into the incubator.

  - After the second endothelial cell seeding, connect the chip to the syringe-pump system, seed the astrocytes, and perform immunofluorescence staining [1-TXT].

    - Shot of the chip connected to the syringe pump medium replacement system.

# Results

- Results

  - The tight junction protein ZO-1 (ZO-One) was observed throughout the hCMEC/D3 (H-C-M-E-C-D-Three) endothelial cell layer within the apical channels [1], while the endothelial cell marker CD31 (C-D-Thirty-One) was also detected within the endothelial cell population [2].

    - LAB MEDIA: Figure 6A. Video editor: Highlight the red staining labeled 'ZO-1' around the apical channel perimeter.

    - LAB MEDIA: Figure 6A. Video editor: Highlight the green staining labelled 'CD31' within the apical channel.

  - Human primary astrocytes cultured within the basolateral chamber expressed GFAP (G-F-A-P), confirming astrocyte identity under the culture conditions used in this study [1].

    - LAB MEDIA: Figure 6A. Video editor: Highlight the yellow staining labelled 'GFAP' within the central chamber.

  - Immunofluorescent images revealed astrocytic processes extending through micropillars separating the apical and basolateral compartments, suggesting potential physical interactions alongside soluble factor exchange [1].

    - LAB MEDIA: Figure 6A. Video editor: Show the insert image and highlight the yellow thread-like things passing extending through the small micropillar gaps between the two separate channels .

  - A cross-sectional z-stack image of the apical channel showed the endothelial cell layer developing a lumen-like morphology around the channel's perimeter [1].

    - LAB MEDIA: Figure 6B.