# Submission ID #: 71836

# Scriptwriter Name: Ruchira Mukherji

# Project Page Link: https://review.jove.com/files_upload.php?src=21910028

# Title: ELISpot Assay for Quantifying Antigen-Specific and Total Antibody-Secreting Cells in Blood and Bone Marrow of Immunized Rhesus Macaques

# Authors and Affiliations:

# Manivannan Nandhagopal1, Nawal Ouguirti1, Kenneth A. Rogers2, Daniel P. Leaman3, Michael B. Zwick3, Francois J. Villinger1, Deepanwita Bose1

# 1Department of Comparative Medicine, Michale E. Keeling Center for Comparative Medicine and Research, University of Texas, M.D. Anderson Cancer Center

# 2New Iberia Research Center, University of Louisiana at Lafayette

# 3Department of Immunology and Microbiology, Scripps Research Institute

# Corresponding Authors:

# Deepanwita Bose                                                    Dbose1@mdanderson.org

# Email Addresses for All Authors:

MNandhagopal@mdanderson.org

NOuguirti@mdanderson.org

kenneth.rogers@louisiana.edu

leamand@scripps.edu

zwick@scripps.edu

FJVillinger@mdanderson.org

Dbose1@mdanderson.org

## Author Questionnaire

1. We have marked your project as author-provided footage, meaning you film the video yourself and provide JoVE with the footage to edit. JoVE will not send the videographer. Please confirm that this is correct.

√ Correct

2. Interview statements: Which interview statement filming option is the most appropriate for your group? Please select one.

☒ Interviewees self-record interview statements. JoVE can provide support for this option.

3. Proposed filming date: Please indicate the proposed date that your group will self-film interviews: 08/18/2026-08/21/2026.

4. Authors: Please create screen capture videos of the shots labeled as SCREEN, create a screenshot summary and upload all video files to your project page as soon as possible. https://review.jove.com/files_upload.php?src=21910028

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

When you are ready to submit your video files, please contact our Content Manager, Utkarsh Khare.

Current Protocol Length

Number of Steps:18

Number of Shots:53

# Interviews

Authors: Some statements have been modified for length and clarity. Please note that the questions will not appear on screen. Please answer in stand-alone full sentence with sufficient context.

INTRODUCTION:

REQUIRED:

Summarize your research focus and the main questions it aims to answer.

  - Deepanwita Bose: We quantify antigen-specific and total antibody-secreting cells in rhesus macaques to assess how strongly and durably immunization induces humoral immunity.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Describe the research contexts or systems in which this protocol can be applied.

  - Deepanwita Bose: This protocol supports preclinical vaccine research in nonhuman primates, including the development, optimization, and validation of human vaccine candidates.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

CONCLUSION:

What does this protocol allow researchers to study or measure?

  - Deepanwita Bose: This protocol a offers robust and reproducible approach for evaluating immunogen and adjuvant combinations in preclinical vaccine studies.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Describe the most important consideration or challenge when performing this protocol.

  - Deepanwita Bose: The key considerations are using fresh cells to preserve responses and sampling 4 to 5 days after immunization, when macaque plasmablasts peak.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Are there any additional methods or analyses that can be performed following this procedure?

  - Deepanwita Bose: Researchers can combine this assay with antibody titer, durability, and functional analyses to correlate outcomes with blood and bone-marrow ASC frequencies.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Ethics Title Card

This research has been approved by the Institutional Animal Care and Use Committee (IACUC) at University of Texas MD Anderson Cancer Centre

# Protocol

- Coating and Preparation of ELISpot Plates

Demonstrator: Deepanwita Bose

  - To begin with, obtain two MCE (m-c-e) ELISpot (eli-spot) plates [1]. Label one plate each for the antigen-specific PBMC (p-b-m-c) and bone marrow assays [2]. Add 100 microliters per well of Galanthus nivalis lectin, diluted in Dulbecco’s PBS [3]. Incubate the coated plates at 4 degrees Celsius for at least 8 hours, preferably overnight [4].

    - WIDE: Talent placing two MCE ELISpot plates on the bench.

    - Talent adding labels to the two plates inside the Biosafety cabinet.

    - CU: Talent adding 100 microliters per well of GNL to both the plates. TXT – GNL Concentration - 20 µg/mL

    - Talent placing both coated plates at 4 degrees Celsius.

  - Retrieve GNL (g-n-l) coated plates from 4 degrees Celsius [1]. Rapidly invert each plate over a waste container, then tap the inverted plate firmly on absorbent paper to discard the antigen solution [2]. Next, wash each plate four times with 200 microliters per well of DPBS without Tween 20 [3]. Add 200 microliters of blocking solution, RPMI-10 (r-p-m-i),  to each well after washing [4]. Incubate the plates for 2 hours at 37 degrees Celsius in a humidified incubator with 5% carbon dioxide [5].

    - Talent taking the antigen-coated plates out of 4 degrees Celsius.

    - CU: Talent inverting the plate over a waste container, followed by tapping it on absorbent paper to discard antigen solution.

    - Talent washing the plate with 200 microliters per well of DPBS without Tween 20.

    - Talent adding 200 microliters of RPMI-10 to each working well.

    - Talent placing both plates in a humidified 37-degree-Celsius incubator.

  - Discard the blocking solution as demonstrated [1] and wash plates four times with 200 microliters per well of DPBS without Tween 20 [2]. Add 100 microliters per well of CH505 (c-h five-oh-five) SOSIP (saw-sip) antigen solution [3-TXT] and incubate the plates for 2 hours at 37 degrees Celsius [4].

    - CU: Talent inverting a plate over a waste container, followed by tapping it on absorbent paper to discard the solution.

    - Talent washing the plate with 200 microliters per well of DPBS without Tween 20.

    - CU: Talent adding 100 microliters per well of CH505 SOSIP antigen solution. TXT- CH505 SOSIP Concentration : 5 µg/mL

    - Talent placing both plates in a 37-degree-Celsius incubator for 2 hours.

  - Discard the antigen solution after incubation as demonstrated [1] and wash each plate four times with sterile DPBS [2]. Leave DPBS in the wells after the final wash to prevent the MCE membranes from drying [3].

    - CU: Talent inverting a plate over a waste container, followed by tapping it on absorbent paper.

    - Talent washing the plate with 200 microliters per well of DPBS without Tween 20.

    - Talent adding 100 microliters DPBS in the wells after the final wash.

- Seeding and Incubation of Antigen-Specific Plates

  - Remove the DPBS from antigen-coated plates as demonstrated [1]. Add 100 microliters of RPMI-10 to each well in the first row and 133 microliters of RPMI-10 to each well in the second and third rows [2]. Next, add 100 microliters of either PBMCs or bone marrow cell suspension to the first well of each column in the respective plates, according to the plate layout [3-TXT].

    - CU: Talent inverting a plate over a waste container, followed by tapping it on absorbent paper to discard the buffer.

    - Talent adding appropriate amounts of RPMI-10 to the designated wells.

    - CU: Talent adding 100 microliters of either PBMCs or bone marrow cell suspension to the first well of each column of the respective plate.

TXT- Cell Suspension Concentration - 5 × 106 cells/mL

  - Prepare a three-fold serial dilution by transferring 67 microliters from every starting well to the next well, down the column, mixing thoroughly after every transfer [1]. After continued serial dilution, discard the final 67 microliters so that each well contains 133 microliters [2]. Incubate the plate for approximately 18 hours, completely undisturbed, at 37 degrees Celsius in a humidified incubator containing 5 percent carbon dioxide [3].

    - Talent transferring 67 microliters between successive dilution wells while mixing thoroughly after each transfer.

    - Talent discarding the final 67 microliters so that each well is maintained at the same volume.

    - Talent slowly incubating the plate in a 37 degrees Celsius incubator.

- Processing of Antigen-Specific Plate

  - After 18 hours of incubation, remove both plates from the incubator [1]. Discard the cells and culture medium from the plate wells as demonstrated [2]. Next, using a plate washer, wash the plate four times with 200 microliters per well of DPBS [3].

    - Talent retrieving the plates from the incubator.

    - CU: Talent inverting a plate over a waste container, followed by tapping it on absorbent paper.

    - Talent placing the plate in the plate washer.

  - Prepare the detection antibodies in DPBS containing 1 percent fetal bovine serum [1-TXT]. Remove the final wash buffer [2], then add 100 microliters per well of each antibody to the designated columns according to the plate layout [3]. Incubate the plates for 2 hours at room temperature [4].

    - Talent preparing detection-antibody solutions in supplemented DPBS. TXT: Refer to the text protocol for antibody and dilution details.

    - Talent discarding the final wash buffer from the plates.

    - Talent adding 100 microliters per well of the appropriate detection antibody solution.

    - Talent incubating the plates at room temperature for 2 hours.

  - Use the plate washer to discard the detection antibody solution, then wash each plate four times with 200 microliters of DPBS per well [1].

    - Talent utilizing the plate washer to discard the detection antibody solution and wash the plate.

  - Prepare the enzyme conjugate by diluting HRP-avidin (h-r-p avidin) in DPBS containing 1% FBS (f-b-s) [1] and add 100 microliters per working well of each plate [2]. Incubate for 2 hours at room temperature, protected from light [3].

    - Talent preparing HRP-avidin solution in DPBS containing FBS. TXT-HRP-avidin dilution – 1:1000 Video Editor: 1:1000 is a ratio

    - CU: Talent adding 100 microliters per well of diluted HRP-avidin.

    - Talent covering the plates and incubating them at room temperature protected from light.

  - Use the plate washer to discard the solution then wash each plate four times with 200 microliters of DPBS per well, as demonstrated [1]. Leave the final wash buffer in the wells until substrate development [2].

    - Talent utilizing the plate washer to discard the solution and clean the plate.

    - Talent leaving the final wash buffer in the plate wells.

- Substrate Development

  - Immediately before use, prepare the AEC (a-e-c) working substrate by adding one drop of chromogen solution to every 1 milliliter of substrate solution [1-TXT] and mix well [2].

    - CU: Talent adding one drop of chromogen to 1 milliliter of substrate solution. TXT: AEC Substrate: 10 milliliter/plate; scale as per number of plates.

    - Talent vortexing the AEC working substrate until thoroughly mixed.

  - Processing one plate at a time, first discard the DPBS from each well [1]. Then immediately add 100 microliters of AEC working substrate to each well of the plate [2].

    - Talent discarding the wash buffer from each working well of the plate.

CU: Talent immediately adding 100 microliters per well of prepared AEC substrate.

  - Monitor color development until distinct red spots appear, typically within 2 to 4 minutes [1]. Stop the reaction as soon as spots are visible in wells with the highest cell-concentration, by rinsing the plate thoroughly under running tap water [2].

    - ECU: Talent observing red spots developing in the wells.

    - Talent stopping the reaction by rinsing the plate thoroughly under running tap water.

  - Wash the plate four to five times with tap water and remove the underdrain [1]. Eliminate the excess water using absorbent paper towels [2]. Allow the plate to air-dry for approximately 24 hours [3].

    - Talent washing the plate wells with tap water and removing underdrain.

    - Talent blot-drying the plate on absorbent paper towels, to remove excess water.

    - WIDE: Talent leaving the plate to air-dry on a clean, level surface.

- Image Acquisition and Spot Quantification

  - Once both antigen-specific plates are completely dry, scan each plate using an ELISpot reader equipped with image acquisition software [1]. Select the appropriate antigen-specific plate template, define the wells to be analyzed [2], and acquire the plate images according to the software instructions [3]. Save the raw data and export the plate images in TIFF format for archival purposes [4].

    - WIDE: Talent loading a dry ELISpot plate into the plate reader after switching on the computer.

    - SCREEN: Plate template being selected and wells to be analyzed being defined.

    - SCREEN: Plate image being acquired as per software instructions.

    - SCREEN: Raw data being saved and the plate image being exported in TIFF format.

  - Review the automated spot count for every well [1]. Manually inspect each well for incorrectly merged or split spots, and mark individual spots when needed to obtain accurate counts [2]. Record the corrected counts and corresponding dilution factors in the Table 2 spreadsheet [3].

    - SCREEN: Automated spot counts for the acquired plate being reviewed by moving the cursor and zooming in and out.

    - SCREEN: Merged or split spots being reviewed and corrected manually.

    - SCREEN: Corrected spot counts being entered along with their dilution factors in the Table 2 spreadsheet

  - Analyze duplicate wells separately for IgG, IgM, and IgA, and calculate the average spot count for each dilution [1]. Multiply each average by the antigen-specific dilution factor of 3, 9, or 27 to report antibody-secreting cells per million input cells [2].

    - SCREEN: For each  antibody isotype, duplicated wells being analyzed and average spot counts for each dilution being calculated.

    - SCREEN: Antibody-secreting cells per million input cells being calculated, for each antigen-specific dilution factor - 3, 9, or 27.

# Results

- Results

  - Five days after booster immunization, CH505-specific IgG, IgM, and IgA antibody-secreting cell responses in PBMCs (p-b-m-sees) increased markedly compared with baseline [1]. The ratios of CH505-specific to total ASCs (a-s-sees) also increased after boosting, indicating an enhanced antigen-specific plasmablast response consistent with the transient expansion of circulating plasmablasts [2].

    - LAB MEDIA: Figure 3 Video Editor: Please highlight only the baseline and increased 5-day post-boost CH505-specific IgG, IgM, and IgA ASC responses in Panel B, located in the upper-right part of the figure.

    - LAB MEDIA: Figure 3 Video Editor: Please highlight the increased 5-day post-boost CH505-specific-to-total ASC ratios for IgG, IgM, and IgA in Panel C, located in the lower part of the figure.

  - One month after booster immunization, CH505-specific IgG, IgM, and IgA ASC (a-s-c) responses in the bone marrow increased compared with baseline [1]. The ratios of CH505-specific to total bone marrow ASCs also increased after boosting, indicating the accumulation of antigen-specific plasma cells and supporting the establishment of long-lived plasma cells [2]

    - LAB MEDIA: Figure 4 Video Editor: Please highlight only the baseline and increased post-boost CH505-specific IgG, IgM, and IgA ASC responses in Panel B, located in the upper-right part of the figure.

    - LAB MEDIA: Figure 4 Video Editor: Please highlight the increased post-boost CH505-specific-to-total ASC ratios for IgG, IgM, and IgA in Panel C, located in the lower part of the figure.