# Submission ID #: 71885

# Scriptwriter Name: Ruchira Mukherji

Project Page Link: https://review.jove.com/files_upload.php?src=21924973

# Title: Smartphone measurement application for Percutaneous Vertebroplasty in Osteoporotic Vertebral Compression Fractures: A Randomized Trial

# Authors and Affiliations:

# Jing Wang¹,² ,  Jin Zhang¹,³

# ¹ Department of Orthopaedics, The Second Hospital of Lanzhou University
² Department of Orthopaedics, Minxian People's Hospital
³ Gansu Provincial Hospital of Traditional Chinese Medicine

# Corresponding Authors:

Jin Zhang 			13519698516@163.com

# Email Addresses for All Authors:

13519698516@163.com

wangjingx@lzu.edu.cn

## Author Questionnaire

1. We have marked your project as author-provided footage, meaning you film the video yourself and provide JoVE with the footage to edit. JoVE will not send the videographer. Please confirm that this is correct.

√ Correct

2. Interview statements: Which interview statement filming option is the most appropriate for your group? Please select one.

☒ 	Interview Statements are read by JoVE’s voiceover talent.

3. Proposed interview filming date: Please indicate the proposed date that your group will self-film interviews: N/A

When you are ready to submit your video files, please contact our China Location Producer, Junling Cheng.

Current Protocol Length

Number of Steps: 10

Number of Shots: 27

# Interviews

Authors: Some statements have been edited for length and clarity. Please note that the questions will not appear on screen. Please answer in stand-alone full sentence with sufficient context.

INTRODUCTION:

REQUIRED: Summarize your research focus and the main questions it aims to answer.

  - Jing Wang/Jin Zhang: We evaluate whether smartphone-assisted vertebral localization improves preoperative efficiency and reduces fluoroscopy without compromising accuracy or short-term outcomes before vertebroplasty.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Describe the research gap or limitation in existing methods and how this protocol addresses them.

  - Jing Wang/Jin Zhang: Conventional localization relies on subjective estimation and repeated fluoroscopy, while advanced navigation is costly; smartphone measurement reduces localization and correction times.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

CONCLUSION:

Describe the most important consideration or challenge when performing this protocol.

  - Jing Wang/ Jin Zhang: The main challenge is measurement reproducibility, which depends on strict calibration, stable lighting, proper device orientation, operator training, and patient body habitus.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Are there any additional methods or analyses that can be performed following this procedure?

  - Jing Wang/Jin Zhang: Additional analyses could include direct radiation dosimetry, long-term clinical follow-up, multicenter validation across surgeons and devices, and cost-effectiveness assessment.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

How can future studies build on this work? Describe the questions or research directions that can be investigated next.

  - Jing Wang/Jin Zhang: Future studies should examine multicenter dosimetry, cross-device reliability, additional spinal levels, long-term outcomes, and other percutaneous spinal procedures.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Ethics Title Card
This research has been approved by Ethics Committee of the Second Hospital of Lanzhou University

# Protocol

- Smartphone Calibration and Workflow Preparation

Demonstrator: Jing Wang, Jin Zhang

  - Begin by calibrating the depth-sensing smartphone against a standard 20-centimeter ruler under stable indoor lighting [1]. Repeat the measurement at least twice and maintain the same screen-brightness and autofocus settings throughout the workflow [2-TXT].

    - Talent moving the smartphone from the ruler origin to the 20-centimeter mark during calibration.

    - Talent noting down the repeated readings while keeping the brightness and focus settings unchanged. TXT: Acceptable discrepancy - less than 5 millimeters

- Preoperative Imaging Measurement

  - Review the preoperative sagittal computed tomography reconstructions [1] using a medical imaging archiving and communication system [2]. First, identify the midsagittal image showing the full length of the sacrum [3]. Then advance the image series laterally until the sacrum narrows and the posterior ilium appears [4].

    - Talent sitting at the computer reviewing pre-operative sagittal CT reconstructions.

    - Talent opening the medical imaging archiving and communication system.

    - Shot of the midsagittal image showing the full sacrum.

    - Talent advancing the image series laterally until the sacrum narrows and the posterior ilium appears.

  - Identify the posterior superior iliac spine, where the posterior ilium intersects with or separates from the sacrum [1]. Measure the vertical distance from the PSIS (p-s-i-s) to the spinous process at the fractured vertebral level [2].

    - Talent identifying the PSIS on the sagittal reconstruction.

    - Shot of vertical distance from the PSIS to the spinous process at the fractured vertebral level being measured.

- Smartphone-Assisted Body-Surface Localization

  - Clean the smartphone case and camera lens with alcohol wipes [1]. Place the patient prone in a neutral position on the spinal operating table [2]. Palpate and mark the PSIS nearest the surgeon [3].

    - CU: Talent cleaning the smartphone case and camera lens with alcohol wipes.

    - WIDE: Talent positioning the patient prone, maintaining neutral spinal alignment on the operating table.

    - CU: Talent palpates and marks the ipsilateral PSIS.

  - Position the smartphone screen toward the surgeon [1] and place the measurement origin at the marked PSIS [2]. Keep the smartphone's long axis parallel to the patient's back [3]. Move the smartphone slowly toward the head in the coronal plane, avoiding large horizontal fluctuations [4].

    - WIDE: Shot of smartphone being placed with the screen facing the surgeon.

    - Talent placing the measurement origin at the PSIS mark.

    - WIDE: The smartphone's long axis being held parallel to the patient's back.

    - WIDE: Talent steadily moving the smartphone towards the head in the coronal plane.

  - When the displayed distance matches the preoperative imaging measurement, mark the endpoint on the skin [1]. Use this endpoint to identify the presumed spinous process at the fractured level [2]. Place a syringe needle adjacent to the spinous process as a radiopaque marker [3].

    - SCREEN: The preoperative measurement distance being displayed on the smartphone screen at a localization endpoint.

    - CU: Talent marking the endpoint for the presumed spinous process at the fractured level.

    - CU: Talent positioning a syringe needle adjacent to the identified spinous process as a radiopaque marker.

  - Perform lateral fluoroscopy to verify the vertebral level before percutaneous vertebroplasty [1]. Use the smartphone only as an auxiliary localization tool and retain fluoroscopic confirmation as the definitive verification step [2].

    - WIDE: Talent performing lateral fluoroscopy with the radiopaque marker in position.

    - SCREEN: The radiopaque marker and fractured vertebral level aligned on the fluoroscopy screen.

- Conventional Localization and Outcome Recording

  - For the comparison workflow, estimate the target vertebral level using the PSIS, palpable spinous processes, interspinous spaces, and the surgeon's clinical experience [1]. Mark the estimated site and [2] check it using lateral fluoroscopy [3]. If the mark does not correspond to the intended level, adjust the mark and repeat fluoroscopy until the correct level is confirmed [4].

    - WIDE: Talent localizing the vertebral level conventionally using palpable anatomical landmarks.

    - CU: Talent marking the estimated target site on the skin.

    - Talent performing lateral fluoroscopic to verify the target site.

    - Shot of the marker being adjusted and rechecked when the initial site does not align with the intended vertebral level.

  - Record T-zero as the interval from the start of intraoperative localization—beginning with PSIS palpation and application initiation for the smartphone workflow, or freehand marking for conventional localization—to fluoroscopic confirmation [1].

    - CU: Talent starting the stopwatch to record T-zero time.

  - If correction is required, record the additional remarking and fluoroscopy time as T-one, otherwise, record T-one as zero [2]. Have the circulating operating room nurse prospectively record T-zero, T-one, and the number of localization fluoroscopic images using a stopwatch and data-collection sheet [3].

    - CU: Talent recording additional correction time as T-one.

    - WIDE: Shot of a circulating nurse recording T-zero, T-one, including the number of localization fluoroscopic images on the data-collection sheet.

# Results

- Results

  - Preoperative sagittal CT reconstruction was used to identify the fractured thoracolumbar vertebral level and define the measurement plane [1]. The posterior superior iliac spine was marked with a green dot as an anatomical reference point [2].

    - LAB MEDIA: Figure 2. Video Editor: Please highlight the fractured thoracolumbar vertebral level and the orange measurement lines defining the measurement plane

    - LAB MEDIA: Figure 2. Video Editor: Please use an arrow to highlight the green dot marking the posterior superior iliac spine at the bottom of the image.

  - Preoperative sagittal CT reconstruction showed that the vertical distance from the posterior superior iliac spine reference level to the spinous process [1] at the fractured vertebral level was 190.43 mm [2].

    - LAB MEDIA: Figure 3. Video Editor: Please highlight the green vertical measurement line extending from the posterior superior iliac spine reference level to the spinous process at the fractured vertebral level.

    - LAB MEDIA: Figure 3. Video Editor: Please highlight the displayed measurement of 190.43 mm at the bottom of the image.