# Submission ID #: 71930

# Scriptwriter Name: Sri Lakshmi Priya

# Project Page Link: https://review.jove.com/account/file-uploader?src=21938698

# Title: Measuring the Effects of Pharmacological Compounds on Mitochondrial Morphology in Mouse Aging Models

# Authors and Affiliations:

Wayne Mitchell1*, Cecília G. de Magalhães1*, Praju Vikas Anekal2, Vadim N. Gladyshev1

1Division of Genetics, Department of Medicine, Brigham and Women's Hospital, Harvard Medical School

2MicRoN Core, Harvard Medical School

# *These authors contributed equally

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

Wayne Mitchell 		wmitchell2@bwh.harvard.edu

Vadim N. Gladyshev 		vgladyshev@rics.bwh.harvard.edu

# Email Addresses for All Authors:

Cecília G. de Magalhães 	cgallottinidemagalhaes@bwh.harvard.edu

Praju Vikas Anekal 		prajuvikas_anekal@hms.harvard.edu

Wayne Mitchell 		wmitchell2@bwh.harvard.edu

Vadim N. Gladyshev 		vgladyshev@rics.bwh.harvard.edu

## Author Questionnaire

1. We have marked your project as author-provided footage, meaning you film the video yourself and provide JoVE with the footage to edit. JoVE will not send the videographer. Please confirm that this is correct.

☐ Correct

☐ Incorrect

2. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

3. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen captured video files to your project page as soon as possible.

4. Proposed filming date: To help JoVE process and publish your video in a timely manner, please indicate the proposed date that your group will film here: MM/DD/YYYY

DO NOT use this draft script for filming. Please wait until your script is finalized to begin the filming process.

When you are ready to submit your video files, please contact our Content Manager, Utkarsh Khare.

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  26

Number of Shots:  37

# Interviews

Answers to these questions will become interview statements that you will deliver on camera.

- Introduction: Answer the 1st REQUIRED prompt and 1 additional question; Conclusion: Answer any 3 questions. No more than 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- Speak naturally and avoid reading the lines.

- Limit the length of each statement to 20 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

Authors: Please note that the questions will not appear on screen. Please answer in stand-alone full sentence with sufficient context.

INTRODUCTION:

REQUIRED: Summarize your research focus and the main questions it aims to answer.

  - Enter full author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the research gap or limitation in existing methods and how this protocol addresses them.

  - Enter full author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the research contexts or systems in which this protocol can be applied.

  - Enter full author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

CONCLUSION:

What does this protocol allow researchers to study or measure?

  - Enter full author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the most important consideration or challenge when performing this protocol.

  - Enter full author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Are there any additional methods or analyses that can be performed following this procedure?

  - Enter full author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

How can future studies build on this work? Describe the questions or research directions that can be investigated next.

  - Enter full author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Ethics Title Card

This research has been approved by the Institutional Animal Care and Use Committee (IACUC) at Brigham and Women's Hospital and Harvard Medical School

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that you/your videographer will capture.

- Airyscan image acquisition and processing

Demonstrator: Click here to enter name of demonstrator(s)

If the same person is the demonstrator throughout, mention them once here and remove the "Demonstrator" field from the other sections; if the demonstrator changes, retain the field in the respective sections.

  - Obtain immunofluorescently stained tissue sections of a mouse following subcutaneous osmotic pump implantation and tissue processing [1].

    - WIDE: Talent arranging the immunofluorescently stained tissue sections on the laboratory bench.

  - To set up the acquisition on the ZEISS Airyscan2 point scanning LSM 980 confocal, add a single Airyscan SR track [1]. Select the appropriate fluorophore [2].

    - SCREEN: Add a single Airyscan SR track in the acquisition interface.

Authors: Please create screen capture videos of the shots labeled as SCREEN,

create a screenshot summary, and upload the files to your project page as soon as possible:  https://review.jove.com/account/file-uploader?src=21938698

    - SCREEN: Select the appropriate fluorophore.

  - Select the 10-inch plate [1] and the appropriate emission bandpass filters [2].

    - SCREEN: Select the 10-inch plate.

    - SCREEN: Select the appropriate emission bandpass filters.

  - Enable the appropriate lasers [1]. Set the Nyquist sampling criterion to 2 by clicking SR [2]. Adjust the pixel size to 0.05 micrometers [3].

    - SCREEN: Select the appropriate laser or lasers.

    - SCREEN: Click SR to set the Nyquist sampling criterion to 2.

    - SCREEN: Adjust the pixel size to 0.05 micrometers.

  - Click Live and select the live alignment feature to align the Airyscan detector [1]. Once the intensity is localized at the center of the detector icon and the detector turns green, select Stop [2].

    - SCREEN: Click Live and select the live alignment feature.

    - SCREEN: Show the detector turning green with the intensity localized at the center of the detector icon, then click Stop.

  - Click Live again [1]. Adjust the laser intensity until a strong signal is obtained without saturated pixels [2]. Click Stop once the settings are optimized [3].

    - SCREEN: Click Live.

    - SCREEN: Adjust the laser intensity while monitoring the image until a strong signal is achieved without saturated pixels

    - SCREEN: Click Stop after optimizing the settings.

  - To perform data acquisition, click Z-Stack and verify that the step size is set to 0.1 micrometers [1].

    - SCREEN: Click Z-Stack and show that the step size is set to 0.1 micrometers.

  - Click Live and set the lower and upper bounds of the z-stack [2].

    - SCREEN: Cursor clicking Live and setting the lower and upper bounds of the z-stack.

  - Click Start Experiment [1].

    - SCREEN: Cursor clicking Start Experiment.

  - After collecting the z-stack, open the Airyscan tab underneath the image [1]. Click Process 3D while maintaining consistent Wiener filter denoising parameters across replicates and treatment groups [2].

    - SCREEN: Open the Airyscan tab underneath the acquired image.

    - SCREEN: Click Process 3D and show the Wiener filter denoising settings.

  - Save the processed Airyscan z-stack [1].

    - SCREEN: Cursor clicking Save.

- Image segmentation and quantitative analysis using arivis and RStudio

Demonstrator: Click here to enter name of demonstrator(s)

  - Convert Airyscan-processed .czi files to .sis format using the arivis conversion tool [1].

    - SCREEN: Shot of the Airyscan-processed .czi file being converted to .sis format using the arivis conversion tool.

  - To set up and optimize the pipeline, open a representative image in the software [1]. Select the Tom20 (tom-twenty) immunofluorescence channel as the input for analysis [2].

    - SCREEN: Open a representative image in the software.

    - SCREEN: Select the Tom20 immunofluorescence channel as the input.

  - Apply a denoising step before segmentation [1].

    - SCREEN: Enable the denoising step.

  - Segment individual mitochondria using the Blob Finder algorithm [1].

    - SCREEN: Select the Blob Finder algorithm to detect mitochondria in 3D.

  - Adjust the segmentation parameters, including the object size and sensitivity threshold [1]. Visually inspect the overlap between the detected objects and the denoised image to ensure accurate segmentation [2].

    - SCREEN: Adjust the object size and sensitivity threshold.

    - SCREEN: Show the detected objects with the denoised image to verify accurate segmentation.

  - To perform feature extraction and quality control, extract the volume, surface area, and sphericity for each detected object [1].

    - SCREEN: Display the object statistics table showing the extracted measurements volume, surface area, and sphericity for the detected mitochondria.

  - Export the segmented objects as TIFF files [1].

    - SCREEN: Shot of segmented objects being exported as TIFF files.

  - Open the exported TIFF files in FIJI or arivis [1]. Overlay them onto the original image to inspect the segmentation accuracy [2].

    - SCREEN: Exported TIFF files being opened in FIJI or arivis.

    - SCREEN: Shot of the segmented objects being overlaid with the original image to inspect the segmentation.

  - Export the quantitative measurements as individual spreadsheet files for each sample [1].

    - SCREEN: Shot of the quantitative measurements being exported as spreadsheet files.

  - Save the optimized pipeline [1].

    - SCREEN: Shot of the cursor clicking Save.

  - Apply the pipeline to additional images from all experimental groups [1].

    - SCREEN: Select additional images and execute the saved pipeline.

  - Refine the segmentation parameters as needed to ensure consistent performance across all experimental groups [1].

    - SCREEN: Adjust the segmentation parameters and review the segmentation results.

  - Apply the finalized pipeline in batch mode to all images in the study [1].

    - SCREEN: Run the finalized pipeline in batch mode.

  - To perform data analysis, import the exported data into RStudio [1].

    - SCREEN: Open RStudio version 4.3.2 and import the exported spreadsheet files.

  - Install the required R packages if they are not already installed [1].

    - SCREEN: Install the required R packages in RStudio.

# Results

Please review this section to make sure that it accurately reflects your findings.

- You/Your videographer does not have to record this section. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 158.

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

  - Representative optical slices illustrated the image processing workflow for both Control [1] and Treated samples [2].

    - LAB MEDIA: Figure 2. Video editor: Highlight the row labelled 'CONTROL' showing the sequence of images from 'Tom20' to 'Den. + Segm.'.

    - LAB MEDIA: Figure 2. Video editor: Highlight the row labelled 'TREATED' showing the sequence of images from 'Tom20' to 'Den. + Segm.'.

  - After particle enhancement denoising, the background signal was substantially reduced [1], and the remaining fluorescence was confined to discrete, well-defined structures [2].

    - LAB MEDIA: Figure 2. Video editor: Highlight the image labelled 'Denoising' in the CONTROL row, showing the darker background around the fluorescent structures.

    - LAB MEDIA: Figure 2. Video editor: Highlight the image labelled 'Denoising' in the TREATED row, showing the darker background around the fluorescent structures.

  - Detected objects co-localized precisely with the denoised Tom20 fluorescence signal in Control samples [1] and Treated samples [2].

    - LAB MEDIA: Figure 2. Video editor: Highlight the 'Den. + Segm.' inset in the row labeled 'CONTROL' with its zoomed-in box.

    - LAB MEDIA: Figure 2. Video editor: Highlight the 'Den. + Segm.' inset in the row labelled 'TREATED' with its zoomed-in box.

  - High-quality segmentation was consistently achieved across both Control [1] and Treated samples [2].

    - LAB MEDIA: Figure 2. Video editor: Highlight the complete row labelled 'CONTROL'.

    - LAB MEDIA: Figure 2. Video editor: Highlight the complete row labelled 'TREATED'.

  - Segmented mitochondria were measured for mitochondrial volume [1], sphericity [2], and surface area [3].

    - LAB MEDIA: Figure 3. Video editor: Highlight the graph titled 'Volume'.

    - LAB MEDIA: Figure 3. Video editor: Highlight the graph titled 'Sphericity'.

    - LAB MEDIA: Figure 3. Video editor: Highlight the graph titled 'Surface Area'.

  - Treated samples exhibited significantly higher mitochondrial volume [1] and surface area [2] than Control samples [3].

    - LAB MEDIA: Figure 3. Video editor: Highlight the red 'Treated' box in the graph titled 'Volume'.

    - LAB MEDIA: Figure 3. Video editor: Highlight the red 'Treated' box in the graph titled 'Surface Area'.

    - LAB MEDIA: Figure 3. Video editor: Show the graph titled 'Volume' and 'Surface Area'

  - The elbow method determined the optimal number of clusters for k-means clustering [1].

    - LAB MEDIA: Figure 4A. Video editor: Highlight the line plot titled 'Elbow method – optimal k'.

  - Random subsamples of mitochondria from the Control and Treated groups were plotted using uniform manifold approximation and projection and colored by mitochondrial subtype [1] and treatment group [2].

    - LAB MEDIA: Figure 4B. Video editor: Highlight the left plot titled 'Mitochondrial subtypes — UMAP' and the legend labelled 'Subtype'.

    - LAB MEDIA: Figure 4B. Video editor: Highlight the right plot titled 'Experimental groups — UMAP' and the legend labelled 'Group'.

  - The proportions of each mitochondrial subtype were plotted for the Control [1] and Treated groups [2].

    - LAB MEDIA: Figure 4C. Video editor: Highlight the stacked bar labelled 'Control'.

    - LAB MEDIA: Figure 4C. Video editor: Highlight the stacked bar labelled 'Treated'.

  - The Treatment group contained fewer fragmented mitochondria [1], but showed no significant change in the proportion of elongated mitochondria [2] or networked mitochondria [3].

    - LAB MEDIA: Figure 4C. Video editor: Highlight the brown box plots labelled treated above 'Fragmented'.

    - LAB MEDIA: Figure 4C. Video editor: Highlight the brown box plots labelled treated above 'Elongated'.

    - LAB MEDIA: Figure 4C. Video editor: Highlight the brown box plots labelled treated above 'Networked'.