# Submission ID #: 71970

# Scriptwriter Name: Kathyayani Sridharan

# Project Page Link: https://review.jove.com/account/file-uploader?src=21950898

# Title: DNA-FISH Metaphase Spreads to Distinguish Extrachromosomal DNA from Homogeneously Staining Regions in Human Cancer Cell Lines

# Authors and Affiliations:

Lauren Marie Masters, Katelin Maria Hagstrom, Graham Scott Erwin

# Molecular and Human Genetics Department, Baylor College of Medicine

# Corresponding Authors:

# Graham Scott Erwin           	 Graham.Erwin@bcm.edu

# Email Addresses for All Authors:

Lauren Masters                  	Lauren.Masters@bcm.edu

Katelin Hagstrom                	Katelin.Hagstrom@bcm.edu

Graham Scott Erwin         	Graham.Erwin@bcm.edu

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar? Yes (Authors: We have modified this response to account for the SCOPE shot. Please specify if this approach is acceptable or if shot 3.4.2 will be visualized on-screen and the videographer can film it directly.)

If Yes, can you record movies/images using your own microscope camera? No

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

LAXCO LMI3-PH1

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Scope shot: 3.4.2

Videographer: Please film the above-mentioned shot using a scope kit.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage? No

3. Filming location: Will the filming need to take place in multiple locations?   Yes, Same Building

4. Testimonials (optional): Would you be open to filming two short testimonial statements live during your JoVE shoot? These will not appear in your JoVE video but may be used in JoVE’s promotional materials. No

Current Protocol Length

Number of Steps: 18

Number of Shots:  54

# Interviews

Videographer: Obtain headshots for all authors available at the filming location.

Authors: Please note that the questions will not appear on screen. Please answer in stand-alone full sentence with sufficient context

Note: The statements have been edited slightly.

INTRODUCTION:

REQUIRED: Summarize your research focus and the main questions it aims to answer.

  - Lauren Masters: Our research focuses on determining whether amplified oncogenes reside on extrachromosomal DNA or within distinct, chromosomally integrated homogeneously staining regions.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Describe the research gap or limitation in existing methods and how this protocol addresses them.

  - Katelin Hagstrom: Sequencing fails to distinguish ecDNA from HSR amplification, so our metaphase-spread protocol resolves this at single-cell resolution without cytogenetics expertise.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

CONCLUSION:

What does this protocol allow researchers to study or measure?

  - Lauren Masters: This protocol enables the visualization of locus copy number and physical location at single-cell resolution using fluorescent probes.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Are there any additional methods or analyses that can be performed following this procedure?

  - Lauren Masters: After imaging, researchers can deconvolve Z-stacks and analyze them in ImageJ to accurately quantify gene copy numbers and determine ecDNA status.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

How can future studies build on this work? Describe the questions or research directions that can be investigated next.

  - Lauren Masters: Broader adoption will help researchers determine amplification state and determine if the cells switch between ecDNA and HSR states.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Videographer: Obtain headshots for all authors available at the filming location.

# Protocol

Videographer: Please always record an audio slate while filming each shot mentioned in the shotlist.

- Metaphase Arrest, Cell Harvesting, and Fixation of COLO320DM Cells

Demonstrator: Katelin Hagstrom

  - To begin, dilute the Colcemid (KAHL-seh-mid) stock solution at a 1 in 1 ratio with sterile ultrapure water [1]. For metaphase arrest, add 100 microliters of diluted Colcemid solution to the COLO320DM (KOH-loh-three-twenty-D-M) cells maintained in 10 milliliters of media in logarithmic growth at 70 to 90 percent confluence [2] and place them in a cell culture incubator for 45 minutes to overnight [3].

    - WIDE: Talent preparing the diluted Colcemid solution with sterile ultrapure water. Videographer: Please obtain CU shot as well for this shot. TXT: Colcemid: N-methyl-N-deacetyl-colchicine

    - Talent adding the diluted Colcemid solution to the cell culture. (Authors: Thank you for your response. We have incorporated the details in the narration. Please verify if it is appropriate.)

    - Talent placing the culture into the cell culture incubator.

  - Prepare a fresh Carnoy's fixative using a 3 to 1 ratio of methanol to acetic acid [1]. Keep the Carnoy's fixative on ice throughout the fixation procedure [2].

    - Talent preparing the fresh Carnoy's fixative.

    - Talent placing the Carnoy's fixative on ice.

  - Prepare a fresh 0.075 molar potassium chloride solution [1] and warm the solution in a 37 degrees Celsius water bath [2].

    - Talent preparing the potassium chloride solution.

    - Talent placing the potassium chloride solution into the water bath.

  - After centrifugation and cell counting, wash the cells with PBS [1]. Gently resuspend in 10 milliliters of the warm 0.075 molar potassium chloride solution [2] and mix the suspension by gentle inversion [3]. Incubate the cells in a 37 degrees Celsius water bath for 30 minutes [4].

    - Talent washing the cells with phosphate-buffered saline.

    - Talent resuspending the cells in the warm potassium chloride solution

    - Talent gently inverting the container to mix.

    - Talent placing the cell suspension into the water bath.

  - Slowly add 2 milliliters of the ice-cold Carnoy's fixative while gently mixing the suspension by inversion [1]. After allowing the cells to stand for 5 minutes, centrifuge the cells at 500 g for 5 minutes at room temperature [2]. Use a pipette to carefully remove the supernatant [3].

    - Talent adding the ice-cold Carnoy's fixative while gently inverting the suspension.

    - Talent placing the sample into the centrifuge.

    - Talent removing the supernatant with a pipette.

  - Slowly add 10 milliliters of the ice-cold Carnoy's fixative in 0.5 milliliter increments while gently mixing the suspension after each addition, allowing the cells to stand for 10 minutes [1]. Centrifuge the cells at 650 g for 5 minutes at room temperature [2]. During the final wash, leave the cells suspended in Carnoy's fixative [3].

    - Talent gradually adding the Carnoy's fixative while gently inverting the suspension after each addition.

    - Talent placing the sample into the centrifuge.

    - Talent leaving the cells suspended in Carnoy's fixative after the final wash.

- Tabletop Dropping of Cells and Slide Pretreatment

Demonstrator: Lauren Masters

  - Label glass slides and place them on ice [1]. Use a P1000 (P-one-thousand) pipette to resuspend cells to approximately 5 million cells per milliliter of Carnoy's fixative [2]. Transfer approximately 300 microliters of the fixed-cell suspension into a 1.5 milliliter microcentrifuge tube [3].

    - Talent placing the labeled glass slides on ice.

    - Talent resuspending the fixed cells with a P1000 pipette.

    - Talent transferring the fixed-cell suspension into a 1.5 milliliter microcentrifuge tube.

  - Use a P200 (P-two-hundred) pipette to thoroughly resuspend the sample by pipetting up and down several times [1], aspirate 60 microliters of the resuspended cells [2].

    - Talent pipetting the sample up and down several times with a P200 pipette.

    - Talent aspirating the resuspended cells with a P200 pipette.

  - Hold the pipette tip approximately 1 meter above the glass slide on ice and aim for the center of the slide [1]. Slowly dispense 1 drop of the cell suspension onto the slide [2]. Place the slides on a slide incubator at 80 degrees Celsius for 10 minutes [3].

    - Talent positioning the pipette above the chilled glass slide.

    - Talent dispensing a single drop of the cell suspension onto the center of the glass slide.

    - Talent placing the slides into the slide incubator.

  - Examine the slides using a phase-contrast microscope with a 10 X (ten-X) or 20 X (twenty-X) objective [1]. Confirm the presence of multiple well-dispersed metaphase spreads, with minimal overlap [2].

    - Talent examining the slides with the phase-contrast microscope.

    - SCOPE: Multiple well-dispersed metaphase spreads visible with minimal overlap. (Authors: We have instructed the videographer to use scope kit to film this shot. Please specify if this is appropriate. The instructions are provided at the start of the document.)

  - For slide pretreatment, place the glass slides in 70 percent acetic acid for 2 minutes [1], wash in 40 milliliters of PBS for 30 seconds [2], followed by a second wash in 45 milliliters of PBS for 5 minutes [3]. Next, dehydrate the glass slides sequentially in 70 percent, 85 percent, and 100 percent ethanol for 1 minute each [4].

    - Talent immersing the glass slides in 70 percent acetic acid.

    - Talent transferring the glass slides into 40 milliliters of phosphate-buffered saline.

    - Talent transferring the glass slides into 45 milliliters of phosphate-buffered saline.

    - Talent sequentially transferring the glass slides through the ethanol solutions.

- In situ Hybridization, Counterstaining, and Imaging

Demonstrator: Lauren Masters

  - Apply 5 microliters of the probe and hybridization buffer mixture, containing 1 microliter of amplified locus-specific probe and 4 microliters of buffer, to the center of each drop location on the glass slide [1]. Carefully place a coverslip over the sample [2] and seal its edges with rubber cement [3]. Place the glass slides in a humid chamber for in situ probe hybridization overnight, or for 12 to 18 hours as specified in the manufacturer's protocol.[4].

    - Talent applying the probe and hybridization buffer mixture to the center of each drop location on the glass slide.

    - Talent placing a coverslip over the sample.

    - Talent sealing the edges of the coverslip with rubber cement.

    - Talent placing the glass slides into the humid chamber. (Authors: Please specify if the duration will be overnight or 12-18 hours? We will retain only that duration in the narration.)

  - Remove the glass slides from the humid chamber [1]. Carefully remove the rubber cement [2]. Place the glass slides in 2X (two-X) saline-sodium citrate, or SSC (S-S-C) solution for 2 minutes at room temperature [3], then carefully remove the coverslips [4].

    - Talent removing the glass slides from the humid chamber.

    - Talent removing the rubber cement from the coverslip edges.

    - Talent placing the glass slides into the 2 times saline-sodium citrate solution.

    - Talent removing the coverslips.

  - Next, place the glass slides in the prewarmed 0.4X (zero-point-four-X) SSC solution at 72 degrees Celsius for 2 minutes [1], followed by 2X SSC for 1 minute at room temperature [2]. Dehydrate the glass slides sequentially in 70 percent, 85 percent, and 100 percent ethanol for 1 minute each [3]. Air-dry the slides at room temperature in the dark for 10 minutes [4].

    - Talent placing the glass slides into the prewarmed 0.4 times saline-sodium citrate solution.

    - Talent transferring the glass slides into the 2 times saline-sodium citrate solution.

    - Talent sequentially transferring the glass slides through the ethanol solutions.

    - Talent placing the glass slides on the bench to air-dry in the dark.

  - Use a pipette to apply 10 microliters of the diluted DAPI (dah-pee) to each glass slide at the marked drop location [1]. Carefully place a coverslip over the sample to ensure the DAPI solution spreads evenly [2]. Incubate the slides in the dark for 5 to 10 minutes [3].

    - Talent pipetting the diluted DAPI onto the marked drop location of the glass slide. TXT: DAPI: 4′,6-diamidino-2-phenylindole

    - Talent placing a coverslip over the sample.

    - Talent placing the slides in a dark location for incubation.

  - Place the glass slides in PBS for 30 seconds [1]. Remove the coverslips [2] and place the glass slides in PBS for 2 minutes [3].

    - Talent immersing the glass slides in phosphate-buffered saline.

    - Talent removing the coverslips.

    - Talent placing the glass slides into fresh phosphate-buffered saline.

  - Dehydrate the glass slides by briefly dipping them in 70 percent, 85 percent, and 100 percent ethanol for approximately 10 seconds each [1]. Air-dry the slides at room temperature in the dark for 10 minutes [2].

    - Talent sequentially dipping the glass slides into the ethanol solutions.

    - Talent placing the glass slides on the bench to air-dry in the dark.

  - Add 15 microliters of the mounting medium to each glass slide [1] and carefully place a coverslip on top [2]. Seal the edges of the coverslip with nail polish, then image and analyze the efficiency of metaphase spread [3].

    - Talent applying the mounting medium to the glass slide.

    - Talent placing a coverslip over the mounting medium.

    - Talent sealing the edges of the coverslip with nail polish.

# Results

- Results

  - Confirmation of metaphase spreads by phase-contrast microscopy at 10X magnification showed well-dispersed chromosomes, indicating successful metaphase arrest, hypotonic swelling, and nuclear rupture upon contact with the glass slide [1].

    - LAB MEDIA: Figure 2. Video Editor: Please emphasize the white boxes in the image.

  - Representative DNA-fluorescent in situ hybridization metaphase spread images of a COLO320DM cell show the locus-specific MYC (Mick) signal localized to extrachromosomal DNA detected outside the linear chromosomes [1]. A chromosome 8 centromere probe identifies the endogenous chromosome 8, which harbors the native MYC locus [2].

    - LAB MEDIA: Figure 3A. Video Editor: Please emphasize the pink dots away from the blue regions and indicated by white arrows.

    - LAB MEDIA: Figure 3A. Video Editor: Please emphasize the two green spots located within the blue region near the bottom-center of the image.

  - In the homogeneously staining region state, the MYC probe signal appears as a dense cluster on a linear chromosome with relatively consistent signal across nuclei within a single sample, reflecting the mitotic stability of chromosomally integrated amplification [1].

    - LAB MEDIA: Figure 3B. Video Editor: Please emphasize the pink dots within the blue regions and indicated by white arrows.