# Submission ID #: 71979

# Scriptwriter Name: Vipasha Sharma

# Project Page Link: https://review.jove.com/account/file-uploader?src=21953643

# Title: TCR Signal Strength and Duration in Primary Mouse CD8⁺ T Cell Activation and Differentiation: A Standardized In Vitro Approach

# Authors and Affiliations:

Jiayi Ouyang1*, Cheng Chen1*, Xinyu Zheng3*, Shiyan Li2, Jinjin Lu4, Xiuming Zhai2, Ziyao Zhao2, Lilin Ye1,2,3*, Qin Tian4*, Yifei Wang2*

1Guangdong Province Key Laboratory of Immune Regulation and Immunotherapy, School of Laboratory Medicine and Biotechnology, Southern Medical University

2Institute for Immunology and Pathogenesis, College of Basic Medicine, Chongqing Medical University

3Institute of Immunology, Third Military Medical University

4Center for Immune Ageing and Rejuvenation, Department of Rheumatology and Immunology, The First Affiliated Hospital of Chongqing Medical University

# *These authors contributed equally

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

Lilin Ye			yelilinlcmv@tmmu.edu.cn

Qin Tian		chintien89@163.com

Yifei Wang		yfwangsophia@163.com

# Email Addresses for All Authors:

ouyangjiayi106@163.com

cheng2015@126.com

zxy19990922@126.com

lisy929@163.com

lujin0416@163.com

xiumingzhai@163.com

zyzhao0216@163.com

yelilinlcmv@tmmu.edu.cn

chintien89@163.com

yfwangsophia@163.com

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

4. Testimonials (optional): Would you be open to filming two short testimonial statements live during your JoVE shoot? These will not appear in your JoVE video but may be used in JoVE’s promotional materials. Enter Yes or No.

If Yes, please provide the full name and position (e.g., Director of [Institute Name], Senior Researcher [University Name], etc.) of the author willing to participate.

Enter full author name, Enter author position

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps: 16

Number of Shots:  48

# Interviews

Videographer: Obtain headshots for all authors available at the filming location.

Answers to these questions will become interview statements that you will deliver on camera.

- Introduction: Answer the 1st REQUIRED prompt and 1 additional question; Conclusion: Answer any 3 questions. No more than 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- Speak naturally and avoid reading the lines.

- Limit the length of each statement to 20 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

Authors: Please note that the questions will not appear on screen. Please answer in stand-alone full sentence with sufficient context

INTRODUCTION:

REQUIRED: Summarize your research focus and the main questions it aims to answer.

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the research gap or limitation in existing methods and how this protocol addresses them.

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the research contexts or systems in which this protocol can be applied.

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

CONCLUSION:

What does this protocol allow researchers to study or measure?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the most important consideration or challenge when performing this protocol.

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Are there any additional methods or analyses that can be performed following this procedure?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

How can future studies build on this work? Describe the questions or research directions that can be investigated next.

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Videographer: Obtain headshots for all authors available at the filming location.

# Ethics Title Card

Scriptwriter: If an ethics card is required, please remove the statement that does not apply before sending the draft script. Delete the entire section if there are no animal or human subjects requiring an ethics statement.

This research has been approved by the Animal Care and Use Committee of Third Military Medical University.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) with purple font are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that the videographer will capture.

Videographer: Please always record an audio slate while filming each shot mentioned in the shotlist.

- CellTrace Violet labeling for Proliferation Tracking

Demonstrator: Click here to enter name of demonstrator(s)

If the same person is the demonstrator throughout, mention them once here and remove the "Demonstrator" field from the other sections; if the demonstrator changes, retain the field in the respective sections.

  - To begin with, obtain the anti-CD3 (C-D-three) vial and place it on ice [1]. Prepare the anti-CD3 dilutions in sterile PBS [2-TXT] and add 50 microliters of each anti-CD3 solution to the wells of a flat-bottom 96-well plate [3].

    - WIDE: Talent bringing the anti-CD3

    - Talent preparing anti-CD3 dilutions using sterile PBS   TXT: Anti-CD3 concentrations- 0.1, 0.5, 1, 5, and 10 µg/mL

    - CU: Talent adding 50 µL of anti-CD3 solution to the wells of 96-well plate

  - Seal the plate with sealing film [1] and incubate it overnight at 4 degrees Celsius [2]. Aspirate the coating solution [3] and wash each well twice with 200 microliters of sterile PBS before adding the cells [4].

    - Talent sealing the plate with sealing film

    - Talent placing the plate at 4°C

    - CU: Talent aspirating the coating solution

    - Talent washing the wells with 200 µL of the sterile PBS Author: After washing, did you add PBS or any solution to the wells until further use? Also, is it stored at 4°C until use?

  - Prepare a fresh 10 micromolar CellTrace Violet or CTV, (CTV) working solution by vortexing the 5 millimolar CTV stock solution [1] and diluting it with sterile PBS [2].

    - Talent vortexing 5mM CTV stock solution

    - Talent diluting the stock CTV solution with sterile PBS

  - Resuspend half of the naive CD8+ (C-D-eight positive) T cells isolated from mouse spleens in pre-chilled PBS [1-TXT]. Rapidly add an equal volume of the 10 micromolar CTV working solution to the cell suspension [2], then mix thoroughly by pipetting to obtain a final CTV concentration of 5 micromolar [3].

    - Talent resuspending the cells in the PBS TXT:  Cell Density: of 8 × 107 cells/mL  Author: How many cells are resuspended?

    - CU: Talent adding 10 µM of CTV solutions to the cell suspension

    - Talent mixing the solution by pipetting up and down

  - Incubate the cells at room temperature in the dark for 20 minutes [1], gently inverting the tubes every 5 minutes to ensure thorough mixing [2]. Add 5 volumes of culture medium containing at least 10% FBS [3] and incubate the cells on ice for 5 minutes to remove any free dye [4]

    - Talent placing the cells in the dark

    - CU: Talent gently inverting the tube every 5 minutes

    - Talent adding 5 volumes of culture medium

    - Talent placing the cells on ice for 5 minutes

  - Centrifuge the cells at 500 g for 5 minutes [1], then resuspend the pellet in freshly pre-warmed complete R10 medium supplemented with anti-CD28 (C-D-twenty eight) and Interleukin-2 [2-TXT]. Add 250 microliters of the cell suspension, containing 6 × 10⁵ cells, to each well of the pre-coated 96-well plate [3]. Incubate the cells at 37 degrees Celsius with 5% Carbon dioxide for up to 48 hours [4].

    - Talent placing the cells in the centrifuge and closing the lid

    - Talent resuspending the pellet in R10 medium  TXT: Anti-CD28: 1 µg/mL; IL-2: 10 ng/mL.

    - Talent adding 250 µL of the cell suspension to the wells of the 96-well plate

    - Talent placing the plate at 37 °C with 5% Carbon dioxide

- Intracellular cytokine blocking and detection

Demonstrator: Click here to enter name of demonstrator(s)

  - 5 hours before harvest, add 200 µL of fresh R10 (R-ten) medium supplemented with PMA, ionomycin, and protein transport inhibitors to each well [1-TXT] [2]. Gently mix the cells [3] and return the plate to 37 degrees Celsius to block cytokine secretion and allow intracellular cytokine accumulation [4]. At the desired time point, transfer the cells to a 96-well round-bottom plate [5].

    - Talent adding the 200 µL of fresh medium Author: What is the capacity of each well?  TXT: PMA- Phorbol 12-myristate 13-acetate

    - TEXT ON A PLAIN BACKGROUND:

PMA- 50 ng/mL

Ionomycin- 1 µg/mL

Protein transport inhibitor Monensin-1:1000

Brefeldin A–based protein transport inhibitor- 1:1000 Video editor: This is ratio!

    - Talent gently mixing the cells

    - Talent placing the plate at 37°C

    - Talent transferring the cells to a 96-well round-bottom plate     Author: At what time point were the cells collected, and what was the cell density at the time of transfer?

  - Centrifuge the cells at 500  g for 1 minute [1] and resuspend the pellet in 200 microliters of flow cytometry staining buffer [2]. Centrifuge again at 500 g for 1 minute [3], aspirate the supernatant [4], and wash the cells twice with 200 microliters of flow cytometry staining buffer [5].

    - Talent placing the plate in the centrifuge and closing the lid

    - Talent resuspending the pellet in 200 µL of staining buffer after discarding the supernatant

    - Talent placing the plate in the centrifuge and closing the lid

    - Talent aspirating the supernatant after centrifugation.

    - Talent washing the cells with 200 µL of staining buffer

  - For surface marker staining, add 50 microliters of an antibody cocktail containing anti-CD44 (C-D-forty four), anti-CD8 (C-D-eight), and a fixable viability dye to the cells [1]. Incubate for 30 minutes on ice in the dark [2]. Wash the cells three times with flow cytometry staining buffer to remove unbound antibodies [3]. Add 200 µL of fixation and permeabilization solution [4] and incubate the cells for 30 minutes on ice in the dark [5].

    - CU: Talent adding 50 µL of antibody cocktail to the cells Author: What is the concentration of antibodies in the antibody cocktail?

    - Talent placing the plate on the ice and keeping it in the dark

    - Talent washing the cells with flow cytometry staining buffer Author: What is the volume of the staining buffer used for washing?

    - Talent adding 200 µL of fixation and permeabilization solution

    - Talent placing the plate on the ice and keeping it in the dark

  - Centrifuge the cells at 500 × g for 1 minute [1] and discard the supernatant into hazardous chemical waste [2]. Then, wash the cells three times with 1× (one-x) permeabilization or wash buffer [3].

    - Talent placing the plate in the centrifuge and closing the lid

    - Talent discarding the supernatant into hazardous chemical waste

    - Talent washing the cells with permeabilization or wash buffer Author: Which buffer is used for the washing of the cells?

  - For intracellular cytokine staining, add 50 microliters of an antibody cocktail containing anti- tumor necrosis factor-alpha and anti-Granzyme B to the cells [1]. Then, incubate for 30 minutes on ice in the dark [2]. Wash the cells three times with 1× permeabilization/wash buffer to remove unbound antibodies [3], followed by a final wash with flow cytometry staining buffer [4]. Resuspend the cell pellet in 200 µL of flow cytometry staining buffer [5].

    - CU: Talent adding 50 µL of antibody cocktail to the cells Author: What is the concentration of antibodies in the antibody cocktail?

    - Talent placing the plate on the ice and keeping it in the dark

    - Talent washing the cells with permeabilization or wash buffer

    - Talent washing the cells with flow cytometry staining buffer

    - Talent resuspending the cell pellet in 200 µL of flow cytometry staining buffer

  - Acquire the samples on a flow cytometer [1]. Exclude debris and doublets using an appropriate gating strategy [2] [3], collect at least 1 × 10⁴ CD8⁺ T cells per sample [4], and analyze the percentage of positive cells for each marker using flow cytometry analysis software [5].

    - MED: Talent loading the samples onto the flow cytometer

    - SCREEN: Gating strategy being applied to exclude debris and doublets

    - TEXT ON A PLAIN BACKGROUND:

Exclude debris by:

Forward-scatter (FSC) versus side-scatter (SSC) gating

Eliminate doublets by:

Singlet gating

    - SCREEN: 1 × 10⁴ CD8⁺ T-cell events being acquired

    - SCREEN: Percentage of positive cells for each marker being analyzed

# Results

Please review this section to make sure that it accurately reflects your findings.

- This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: XXX.

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

  - CTV dilution histograms show the proliferative response of CD8⁺ T cells to increasing anti-CD3 stimulation over time [1]. At 6 hours, minimal proliferation was observed across all stimulation conditions, with proliferating fractions ranging from 0.2% [2] to 4.7% [3].

    - LAB MEDIA: Figure 2

    - LAB MEDIA: Figure 2 Video Editor: Please highlight the peak in the first graph in the left panel.

    - LAB MEDIA: Figure 2 Video Editor: Please highlight the peak in the fifth graph in the left panel.

  - By 36 hours, proliferation was minimal at 0.1 microgram per milliliter anti-CD3 [1] but increased at higher concentrations, accompanied by distinct CTV dilution peaks at 5 [2] and 10 microgram per milliliter [3]. By 48 hours, proliferation rose markedly in a concentration-dependent manner [4], reaching 89.5% at 10 µg/mL, with additional CTV dilution peaks indicating successive rounds of cell division [5].

    - LAB MEDIA: Figure 2 Video Editor: Please highlight the peak in the first graph in the middle panel.

    - LAB MEDIA: Figure 2 Video Editor: Please highlight all the peaks in the fourth graph in the middle panel.

    - LAB MEDIA: Figure 2 Video Editor: Please highlight all the peaks in the fifth graph in the middle panel.

    - LAB MEDIA: Figure 2 Video Editor: Please sequentially highlight peaks in all graphs in the right panel

    - LAB MEDIA: Figure 2 Please sequentially highlight peaks in fifth graph in the right panel

  - Granzyme B expression, measured as mean fluorescence intensity, increased with increasing anti-CD3 concentration at 24 hours, reaching its highest level under of 10 micrograms per milliliter, indicative of early effector differentiation [1]. By 48 hours, however, this trend reversed, with the highest stimulation doses showing a marked reduction in Granzyme B expression [2].

    - LAB MEDIA: Figure 5C Video Editor: Please show the increase by drawing a line from the blue bar to the black bar in the left graph corresponding to 24 hours

    - LAB MEDIA: Figure 5C Video Editor: Please highlight the black bar in the left graph corresponding to 48 hours

  - Tumor necrosis factor-alpha expression peaked under strong stimulation at 24 hours [1]. By 48 hours, higher anti-CD3 concentrations led to a significant decline in the expression, indicating reduced production of effector molecules [2].

    - LAB MEDIA: Figure 5C Video Editor: Please highlight the black bar in the right graph corresponding to 24 hours.

    - LAB MEDIA: Figure 5C Video Editor: Please highlight the black bar in the right graph corresponding to 48 hours