Submission ID #: 72533

Scriptwriter Name: Vipasha Sharma

Project Page Link: https://review.jove.com/account/file-uploader?src=22122613

Title: A Comprehensive Dual Platform, End-to-end Workflow for Metabolic Profiling of Dried Blood Microsamples

Authors and Affiliations:

Daniel Marques de Sá e Silva1,2, Marlene Thaitumu2,3, Georgios Theodoridis1,2,4, Helen Gika2,3

1School of Chemistry, Aristotle University of Thessaloniki

2Biomic AUTh, Center for Interdisciplinary Research and Innovation (CIRI-AUTH)

3School of Medicine, Aristotle University of Thessaloniki

4ThetaBiomarkers

Corresponding Authors:

Helen Gika				gkikae@auth.gr

Email Addresses for All Authors:

dmarque@auth.gr

mthai@auth.gr

gtheodor@chem.auth

gkikae@auth.gr

## Author Questionnaire

1. We have marked your project as author-provided footage, meaning you film the video yourself and provide JoVE with the footage to edit. JoVE will not send the videographer. Please confirm that this is correct.

√ Correct

2. Interview statements: Which interview statement filming option is the most appropriate for your group? Please select one.

☒ 	Interview Statements are read by JoVE’s voiceover talent.

3. Proposed interview filming date: Please indicate the proposed date that your group will self-film interviews: 09/01/2026

When you are ready to submit your video files, please contact our Content Manager, Utkarsh Khare.

Current Protocol Length

Number of Steps: 23

Number of Shots: 57

# Interviews

Authors: The statements are edited for length and clarity.

INTRODUCTION:

NOTE to VO: Please record the introductory and conclusion interview statements.

REQUIRED: Summarize your research focus and the main questions it aims to answer.

  - This research evaluates dried blood microsampling for metabolomics against plasma, assessing its feasibility and performance as a standard matrix for blood-based workflows.

1.1.1.    2.2.3. and 2.3.2.

Describe the research gap or limitation in existing methods and how this protocol addresses them.

  - Our research addresses the limited standardization of dried blood microsample metabolomics by integrating complementary GC-MS and LC-MS profiling within a single workflow.

    - 5.3.2.

CONCLUSION:

Describe the most important consideration or challenge when performing this protocol.

  - The most important consideration is following the specific sample preparation procedures required for blood microsampling devices to ensure reliable analysis.

    - 3.1.1. and 3.1.3.

How can future studies build on this work? Describe the questions or research directions that can be investigated next.

  - Future studies can further investigate untargeted metabolic profiles of blood microsamples and advance their integration into standard MS-based metabolomics analytical workflows.

    - 4.1.4. and 5.5.1.

Ethics Title Card

This research has been approved by the research ethics committee of the Aristotle University of Thessaloniki

# Protocol

- Blood Sample Collection

Demonstrator: Daniel Marques de Sa e Silva

  - Begin by washing the participant's hands with warm water to remove potential contaminants and increase blood flow [1]. Clean the finger using a 70% ethanol solution and allow it to naturally evaporate [2].  Twist off the cap of a sterile, single-use contact-activated lancet with a 1.5-millimeter depth [3]. Place the lancet against the center of the fingertip and press [4].

    - WIDE: Talent washing the hands with warm water

    - Talent cleaning the finger using a 70 percent ethanol solution

    - Talent twisting off the cap of the sterile, single-use contact-activated lancet

    - Talent placing the lancet against the center of the fingertip and pressing

  - Wipe away the first drop of blood [1] and wait for a new drop to form [2]. Without removing the volumetric absorptive microsampling device from its holder, touch the 20 -microliter tip to the drop of blood while positioning the device vertically above the sample without submerging it [3].

    - Talent wiping away the first drop of blood

    - Shot of a new drop of blood forming on the fingertip

    - Talent holding the device vertically and touching the 20 µL tip to the new blood drop

  - After the tip is completely saturated and has turned red, hold it in place for an additional 2 seconds, then remove it from the blood sample [1]. Place the collected samples in their original boxes on a flat, clean surface, away from direct sunlight and heat, ensuring the tips do not touch any external object, and allow the samples to dry for 2 hours at room temperature in ambient humidity [2].

    - Talent holding the completely saturated red tip in the blood sample and then removing it

    - Talent placing the samples in their original boxes and keeping them aside for 2 hours

  - Store the samples in a bag with a desiccant at minus 80 degrees Celsius until the analysis [1].

    - Talent closing the original box and placing the samples in a bag with a desiccant for storage at −80 degrees Celsius

- Metabolite Extraction

  - Detach the entire tip from the plastic handler using the cap of a microcentrifuge tube [1] and place it into a round-bottom microcentrifuge tube [2]. Rehydrate the tip by adding 50 microliters of ultrapure water directly onto the tip [3], followed by 400 microliters of methanol containing an internal standard mix to extract the metabolites and promote protein precipitation [4-TXT].

    - Talent using the cap of a microcentrifuge tube to detach the entire tip from the plastic handler

    - Talent placing the detached tip into a round-bottom microcentrifuge tube

    - Talent adding 50 µL of ultrapure water directly onto the tip

    - Talent adding 400 µL of methanol containing the internal standard mix to the round-bottom microcentrifuge tube TXT: Internal Mix: Isotopically labeled D-Myristic acid

  - Sonicate the samples continuously in an ice bath for 10 minutes [1-TXT]. Using tweezers, carefully remove the tip and clean the tweezers with methanol between samples [2]. Centrifuge the samples at 6720 g for 10 minutes at 4 degrees Celsius [3].

    - Talent placing the samples in the ice bath for sonication TXT: Power settings: 215/860 W, frequency 35 kHz

    - Talent carefully removing the tip from the round-bottom microcentrifuge tube using tweezers while cleaning the tweezers with methanol between the samples

    - Talent placing the samples in the centrifuge and closing the lid

  - Transfer 150 microliters of each supernatant into a new microcentrifuge tube for the reversed-phase liquid chromatography analysis or LC, (LC) analysis [1] and to a new 1.5-milliliter glass vial for the gas chromatography or GC, (GC) analysis [2]. Transfer 50 microliters from each sample supernatant into a single vial to prepare a pooled intra-study quality control sample [3].

    - Talent transferring 150 µL of the supernatant to a new microcentrifuge tube for the reversed-phase liquid chromatography analysis

    - Talent transferring 150 µL of supernatant to a new 1.5-milliliter glass vial for the gas chromatography analysis

    - Talent transferring 50 microliters from each sample supernatant into a single vial

  - Vortex the pooled sample briefly to ensure complete homogenization [1]. Partition it into multiple aliquots of the same volume as the study samples in a new microcentrifuge tube for the reversed-phase LC analysis [2] and a new 1.5-milliliter glass vial for the GC analysis [3].

    - Talent briefly vortexing the pooled intra-study quality control sample

    - Talent partitioning the pooled sample into equal-volume aliquots for reverse phase-LC analysis

    - Talent partitioning the pooled sample into equal-volume aliquots for GC analysis

  - Evaporate the supernatants to dryness for 2 hours in a vacuum concentrator using aqueous evaporation mode at room temperature [1-TXT]. Remove the samples as soon as the solvent has completely evaporated [2]; if needed, store the dried samples overnight at minus 80 degrees Celsius [3].

    - Talent placing the supernatants in the vacuum concentrator TXT:  Vacuum level of −600 mmHg (−800 mbar0 at 1400 rpm

    - Talent removing the samples from the concentrator

    - Talent placing the samples at -80°C

- Sample Preparation for LC-MS and GC-MS Analysis

  - For Liquid Chromatography–Mass Spectrometry or LC-MS (L-C-M-S) analysis, reconstitute the dried residues of both the test and quality control samples in 100 microliters of the initial mobile phase [1-TXT]. Vortex the samples briefly [2], then centrifuge them at 6720 g for 10 minutes at 4 degrees Celsius [3]. Transfer the supernatant into an autosampler vial with an insert [4].

    - Talent reconstituting the dried residues of both samples in 100 µL of the reconstitution solvent   TXT: Refer to the text protocol for solution preparation

    - Talent vortexing the sample briefly

    - Talent placing the sample in the centrifuge and closing the lid

    - Talent transferring the supernatant into an autosampler vial with an insert

  - For Gas Chromatography–Mass Spectrometry or GC-MS, (G-C-M-S) analysis, prepare the methoxyamination agent by dissolving 40 milligrams of methoxyamine hydrochloride into 1 milliliter of pyridine [1].  Prepare the derivatization agent by adding 10 microliters of trimethylchlorosilane to 1 milliliter of MSTFA (M-S-T-F-A) [2-TXT].

    - Talent adding 40 mg of methoxyamine hydrochloride into 1 mL of pyridine

TXT: Perform GC sample preparation in a fume hood

    - Talent adding 10 µL of trimethylchlorosilane to 1 mL of MSTFA

TXT: MSTFA: N-Methyl-N-trimethylsilyltrifluoroacetamide

  - Add 10 microliters of the methoxyamination agent into the dried residues of the test samples and quality control samples [1]. Vortex the samples briefly [2], then incubate the samples statically at 30 degrees Celsius for 90 minutes  [3].

    - Talent adding 10 µL of the methoxyamination agent into the dried residues of the test samples and quality control samples

    - Talent vortexing the samples briefly

    - Talent placing the samples at 30 °C in the oven

  - After the samples return to room temperature, add 90 microliters of the derivatization agent [1]. Replace the vial caps with new caps [2] and vortex the samples for 30 seconds to ensure a homogeneous mixture [3]. Incubate the mixture statically at 37 degrees Celsius for 30 minutes [4].

    - Talent adding 90 µL of the derivatization agent to the samples

    - Talent replacing the vial caps with new caps

    - Talent vortexing the samples for 30 seconds

    - Talent placing the mixture at 37°C

  - Add 10 microliters of the injection standard to each sample after the samples return to room temperature [1-TXT]. Replace the vial caps [2] and vortex the samples briefly [3].

    - Talent adding 10 microliters of the injection standard to each sample

TXT: Injection standard: 6.25 mg/L Pentadecane in pyridine

    - Talent replacing the vial caps with new caps

    - Talent vortexing the samples briefly

  - Transfer the final mixture into glass chromatography vials with micro-inserts [1]. Load the vials into the autosampler tray and equilibrate them for 4 hours at room temperature before the first injection [2].

    - Talent transferring the final mixture into glass chromatography vials with micro-inserts

    - Talent loading the vials into the autosampler tray

- LC-MS and GC-MS System Configuration

  - For reverse phase LC-MS configuration, prepare the reversed-phase eluents and wash solutions [1-TXT]. Ensure that the HSS T3 C18 (H-S-S-T-three-C-eighteen) column is properly positioned in the column oven [2-TXT]. Place each solvent line in its corresponding channel [3], then purge all channels through the control software [4].

    - Talent preparing the reversed-phase eluents and wash solutions TXT: Refer to the text protocol for solution preparation

    - CU: Shot of the HSS T3 C18 column positioned inside the column oven TXT: Column Dimensions: 100 mm x 2.1 mm, 1.7 µm

    - Talent putting all the lines into the corresponding channels

    - SCREEN: Solvent lines being selected in the HyStar Control software, and Purge being clicked

Authors: Please create a screen capture video of the shots labelled SCREEN and upload them onto your project page: https://review.jove.com/account/file-uploader?src=22122613

  - Set the column temperature to 40 degrees Celsius [1]. Start flushing the column with 100% mobile phase A at a flow rate of 0.1 milliliters per minute [2]. Gradually increase the flow rate by 0.1 milliliters per minute until it reaches 0.35 milliliters per minute, allowing the pressure to stabilize and checking for leaks after each increment [3].

    - SCREEN: Column temperature is being set to 40 °C

    - SCREEN: Column flushing being started with 100% mobile phase A at 0.1 mL/min

    - SCREEN: Flow rate being increased in 0.1-mL/min increments to 0.35 mL/min

  - Equilibrate the column at the initial gradient condition of 0% eluent B for approximately 30 minutes [1], then start the sample sequence [2].

    - SCREEN: Column being equilibrated at 0% mobile phase B for approximately 30 minutes

    - SCREEN: RP-LC-MS sample sequence being started

  - For GC-MS configuration, ensure that the DB-5 (D-B-five) capillary column  is properly positioned in the column oven [1-TXT]. Set the column to the initial temperature of 60 degrees Celsius [2] and the programmed temperature vaporization injector to an initial temperature of 110 degrees Celsius [3]. Then, start the sample sequence [4].

    - CU: Shot of the DB-5 capillary column positioned inside the column oven

TXT: DB-5 column stationary phase: 5% phenyl-methyl-polysiloxane

    - SCREEN: GC-oven initial temperature being set to 60 °C.

    - SCREEN: Programmed-temperature vaporizing injector initial temperature being set to 110 °C

    - SCREEN: GC-MS sample sequence being started

  - Following the completion of the reverse phase LC-MS and GC-MS analytical sequences, process the acquired data to obtain mass-to-charge ratio and retention time features, along with their corresponding intensities [1].

    - SCREEN: Acquired data is being processed to obtain mass-to-charge ratio, retention time, and signal intensity

Author: Step 5.5 has been added to provide a transition from the protocol to the results section.

# Results

- Results

  - Both LC-MS and GC-MS analysis showed a rich metabolic profile [1]. The LC analysis showed early-eluting signals attributed to highly hydrophilic metabolites that were poorly retained on the reversed-phase column [2], while the GC-MS captured signals across a broader retention-time range [3].

    - LAB MEDIA: Figure 2

    - LAB MEDIA: Figure 2A  Video editor: Please place a rectangle around the dense cluster of dots at the start of the graph, next to the 0 on the retention-time axis

    - LAB MEDIA: Figure 2B  Video editor: Please place a rectangle around the cluster of dots, starting before 10 on the x-axis and ending just after 30

  - The LC platform provided extensive chemical coverage [1], while the GC-MS platform displayed a smaller subset of features [2]. Despite differences in feature coverage, the relative standard deviation distributions showed a similar overall pattern and spread for both LC-MS [3] and GC-MS, indicating comparable reproducibility between the two platforms [4].

    - LAB MEDIA: Figure 3A  Video editor: Please highlight the green bar labeled as LC

    - LAB MEDIA: Figure 3A  Video editor: Please highlight the orange bar labeled as GC

    - LAB MEDIA: Figure 3B. Video editor: Please highlight the green violin shape labeled as LC

    - LAB MEDIA: Figure 3B. Video editor: Please highlight the orange violin shape labeled as GC

  - Comparison of the identified metabolites showed largely complementary coverage between LC-MS and GC-MS [1], with 40 metabolites unique to LC-MS [2], 54 unique to GC-MS [3], and only three metabolites shared between the two platforms [4].

    - LAB MEDIA: Figure 4C.

    - LAB MEDIA: Figure 4C. Video editor: Please highlight the pink LC circle and the number 40

    - LAB MEDIA: Figure 4C. Video editor: Please highlight the green GC circle and the number 54

    - LAB MEDIA: Figure 4C. Video editor: Please highlight the overlapping region containing the number 3