]Submission ID #: 72533

Scriptwriter Name: Vipasha Sharma

Project Page Link: https://review.jove.com/account/file-uploader?src=22122613

Title: A Comprehensive Dual Platform, End-to-end Workflow for Metabolic Profiling of Dried Blood Microsamples

Authors and Affiliations:

Daniel Marques de Sá e Silva1,2, Marlene Thaitumu2,3, Georgios Theodoridis1,2,4, Helen Gika2,3

1School of Chemistry, Aristotle University of Thessaloniki

2Biomic AUTh, Center for Interdisciplinary Research and Innovation (CIRI-AUTH)

3School of Medicine, Aristotle University of Thessaloniki

4ThetaBiomarkers

Corresponding Authors:

Helen Gika				gkikae@auth.gr

Email Addresses for All Authors:

dmarque@auth.gr

mthai@auth.gr

gtheodor@chem.auth

gkikae@auth.gr

    - SCREENSHOT 1: Column temperature is being set to 40 °C

    - SCREENSHOT 2: Column flushing being started with 100% mobile phase A at 0.1 mL/min

    - SCREENSHOT 3: Flow rate being increased in 0.1-mL/min increments to 0.35 mL/min

    - SCREENSHOT 4: Column being equilibrated at 0% mobile phase B for approximately 30 minutes

    - SCREENSHOT 5: RP-LC-MS sample sequence being started

    - SCREENSHOT 6: GC-oven initial temperature being set to 60 °C.

    - SCREENSHOT 7: Programmed-temperature vaporizing injector initial temperature being set to 110 °C

    - SCREENSHOT 8: GC-MS sample sequence being started

    - SCREENSHOT 9: Acquired data is being processed to obtain mass-to-charge ratio, retention time, and signal intensity