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Author Questionnaire
1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.  
If Yes, can you record movies/images using your own microscope camera?
Enter Yes or No.  
If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit. 
If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.
Enter make and model of microscope.
If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).
Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.
If Yes, we will need you to record using screen recording software.
We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k
As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.
If Yes, how far apart are the locations? Click to enter distance between locations.

4. Testimonials (optional): Would you be open to filming two short testimonial statements live during your JoVE shoot? These will not appear in your JoVE video but may be used in JoVE’s promotional materials. Enter Yes or No.

If Yes, please provide the full name and position (e.g., Director of [Institute Name], Senior Researcher [University Name], etc.) of the author willing to participate.
Enter full author name, Enter author position

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length
Number of Steps:  20
Number of Shots: 40 (9 SC) 

Interviews
Videographer: Obtain headshots for all authors available at the filming location. 

Answers to these questions will become interview statements that you will deliver on camera.
· Introduction: Answer the 1st REQUIRED prompt and 1 additional question; Conclusion: Answer any 3 questions. No more than 5 interview statements will be included in the video.
· Enter the full name of the author who will deliver the statement.
· Speak naturally and avoid reading the lines.
· Limit the length of each statement to 20 words or fewer.
· Answers will be edited for length, clarity, and consistency with journal style guidelines.

Authors: Please note that the questions will not appear on screen. Please answer in stand-alone full sentence with sufficient context

INTRODUCTION:

REQUIRED: Summarize your research focus and the main questions it aims to answer.
1.1. Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the research gap or limitation in existing methods and how this protocol addresses them.
1.2. Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.
Describe the research contexts or systems in which this protocol can be applied.
1.3. Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.
CONCLUSION:
What does this protocol allow researchers to study or measure?
1.4. Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Describe the most important consideration or challenge when performing this protocol.
1.5. Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Are there any additional methods or analyses that can be performed following this procedure?
1.6. Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

How can future studies build on this work? Describe the questions or research directions that can be investigated next.
1.7. Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.


Videographer: Obtain headshots for all authors available at the filming location.

Ethics Title Card
This research has been approved by the Institutional Animal Care and Use Committee at the University of Southern California




Protocol  
[bookmark: _Hlk188263998]Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.
· The two-digit steps (e.g., 2.1., 2.2.) with purple font are the narration.  JoVE is responsible for the narration of the protocol and results.	Comment by Poornima  G: Authors: Please review the protocol section titles, narration in purple text and the shot descriptions entirely.	Comment by Poornima  G: Authors: Please check all the pronunciation guides written in red italics below and post a comment at the respective guide if any changes are required
· Red italics are pronunciation guides indicating how the word will be spoken. 
· Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.
· The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that the videographer will capture. 
Videographer: Please always record an audio slate while filming each shot mentioned in the shotlist.

2. Preparation of the Focused Ultrasound (FUS) System
Demonstrator: Click here to enter name of demonstrator(s)
2.1. To begin, obtain an enriched and expanded population of Echo-Back-PSMA CAR (P-S-M-A  car) T cells by transducing activated primary human T cells with the lentiviral construct [1-TXT]. Then, inject the pre-activated engineered T cells intratumorally into established subcutaneous xenograft tumors in immunodeficient mice to promote initial tumor engagement [2]. Authors: Please check if the narration is correct
2.1.1. WIDE: Talent placing the tube with engineered cells on the work bench. TXT: PSMACAR: Prostate-Specific Membrane Antigen Chimeric Antigen Receptor
2.1.2. Talent intratumorally injecting the mouse with the engineered cells. TXT: Refer to the text protocol for the T cell engineering and mouse injection 
Authors: I have added this step to give full context for the workflow and the results as per our journal guidelines. Please film these steps. You can perform a dummy injection or also share any injection videos that you may already have for this step. 
Authors: The suggested timeline applies the focused ultrasound stimulation on days 10 and 14. Please confirm that the narration should state this schedule here.

2.2. Three to four days after T-cell injection, turn on and prepare the focused ultrasound system for sonothermal stimulation [1]. Degas a sufficient volume of deionized water overnight using a laboratory vacuum system, to minimize the dissolved gases and reduce acoustic cavitation [1].
2.2.1. Talent turning on the main power button and showing the FUS system.
2.2.2. Talent placing the flask of deionized water in the laboratory vacuum system for degassing.

2.3. Fill the coupling cone of the focused ultrasound transducer with the degassed water [1-TXT]. Inspect the chamber visually, and remove all the visible air bubbles before stimulation [2].
2.3.1. Talent filling the coupling cone with the degassed water. 
2.3.2. Talent inspecting the chamber and removing the air bubbles from the coupling cone.

2.4. Mount the transducer securely on a manual or motorized precision positioning stage, to enable controlled spatial positioning [1].
2.4.1. Talent mounting the focused ultrasound transducer on the precision positioning stage.
Authors: Please specify which of the 2 stages described here would you prefer to film, the manual or the motorized one, so that we can narrate the correct one.
Authors:  Please provide the transducer specifications, so that the narration is complete.
2.5. Connect the function generator to the radiofrequency power amplifier, and connect the amplifier output to the transducer [1]. Then, attach the thermometer and the needle-type thermocouple to the control computer [2].
2.5.1. Talent connecting the function generator to the amplifier and the amplifier output to the transducer.
2.5.2. Talent connecting the thermometer and the needle-type thermocouple to the control computer.

2.6. Turn on the function generator, the amplifier, the thermometer, and the computer before preparing the animal, and verify that all the electrical connections are secure [1].
2.6.1. Talent switching on the instruments and checking that the connections are secure.

3. Mouse Preparation
Demonstrator: Click here to enter name of demonstrator(s)
3.1. Position the anesthetized tumor-bearing animal laterally on a heating pad maintained at 37 degrees Celsius, with the subcutaneous flank tumor facing upward [1], and secure it gently with laboratory tape [2].
3.1.1. Talent positioning the anesthetized mouse laterally on the heating pad with the tumor facing upward.
3.1.2. Talent securing the animal with tape.
Authors: Please provide the isoflurane concentration for induction and maintenance of anesthesia, as our veterinary reviewers will ask for this information in the video.
3.2. Shave the hair surrounding the tumor [1]. If necessary, apply a depilatory cream to remove residual hair and wipe the skin thoroughly [2]. Clean the exposed skin with an alcohol wipe [3], and mark the center of the tumor using a fine-tip skin marker [4].
3.2.1. Talent shaving the hair surrounding the tumor.
3.2.2. Talent applying depilatory cream and then wiping the area down thoroughly. 
3.2.3. Talent cleaning the area with a ethanol wipe.
3.2.4. Close-up of Talent marking the center of the tumor on the skin.
Authors: Steps 3.2.4 and 3.2.5 both ask for the center of the tumor to be marked. I have kept the instructions once. Please check if the narration is correct in this step.

4. Thermocouple Placement
4.1. Using a sterile small-gauge needle, create a small skin opening approximately 2 to 3 millimeters from the tumor edge [1].
4.1.1. Close-up of Talent creating the skin opening with a sterile needle beside the tumor edge.

4.2. Insert the needle-type thermocouple through the opening at a shallow angle, approximately parallel to the skin surface [1]. Advance the active tip toward the marked tumor center, and position it at the approximate mid-depth of the tumor [2].
4.2.1. Close-up of Talent inserting the needle-type thermocouple through the skin opening at a shallow angle.
Authors: Please give some specifications of the needle-thermocouple. Example: Gauge, type, etc.
4.2.2. Close-up of Talent advancing the thermocouple tip toward the center of the tumor.
Authors: During filming, please point out the marked tumor center and the insertion site before inserting the thermocouple.
4.3. Secure the thermocouple with laboratory tape to prevent displacement during stimulation [1]. Then, apply a generous layer of degassed ultrasound gel over the tumor and around the insertion site [2].
4.3.1. Talent securing the thermocouple with laboratory tape.
4.3.2. Talent applying the degassed ultrasound gel over the tumor.


5. Focused Ultrasound Transducer Positioning
5.1. Lower the transducer slowly toward the tumor using the positioning stage, and align the center of the acoustic coupling cone directly over the marked tumor [1].
5.1.1. Close-up of lowering the transducer toward the tumor and aligning it over the marked tumor using the positioning stage.

5.2. Bring the membrane at the bottom of the coupling cone into gentle contact with the ultrasound gel, and confirm continuous, gap-free acoustic coupling [1]. Inspect the coupling interface to ensure that no air bubbles are present, and adjust the transducer height and angle until the cone is stable and centered over the target [2].
5.2.1. Close-up of bringing the cone membrane into contact with the ultrasound gel.
5.2.2. Close-up of talent inspecting and then adjusting the transducer height and angle over the target.

6. Proportional-Integral-Derivative (PID)-Controlled Stimulation and Animal Recovery
Demonstrator: Click here to enter name of demonstrator(s)
6.1. Launch the dedicated PID controller software on the control computer [1]. Select or enter the communication ports assigned to the function generator and the thermometer, and verify that both devices are recognized [2].
6.1.1. SCREEN:  The PID controller software being launched on the control computer.
6.1.2. SCREEN: The communication ports being entered and both devices being recognized.
Authors: Please create screen capture videos of the shots labeled as SCREEN, write a screenshot summary, and upload the files to your project page as soon as possible:

6.2. Enter the experiment name, the target temperature, the total stimulation duration, and the maximum input voltage limit [1-TXT]. Then, enter the ultrasound operating parameters, including the acoustic frequency, the pulse repetition period, and the duty factor [2].
6.2.1. SCREEN: The experiment name, the target temperature, the duration, and the voltage limit being entered. TXT: Target: 43 °C; 900 s; max 0.3 V
6.2.2. SCREEN: The acoustic frequency, the pulse repetition period, and the duty factor being entered.
Authors: Should we display the parameters for the above 2 steps as text overlay? Or would you provide the parameters used during the shoot after the filming is over?

6.3. Verify that the baseline temperature reading is stable, and click Start to initiate the closed-loop stimulation [1]. Monitor the real-time temperature, elapsed time, output voltage, and system status throughout the stimulation [2].
6.3.1. SCREEN: The Start button being clicked to initiate the closed-loop stimulation.
6.3.2. SCREEN: The real-time temperature, elapsed time, and output voltage being monitored.

6.4. Terminate the stimulation immediately if the measured temperature exceeds the predefined safety limit, if the animal moves, or if the acoustic coupling is lost [1].
6.4.1. SCREEN: The stimulation being terminated in the controller software upon noting an increase in temperature.
Authors: Please give us the predefined temperature safety limit, so that we can state the value on screen.

7. Completion of Stimulation and Animal Recovery
7.1. Verify that the software has automatically terminated the voltage output when the programmed period ends, and stop the program manually if it does not [1]. Then, raise the transducer away from the animal using the positioning stage [2].
7.1.1. SCREEN: The voltage output being confirmed as terminated at the end of the run (hover the cursor over the required area).
7.1.2. Talent raising the transducer away from the animal using the positioning stage.

7.2. Remove the thermocouple carefully from the tumor [1]. Wipe away the ultrasound gel using warm water and paper towels [2].
7.2.1. Close-up of Talent removing the thermocouple from the tumor.
7.2.2. Talent wiping away the ultrasound gel with warm water and paper towels.

7.3. Finally, remove the securing tape [1], and place the mouse on a warm, clean recovery surface [2]. Monitor the mouse continuously until normal movement resumes, and return it to its home cage only after full recovery [3]. Repeat the localized Focused ultrasound stimulation procedure after 4 days [4] and monitor the tumor progression by in vivo bioluminescence imaging [5]. Authors: Please check the narration for the least 2 sentences
7.3.1. Talent removing the securing tape.
7.3.2. Talent placing the mouse on the warm recovery surface.
7.3.3. Talent monitoring the mouse until normal movement resumes.
7.3.4. Reuse 5.1.1 and 5.2.2
7.3.5. Talent placing the animal in the bioluminescence imaging setup or operating the bioluminescence system. Authors: This is a representative shot to provide full context to the results.



NOTE to Authors: Please consider the following key points for shots involving live
animals/survival surgery (as applicable) to avoid raising concerns by JoVE’s veterinary
reviewers.
· If lifting the animal by the tail, hold it close to the tail base, not far from it.
· Shave 150% of the area surrounding a surgical site (preferably using a depilatory
· cream). Ensure that there are no skin injuries and no fur in the surgical field.
· Prep the surgical site with both iodine-based scrubs and alcohol.
· Use sterile gloves only for surgery (not examination or non-sterile gloves).
· Make skin incisions with a surgical blade, not scissors.
· Avoid using silk thread for closing skin incisions in survival surgeries.




Results
Please review this section to make sure that it accurately reflects your findings.	Comment by Poornima  G: Authors: Please check if the narration is correct and if the figures and areas being highlighted match with the narration
· This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA). 
· Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 88.
· Please note that the video cannot include voiceover without an accompanying visual.

8. Results
8.1. Using the closed-loop feedback system, localized hyperthermia was maintained at approximately 43 degrees Celsius throughout the programmed stimulation period, with limited temperature fluctuation [1].
8.1.1. LAB MEDIA: Figure 3A. Video editor: Please emphasize the flat plateau of the temperature trace at 43 degrees Celsius without deleting other parts
Authors: In Figure 3A the plateau appears to end at about 600 seconds, while Figure 2 and Step 3.4.3 both give a programmed duration of 900 seconds. Please clarify if something needs to be changed.
8.2. Focused ultrasound significantly increased the heat shock promoter-driven luciferase activity in the treated tumors [1], and the bioluminescent signal at the stimulated site rose markedly 6 hours after treatment [2].
8.2.1. LAB MEDIA: Figure 3B. Video editor: Please emphasize the FUS-positive bar and the P value above it without deleting other parts
8.2.2. LAB MEDIA: Figure 3C. Video editor: Please emphasize the FUS-positive mouse in the After panel without deleting other parts

8.3. Across 5 mice per group, ultrasound-activated EchoBack CAR T cells sustained the suppression of the tumor burden [1], while the tumors in the unmodified T cell group progressed throughout the study [2].
8.3.1. LAB MEDIA: Figure 4C. Video editor: Please emphasize the flat EchoBack block on the right of the plot, then the rising plain T cell block on the left. Note that the 2 groups are plotted as separate blocks and do not overlap
8.3.2. LAB MEDIA: Figure 4D. Video editor: Please sequentially emphasize the Day 11 to the Day 22 rows of the Plain T column
[bookmark: _Hlk203166143]

Watch this video and apply the settings while capturing the screen to obtain high-quality videos: https://www.youtube.com/watch?v=Y67dM1kKcTE 



[bookmark: _Hlk215154137][bookmark: _Hlk215844323]NOTE to the Authors:

You have two options for filming and submitting the SCREEN footage:

Option 1: Uploading Separate Clips (Highly Recommended)

Please upload a separate video file for each SCREEN shot (tagged as SCREEN), naming the file according to the shot number (e.g., 2.4.3, 1.5.1, 3.2.1, 3.1.3, etc.).

- Each clip must be a maximum of 20 to 25 seconds to match the voice narration.
- If an action takes longer, provide only the best, most representative 20-25 second segment.
- Please do not provide longer clips as we won’t be able to use them.



Option 2: Uploading a Single Continuous Video

If you prefer to record all steps together and upload a single video file, that is acceptable. In this case, you must write the precise timestamp for each shot within the script.

For example, if the action described in shot 2.13.1 is present in the file xxx.mp4 and occurs between timestamps 00:30 and 00:45 , then write the following in the script after each shot description or as a comment bubble.
(write the file name and timestamp after each shot): [File name] [Start Time]-[End Time]
 

- Example 	2.13.1  SCREEN: performing ...........action. xxx.mp4 00:30-00:45
2.13.2, SCREEN: cutting the…..........action. xxx.mp4 01:10-01:20

- The duration between the start and end times for each shot must be limited to 20 to 25 seconds.

- If a shot is longer than 25 seconds, choose two short segments (one at the beginning and one at the end) that collectively do not exceed 25 seconds.
- Example: 3.1.1 SCREEN: inserting a needle... xxx.mp4 00:00-00:10 and 02:30-02:40
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