TITLE:

Measuring the Organization of the Membrane-Associated Periodic Skeleton by Fluorescence Microscopy in Neurons of Living Caenorhabditis elegans

AUTHORS AND AFFILIATIONS:

Sharon Thomas1, Tatiana Malevich2,3, Bernhard Hirt1, Oliver V. Glomb1

1Institute of Clinical Anatomy and Cell Analysis, University of Tübingen, Tübingen, Germany

2Werner Reichardt Centre for Integrative Neuroscience, University of Tübingen, Tübingen,

Germany

3Hertie Institute for Clinical Brain Research, University of Tübingen, Tübingen, Germany

E-MAIL ADDRESSES:

Sharon Thomas (sharon.thomas@uni-tuebingen.de)

Tatiana Malevich (Tatiana.malevich@cin.uni-tuebingen.de)

Bernhard Hirt (Bernhard.hirt@uni-tuebingen.de)

CORRESPONDING AUTHOR:

Oliver V. Glomb (oliver-vinzenz.glomb@uni-tuebingen.de)

KEYWORDS:

Membrane-associated periodic skeleton, Cytoskeleton, Ultrastructure, Spectrin, Neuron, C. elegans, autocorrelation function

SUMMARY:

The presented protocol describes a method to visualize and quantify the characteristic periodic 2-D pattern of the membrane-associated periodic skeleton and its components in neurons of Caenorhabditis elegans. The provided autocorrelation code can also be used on periodic patterns acquired from other organisms.

ABSTRACT:

Neurons rely on a specialized cytoskeleton to maintain their long and thin processes throughout life. A central component of this cytoskeleton is the membrane-associated periodic skeleton (MPS), which is composed of α- and ß-spectrin that assemble into heterotetramers to connect neighboring actin filament rings into a periodic, continuous 2D lattice below the neurite’s membrane. Suggestive of a central function in stabilizing the neuron, mutations in ß-spectrin result in axon breakage in Caenorhabditis elegans and are associated with neurodegeneration in human patients. Consequently, there is strong interest in resolving and characterizing the organization of the MPS lattice to understand its role in health and disease. Central components of the MPS are conserved across species, making C. elegans an attractive model organism to address MPS biology in neurons in vivo. Here, we present a method to robustly visualize and quantify the periodic assembly of the MPS lattice in a touch receptor neuron within the living nematode. The workflow and code can also be applied to high-resolution MPS images from other organisms.

INTRODUCTION:

Neurons rely on a specialized cytoskeleton to form and maintain complex neuronal networks. A central component of their cytoskeleton is the membrane-associated periodic skeleton (MPS), consisting of α- and ß-spectrin heterotetramers that connect neighboring actin filament rings into a submembranous 2D lattice1,2. This lattice forms throughout most of the length of a neurite to provide mechanical support under physical stress3-5. Consequently, loss of ß-spectrin results in neuronal breakage in C. elegans6,7, instability of synaptic connections in Drosophila8,9 and is associated with ataxia in human patients10,11. In addition to its stabilizing role, the MPS organizes many axonal proteins, including cell signaling components12, adhesion proteins13 and ion channels, regulates membrane trafficking along the axonal shaft14 and is involved in intracellular signaling cascades12. Consequently, there is a great interest in studying MPS biology to understand its role in health and disease.

In addition to classical genetic perturbation experiments, the characteristic organization of the MPS lattice provides a complementary structural approach to deciphering MPS biology. In neurons, each α- and ß-spectrin tetramer has a characteristic distance of approximately 200 nm between neighboring actin rings, and this distance is conserved from invertebrates to humans15. Impairment of the MPS lattice results in a loss of this characteristic periodic lattice pattern7,16. Resolving individual spectrin or actin domains mandates super-resolution microscopy. Most studies on MPS lattice architecture have been performed in cultured neurons, which offer a well-controlled imaging environment and a large labeling toolbox, enabling the use of various super-resolution techniques. In contrast, visualizing the MPS lattice in neurons of a living animal reduces the complexity of super-resolution approaches and labeling strategies. Despite the drawbacks of using living animal models to resolve the MPS lattice, they also provide important advantages, as neurons are studied within their native environment. In living animals, Airyscan and structured illumination microscopy have been widely used as super-resolution microscopy techniques, as they can be combined with conventional fluorescent labeling and allow direct visualization of neurons within the living organism. Importantly, both techniques provide a sufficient resolution (~100–120 nm) to resolve individual spectrin or actin domains, which can be improved by deconvolution approaches17. However, caution is required when interpreting patterns in the acquired images, as processing steps have been discussed to potentially introduce artifacts18.

In this protocol, we describe our experimental approach to visualize the MPS lattice in neurons of the living nematode C. elegans and quantify its characteristic periodic pattern by an autocorrelation function (ACF). The ACF is computed in R. We provide code and a detailed explanation that also enables researchers new to R to use the code directly (Supplementary File 1). To carefully interpret our data, we implemented two controls, which were acquired under the same imaging settings and underwent the same processing steps in the workflow. First, the use of soluble, homogenously distributed GFP allows us to verify that our acquisition parameters and processing steps do not generate a structured pattern. Second, to confirm that the periodic pattern that we observe and quantify is generated by the MPS lattice, we are utilizing an established knockdown system that perturbs MPS lattice formation to disrupt the observed pattern16.

Our workflow can be directly integrated with other methods focused on MPS biology. Here, we refer to a JOVE protocol from Micinski et al. to ask for the co-localization and visualization of MPS components in mammalian neurons19. Importantly, our experimental design, workflow, and autocorrelation analysis can be used to quantify MPS lattice periodicity in other organisms.

PROTOCOL:

All procedures on the nematodes were performed in accordance with general ethical guidelines for scientific research. Experiments were carefully designed to minimize the number of living organisms in accordance with the 3R principles. The characteristic periodic lattice in C. elegans has been observed with α (SPC-1)- and ß (UNC-70)-spectrin7,16,20 as well as with the actin-spectrin-binding protein UNC-115/Ablim16. Endogenously fluorescent-tagged strains have been established for all three proteins (alleles: spc-1(cas1047)20, unc-70(shy112)16, unc-115(shy161)16) and can be used to visualize the MPS lattice without the need to generate additional reporter lines. Strains are available on request or can be ordered at the Caenorhabditis Genetic Center (CGC). For a detailed protocol on how to maintain nematodes and prepare them for live cell microscopy, we refer to an earlier protocol21 as well as to a JOVE protocol by S. Niwa22.

- Worm handling and preparation for imaging

  - Maintain Nematodes at 20 °C on a lawn of OP50 bacteria seeded on nematode growth medium (NGM) plates. Perform microscopy on nematodes at larval stage 4 (L4).

    - To induce a knockdown of unc-70::aid in PLM neurons, pick adult worms carrying shyEx517 (Pmec-17::aTIR1) to NGM plates containing 1 mM auxin or lacking auxin (control) and take offspring for microscopy.

  - Prepare animals for live-cell microscopy once they reach larval stage 4. Perform the subsequent steps with a stereomicroscope to visualize the nematodes while handling.

NOTE: Other developmental stages might work as well, but they have not been evaluated for this protocol. Measuring animals at a later age might increase the risk of measuring neurons undergoing neurodegeneration in animals with a knockdown of unc-7023.

    - Use a platinum wire to transfer the nematodes from the NGM plate into a 9 µL droplet of 1 mM levamisole for paralysis diluted in M9 on a 2% agarose patch (dissolved in M9) on a glass slide. Transfer 10–20 animals to the patch.

NOTE: If a genotype is used that increases levamisole resistance, increase the patch agarose concentration to 10% to mechanically reduce animal movement.

    - Subject animals to live cell microscopy.

NOTE: Do not image animals for more than 1 h after mounting, as they will begin to suffer from hypoxia.

- Live-cell microscopy

NOTE: Perform imaging on a laser scanning microscope equipped with an airyscan2 detector for super-resolution microscopy. To excite GFP-tagged endogenous α-spectrin (SPC-1:: GFP), use a 488 nm laser line. Other fluorescence microscopy methods that resolve the ~200 nm distance of the MPS lattice, such as instant structured illumination microscopy or stimulated emission depletion microscopy can be used as well16. The appropriate strain controls for image acquisition and analysis of the MPS lattice remain the same. We refer to another Jove protocol to visualize the MPS lattice by structured illumination microscopy19.

2.1. Preparation: Ensure that the temperature of the room is set to 20 °C or, if using an incubation chamber, set the temperature to 20 °C, which is the optimal incubation temperature for C. elegans.

2.2. Locate the nematodes: Mount the slide and use a low magnification objective (4x-20x) to locate the nematodes on the slide and memorize positions. Switch to a 100x NA1.47 objective for image acquisition.

NOTE: A 63x/1.4 NA oil objective worked as well to resolve the MPS lattice.

2.3. Choose the Airyscan2 detector in the super resolution module for image acquisition.

2.4. Adjust acquisition parameter: Take a single image and track the intensity histogram with the software. Adjust the laser power intensity and EM gain (electric amplification of the photon signal at the EMCCD camera) to cover the lowest third to half of the maximum signal intensity that the camera can detect. If the signal intensity is too high, reduce the laser power or EM gain, or increase the laser power or EM gain to increase the signal intensity that reaches the detector.

NOTE: Avoid pixel saturation, for example, reaching the maximum signal intensity, as saturated pixels result in a processing artifact24.

2.5. Align the airyscan detector in live mode and save the detector position once it is aligned.

NOTE: If the airyscan detector fails to align properly, ensure the sample's signal intensity is sufficient (see step 2.4). In addition, choosing a narrower field of view by zooming in on the sample often improves alignment.

2.6. Adjust the limits of the sample in the z-dimension and acquire a z-stack to cover the entire thickness of the neurite. Use the optimal z-distance suggested by the software.

2.7. Acquire images from the same region of the neurite to compare the MPS lattice between different animals, treatment conditions or for control conditions.

NOTE: The PLM soma was used as a landmark to visualize the MPS lattice in the proximal PLM neuron (Figure 1).

2.8. Pixel reassignment and deconvolution: Generate the Airyscan-processed and -deconvolved image using the default settings (auto-filter)25. Use the tab Airyscan|Process: All images and click on Create processed image. Setting the deconvolution filter too high will generate an over-deconvolved image.

NOTE: Avoid over-deconvolution as it can generate a structured pattern. Use a nematode strain that expresses homogenously distributed cytoplasmic GFP, such as MTS219016, to verify that the processing parameters do not introduce a structured pattern that might interfere with the measurement of the MPS lattice pattern.

2.9. Save the Airyscan-processed and raw images. Use the Airyscan-processed images for image analysis.

2.10. Repeat image acquisition for all animals, conditions, and controls. Acquire images in at least two independent microscopy sessions and on animals that were raised on different days and on different NGM plates.

- Analysis of the MPS lattice

NOTE: Airyscan-processed images are analyzed with ImageJ/Fiji26. After importing the image, slide through the focal planes and ensure that the animal did not move during image acquisition. If movement occurs between focal planes, remove the animal from the analysis.

3.1. Maximum projection: Stack all focal planes into a maximum projection. Rings of the MPS lattice appear as stripes longitudinal to the length of the neurite in the maximum projection.

3.2. Acquire an intensity profile of the fluorescence intensity along the neurite: Use the segmented line function with a line width of 5 pxl and draw a 2 µm long line along the neurite. Save the drawn line using the Region-of-interest manager, and export the intensity profiles from the line scans to a spreadsheet. Repeat intensity profile acquisition twice to obtain a total of three intensity profiles for each neurite per animal.

NOTE: As the lattice signal intensity and goodness of the lattice periodicity can fluctuate along the neurite, we chose 3 × 2 µm long fragments dispersed along the neurite in the field of view to more accurately depict the mean lattice organization along the proximal neurite of the animal.

3.3. Save the intensity profile (X and Y) in a spreadsheet (as shown in Figure 2B).

NOTE: Use the exact format to run the periodicity analysis in R with the provided code.

3.4. Compute an ACF for each intensity profile. Start by launching RStudio; choose a new file and load the code (see Supplementary File 1) into the source panel (upper right panel in RStudio). Change the working directory in the example code to match the file directory in which the spreadsheets with the intensity profiles are stored, and replace the “your file name” with the spreadsheet name that is going to be imported (Figure 2).

NOTE: The file directory can be accessed in RStudio: Use the File | Import Dataset | From Excel option and browse to the folder that contains the saved intensity profiles. Copy the directory, which is depicted in brackets following the command read_excel.

3.5. Acquire the autocorrelation function for each line intensity profile. Run the code and allow it to generate two images (a plot of the intensity profile and the computed ACF) and compute the autocorrelation function, which is saved as a spreadsheet in the working directory.

3.6. To compute the ACF amplitude, derive the first local minimum and maximum from the RStudio exported spreadsheet. Subtract the first local minimum from the first local maximum to calculate the amplitude of the ACF function. Repeat this measurement for all three intensity profiles of each animal and compute the mean ACF amplitude.

NOTE: If the local maximum is larger than 368.1 nm (corresponding to 9 pixels in this acquisition setup), score the ACF amplitude as “0”. The ACF of a characteristic MPS lattice results in a first maximum around 200 nm, given the interdistance between neighboring spectrin repeats. The cutoff allows structured patterns to ablate with much larger periodicity than the MPS lattice, which can sometimes be observed in the background or with homogenously distributed GFP.

RESULTS:

Following the protocol reported, endogenously tagged α-spectrin/SPC-1::GFP was visualized in the proximal neurite of the touch receptor neuron PLM (Figure 1A,B). Individual spectrin repeats appeared as stripes along the PLM neuron (Figure 1C). An ACF was used to confirm that the observed spectrin domains form a periodic lattice. The ACF measures the similarity in signal intensity over a distance by correlating the signal intensity with a distance-lagged version of itself. Periodic signal intensity patterns will generate local maxima and minima in the autocorrelation function, in which the distance of the first maximum (correlation) or minimum (anticorrelation) describes the shortest distance between consecutive repeats of the pattern27. The amplitude of the local extreme values correlates with the similarity of the signal intensity in the periodic pattern and thus serves as a readout for the goodness of it1. The distance between consecutive spectrin domains, indicated by the first local maximum in the ACF, is in line with our previous reports using structured illumination microscopy16 as well as with measurements by our colleagues7.

To confirm that the observed pattern represents the MPS lattice, we knocked down unc-70, the sole ß-spectrin in neurons of C. elegans, which results in a loss of the characteristic MPS lattice pattern16. A knockdown of unc-70 resulted in a loss of the characteristic patterning of α-spectrin and reduced the ACF amplitude from 0.2258 (± 0.187 (standard deviation)) in the NGM control condition to 0.004 (± 0.03) upon knockdown induction on auxin (Figure 1D). In contrast to the periodic pattern that was observed for α-spectrin, 3xGFP was distributed homogenously along the PLM neurite. To generate the ACF functions and amplitudes shown in Figure 1, the workflow depicted in Figure 2 was utilized. All ACF calculations were performed in RStudio with the code depicted in Figure 2B. To highlight the importance of a homogeneously distributed protein in controlling the generation of structured patterns during image processing, we applied our soluble GFP raw images to different deconvolution strengths in Figure 3. Note that the highest deconvolution strength can generate a structured pattern for soluble GFP in the neurite, as shown in Figure 3C. In comparison to the MPS lattice pattern in Figure 1C, the structured stripes of soluble GFP in Figure 3C appear distorted.

FIGURE AND TABLE LEGENDS:

Figure 1: Visualization and quantification of MPS lattice periodicity in neurons in vivo in C. elegans. (A) Cartoon of the MPS lattice. α- and β-spectrin assemble into heterotetramers to connect neighboring actin filament rings into a periodic lattice beneath the neuron's plasma membrane. Spectrin heterodimers assemble head-to-head into a tetramer. Each spectrin tetramer is ~200 nm in size within the lattice, necessitating super-resolution microscopy to resolve neighboring spectrin repeats. (B) Schematic of the PLM neuron and its location within the nematode. A blue box highlights the proximal anterior neurite of the neuron. (C) Representative airyscan images of endogenously tagged α-spectrin/SPC-1::GFP in the presence (control) or absence (unc-70scKD: unc-70::aid, PTRN::atir in the presence of auxin) of ß-spectrin and soluble GFP (sGFP) in the anterior proximal neurite of PLM. Scale bar = 2 µm. Images were acquired using a scan speed of 0.64 µs per pixel, EM Gain of 650 V, and laser intensity of 0.8% (laser power: 30 mW). White arrows indicate individual spectrin repeats in the control condition. Right panels show representative ACFs for a 2 µm long signal intensity profile obtained from each condition. Subtracting the first local minimum from the first local maximum (as indicated by the red arrow in the upper ACF plot) was used to obtain the ACF amplitude. (D) ACF amplitude of SPC-1::GFP in control (nanimal = 12) or unc-70::aid; PTRN::aTIR animals raised on NGM that lacked (nanimal = 12) (control condition for the knockdown system) or contained auxin (nanimal = 12) to induce the knockdown, or in animals expressing sGFP (nanimal = 10) to compute the periodicity of the MPS pattern. Statistical analysis is based on a non-parametric Kruskal-Wallis test followed by Dunn´s post-test for multiple comparisons. Normal distribution was tested by a Shapiro-Wilk test. Abbreviations: MPS = Membrane-associated periodic skeleton; PLM =posterior or lateral microtubule; GFP = Green fluorescent protein; ACF = autocorrelation function.

Figure 2: Workflow to analyze the MPS lattice pattern and code to compute the ACF function. (A) Workflow to quantify the MPS lattice pattern. The workflow is subdivided into an image processing and analysis step. After image acquisition, a line scan is drawn to capture the signal intensity along a 2 µm long segment of the neurite. The signal pattern is acquired at three positions distributed along the neurite within the field of view of the anterior proximal neurite. All intensity profiles are exported to a spreadsheet using the following format: X (Distance along the neurite, units in µm) and Y (Signal intensity along X). Spreadsheet tables are imported into RStudio for subsequent ACF analysis. Goodness of the periodicity is scored as ACF amplitude by subtracting the first local minimum from the first local maximum. (B) R script that was used to compute the ACF of the signal intensity profile. To run the code, the correct file directory needs to be inserted into the code lines setwd and file_in (green colored writing). “Your directory” is the folder in which spreadsheets (“your file name”) will be imported into RStudio and results will be exported.

Figure 3: High deconvolution strength can generate structured noise. (A) Representative images depict cytoplasmic GFP in the proximal TRN. All images originate from the same raw image but were processed with standard (top panel), low (deconvolution strength: 1) or high (deconvolution strength: 10) deconvolution strength using a Wiener filter. Standard deconvolution refers to the automatically chosen filter parameter (here 8.3) based on the signal-to-noise ratio of the image in the software (see the Table of Materials)25. (B) Zoom-ins of the boxed regions in A. Note the stripe pattern for cytoplasmic GFP when applying the highest deconvolution strength. (C) ACF amplitudes were measured for the data set on soluble GFP in TRN (from experiment in image 1, n = 10) at different deconvolution strengths. Note that a strong deconvolution generates a structured pattern for soluble GFP. Statistical comparison is based on a non-parametric Kruskal-Wallis Test followed by Dunn's post-test for multiple comparisons. Normal distribution was tested by a Shapiro-Wilk test. Abbreviations: TRN = touch receptor neuron; GFP = green fluorescent protein; ACF = autocorrelation function.

Supplementary File 1. R script for autocorrelation function analysis of membrane-associated periodic skeleton periodicity. The script imports fluorescence intensity profiles exported from ImageJ/Fiji, computes the ACF for each profile, generates ACF plots, identifies the ACF data for subsequent amplitude analysis, and exports the results as a spreadsheet and image files. Before running the script, update the working directory and input file name to match the location of the intensity profile spreadsheet. Abbreviations: ACF = autocorrelation function; MPS = membrane-associated periodic skeleton.

DISCUSSION:

The characteristic lattice organization of the MPS is an important aspect of its function. The protocol described allows visualization of the MPS lattice and quantification of its periodic pattern by probing the MPS lattice through endogenously fluorescently tagged α-spectrin/SPC-1 in neurons of living C. elegans. To acquire super-resolution images, this protocol utilizes a laser scanning microscope equipped with an airyscan2 detector followed by image deconvolution. MPS lattice periodicity was subsequently scored by an ACF in R. Although our imaging approach provides a relatively low resolution as compared to previous studies that resolved the MPS lattice organization by STORM1 or EM28 in cultured neurons, our setup provides sufficient resolution to robustly visualize and measure the MPS lattice in neurons of the living animal. Our ACF of the MPS lattice is in line with measurements of the MPS lattice periodicity in C. elegans on a structured illumination microscopy setup by us16 and others7. Importantly, our general experimental setup, image analysis, and ACF computation are independent of the microscopy or model organism used and thus can also be used to quantify MPS lattice periodicity across species.

Fluorescent labeling strategy

We recently discussed strategies to endogenously fluorescently label the protein of interest at single neuron resolution21. In this protocol, we are using a split-GFP reconstitution system to endogenously visualize α-spectrin/SPC-1::7xGFP1120. Cell-specific reconstitution of the GFP tag in touch receptor neurons by ectopic expression of the GFP1-10 fragment provides cell-specific labeling. This labeling approach has been recently confirmed to maintain the functionality of SPC-120.

In addition to visualizing MPS components, we recommend using at least two controls to set up image acquisition and processing parameters: first, confirmation of the loss of the MPS pattern upon disruption of the MPS lattice. Here, we utilize an auxin-inducible knockdown system for UNC-70, the sole ß-spectrin ortholog in neurons of C. elegans29. Unc-70 is tagged with a short degron inserted by CRISPR-Cas9. Expression of the E3 ubiquitin ligase aTIR1 from Arabidopsis thaliana results in the degradation of UNC-70 by the cells’ own proteasomal degradation system in the presence of auxin30,31. Knockdown of unc-70 results in a loss of MPS lattice periodicity7,16. Utilizing an unc-115(ky275) allele can be used as an alternative approach to disrupt the MPS lattice periodicity in PLM16. Second, confirmation that the characteristic MPS lattice pattern does not appear under the utilized measurement and processing conditions with a soluble, homogenously distributed fluorescent protein. This protocol utilizes a soluble 3xGFP that is expressed from a cell-specific promoter as a control. We were unable to label actin rings in the MPS lattice in C. elegans using the broadly used actin binding probe lifeact, which predominantly stained F-Actin at the synapse23.

Choice of the neuron

The choice of the neuron is critical to robustly observe the MPS lattice, as we noticed that neurons differ in the goodness of the periodic pattern16. Although segments of periodic spectrin lattice can be observed in other neurons, such as the cholinergic motor neuron DA9, touch receptor neurons displayed the most robust periodic pattern over long segments of the neurite in our hands16. Consequently, we focused on the touch receptor neuron posterior or lateral microtubule (PLM) to visualize the organization of the MPS and utilized the mec-17 promoter32 to drive the expression of ectopic arrays in this neuron.

Combining the protocol with other methods

This protocol can be combined with genetic approaches to identify regulatory genes that organize the MPS lattice or to assess the consequence of mutations in spectrin or its associated proteins on MPS lattice organization. The extensive genetic toolbox makes C. elegans an attractive model system for studying the molecular mechanisms underlying MPS biology. Moreover, combining the herein described GFP labeling approach with a recently established split-wrmscarlett labeling approach33 of novel presumptive MPS-associated proteins will allow us to map them relative to α-spectrin/SPC-1 at single-neuron resolution. Importantly, in our hands, the MPS lattice periodicity was not observed with the same degree of confidence in other neurons of C. elegans. The low mobility of spectrin, once it is part of the MPS lattice, as measured by fluorescence recovery after photobleaching16,34 or utilizing force sensors in spectrins5,35, can serve as an alternative approach to understand MPS lattice integrity in neurons, in which the MPS lattice cannot be detected as a periodic 2D lattice.

Limitations of the protocol

A limitation of our protocol is its relatively low resolution compared with other super-resolution methods. In case a better resolution is required, we refer to our earlier work to resolve MPS lattice periodicity in the PLM neuron in C. elegans by STED16 or suggest combining C. elegans experiments with work in other model systems. The use of expansion microscopy, which has also been established in C. elegans, might also allow for resolving MPS lattice periodicity at much higher resolution36,37.

ACKNOWLEDGMENTS:

The authors would like to thank the entire Institute for Clinical Anatomy and Cell Analysis in Tübingen for their technical assistance, feedback, and fruitful discussions. Some strains were provided by the CGC, which is funded by NIH Office of Research Infrastructure Programs (P40 OD010440. The authors thank the Imaging Core Facility of the Interfaculty Institute of Biochemistry, Tübingen, for access to the microscope and, in particular, Moritz Lehners for the introduction to and assistance at the microscope. This work is supported by grants from the German Research Foundation [Deutsche Forschungsgemeinschaft, Project Number 434558229-INST 37/1133-1FUGG, OVG: Project Number 562903099)]. Figure 1A,B was generated using BioRender (Thomas S. BioRender illustration [Internet]. 2026. Available from: https://BioRender.com/me5f187).

DISCLOSURES:

The authors have no conflicts of interest to disclose.

REFERENCES

- Xu K, Zhong G, Zhuang X. Actin, spectrin, and associated proteins form a periodic cytoskeletal structure in axons. Science. 2013;339(6118):452-6.

- Pielage J, et al. A presynaptic giant ankyrin stabilizes the NMJ through regulation of presynaptic microtubules and transsynaptic cell adhesion. Neuron. 2008;58(2):195-209.

- Unsain N, Stefani FD, Caceres A. The actin/spectrin membrane-associated periodic skeleton in neurons. Front Synaptic Neurosci. 2018;10:10.

- Dubey S, et al. The axonal actin-spectrin lattice acts as a tension buffering shock absorber. Elife. 2020;9:e51772.

- Krieg M, Dunn AR, Goodman MB. Mechanical control of the sense of touch by beta-spectrin. Nat Cell Biol. 2014;16(3):224-33.

- Hammarlund M, Jorgensen EM, Bastiani MJ. Axons break in animals lacking beta-spectrin. J Cell Biol. 2007;176(3):269-75.

- Coakley S, Bonacossa-Pereira I, Le D, Hilliard MA. An epidermal membrane-associated periodic skeleton restricts endocytosis to stabilize neuron-epidermal attachment and preserve axons. Sci Adv. 2026;12(2):eadz4762.

- Pielage J, Fetter RD, Davis GW. Presynaptic spectrin is essential for synapse stabilization. Curr Biol. 2005;15(10):918-28.

- Pielage J, Fetter RD, Davis GW. A postsynaptic spectrin scaffold defines active zone size, spacing, and efficacy at the Drosophila neuromuscular junction. J Cell Biol. 2006;175(3):491-503.

- Ikeda Y, et al. Spectrin mutations cause spinocerebellar ataxia type 5. Nat Genet. 2006;38(2):184-90.

- Morrow JS, Stankewich MC. The spread of spectrin in ataxia and neurodegenerative disease. J Exp Neurol. 2021;2(3):131-9.

- Zhou R, Han B, Xia C, Zhuang X. Membrane-associated periodic skeleton is a signaling platform for RTK transactivation in neurons. Science. 2019;365(6456):929-34.

- Zhou R, et al. Proteomic and functional analyses of the periodic membrane skeleton in neurons. Nat Commun. 2022;13(1):3196.

- Wernert F, et al. The actin-spectrin submembrane scaffold restricts endocytosis along proximal axons. Science. 2024;385(6711):eado2032.

- He J, et al. Prevalent presence of periodic actin-spectrin-based membrane skeleton in a broad range of neuronal cell types and animal species. Proc Natl Acad Sci U S A. 2016;113(21):6029-34.

- Glomb O, et al. A kinesin-1 adaptor complex controls bimodal slow axonal transport of spectrin in Caenorhabditis elegans. Dev Cell. 2023;58(19):1847-63.e12.

- Schermelleh L, et al. Super-resolution microscopy demystified. Nat Cell Biol. 2019;21(1):72-84.

- Sahl SJ, et al. Comment on “Extended-resolution structured illumination imaging of endocytic and cytoskeletal dynamics.” Science. 2016;352(6285):527.

- Micinski D, Lahti L, Abouelezz A. Measuring properties of the membrane periodic skeleton of the axon initial segment using 3D-structured illumination microscopy (3D-SIM). J Vis Exp. 2022;(180):e63327.

- Jia R, et al. Spectrin-based membrane skeleton supports ciliogenesis. PLoS Biol. 2019;17(7):e3000369.

- Glomb O, Lyu M, Yogev S. Optimizing visualization of axonal transport of endogenous cargo by fluorescence microscopy in living Caenorhabditis elegans. J Vis Exp. 2024;(204):e66236.

- Niwa S. Immobilization of Caenorhabditis elegans to analyze intracellular transport in neurons. J Vis Exp. 2017;(128):e56690.

- Swaim GL, et al. External mechanical force drives axonal cytoskeletal rearrangements. Curr Biol. 2026;36(10):2461-76.e8.

- Wu X, Hammer JA. ZEISS Airyscan: optimizing usage for fast, gentle, super-resolution imaging. Methods Mol Biol. 2021;2304:111-30.

- Huff J. The Airyscan detector from ZEISS: confocal imaging with improved signal-to-noise ratio and super-resolution. Nat Methods. 2015;12:i-ii.

- Schindelin J, et al. Fiji: an open-source platform for biological-image analysis. Nat Methods. 2012;9(7):676-82.

- Nounou MN, Bakshi BR. Multiscale methods for denoising and compression. In: Walczak B, editor. Wavelets in Chemistry. Data Handling in Science and Technology. Vol. 22. Elsevier; 2000. p. 119-50.

- Vassilopoulos S, et al. Ultrastructure of the axonal periodic scaffold reveals a braid-like organization of actin rings. Nat Commun. 2019;10(1):5803.

- Hammarlund M, Davis WS, Jorgensen EM. Mutations in beta-spectrin disrupt axon outgrowth and sarcomere structure. J Cell Biol. 2000;149(4):931-42.

- Zhang L, Ward JD, Cheng Z, Dernburg AF. The auxin-inducible degradation (AID) system enables versatile conditional protein depletion in C. elegans. Development. 2015;142(24):4374-84.

- Holland AJ, Fachinetti D, Han JS, Cleveland DW. Inducible, reversible system for the rapid and complete degradation of proteins in mammalian cells. Proc Natl Acad Sci U S A. 2012;109(49):E3350-7.

- Topalidou I, et al. Genetically separable functions of the MEC-17 tubulin acetyltransferase affect microtubule organization. Curr Biol. 2012;22(12):1057-65.

- Goudeau J, et al. Split-wrmScarlet and split-sfGFP: tools for faster, easier fluorescent labeling of endogenous proteins in Caenorhabditis elegans. Genetics. 2021;217(4):iyab014.

- Zhong G, et al. Developmental mechanism of the periodic membrane skeleton in axons. Elife. 2014;3:e04581.

- Ren Y, et al. Genetically encoded mechano-sensors with versatile readouts and compact size. bioRxiv. 2025:2025.01.16.633409. doi:10.1101/2025.01.16.633409.

- Yu CJ, Orozco Cosio DM, Boyden ES. ExCel: super-resolution imaging of C. elegans with expansion microscopy. Methods Mol Biol. 2022;2468:141-203.

- Martinez GF, et al. Quantitative expansion microscopy for the characterization of the spectrin periodic skeleton of axons using fluorescence microscopy. Sci Rep. 2020;10(1):2917.