Submission ID #: 73565

Scriptwriter Name: Vipasha Sharma

Project Page Link: https://review.jove.com/account/file-uploader?src=22437373

Title: Generation of Spontaneously Beating Neuromyocardial Organoids with Neural Crest-Derived Proprioceptive-Biased Neurons and Real-Time Respirometry

Authors and Affiliations:

Vasilina Psomoglou¹, Eleni Loukou², Konstantina Ioannidou-Kabouri¹, Maria Psomiadou², Angeliki Daiou¹, Lefkothea C. Papadopoulou³, Nikolaos Ioannou¹, Konstantinos E. Hatzistergos¹,²

¹KosBio P.C., 65 Georgikis Scholis Avenue
²Department of Genetics, Development and Molecular Biology, School of Biology, Aristotle University of Thessaloniki
³Department of Pharmacy, School of Health Sciences, Aristotle University of Thessaloniki

Corresponding Authors:

Konstantinos E. Hatzistergos                       (kchatzistergos@kosbio.com)

Email Addresses for All Authors:

lina@kosbio.com

eleneloukou@gmail.com

konstantina@kosbio.com

mpsomiadou27@gmail.com

angeliki@kosbio.com

lefkotea@pharm.auth.gr

nioannou@kosbio.com

kchatzistergos@kosbio.com

## Author Questionnaire

1. We have marked your project as author-provided footage, meaning you film the video yourself and provide JoVE with the footage to edit. JoVE will not send the videographer. Please confirm that this is correct.

√ Correct

2. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  NO

3. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  YES

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen captured video files to your project page as soon as possible.

4. Proposed filming date: To help JoVE process and publish your video in a timely manner, please indicate the proposed date that your group will film here: 1 October 2026

When you are ready to submit your video files, please contact our Content Manager, Utkarsh Khare.

Current Protocol Length

Number of Steps: 25

Number of Shots: 58

# Interviews

Authors: Statements have been edited for length and clarity. Please note that the questions will not appear on screen. Please answer in stand-alone full sentence with sufficient context

INTRODUCTION:

REQUIRED: Summarize your research focus and the main questions it aims to answer.

  - Vasilina Psomoglou: Our research focuses on how neural crest-derived neurons and cardiac tissues develop and interact using human organoid models in healthy and disease conditions.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Describe the research contexts or systems in which this protocol can be applied.

  - Konstantina Ioannidou-Kabouri: This protocol can be applied to studies of human neural crest and cardiac development, sensorimotor integration, and metabolic disease modeling, including Friedreich’s ataxia.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

CONCLUSION:

What does this protocol allow researchers to study or measure?

  - Maria Psomiadou: This protocol allows researchers to study neural-cardiac interactions within a single organoid and continuously measure mitochondrial respiration non-invasively over days to weeks.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Describe the most important consideration or challenge when performing this protocol.

  - Vasilina Psomoglou: The most important considerations are maintaining precise seeding density and medium-change timing while avoiding accidental aspiration of organoids.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Are there any additional methods or analyses that can be performed following this procedure?

  - Konstantina Ioannidou-Kabouri:  Following this procedure, organoids can be immunostained for lineage markers, assessed for beating activity, and subjected to mitochondrial stress tests or drug treatments while monitoring oxygen consumption rate.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Ethics Title Card

This research has been approved by the Research Ethics and Deontology Committee of the Aristotle University of Thessaloniki.

# Protocol

- Stem Cell Counting and Organoid Seeding

Demonstrator: Konstantina Ioannidou-Kabouri

  - To begin, retrieve the human pluripotent stem cells resuspended after detachment in DMEM and F12 (F-twelve) containing 2 micromolar Rho-associated protein kinase, or ROCK, (Rock), inhibitor [1]. Count the cells using a hemocytometer [2].

    - WIDE: Talent retrieving the resuspended hPSCs and placing the cell-counting materials in the biosafety cabinet

    - CU: Talent loading the cell suspension onto a hemocytometer and counting the cells

  - Prepare a solution containing 30-60 × 10³ cells per milliliter in 1 milliliter of xeno-free maintenance medium with 2 micromolar ROCK inhibitor [1]. In 1 well of a basement membrane matrix-coated 12-well plate, aspirate the basement membrane matrix solution [2]. Seed 1 milliliter of this suspension per well, corresponding to 3 × 10⁴–6 × 10⁴ cells per well of a 12-well plate [3].

    - Talent preparing 1 milliliter of cell suspension containing 30–60 × 10³ cells per milliliter in xeno-free maintenance medium with 2 micromolar ROCK inhibitor.

    - Talent aspirating the basement membrane matrix solution from 1 well.

    - Talent transferring 1 milliliter of the suspension per well of a 12-well plate.

  - Gently shake the plate to distribute the cell suspension evenly across the well [1]. Place the plate in the incubator at 37 degrees Celsius and 5 percent carbon dioxide for future experiments [2].

    - Talent gently shaking the plate to distribute the cell suspension evenly across the well.

    - Talent placing the plate at 37°C.

  - From the same counted cell suspension, prepare a solution containing 30–60 × 10³ cells per milliliter in differentiation medium I (One) and add ice-cold three-dimensional suspension supplement at a 1:1000 dilution [1]. From this solution, seed 100 microliters per well in a non-treated, U-bottom 96-well plate, corresponding to 3–6 × 10³ cells per well [2].

    - Talent preparing the cell solution in differentiation medium I and adding ice-cold three-dimensional suspension supplement at a 1:1000 dilution.

    - Talent transferring 100 microliters of the cell solution per well in a non-treated, U-bottom 96-well plate.

  - Centrifuge the plate at 90 g for 3 minutes to form a centered cell pellet [1]. Place the plate in the incubator at 37 degrees Celsius and 5 percent carbon dioxide for 48 hours [2].

    - Talent placing the plate in the centrifuge.

    - Talent placing the plate at 37°C.

- Organoid Differentiation

Demonstrator: Vasilina Psomoglou

  - On day 2, confirm that a single spheroid has formed in each well 48 hours after seeding [1]. Using a 100-microliter pipette, carefully remove all the medium from each well without disturbing the spheroid [2]. Wash each well with 100 microliters of D-PBS (D-P-B-S) to remove residual differentiation medium I [3].

    - CU: Shot of a single spheroid formed in each well.

    - Talent carefully removing the medium from each well with a 100-microliter pipette without disturbing the spheroid.

    - Talent washing each well with 100 microliters of Dulbecco’s phosphate-buffered saline.

  - Prepare differentiation medium II (Two) by mixing the supplement and diluent at a 1:1 ratio; for a full 96-well plate, mix 4.8 milliliters of each component to obtain 9.6 milliliters [1]. Remove the D-PBS from the wells, add 100 microliters of the prepared differentiation medium II to each well [2]. Return the plate to the incubator [3].

    - Talent mixing 4.8 milliliters of differentiation medium II supplement with 4.8 milliliters of differentiation medium II diluent.

    - Talent removing D-PBS and adding 100 microliters of differentiation medium II to each well.

    - Talent placing the plate in the incubator.

  - On day 3, remove 50 microliters of medium from each well, and add 50 microliters of fresh differentiation medium II supplement without prior dilution [1]. Return the plate to the incubator [2].

    - Talent removing 50 microliters of medium from each well and adding 50 microliters of fresh differentiation medium II supplement.

    - Talent placing the plate in the incubator.

  - On day 4, 96 hours after seeding, confirm that the organoids have begun to polarize [1]. Remove the spent medium and wash each well with 100 microliters of D-PBS [2]. Remove the D-PBS, add 100 microliters of differentiation medium III (three) to each well [3]. Return the plate to the incubator [4].

    - Shot of the organoids beginning to polarize.

    - Talent removing the spent medium and washing each well with 100 microliters of DPBS.

    - Talent removing DPBS and adding 100 microliters of differentiation medium III to each well, and returning the plate to the incubator.

  - On day 7, remove 80% of the spent medium from each well and replenish it with 80 microliters of fresh differentiation medium III [1]. On day 9, remove all spent medium and add 100 microliters of basal maintenance medium to each well, replacing it every 2–3 days thereafter to maintain organoid health [2].

    - Talent removing 80 percent of the spent medium and adding 80 microliters of fresh differentiation medium III to each well.

    - Talent removing the spent medium and adding 100 microliters of basal maintenance medium to each well.

  - Transfer the organoids to a fresh 96-well plate and wash them with D-PBS [1], then fix them with 100 microliters of 4% paraformaldehyde [2]. Incubate the organoids for 1 hour at 4 degrees Celsius on a shaker [3]. Wash the organoids 3 times for 10 minutes in TBS with 0.5% Tween-20, or TBST (T-B-S-T) [4], then block them overnight on a shaker at 4 degrees Celsius in 100 microliters of blocking solution [5-TXT].

    - Talent transferring the organoids to a fresh 96-well plate and washing them with D-PBS.

    - Talent adding 100 microliters of 4% paraformaldehyde.

    - Talent placing the organoids on a shaker at 4 °C.

    - Talent washing the organoids 3 times for 10 minutes with TBS with 0.5% Tween 20.

    - Talent placing the plate on a shaker at 4 degrees Celsius for overnight blocking.

TXT: Blocking solution: 1% BSA in TBS containing 1% Tween 20

  - Add 50–60 microliters of SOX10 (Sox-ten) primary antibody diluted in blocking solution to the organoids [1]. Place the plate on a shaker at 4 degrees Celsius for overnight incubation [2]. Wash the organoids three times with TBST, then incubate with 50–60 microliters of the secondary antibody for 1 hour at room temperature on a shaker [3]. After three additional washes with TBST, stain with 100 microliters of 2 micrograms per milliliter DAPI (Da-pee) [4] and incubate for 10 minutes at 4 degrees Celsius [5].

    - Talent adding 50–60 microliters of SOX10 primary antibody to the organoids.

    - Talent placing the plate on a shaker at 4 °C for overnight incubation.

    - Talent washing the organoids, adding the secondary antibody and placing the plate on a shaker at room temperature.

    - Talent washing the organoids and adding 100 microliters of DAPI solution.

    - Talent placing the plate at 4 °C for 10 minutes.

  - Wash the organoids once with TBST and add 100 microliters of 55% sucrose clearing solution diluted 1:1 with D-PBS and incubate for 30 minutes at room temperature [1]. Replace the diluted sucrose with 100 microliters of undiluted 55% sucrose solution [2], then place the plate at 4 degrees Celsius for overnight incubation [3].

    - Talent washing the organoids and adding 100 microliters of 1:1 D-PBS-diluted 55% sucrose solution to the organoids and leaving the plate at room temperature.

    - Talent replacing the diluted sucrose with 100 microliters of undiluted 55% sucrose solution.

    - Talent placing the plate at 4 °C for overnight incubation.

  - Prepare microscope slides by placing a small plasticine sphere at each corner [1]. Using a 1000-microliter pipette, transfer the stained organoids onto the slides, remove the excess wash solution, add approximately 60 microliters of mounting medium, and place the coverslip [2]. Acquire images of the organoids using a fluorescence microscope [3].

    - Talent placing a small plasticine sphere at each corner of the microscope slide.

    - Talent transferring the stained organoids onto the slide with a 1000-microliter pipette, removing the excess solution, adding approximately 60 microliters of mounting medium, and placing the coverslip.

    - SCREEN: Images of the organoids being acquired on the fluorescence microscope.

Authors: Please create a screen capture video of the shots labelled SCREEN and upload them onto your project page:  https://review.jove.com/files_upload.php?src=22437373

- Real-Time Oxygen Consumption Rate Monitoring

Demonstrator: Maria Psomiadou

  - For real-time oxygen consumption rate, or OCR, (O-C-R), incubate the sensing lid on a D-PBS-filled 96-well plate at 37 degrees Celsius and 5% carbon dioxide for at least 1 hour [1]. Set up the experiment on the OCR monitoring software platform [2].

    - Talent placing the sensing lid on a D-PBS-filled 96-well plate in the cell culture incubator.

    - SCREEN: Experiment being set up on the OCR monitoring software platform.

  - To enable OCR measurements throughout organoid development, repeat the differentiation protocol as described previously [1] and plate the cells in columns 3, 4, 9, and 10 of a 96-well plate on day 0 [2]. Fill any empty wells with D-PBS to slow evaporation [3].

    - Reuse 2.4.2 and 2.5.1

    - Talent plating the cells in columns 3, 4, 9, and 10 of a 96-well plate.

    - Talent filling the empty wells with D-PBS.

  - Carefully position the 32-sensor sensing lid over the 96-well plate and place it in the cell culture incubator at 37 degrees Celsius and 5 percent carbon dioxide [1].

    - Talent positioning the 32-sensor sensing lid over the 96-well plate and placing it in the cell culture incubator.

  - Place the oxygen consumption reader on top of the magnetic sensing lid [1] and start the experiment on the OCR monitoring software platform [2]. Track oxygen measurements immediately, while OCR values begin to be recorded after approximately 2 hours, once a stable oxygen gradient is established. No separate sensor calibration is required [3].

    - Talent placing the oxygen consumption reader on top of the magnetic sensing lid.

    - SCREEN: Experiment being started on the OCR monitoring software platform.

    - SCREEN: Oxygen measurements being tracked immediately, followed by OCR recording after the stabilization interval.

  - During subsequent medium changes, keep the sensing lid in the incubator on a D-PBS-filled 96-well plate [1]. Track OCR changes throughout differentiation in real time on the OCR monitoring software platform [2].

    - Talent placing the sensing lid on a D-PBS-filled 96-well plate in the incubator during a medium change.

    - SCREEN: OCR changes being tracked throughout differentiation in real time on the monitoring software platform.

  - The day before the mitochondrial stress test, replace the spent medium with fresh basal maintenance medium and continue recording OCR overnight to establish a stable baseline [1]. On the day of the assay, prepare 4X (Four-X) working solutions of oligomycin, BAM15 (BAM-fifteen) and rotenone plus antimycin A by diluting 4 microliters of each 1000-X (thousand-X) stock in 996 microliters of basal maintenance medium [2]. Prepare the 4X vehicle control similarly by adding 4 microliters of DMSO to 996 microliters of basal maintenance medium [3]. Before adding the modulators, inspect the organoids under the microscope for cell death and beating, and image them to normalize size [4].

    - Talent replacing the spent medium with fresh basal maintenance medium and returning the plate to the OCR monitoring system.

    - Talent preparing the 4X mitochondrial modulator working solutions by adding 4 microliters of each 1000-X stock in 996 microliters of basal maintenance medium.

    - Talent adding 4 microliters of DMSO to 996 microliters of basal maintenance medium to prepare the vehicle control working solutions.

    - SCREEN: Organoids being inspected for cell death and beating and photographed for size normalization.

.

  - Remove medium from the designated wells and replace it with 25 microliters of the corresponding 4X working solution of vehicle control, oligomycin, BAM15, and rotenone plus antimycin A to obtain final concentrations of 2 micromolar oligomycin, 2.5 micromolar BAM15, or 2 micromolar rotenone plus antimycin A [1]. Monitor the OCR response for 6 hours [2].

    - Talent removing the medium and adding the appropriate working solution to the organoid wells.

    - SCREEN: Real-time OCR being monitored following addition of the mitochondrial modulators.

  - Following the mitochondrial stress test, calculate the mean OCR of each organoid during the test, divide it by the baseline OCR of the same organoid, and then divide it by the projected cross-sectional area of the organoid measured from the pre-assay image [1].

    - SCREEN: Recorded OCR values being normalized to the baseline OCR and to the projected area of each organoid, measured in image analysis software.

Author: Steps 3.6-3.9 and 4.6-4.8 have been added for continuity and to bridge the narration of the protocol with the result section.

# Results

- Results

  - During differentiation, the organoids progressively developed a polarized morphology, with GFP-positive regions becoming clearly visible by day 7 and persisting through later time points [1]. Spontaneous contractile activity appeared in discrete regions of the organoids by days 7–8, typically opposite the GFP-positive domain [2]. SOX10 immunocytochemical staining showed co-localization of SOX10 with GFP-positive cells, confirming that the reporter identifies neural crest cell populations within the organoid [3].

    - LAB MEDIA: Figure 1B. Video editor: Show the time-course images in panel B and highlight the green color in Day 7.

    - LAB MEDIA: Supplementary Video 1. Video editor: 00:00-00:05 and 00:05-00:08

    - LAB MEDIA: Figure 1C. Video editor: Please highlight the yellow/orange regions in the Overlay panel, where the green GFP and red SOX10 signals overlap.

  - Immunostaining of beating organoids identified NKX2.5 (N-K-X-two-point-five)-positive cardiac regions [1] distinct from the GFP-positive domains [2]. GFP-positive and RUNX3 (Run-x-three)-positive cells were also identified [3], along with RUNX3-positive and parvalbumin-positive proprioceptive-biased sensory neurons [4].

    - LAB MEDIA: Figure 2A–D. Video editor: Please show panels A–D and highlight the red-stained regions in panel B.

    - LAB MEDIA: Figure 2A–D. Video editor: Please show panels A–D and highlight the green-stained regions in panel B.

    - LAB MEDIA: Figure 2E–H. Video editor: Please show panels E–H and highlight the area where the green “GFP” and red “RUNX3” staining overlap in panel F.

    - LAB MEDIA: Figure 2E–H. Video editor: Please show panels E–H and highlight the area where the red “RUNX3” and gray “PVALB” staining overlap in upper right corner of panel F.

  - Real-time OCR monitoring captured the respiratory response of Friedreich’s ataxia and isogenic control organoids following treatment with the mitochondrial modulators [1]. Compared with the isogenic control, Friedreich's ataxia organoids showed reduced basal respiration, maximal respiration, and spare respiratory capacity, indicating impaired mitochondrial function [2].

    - LAB MEDIA: Figure 4A Video Editor: Please highlight the time-resolved OCR traces, followed by the arrowhead and dashed line indicating addition of the mitochondrial modulators.

    - LAB MEDIA: Figure 4C Video Editor: Please sequentially highlight basal respiration, maximal respiration, and spare respiratory capacity, comparing the FRDA and isogenic organoids.