JoVE Article Template:

Dear Author,

After filling out this document, all text must be entered as a text submission to the JoVE website.  Much of the information is the same and will require simple copying and pasting.  Please access our submission system by going to this link:

http://www.jove.com/index/SubmitNew.stp?

You will need to create a username and password to generate a new submission, which must be completed before you receive the video for review.  

We look forward to working with you,

The JoVE Team

TITLE  (maximum 90 characters) 

Measuring Replicative Life Span in the Budding Yeast 

Authors: First name, middle initial, last name
Kristan K. Steffen, Brian K. Kennedy, and Matt Kaeberlein

Authors: institution(s)/affiliation(s) for each author:

Kristan K. Steffen

Department of Biochemistry

University of Washington

stef0124@u.washington.edu
Brian K. Kennedy

Department of Biochemistry

University of Washington

bkenn@u.washington.edu
Matt Kaeberlein

Department of Pathology

University of Washington
kaeber@u.washington.edu
Corresponding author: Matt Kaeberlein

Keywords: (minimum 4, maximum 10) 

aging, longevity, life span, yeast, dietary restriction, Saccharomyces cerevisiae
Short Abstract: should include a general description of the article (10 word minimum, 50 word maximum)

In this article we present a general protocol for measuring  the replicative life span of yeast mother cells.

Long Abstract: (150 word minimum, 400 word maximum)

Aging is a degenerative process characterized by a progressive deterioration of cellular components and organelles resulting in mortality. The budding yeast Saccharomyces cerevisiae has been used extensively to study the biology of aging, and several determinants of yeast longevity have been shown to be conserved in multicellular eukaryotes, including worms, flies, and mice 1.  Due to the lack of easily quantified age-associated phenotypes, aging in yeast has been assayed almost exclusively by measuring the life span of cells in different contexts, with two different life span paradigms in common usage 2.  Chronological life span refers to the length of time that a mother cell can survive in a non-dividing, quiescence-like state, and is proposed to serve as a model for aging of post-mitotic cells in multicellular eukaryotes.  Replicative life span, in contrast, refers the number of daughter cells produced by a mother cell prior to senescence, and is thought to provide a model of aging in mitotically active cells. Here we present a generalized protocol for measuring the replicative life span of budding yeast mother cells. The goal of the replicative life span assay is to determine how many times each mother cell buds.  The mother and daughter cells can be easily differentiated by an experienced researcher using a standard light microscope (total magnification 160X), such as the Zeiss Axioscope 40 or another comparable model.  Physical separation of daughter cells from mother cells is achieved using a manual micromanipulator equipped with a fiber-optic needle.  Typical laboratory yeast strains produce 20-30 daughter cells per mother and one life span experiment requires 2-3 weeks.

Text: should include a step-by-step description of the experimental procedure (protocol). Describe procedures in sufficient detail so that the work can be reproduced.   Please use complete sentences, and write with a style similar to the example below, so that the protocol sounds natural when read.   

Part 1: Prepare strains and plates for replicative life span analysis

This section describes the preparation of the solid YEPD plates for use in the replicative life span experiment and the preparation of yeast cells for life span analysis.

1.1) Using appropriate sterile technique, prepare YEPD agar plates (1% yeast extract, 2% bacto-peptone, 2% agar, 2% glucose) that will be used for culturing yeast cells and for replicative life span analysis. You should prepare at least 2 plates for every 4-5 strains to be analyzed in the life span experiment.  Plates should be prepared at least 2 days before the life span experiment and allowed to dry before beginning the life span assay.  If the experiment will not be initiated within 4-5 days of pouring the plates, they should be placed in a refrigerated incubator and wrapped in parafilm or plastic to prevent dessication.  

1.2) Remove yeast strains from frozen stocks and streak for single colonies onto YEPD agar plates.  Up to 6 strains can easily be streaked on the same YEPD plate by partitioning the plate into equally sized pie-shaped wedges.

1.3) Incubate the cells at 30°C for 2 days.

1.4) Remove cells from the incubator and patch cells from a single colony onto a fresh YEPD plate.   Two patches from two different colonies should be generated for each strain.  At this time, the strains to be analyzed should be coded to ensure the replicative life span experiment is performed “blind”, where the dissectors do not know the identity of individual strains.

1.5) Incubate the patched, coded cells at 30°C until the following evening.

1.6) Remove the cells and lightly patch cells from each coded strain to fresh YEPD plates, which will serve as the experimental  plates used for the replicative life span analysis.  Cells should be patched along a vertical line on the  left side of the YEPD plate (Figure 1).  Approximately 3-5 patches per plate is optimal, assuming replicative life span analysis on 20 cells from each patch. It is not necessary (nor desirable) to transfer a large number of cells to the fresh YEPD plate, as this will cause the cells to grow thickly during the overnight incubation, which may limit their subsequent replicative life span.  

1.7) Incubate the freshly patched plates overnight on the bench top.  

Part 2: Position cells for replicative life span analysis.
In this section we describe how to position the yeast cells on the plate and how to obtain virgin daughter cells for replicative life span analysis. From this point on, all plates should be parafilmed, except when undergoing dissection, in order to prevent dessication.

2.1) Using a microscope equipped with a microdissection apparatus suitable for yeast, transfer approximately 50 cells from the first patched strain to a position on the plate distal to the patched cells .  If your microscope stage is graded, these gradations can be used to ensure the cells will be easy to find during subsequent iterations.  On the Zeiss Axioscope 40, cells from the first patched strain can be placed at coordinates 90 x 0 and arrayed vertically from there.
2.2) Clean the needle of cells by repeatedly touching the agar surface, then create a hole in the agar by forcing the needle through the agar surface.  This hole will serve as a marker to orient you on the plate during subsequent iterations of dissection and daughter cell removal.  Be careful not to get yeast cells in the hole, or they will grow and form a colony.

2.3) Directly above the hole, vertically align individual yeast cells into 20 evenly spaced positions, with 1-3 needle diameters (~100 μM) between each cell position (Figure 1).  Every few cells, place two cells adjacent to each other in the same position in the line rather than one.  This allows for redundancy during virgin daughter cell selection, if one of the transferred cells fails to divide.

2.4) Between the 10th and 11th positions in the line, create a horizontal series of 7-8 holes in the agar.  This will serve as a marker to orient you on the plate during subsequent iterations of dissection and daughter cell removal. Be careful not to get yeast cells in the holes, or they will grow and form a colony.

2.5)  Repeat steps 2.1-2.4 for each patch on the plate, continuing to array cells vertically along the same axis.  For step 2.2, the number of holes created should correspond to the patch number (one hole for the first patch, two holes for the second, etc.).
2.6) Once cells have been arrayed for each patch, parafilm the plate and incubate at 30°C for approximately 2 hours.

2.7) Repeat steps 2.1-2.6 for each plate in the experiment.

Part 3: Obtain virgin daughter cells for life span analysis
In this section we initiate the life span analysis by ensuring that each cell starts as a virgin daughter cell. 

3.1) Remove the plates from the incubator and verify that most of the arrayed cells have undergone a cell division.  If additional time is needed to allow cell division to be completed, return the plate to the incubator.

3.2) Beginning with the first arrayed cell, use the needle to detach daughter cells from the mother cell by gently placing the needle on top of the attached cells.  It is sometimes helpful to tap the side of the microscope base while the needle is resting on the cells.

3.3) Place the detached daughter cell in the vertical line, replacing the mother cell and any additional daughter cells and moving them temporarily aside.  

3.4) Repeat step 3.2 and 3.3 for each of the arrayed cells.  If a cell fails to divide, take a daughter cell from one of the redundant cells positioned in step 2.3.  When finished, you should have  20 daughter cells for each patch aligned vertically on the life span plate.

3.5) Collect all of the mother cells and extra daughter cells into a pile and transfer them back to an area near the patches (“the graveyard”).  It is important to keep unwanted cells far from the cells undergoing life span analysis to prevent formation of microcolonies and depletion of local nutrients.

3.6) Parafilm the plate and incubate at 30°C for approximately 2 hours.

3.7) Repeat steps 3.2-3.6 for each plate in the experiment.

Part 4: Measuring the replicative capacity of individual cells 
4.1) Prepare the life span data sheets.  A life span data sheet can be a simple grid where each row corresponds to an individual mother cell and each column corresponds to an age-point (Figure 2).  Label each data sheet according to the number of strains to be analyzed.

4.2) Remove the plates from the incubator and verify that most of the arrayed cells have undergone at least one cell division.  If additional time is needed to allow cell division to be completed, return the plate to the incubator.

4.3) Beginning with the first arrayed cell on the first plate, visually observe the mother and daughter cell(s) and determine the number of cell divisions that have occurred.  It is generally easy to determine how many daughter cells a mother has produced, based on characteristic patterns of cell arrangements.  Record the number of daughter cells produced by the mother cell in the appropriate box on the life span score sheet.  

4.4) Use the needle to detach daughter cells from the mother cell as described in step 3.2.

4.5) Retain the mother cell in its position in the vertical line and move the daughter cell(s) to temporarily aside.

4.6) Repeat steps 4.3-4.5 for each of the arrayed cells.

4.7) Collect all of the discarded daughter cells and move them to the ‘graveyard’, located near the original patches.

4.8) Parafilm the plate and incubate at 30°C for 2-3 hours.

4.9) Repeat steps 4.3-4.8 for each plate in the experiment.

4.10) Repeat steps 4.2-4.9 until all mother cells have stopped dividing.  As the mother cells age, the cell cycle progression becomes slower and it will be desirable to incubate the plate for longer periods of time between age-points.  Plates can be placed at 4°C overnight.

Part 5: Representative Results. 
The raw data produced by a replicative life span experiment is a list numbers corresponding to daughter cells produced by each mother cell at each age-point (Figure 2).  By summing each row of the score sheet, the replicative life span for each mother cell is obtained.  Data for mother cells from the same experimental group can be pooled to generate a survival curve (Figure 3A) and to perform statistical calculations, such as mean life span, median life span, and standard deviation.  A non-parametric test, such as the Wilcoxon Rank-Sum test, can be performed to determine whether significant differences in life span were detected between experimental groups.  When the experiment works correctly, the survival curve should be roughly consistent with Gompertz-Makeham kinetics showing a sigmoidal shap with low early mortality followed a relatively  rapid decline in survival and a flattening out of the curve a later ages.  Most wild-type strains have replicative life span values in the 20-30 generation range , although variation outside of this range has been reported.

Discussion:  

Of all the model systems used to study aging, the budding yeast is arguably the most accessible to a wide variety of scientists. The replicative life span assay described here requires little more than a microscope and microdissection apparatus suitable for micromanipulation of yeast cells along with an incubator for culturing the cells.  Studies of replicative aging in yeast have led to the identification of dozens of novel longevity factors, many of which appear to play a conserved role in the aging process of multicellular eukaryotes 


3, 4 ADDIN EN.CITE .

Although many variations are possible, the replicative life span assay as described here has been used almost exclusively for studies of yeast replicative aging.  One variation that has been described is to grow the aging cells on synthetically defined media, similar to the media used for most chronological aging studies 5.  The use of synthetic media is not generally recommended, however, as this can substantially shorten replicative life span 6.  

One common variation on this protocol is to change to concentration of glucose in the media.  It has been observed that reducing the glucose from 2% (standard YEPD) to 0.5% or below leads to a significant increase in replicative life span.  Growth on reduced glucose has been used extensively as a yeast model of dietary restriction (also referred to as caloric restriction), with both 0.5% and 0.05% glucose commonly used for these types of studies 


7, 8 ADDIN EN.CITE .  Alternative carbon sources such as glycerol, galactose, or ethanol can also be used to replace the glucose in the media.    

An important consideration when designing a replicative life span experiment is the number of cells to analyze for each strain or condition under study.  As described here, cells are arrayed on the experimental plates in 20 cell sets.  In our experience, the minimum number of cells needed to provide reasonable statistical power and reliability is 40 cells within the same experiment.  Optimally, three replicate sets (different experiments) should be performed to verify any observed effect on life span.  For higher throughput screening purposes, it may be desirable to examine strains in smaller set sizes, down to 5 mother cells per genotype. For example, such an approach was used as part of an iterative process to screen more than 500 single-gene deletion strains, which led to the identification of the Target or Rapamycin kinase as a key downstream mediator of dietary restriction in yeast 


9, 10 ADDIN EN.CITE .
In addition to information regarding the life span of the strains being studied, the raw data from the replicative life span analysis can be used to obtain a measure of the relative growth rates of different groups under the specific experimental conditions of the life span assay.  Since the number of daughter cells produced by each mother at each age-point is recorded on the life span score sheet, it is possible to plot the cumulative number of daughter cells produced per mother as a function of age-point (Figure 3B).  Although this does not provide an absolute measure of growth rate, differences in relative growth rate are easy to detect and quantify.

Acknowledgments: List acknowledgements and funding sources.

This work was supported by a grant to M.K and B.K.K. from the Ellison Medical Foundation.  M. K. is an Ellison Medical Foundation New Scholar in Aging.

Disclosures: describe potential conflicting interests or state “I have nothing to disclose”

I have nothing to disclose.

Table of specific reagents and equipment:
	Name of the reagent
	Company
	Catalogue number
	Comments (optional)

	Bacto Peptone

Bacto Yeast Extract

Difco Agar

Dextrose


	BD

BD

BD

Fisher


	[image: image1.wmf]211677

288620

214530
D16-10


	


References: please use the same format you would use for a Nature article.  For example:

1.
Kaeberlein, M., Burtner, C.R. & Kennedy, B.K. Recent developments in yeast aging. PLoS Genet 3, e84 (2007).

2.
Kaeberlein, M. in Handbook of models for human aging (ed. Conn, P.M.) 109-120 (Elsevier Press, Boston, 2006).

3.
Smith, E.D. et al. Quantitative evidence for conserved longevity pathways between divergent eukaryotic species. Genome Res 18, 564-70 (2008).

4.
Steinkraus, K.A., Kaeberlein, M. & Kennedy, B.K. Replicative aging in yeast: the means to the end. Annu Rev Cell Dev Biol 24, 29-54 (2008).

5.
Murakami, C.J., Burtner, C.R., Kennedy, B.K. & Kaeberlein, M. A method for high-throughput quantitative analysis of yeast chronological life span. J Gerontol A Biol Sci Med Sci 63, 113-21 (2008).

6.
Jiang, J.C., Jaruga, E., Repnevskaya, M.V. & Jazwinski, S.M. An intervention resembling caloric restriction prolongs life span and retards aging in yeast. Faseb J 14, 2135-7 (2000).

7.
Kaeberlein, M., Kirkland, K.T., Fields, S. & Kennedy, B.K. Sir2-independent life span extension by calorie restriction in yeast. PLoS Biol 2, E296 (2004).

8.
Lin, S.J., Defossez, P.A. & Guarente, L. Requirement of NAD and SIR2 for life-span extension by calorie restriction in Saccharomyces cerevisiae. Science 289, 2126-8. (2000).

9.
Kaeberlein, M. & Kennedy, B.K. Large-scale identification in yeast of conserved ageing genes. Mech Ageing Dev 126, 17-21 (2005).

10.
Kaeberlein, M. et al. Regulation of yeast replicative life span by TOR and Sch9 in response to nutrients. Science 310, 1193-6 (2005).



 Tables
Figure legends

Figure 1.  Diagram of a typical replicative life span plate.  The evening before beginning microdissection of yeast cells, 3-5 strains are lightly patched onto the surface of a YEPD plate (red boxes) in a vertical line along one side of the plate.  Following growth overnight, approximately 30 individual cells from each strain are arrayed vertically into a line containing 20 positions.  Life span analysis will be performed on v virgin daughter cells obtained from these initial cells.  Extra cells obtained from microdissection during the experiment (e.g. unwanted daughter cells) are placed in “the graveyard” (gray oval), which is located far away from the experimental cells in order to avoid local depletion of nutrients as colonies are formed.

Figure 2. A replicative life span tally sheet.  Raw data from a replicative life span experiment is shown.  Each row corresponds to a single yeast mother cell and each column corresponds to an age-point.  The number entered in each box is the number of daughter cells produced by that mother cell at that age-point.  Each strain is labeled with a coded number such that the individual dissecting the yeast cells has no knowledge of the identity of the strains being analyzed.  Twenty cells are assayed for each strain.

Figure 3. Representative survival and growth curves from a replicative life span experiment.  (A) Survival curves are obtained by plotting the fraction of mother cells still alive as a function of replicative age (number of cell divisions. (B) Growth curves are obtained by plotting the average number of daughter cells produced by a given strain as a function of age-point.  In this example, strain #2 is longer-lived but is slower growing, as evidenced by the reduced initial slope of the growth plot.  
Figures: should be uploaded electronically as separate files (TIFF, JPEG and other formats are acceptable)
