JoVE Article Template:

Dear Author,

After filling out this document, all text must be entered as a text submission to the JoVE website.  Much of the information is the same and will require simple copying and pasting.  Please access our submission system by going to this link:

http://www.jove.com/index/SubmitNew.stp?

You will need to create a username and password to generate a new submission, which must be completed before you receive the video for review.  

We look forward to working with you,

The JoVE Team

TITLE  (maximum 90 characters) 

l
Authors: First name, middle initial, last name

Janet Ander, Stella Redpath, Andrew Ball*

Authors: institution(s)/affiliation(s) for each author:

Stella Redpath

Discovery Toxicology Program Manager

Millipore Inc

Stella_redpath@millipore.com
Andrew Ball,

Manager, High Content Analysis and Cell-based Assays R&D

Millipore Inc

Andrew_ball@millipore.com
Janet Anderl,

Research Scientist II, Cell-Based Assays

Millipore Inc

janet_anderl@millipore.com
Corresponding author: Andrew Ball

Keywords: (minimum 4, maximum 10) 

neuroscience, high content analysis, toxicity, drug discovery, neurite outgrowth, astrocytes, neurons, fluorescence,  
Short Abstract: should include a general description of the article (10 word minimum, 50 word maximum)

This is a novel protocol designed for measurement of cytotoxic effects of compounds and treatments on co-cultures of neurons and astrocytes using high content analysis.  

Long Abstract: (150 word minimum, 400 word maximum)

High Content Screening (HCS) allows measurement of multiple parameters in a single assay.  Combining automated imaging with validated detection reagents and powerful image analysis algorithms, scientists can acquire deeper knowledge of multiple pathways at the single-cell level.  

Successful HCS assays rely on high quality reagents, and carry special requirements.  Incompatibility of reagents when integrated into a single assay can lead to significant drop-off in assay performance.  Strong antigen affinity is required, minimal non-specific binding must be observed, interactions between multiple primary or secondary immunoreagents must be minimized, and the signal to background ratio must be sufficient to ensure an adequate screening window.  To enable scale-up, the sample preparation protocol must be highly reproducible, and the reagents must exhibit minimal assay-to-assay variability. 

Here we describe a HCS neuroscience assay. During development, neurons extend numerous processes – neurites - which differentiate into dendrites and axons critical for cellular communication.  Characterization of neurite formation, maturation and collapse/resorption is an area of intense interest, since these cellular processes are essential for interconnection of neuronal cell bodies.  Neurite formation and neuronal regeneration hold particular promise for therapies for Alzheimer’s and Parkinson’s diseases, neuronal regeneration following spinal cord or brain injury, stroke, and diabetic neuropathy.  Neurite outgrowth analysis is also a valuable tool for developmental neurobiology.  Major pharmaceutical efforts in drug discovery and neurotoxicity research are now focused on the identification of compounds that affect neurite outgrowth. 

Many cell types can be used in neurite outgrowth assays, including PC12, SHSY5Y and N2A cell lines and primary cells including neurons; cerebellar granular cells and neuronal stem cells.  By labeling neuronal cells with an antibody such as βIII-tubulin, HCS assays provide high-throughput, non-subjective, quantitative neuronal measurements.  Parameters which can be measured include neuronal number, neurite count, neurite length, neurite area and branch point count.  Compared to traditional approaches which are labor-intensive and subjective, HCS-based neurite outgrowth assays offer the opportunity for greatly improved productivity in neuroscience research and drug discovery. 

Neurotoxicity assessment represents an important part of drug safety evaluation, as well as being a significant focus of environmental protection efforts. Neurotoxicity is also a well-accepted in vitro marker of the development of neuronal diseases.  Neuronal morphology has been demonstrated to provide an effective method for quantification of neuronal cell injury.  Since HCS represents the most effective method for quantitation of neuronal morphology, allowing accurate measurement of multiple parameters, HCS offers the opportunity to develop a new generation of neurotoxicity assays.  Several groups have recently reported the application of HCS-based neurotoxicity screens in a variety of cellular models.  In each study, immunodetection was used successfully to quantitate neurotoxic effects.  Thus, HCS represents a novel, highly-sensitive neurotoxicity screening tool.

Text: should include a step-by-step description of the experimental procedure (protocol). Describe procedures in sufficient detail so that the work can be reproduced.   Please use complete sentences, and write with a style similar to the example below, so that the protocol sounds natural when read.   

Cell Preparation:

1.
Prior to cell seeding for assay, culture neurons/astrocytes in growth media until ~70-80% confluent (unless cell seeding directly from thaw or isolation).  

2.
Detach cells from culture flasks/plates via method appropriate for cell type of interest.  If necessary, coat assay plate wells with poly-D-lysine or extracellular matrix protein to enhance cell adhesion.  Co-cultures of astrocytes and neurons may be seeded simultaneously or sequentially.  For sequential seedings, plating of astrocytes first as a “basal” layer is recommended, followed by neuronal plating and differentiation, if necessary.  Adjust cell density as appropriate for cell type, subsequent culture time, parameters of interest, etc.  Depending on culture age, cell source and seeding density, primary cultures may vary greatly in rate of proliferation, GFAP expression or neurite outgrowth – it is important to characterize and optimize your cell system to provide the most biological relevance for your experimental model, as well as to provide for effective imaging, segmentation and analysis using HCS (see Figure 1).  After adding cells to plate (cells may be seeded in 90 μL media, to facilitate toxin treatment as described in Step 3 below), allow plate to sit on a level surface at room temperature for 15-30 min, enabling even cell distribution.  Following this period, incubate cells in growth media (37ºC/5% CO2) for at least 24 hours, then switch to differentiation culture conditions (e.g., low serum/NGF for PC12 cells), as appropriate.  Continue culture until cells reach desired level of confluence or differentiation, changing media at intervals appropriate for cell type.
3.
Cell treatments (control compounds, test compounds, etc.) can be introduced at any point during this culture period, as appropriate for time-course of treatment of interest.  Acrylamide, hydrogen peroxide and K-252a are provided as neurotoxic control compounds.  Sufficient reagents are provided for duplicate 12-point dose response curves (including one dH2O or DMSO-control set within the dose response) for all five 96-well plates.  The compounds are provided at 250X concentration (for K-252a, assuming a maximum treatment of 1 µM) or 10X (for acrylamide and hydrogen peroxide, assuming maximum treatments of 100 mM and 10 mM, respectively).  Recommended treatment preparation involves half-log (1:√10) serial dilution of the 250X compound in DMSO, followed by dilution in Compound Dilution Buffer to 10X (10X control compounds originating in dH2O may be serially diluted directly in sterile dH2O or Compound Dilution Buffer).  10 µL of each treatment may then be added to the 90 µL of culture media already present in each well, for a final 1X concentration (0.4% DMSO or 10% dH2O).  Sample data is provided for 24 or 96 hours of compound treatment at 37°C prior to fixation.
Cell Fixation and Immunofluorescent Staining:

Note:  Staining time is ~2.5 hours post-fixation.  Do not allow wells to dry out between staining steps.  Aspiration and dispensation of reagents should be conducted at low flow rates to diminish any cell loss due to fluid shear.  All recommended ‘per well’ volumes refer to a single well of a 96-well microplate.  All recommended ‘per 96-well plate’ volumes include 25% excess for liquid handling volume loss.  All staining steps are performed at room temperature (RT).  All buffers and antibody solutions are stable for at least 24 hours at RT (see Figure 6).

4.
At end of culture period, pre-warm HCS Fixation Solution (2X) to room temperature (RT) or 37ºC if desired (12 mL/96-well plate).  In a chemical fume hood, add 100 µL/well directly to culture media and allow to fix for 30 min at RT.   Remove fixative/toxin-containing media and dispose of in compliance with regulations for hazardous waste (see MSDS).  If proceeding immediately to staining, rinse each well twice with 200 µL of HCS Immunofluorescence Buffer.  Alternatively, if plates are to be stained at a later time, rinse twice with 200 µL of Wash Buffer, then leave second rinse volume in wells and store plates tightly sealed at 4ºC until staining. 

5.
If fixed samples have been stored at 4ºC prior to staining, rinse twice with 200 µL HCS Immunofluorescence Buffer before proceeding with staining protocol.  

6.
Prepare working solution of Rabbit Anti-βIII Tubulin/Mouse Anti-GFAP HCS Primary Antibodies (6 mL/96-well plate) as follows:  Add 60 µL of each thawed primary antibody to 5.88 mL of HCS Immunofluorescence Buffer (see Table 1).  Mix well.  Remove previous Immunofluorescence Buffer rinse.  Add 50 µL of Primary Antibody solution to each well and incubate for 1 hour at RT.

7.
Remove Primary Antibody solution.  Rinse three times with 200 µL HCS Immunofluorescence Buffer.

8.
Prepare working solution of HCS Secondary Antibody/Hoechst HCS Nuclear Stain (6 mL/96-well plate) as follows:  Add 30 µL of each thawed secondary antibody and 30 µL of thawed Hoechst HCS Nuclear Stain to 5.91 mL of HCS Immunofluorescence Buffer (see Table 1).  Mix well, protecting solution from light.  Remove previous HCS Immunofluorescence Buffer rinse.  Add 50 µL of HCS Secondary Antibody/Hoechst HCS Nuclear Stain solution and incubate for 1 hour at RT, protected from light.  

9.
Remove HCS Secondary Antibody/Hoechst HCS Nuclear Stain solution.  Rinse twice with 200 µL HCS Immunofluorescence Buffer.

10.
Remove previous HCS Immunofluorescence Buffer rinse.  Rinse twice with 200 µL of HCS Wash Buffer, leaving second rinse volume in wells.

11.
Seal plate and image immediately, or store plate at 4ºC protected from light until ready for imaging.

Note: The HCS222 assay protocol has been optimized for primary rat hippocampal astrocytes/neurons and PC12 rat pheochromocytoma cells (ATCC #CRL-1721).  However, this kit is suitable for βIII-tubulin and GFAP HCS analysis of a variety of cell types and species.  Alternate species reactivity must be confirmed by the end user.  

Part 7: Representative Results:

[image: image1.png]Prlmary rat hippocampal Rat PC12/prima;y rat
neurons/astrocytes hippocampal astrocytes

Astrocyt segmentation (GFAP) Astrocyte segmentatlon (GFAP)




Figure 1.  βIII-tubulin and GFAP immunofluorescence of mixed rat neural cell cultures.  
Co-cultures of primary rat hippocampal astrocytes with either primary rat hippocampal neurons or rat PC12 cells were generated by pre-plating astrocytes for several days in culture, followed by neuronal seeding.  Primary neurons were cultured for an additional 11 days, while PC12s were cultured for an additional 2 days under differentiation conditions (low serum/NGF).  Cell handling, fixation and immunostaining were performed according to HCS222 assay protocols.  Cells were imaged on the GE IN Cell Analyzer 1000 (3.3) at 20X (primary neurons) or 10X (PC12) objective magnification and analyzed using the GE IN Cell Analyzer 1000 Workstation (3.4) Neurite Outgrowth and Multi Target Analysis algorithms.  Top panel:  Fused images of Hoechst HCS Nuclear Stain (blue), βIII-tubulin (green) and GFAP (red) fluorescence.  Separate analysis of the βIII-tubulin fluorescence channel allows for neurite outgrowth segmentation (middle panel: cell bodies outlined in blue (primary neurons) or yellow (PC12), neurites in green (primary neurons) or light blue (PC12)).  Analysis of the GFAP channel allows for astrocyte segmentation (bottom panel: nuclei outlined in blue, cytoplasm in green).  GFAP segmentation for the primary rat hippocampal neuron/astrocyte co-culture demonstrates the ability to distinguish between nuclei/cell bodies that are GFAP (+) (green outlines) and those that are GFAP (-) (red), enabling separate cell counts for neurons and astrocytes in a mixed culture setting.

Figure 2.  Dose responses of primary rat hippocampal neuron/astrocyte co-cultures to toxic stresses. 

Primary rat hippocampal astrocytes (P6) were plated at 3,000 cells/cm2 on 96-well plates in growth media and cultured for 6 days.  Primary rat hippocampal neurons (direct from thaw) were then seeded on top of pre-plated astrocytes at 30,000 cells/cm2 and cultured in growth media for 11 days.  Cells were treated with serial dilutions of acrylamide or hydrogen peroxide (max. concentrations = 100mM and 10mM, respectively) for the last 24 hours of culture.  Cell handling, fixation and immunostaining were performed according to HCS222 assay protocols.  Cells were imaged on the GE IN Cell Analyzer 1000 (3.3) at 20X (10 fields/well) and analyzed (nuclear/cytoplasmic/neurite segmentation) using the GE IN Cell Analyzer 1000 Workstation (3.4) Neurite Outgrowth and Multi Target Analysis algorithms.  Data presented are mean ± SEM, n = 3.  Multiple parameters (neurite outgrowth, GFAP intensity, astrocyte area and neuronal or astrocytic cell counts) were investigated for dose-dependent trends.  Of note, dose responses in neurite length (normalized to cell number), compared between mono-cultures of primary neurons and neuron/astrocyte co-cultures, displayed AC50 shifts for some toxins, potentially due to co-culture-generated neuroprotective effects (see top panel graphs).

Discussion: Short discussion on critical steps, possible modifications, applications, significance, etc…

Millipore’s HCS222 High Content Analysis kit for co-culture of neurons and astrocytes is comprised of high-quality, validated, target-specific detection reagents for profiling βIII-tubulin and glial fibrillary acidic protein (GFAP), enabling analysis of neurotoxicity, neurite outgrowth, gliosis, neuronal and astrocytic morphology and neuronal and astrocytic development in a wide variety of cellular models. The highly-validated reagents provided with this kit allow the user to standardize assays, minimize assay-to-assay variability, and to reproducibly generate images with a high signal-to-background ratio.  

It is well-accepted that glial cells play a role in modulating several neuronal functions.  Glia–neuron interactions have been shown to control neuronal migration and differentiation, to provide spatial and metabolic support to neurons, and to modulate their synaptic activity.  Astrocytes release many factors known to possess trophic or differentiating activities on neuronal cells .  Astrocytes also release cytokines and other soluble factors, which may induce adverse responses in surrounding neuronal tissue, although conversely, neuronal tolerance of many toxins is substantially increased by the proximity of astrocytes .  For example, in co-culture studies, astrocytes have been shown to protect neurons against the toxicity of oxidative stress .  Impairment of astrocytic functions, such as maintenance of antioxidant defense and cellular energy levels, can critically influence neuronal survival.  A recent study has suggested that neuronal-astrocytic interactions have important implications in neurotoxicity and the use of astrocytes in an in vitro neurotoxicity test-system may prove more relevant to human CNS structure and function than neuronal cells alone.  To date, in vitro experiments designed to study neurotoxicity risk assessment using mixed cultures of neurons and astrocytes have been limited.  The advent of High Content Screening enables the development of novel assays to address this.

Acknowledgments: List acknowledgements and funding sources.

The authors would like to thank Drs Dennis Harris, Rick Ryan, Jeff Till, David Hayes and Matthew Hsu for support during the development of these projects and protocols. 

Disclosures: describe potential conflicting interests or state “I have nothing to disclose”

The authors are all employees of Millipore Inc.

Table of specific reagents and equipment:

Millipore HCS222 Kit Components

1. Rabbit Anti-βIII-Tubulin HCS Primary Antibody, 100X: - (Part No. CS201672) 1 vial containing 300 μL.
2. HCS Secondary Antibody (donkey anti-rabbit IgG, FITC conjugate), 200X: - (Part No. CS201649) 1 vial containing 150 (L.

3. Mouse Anti-GFAP HCS Primary Antibody, 100X: - (Part No. CS201671) 1 vial containing 300 μL. 
4. HCS Secondary Antibody (donkey anti-mouse IgG, Cy3 conjugate), 200X: - (Part No. CS200437) 1 vial containing 150 µL.

5. Hoechst HCS Nuclear Stain, 200X: - (Part No. CS200438) 1 vial containing 150 (L.

6. HCS Fixation Solution with Phenol Red, 2X: - (Part No. CS200434) 1 bottle containing 100 mL.

7. HCS Immunofluorescence Buffer, 1X: - (Part No. CS200435) 1 bottle containing 1000 mL. 

8. HCS Wash Buffer, 1X: - (Part No. 2007643) 1 bottle containing 500 mL.

9. Acrylamide (Control Compound), 10X: - (Part No. CS201679) 1 vial containing 500 μL of 1M acrylamide in dH2O.
10. Hydrogen Peroxide (Control Compound), 10X: - (Part No. CS201730) 1 vial containing 500 μL of 100 mM hydrogen peroxide in dH2O.
11. K-252a (Control Compound), 250X: - (Part No. CS201741) 1 vial containing 100 μL of 250 μM K-252a in DMSO.
12. DMSO for Compound Serial Dilution: - (Part No. CS200441) 1 bottle containing 10 mL.

13. Compound Dilution Buffer: - (Part No. CS200442) 1 bottle containing 25 mL.

14. Plate Sealers: - (Part No. CS200443) 10 each.

Materials Not Supplied
1. 
Sterile, tissue culture-treated black/clear bottom microplates suitable for High-Content Imaging.

2.
Cell-type for assay, e.g., PC12 (rat pheochromocytoma, ATCC #CRL-1721), SHSY5Y (human neuroblastoma, ATCC #CRL-2266), primary human or rodent astrocytes/neurons; astrocytoma or glioma cell lines.

3.
Tissue culture instruments/supplies (including 37ºC incubator, cell adhesion proteins, growth/differentiation media, flasks/plates, detachment buffer, etc.) for cell type of interest.

4.
Sterile distilled or deionized water (dH2O) for Control Compound dilution, as appropriate.

5.
HCS imaging/analysis system, e.g., GE Healthcare IN Cell Analyzer 1000 with Investigator software.  System must be equipped with beam-splitters and filters capable of reading emission spectra in the blue, green and red ranges.  Detailed image acquisition and analysis guidelines are provided in Table 2.

References: please use the same format you would use for a Nature article.  For example:

1. 1. Giuliano KA, Haskins JR, Taylor DL. Advances in high content screening for drug discovery. Assay Drug Dev Technol. 2003;1:565–577. PMID: 15090253

2. Giuliano KA, Johnston PA, Gough A, Taylor DL. Systems cell biology based on high-content screening. Methods Enzymol. 2006;414:601-619. PMID: 17110213

3. Gough AH, Johnston PA. Requirements, features, and performance of high content screening platforms. Methods Mol Biol. 2007;356:41-61. PMID: 16988394

4. Giuliano KA. Optimizing the integration of immunoreagents and fluorescent probes for multiplexed high content screening assays. Methods Mol Biol. 2007;356:189-193. PMID: 16988403.

5. Kim J, Schafer J, Ming GL. New directions in neuroregeneration. Expert Opin Biol Ther. 2006;6: 735-738. PMID: 16856795. 

6. Skaper SD. Neuronal growth-promoting and inhibitory cues in neuroprotection and neuroregeneration. Ann N Y Acad Sci. 2005;1053: 376-385. PMID: 16179543

7. Laketa V, Simpson JC, Bechtel S, Wiemann S, Pepperkok R. High-content microscopy identifies new neurite outgrowth regulators. Mol Biol Cell. 2007, 18: 242-252.  PMID: 17093056

8. Richards GR, Smith AJ, Parry F, Platts A, Chan GK, Leveridge M, Kerby JE, Simpson PB. A morphology- and kinetics-based cascade for human neural cell high content screening. Assay Drug Dev Technol. 2006, 4: 143-152. PMID: 16712418

9. Hu M, Schurdak ME, Puttfarcken PS, El Kouhen R, Gopalakrishnan M, Li J. High content screen microscopy analysis of A beta 1-42-induced neurite outgrowth reduction in rat primary cortical neurons: neuroprotective effects of alpha 7 neuronal nicotinic acetylcholine receptor ligands. Brain Res. 2007;1151:227-235. PMID: 17449017

10. Mundy WR, Robinette B, Radio NM, Freudenrich TM. Protein biomarkers associated with growth and synaptogenesis in a cell culture model of neuronal development. Toxicology. 2008;249(2-3):220-229. PMID: 18584932

11. Breier JM, Radio NM, Mundy WR, Shafer TJ. Development of a high-throughput screening assay for chemical effects on proliferation and viability of immortalized human neural progenitor cells. Toxicol Sci. 2008;105(1):119-133. PMID: 18550602

12. Radio NM, Breier JM, Shafer TJ, Mundy WR. Assessment of chemical effects on neurite outgrowth in PC12 cells using high content screening. Toxicol Sci. 2008105(1):106-118. PMID: 18539913

Tables
Figure legends
Figures: should be uploaded electronically as separate files (TIFF, JPEG and other formats are acceptable)

To be sent separately

