Title

Processing the Loblolly Pine PtGen2 cDNA Microarray

Authors

W. Walter Lorenz

Warnell School of Forestry and Natural Resources

University of Georgia

Athens, GA 30605, USA

wlorenz@uga.edu

Yuan-Sheng Yu

Warnell School of Forestry and Natural Resources

University of Georgia

Athens, GA 30605, USA

uryu@uga.edu

Marta Simões

Instituto de Biologia Experimental e Tecnológica

Instituto Tecnologia Química e Biológica

UNL, Av. da República

EAN, 2780-157 Oeiras, Portugal

martas@itqb.unl.pt

Jeffery F. D. Dean

Warnell School of Forestry and Natural Resources

University of Georgia

Athens, GA 30605, USA

jeffdean@uga.edu

Corresponding Author

W. Walter Lorenz

Keywords

Loblolly pine, P. taeda, cDNA, microarray, slide processing

Short Abstract

The cDNA microarray PtGen2 was developed for gene expression studies in loblolly pine, P. taeda, as well as other conifers.  We present here pre- and post-hybridization handling and washing techniques that can be used with this array to yield reduced artifacts and lower backgrounds.

Long Abstract

PtGen2 is a 26,496 feature cDNA microarray containing amplified loblolly pine ESTs.  The array is produced in our lab for use by researchers studying gene expression in pine and other conifer species.  After testing the array using a number of different target samples, labeling and washing strategies, we have found that uniformity in signal and lower backgrounds are best obtained using a series of techniques that include extended and more rigorous washing steps.  This video focuses on the handling and processing of slides before and after pre-hybridization, as well as after hybridization, using modifications to standard washing procedures developed previously.  We also include in text form protocols used for the generation and labeling of target cDNA’s as well as information on software used for downstream data processing.  To ensure complete removal of the high levels of salt that remain after printing PtGen2, the slides are first washed in a warm SDS solution prior to pre-hybridization.  After pre-hybridization, slides are washed vigorously in several changes of water to complete removal of remaining salts.  LifterSlipsTM  are then cleaned and positioned on the slides and labeled cDNA is carefully loaded onto the microarray by way of capillary action which provides for even distribution of the sample across the slide and reduces the chance of bubble incorporation.  Following hybridization, a series of standard washes are done at elevated temperatures for extended times.  Processing PtGen2 slides using this technique reduces salt and SDS-derived artifacts often seen when the array is processed less rigorously.  Using several different cDNA labeling methodologies, we have found that this technique yields consistently fewer artifacts, uniform signal distribution, reduced backgrounds, and provides good consistency among different experimental groups of arrays.

Text

Part 1: Slide Pre-Wash

  - Use a diamond tip pen to mark the slide for the upper and lower areas of the print area (optional).

  - Put approximately 250mL pre-warmed to 43 oC 0.2% SDS solution into microscope slide wash dish (3” x 4”).

  - Place slides to be pre-hybridized in the slide rack and plunge into the SDS solution 15-20 times very vigorously to remove the salts on the slides.

  - Using forceps, carefully remove the slides from the rack and place them in a Coplin jar containing Pre-hybridization Buffer that has been pre-warmed to 43oC.  Incubate at 43oC for at least one hour.

Part 2: Pre-Hybridization

  - Set up five slide washing dishes, each filled with millipure dH2O, and one Coplin jar filled with molecular grade isopropanol.  Place the slides in a slide rack and process sequentially through five dishes by dunking 20 times each.

  - Remove slides two at time from the fifth water wash and dip 5-6 times in the isopropanol and immediately place in slides into the slide microfuge (Chipmate benchtop, 2 positions) and spin 1 minute to dry.

  - Clean slides with compressed air filtered through a 22uM filter cartridge and place them with the bar code facing up in a Genomic Solutions Hybridization Chamber.

  - Clean LifterSlipsTM with filtered air and position them on the slides with the white strips facing down.  Use a yellow pipet tip to gently align the lifter slip on the slide (Washing LifterSlips first in 70% ethanol is optional.  We have found it to be unnecessary.)

Part 3: Hybridization

Should be carried out in the dark or low light.

  - For each slide to be hybridized, calculate the amount of Cy-5 and Cy-3 labeled cDNA to give 50-75pmol of each target.  Combine those amounts into a single tube and dry in a vacuum desiccator with the heat setting at 37-45oC.  Avoid drying completely!

  - Resuspend the dried probes in 60mL hybridization buffer (made fresh that day) and vortex briefly.

  - Incubate the resuspended cDNAs for 5 minutes in a 95oC bath and then quick microfuge for 30 seconds.

  - Load the entire resuspended probe volume by slowly pipetting at the slide-LifterSlip junction at the bottom (bar code end) of the slide.  The slide will load by way of capillary action. (Some prefer to pipette on to the slide and then gently overlay the LifterSlip this is a one shot method since if you get bubbles you cannot move the LifterSlip after placement which can lead to spot smearing artifacts)

  - Place 20uL of 100mM DTT into each humidity well located at the ends of the chamber.

  - Place the top on the chamber and tighten the cam screws.  Cover the chamber with aluminum foil and immerse into a 48oC water bath for 12-18 hours with gentle agitation at 50-60 rpm.

Part 4: Post-Hybridization Washes

All washes should be carried out in the dark or low light.  Slides should never be allowed to dry until the final step.

  - Set up one Coplin jar filled with Wash Solution #1 @ 53oC, and four slide washing dishes filled with 250mL of each of the following: 1) Wash Solution #1 @ 53oC , 2) Wash Solution #2 @ room temperature, 3 & 4) two dishes containing Wash Solution #3 @ room temperature.

  - Carefully remove the slides from the hybridization chambers and place them two at a time into the Coplin jar.  Leave for 30 seconds, then lift the slide out slowly and the lifter slip will remain in the jar. Place slides in the slide rack and immediately immerse into Wash Solution #1.  Repeat until all LifterSlips are removed and all slides to be washed are in the Wash Solution #1 dish. Plunge rack up and down 10 times vigorously.

  - Place dish in 53oC in air shaker with slow shaking for 10 minutes.

  - Transfer rack to Wash Solution #2, plunge 10 times, and incubate at room temperature, slow shaking for 10 minutes.

  - Dip rack 15 times into the first Wash Solution #3 to remove any residual SDS carry over from the Wash Solution #2.  Place rack in the second Wash Solution #3 dish, plunge 10 times, and then slow shaking for 10 minutes.

  - Place slides in 50mL Falcon capped tubes and spin @ 1,500 rpm in centrifuge equipped with a swinging bucket rotor. Remove slides to light proofed container, we use another Falcon tube covered with aluminum foil, and purge air from the tube with nitrogen gas, cap tightly (this reduces oxidation of the Cy dyes, especially Cy-5 in the summer when ozone levels are highest).  Scan slides as soon as possible.

Technical Text Only- Not Shown in Video:  Preparing Cy-Labeled Target cDNA

What follows is the protocol we use for cDNA synthesis from loblolly pine total RNA and indirect cDNA labeling prior to microarray hybridizations.  Although a few non-trivial modifications, the protocol below is similar to that in the instruction manual provided with the Invitrogen’s SuperScript Indirect cDNA Labeling Kit.

Part 1: First-Strand cDNA Synthesis Reaction

  - Mix and briefly spin each kit component before use.

  - Prepare reactions as follows:

- Xµl DEPC-H2O

- Xµl total RNA, 20 µg/reaction (pretreated with Ambion’s Turbo DNase)

- 2µl Anchored Oligo(dT)20 Primer (2.5µg/µl)

- 1µl Random Hexamer Primer

Total Volume = 18µl

  - Incubate tubes at 70°C for 5 minutes, and then place on ice for 1-2 minutes.

  - Add the following to each reaction tube on ice:

- 	6µl 5X First-Strand buffer

-	1.5µl 0.1M DTT

-	1.5µl 10mM dNTP mix

-	1µl RNaseOUT (40U/µl)

-	2µl SuperScript III RT (400U/µl)

  - Mix gently and spin briefly. Incubate tube overnight at 45°C.

  - Add 15µl of 1M NaOH to each reaction tube and mix thoroughly.

  - Incubate tube at 70°C for 10 minutes.

  - Add 15µl of 1M HCl; mix gently.

  - Add 20µl 3M sodium acetate (pH 5.2); mix gently.

Part 2: Purifying First-Strand cDNA.

  - Add 500µl of Loading Buffer to the cDNA (from Step 9) and mix well.

  - Place a SNAP Column on a collection tube and load your cDNA on the column.

  - Spin at 14,000g at room temperature for 1 minute; discard the flow-through.

  - Place the SNAP Column onto the same collection tube and add 500µl of Wash Buffer.

  - Spin at 14,000g at room temperature for 1 minute; discard the flow-through.

  - Repeat Steps 2.4 and 2.5 three times, for a total of three 500µl washes.

  - Spin one more time at 14,000g at room temperature for 1 minute sec; discard the flow-through.

  - Place the SNAP Column onto a new 1.5ml tube.

  - Add 50µl of warm DEPC-water (50°C) to the SNAP Column and incubate column at room temp for 1 minute. Elute the cDNA via a spin at 14,000g at room temp for 1 minute.

  - Repeat Step 2.9, using 100µl of warm DEPC-water and the same 1.5ml tube for the eluent.

  - Add 20µl of 3M sodium acetate (pH 5.2) to the eluent from steps 2.9 and 2.10.

  - Add 3µl of glycogen (20mg/ml) to the tube and mix.

  - Add 500µl of ice-cold 100% EtOH, mix well, and incubate the tube for 1 hour at –80°C.

  - Spin the tube at 14,000g at 4°C for 20 minutes.  Carefully remove the supernatant.

  - Add 500µl of ice-cold 70% EtOH and spin the tube at 14,000g at 4°C for 5 minute.  Carefully remove the supernatant.

  - Air-dry the sample for 5 minutes; ensure that all EtOH is removed.

  - Warm the 2X Coupling Buffer at 37°C for 5 minutes and re-suspend the cDNA sample in 5µl of warm 2X Coupling Buffer.

  - Heat the cDNA/Coupling buffer at 50°C for 10 minutes and vortex well.  Ensure that your cDNA pellet is fully re-suspended in the 2X Coupling Buffer.

Part 3: Labeling with Fluorescent Dye

When preparing the reaction, be careful to minimize exposure of the dye solution to light.  Also, DMSO is hygroscopic and will absorb moisture from the air, which will react with the NHS ester of the dye and significantly reduce the coupling reaction efficiency. Keep the DMSO supplied in the kit in an amber screw-capped vial at –20°C, and let the vial warm to room temperature before opening to prevent condensation.  Use only the DMSO provided with this kit.

  - Open one packet of Cy-3 or Cy-5 Dye and add 75µl of DMSO directly to the dye vial.

  - Add 5µl of the DMSO/dye solution to the tube from Step 2.18.

  - Mix well and incubate the tube at room temperature in the dark for 1 hour.

  - Add 20µl of 3M Sodium Acetate (pH 5.2) to the dye-coupled cDNA solution.

  - Add 500µl of Loading Buffer to the cDNA solution. Mix well by vortexing.

  - Place a SNAP Column onto a clear collection tube and load the cDNA/buffer solution.

  - Spin at 14,000g at room temperature for 1 minute; discard the flow-through.

  - Place the SNAP Column on the same collection tube; add 500µl of Wash Buffer to column.

  - Spin at 14,000g at room temperature for 1 minute; discard the flow-through.

  - Repeat Steps 3. 8-3.9 three times, for a total of three 500µl washes.

  - Spin one more time at 14,000g at room temperature for 1 minute; discard the flow-through.

  - Place the SNAP Column onto a new amber collection tube.

  - Add 65µl of warm DEPC-water (50°C) to the SNAP Column and incubate at room temperature for 1 minute.

  - Spin at 14,000g at room temperature for 1 minute and collect the flow-through. The flow-through should contain 60µl of your purified dye-coupled cDNA.

Part 4: Assessing the Labeling Procedure.

  - Conduct a spectrophotometer assay to assess each Cy-cDNA labeling reaction using the procedure described in the Invitrogen manual.  Calculate the total pmol of synthesized cDNA, the total pmol of incorporated Cy-Dye for each labeling reaction, and the nucleotide/dye ratio for each reaction. Optimal labeling reactions generate >6000pmol of cDNA (per 60ul), >200pmol of Cy-Dye (per 60ul), and a nucleotide/dye ration that is <30.

Discussion

PtGen2 is a custom cDNA microarray that gives better results when processed by more rigorous hybridization and washing protocols than those normally employed for microarray work.  While standard approaches to processing PtGen2 can certainly be successful, trial and error has demonstrated to us that following this specific series of technical steps will help to either greatly reduce or eliminate many of the unwanted artifacts that can arise when working with this array.

Acknowledgements

The labeling, hybridization, and washing protocols herein contain modifications to those developed previously by Dr. J. Quackenbush while at The Institute for Genomic Research (TIGR),  Dr. Shawn Levy at the Vanderbilt Microarray Shared Resource (VMSR), and Dr. Rob Alba while at the Boyce Thompson Institute, (BTI) Cornell University.

Disclosures:  I have nothing to disclose.

Analysis Software Used

BioDiscovery

ImaGene 7.5

http://www.biodiscovery.com/index/imagene

Biometric Research Branch – Division of Cancer Treatment and Diagnosis

BRB-Array Tools v3.7.0

http://linus.nci.nih.gov/BRB-ArrayTools.html

The Gene Expression Profile Analysis Suite (GEPAS)

GEPAS v3.1

http://gepas.bioinfo.cipf.es/

Materials

REAGENTS: All solutions should be filtered through a 0.22 um filter set prior to use.

| Name | Type | Company | Catalog Number | Comments |
| --- | --- | --- | --- | --- |
| Pre-hybridization Buffer | Buffer |  |  | 5X SSC, 0.1% SDS, 1% BSA |
| NCSU Hybridization Buffer | Buffer |  |  | 30% formamide, 5X SSC, 5X Denhardt’s, 1% PolyA RNA (Invitrogen, POLYA.GF), 0.1% SDS |
| Wash Solution #1 | Reagent |  |  | 1X SSC, 0.2% SDS, preheat to 43oC |
| Wash Solution #2 | Reagent |  |  | 0.1X SSC, 0.2% SDS |
| Wash Solution #3 | Reagent |  |  | 0.1X SSC |
| Isopropyl Alcohol | Reagent | Sigma Aldrich | 34959-2.5L |  |
| 50mL Conical Tubes | Other | Falcon™ | 352070 |  |
| 15mL Conical Tubes | Other | Falcon™ | 352196 | Use this or a similar cap placed at the bottom of each 50mL conical tube during centrifugation. |
| Coplin Jar |  | Wheaton™ | 900520 |  |
| Staining Dish & Rack | Other | Wheaton™ | 900200 |  |
| Albumin from bovine serum (BSA) | Other | Sigma™ | A-9418 |  |
| PolyA RNA |  | Invitrogen™ | POLYA.GF |  |
| Turbo DNase | Kit | Ambion | AM1907 |  |
| SuperScriptTM Indirect cDNA Labeling System | Kit | Invitrogen™ | L1014-02 |  |
| Cy-5 Dye | Reagent | GE™ | PA25001 |  |
| Cy-3 Dye | Reagent | GE™ | PA23001 |  |
| LifterSlipsTM | Other | Erie Scientific Company™ | 25X601 |  |
| HybChambers | Equipment | GeneMachines | JHYB200003 |  |

Figure Legends

Figure 1 Example of PtGen2 array processed using this protocol.

Figure 2 Example of PtGen2 array processed using an alternative protocol.