Title of Project: 

Live Imaging of the Zebrafish Embryonic Brain by Confocal Microscopy

Authors and Affiliations:                                                                                                                 

Ellie Graeden1,2 and Hazel Sive1,2†
1Whitehead Institute for Biochemical Research

Nine Cambridge Center, Cambridge, MA 02142, 2Massachusetts Institute of Technology

77 Massachusetts Ave., Cambridge, MA 02139

† corresponding author

tel: 617-258-8242; fax: 617-258-5578; email: sive@wi.mit.edu
Keywords:

brain development, zebrafish, morphogenesis, microinjection, single cell injection, live imaging, confocal microscopy, embryo mounting

Short Abstract

Here we describe a method by which to analyze the developing vertebrate brain in live zebrafish embryos at single cell resolution by confocal microscopy. This includes the method by which we inject the single-cell zebrafish embryo and subsequently mount and image the developing brain. 

Long Abstract

Here, we describe the method our lab has developed to analyze the cell shape changes and rearrangements required to bend and fold the developing zebrafish brain.1 Such analysis affords a new understanding of the underlying cell biology required for development of the 3D structure of the vertebrate brain, and significantly increases our ability to study neural tube morphogenesis. The embryonic zebrafish brain is shaped beginning at 18 hours post fertilization (hpf) as the ventricles within the neuroepithelium inflate. By 24 hpf, the initial steps of neural tube morphogenesis are complete. Using the method described here, embryos at the one cell stage are injected with mRNA encoding membrane-targeted green fluorescent protein (memGFP). After injection and incubation, the embryo, now between 18 and 24 hpf, is mounted, inverted, in agarose and imaged by confocal microscopy. Notably, the zebrafish embryo is transparent making it an ideal system for fluorescent imaging. While our analyses have focused on the midbrain-hindbrain boundary and the hindbrain, this method could be extended for analysis of any region in the zebrafish to a depth of 80-100 (m.

Protocol 
2 Preparing the mRNA for Injection

2.1 The mRNA used in this procedure is transcribed from a plasmid encoding CAAX-eGFP (memGFP)
 mRNA. First linearize the plasmid according to Gutzman et al, 2008.

2.2 Then transcribe memGFP mRNA using the mMessage mMachine kit. 

2.3 Dilute the resulting mRNA to 1μg/μl
, aliquot, and store at -80°C.

2.4 Prepare an injection mold of 1% agarose with lanes the width of embryos at the one cell stage.  

2.5 On the day before injection, set up mating cages separating the male from the females. 

2.6 On the day of injection, pull capillary needles using a micropipette puller to prepare for injection. 

3 Injecting the mRNA

3.1 On the day of injection, thaw an aliquot of 1μg/μl memGFP mRNA on ice. 

3.2 Dilute the mRNA 1:5 in water to a final concentration of 200ng/μl, and keep on ice.

3.3 Load the capillary needle with 1μl of prepared memGFP mRNA at 200ng/μl.

3.4 Place loaded needle into a micromanipulator attached to a gas-powered microinjector.

3.5 Adjust the injection volume to 1nl. 

3.6 Pull the dividers on wild type fish set up in mating cages from the previous day. 

3.7 Collect the embryos as soon as they are laid. Orient them in the agarose injection mold covered by embryo medium (Westerfield, 1995) with the single cell on the side away from the micromanipulator. 

3.8 Inject through the chorion and yolk such that the mRNA is deposited directly into the single cell.  Inject approximately 50 embryos per experiment. Do not inject if the cell has divided. 

3.9 Incubate embryos at 28°C overnight in embryo medium

4 Step 3: Mounting and Imaging Embryos 
4.1 To mount and image the embryos, remove the chorion with forceps from the 
embryos under a stereomicroscope one hour before the time point of interest.

4.2 Prepare a slide for mounting up to 4 embryos.

· Use silicone vacuum grease to seal a coverslip on the underside of a specially designed 2mm-thick plastic slide with a hole approximately 1cm in diameter.

· Fill the hole in the slide with 0.7% agarose, and let stand about 20 minutes or until hardened
· Once the agarose has solidified, remove a small plug using 200μl pipette tips to form cylindrical holes in which to mount each embryo.

4.3 Place the embryos on the agarose-filled slide under a dissecting microscope. Add 50μl of tricaine (Westerfield, 1995) to anesthetize the embryos. 

4.4 Use forceps to position the embryos in the cylindrical holes in the agarose with the brain or region of interest against the underlying coverslip. 

4.5 Cover the embryos in the agarose with another coverslip secured with silicone vacuum grease. 

4.6 Image the embryo using an inverted, fluorescent, laser-scanning or spinning disk confocal microscope. Image at 63x or higher to collect high resolution images of single cells within the neuroepithelium.

4.7 Images are exported as TIFF files from the LSM software and analyzed using Photoshop.

5 Representative Results/Outcome  

Shown in Figure 1 is a representative confocal image of a 24 hpf zebrafish neuroepithelium between the midbrain and hindbrain ventricles. Each cell is labeled with membrane-bound GFP. 
Discussion
In this video, we demonstrate a method for ubiquitous expression of a fluorescent protein in zebrafish embryos by mRNA injection followed by live confocal imaging of the developing brain at single cell resolution. This technique has already allowed us to study a novel type of cell shape change, basal constriction, required for formation of the midbrain-hindbrain boundary (Gutzman et al, 2008). It follows that similar analysis of other phenomena has the potential to significantly expand our understanding of vertebrate organogenesis and the underlying cell biology. 

Disclosures
I have nothing to disclose.

Table of specific reagents and equipment

	Name
	Type
	Company
	Catalog Number
	Comments

	SeaKem GTG agarose
	Reagent
	Lonza
	50027
	

	3-aminobenzoic acid ethyl ester (Tricaine)
	Reagent
	Sigma
	A-5040
	

	Capillary tubing
	Material
	Frederick Haer and Co. 
	30-30-1
	Borosil 1.0mmOD x 0.5mm ID/fiber 100mm

	Silicone vacuum grease
	Reagent
	VWR
	W0S717
	

	Forceps – Dumont #5 Bio Inox
	Tool
	Fine Science Tools
	11252-20
	

	1-200 (l Pipette tips
	Tool
	Tip One, US Scientific
	111-0806
	These are the correct size for 24 hpf embyos. 

	mMessage mMachine transcription kit
	Reagent
	Ambion
	AM1340
	SP6 RNA polymerase

	Zeiss LSM 510 scanning confocal microscope
	Equipment
	Zeiss
	
	Any 

	Micromanipulator
	Equipment
	Narishige
	
	

	Microinjector
	Equipment
	Medical Systems Research Products Harvard Apparatus
	PLI-100
	

	Photoshop
	Analysis
	Adobe
	
	

	Micropipette puller
	Equipment
	Sutter Instruments
	
	


Acknowledgements

Many thanks to Dr. Jennifer Gutzman who first developed this technique in the Sive lab.  Thanks also to J. B. Green at the Dana-Farber Cancer Institute Boston, MA who kindly provided the plasmid encoding CAAX-GFP mRNA.
 The confocal imaging was conducted at the W. M. Keck Foundation Biological Imaging Facility at the Whitehead. HS is supported by NIHMH70926. EG is supported by an NSF pre-doctoral fellowship.

References

1
Gutzman, J. H., Graeden, E, Sive, H. Formation of the zebrafish midbrain-hindbrain boundary constriction requires laminin-dependent basal constriction. Mech Dev 125 (11-12), 974 (2008).

2
Westerfield, M., The Zebrafish Book: a Guide for the Laboratory Use of Zebrafish. (University of Oregon Press, Eugene, Oregon, 1995).

Figure Legend
Figure 1. Live confocal imaging of a memGFP-injected 24 hpf zebrafish embryo. 

(A) Neuroepithelium of a 24 hpf embryo with each cell outlined by GFP. Region imaged separates the midbrain and hindbrain ventricles (M, H respectively), forming the midbrain-hindbrain boundary.









�AUTHOR: please indicate how this should be pronounced for the voiceover


�AUTHOR: should a quantification step be included here? Or is it estimated from the expected yield? What do you recommend diluting it in – water, DEPC, etc?


�AUTHOR: Dechlorinate? Please provide some details on this step


�AUTHOR: please include this in the acknowledgments section





( 2008, Journal of Visualized Experiments


