A gradient-generating microfluidic device for cell biology
Bong Geun Chung, Amir Manbachi, Ali Khademhosseini
Harvard-MIT Division of Health Sciences and Technology, Massachusetts Institute of Technology, Cambridge, MA, 02139; Center for Biomedical Engineering, Department of Medicine, Brigham and Women’s Hospital, Cambridge, MA, 02139
Correspondence: alik@mit.edu

Description: We describe a protocol for the microfabrication of the gradient-generating microfluidic device that can generate spatial and temporal gradients in well-defined microenvironment.  In this approach, the gradient-generating microfluidic device can be used to study directed cell migration, embryogenesis, wound healing, and cancer metastasis. 
Protocol:
A.  Microfabrication of a gradient-generating microfluidic device
     1. Si wafer is treated with reactive oxygen plasma (5 min at 30W, Harrick Scientific, NY).
     2. Negative photoresist (SU-8 50, Microchem, MA) is spin-coated at 1000 rpm for 1 min on a Si wafer.
     3. The wafer is soft baked at 65ºC for 10 min and subsequently at 95ºC for 30 min on a hotplate. 
     4. The wafer is exposed to UV light (200W) for 3 min through a transparency mask with a minimum 

         feature size of 30 µm.
     5. The wafer is post baked at 65ºC for 1 min and at 95ºC for 10 min. 

     6. Si master mold with 100 µm thick channels is developed using SU-8 photoresist developer.
     7. The wafer containing microchannels is placed in a Petri-dish. 

     8. Poly(dimethylsiloxane) (PDMS) (Sylgard 184) molds are fabricated by mixing silicone elastomer and 
         curing agent (10:1 ratio).  
     9. The PDMS mixture is poured onto the Si master mold.
   10. It is placed on a vacuum desiccator to remove bubbles for 10 min.
   11. PDMS is cured at 70◦C for 1~2 hours.  
   12. PDMS molds are peeled off from the Si master mold.  
B. Experimental setup
     1. Cell inlet, outlet, and infusing inlets of the PDMS-based microfluidic device are punched.   
     2. A device and a glass slide (2×3 inch) are irreversibly bonded by the reactive oxygen plasma (5 min at 30W, Harrick Scientific, NY).
     3. Polyethylene tubing (PE 20, Becton Dickinon, MD) is inserted into the infusing inlets of the 
         microfluidic device and subsequently connected to a syringe pump.

     4. Fluorescein isothiocyanate (FITC)-dextran (MW=10kD, 10 µM, Sigma) and buffer (PBS, Invitrogen, CA) are infused into the microfluidic device to confirm stable gradients inside the fluidic device. 

     5. Extracellular matrix (ECM) (i.e. fibronectin) is coated inside the microfluidic device for 1 hour in incubator (37◦C).
     6. NIH 3T3 fibroblast cells are trypsinized and dissociated.  

 7. Dissociated cells are loaded into the microfluidic device (800 µm wide) at the cell density of 2(106 cells/ml.

 8. 2 ml media and 50 ng/ml epidermal growth factor (EGF) is infused into a microfluidic device for generating soluble gradients using a syringe pump (0.05 µl/min).
 9. Cells are real-time monitored every 5 min by using an inverted microscope (Nikon TE 2000). 
