Staining of paraffin sections 

Dewax slides with Xylene (Fisher X3S-4) 3x for 5 minutes each (change xylene every month depending on use, xylene is TOXIC). Use dishes and covers for 20 slides from Fisher ref 08-812-1A and racks made to fit these dishes. 200 ml liquid per dish.

Hydrate through alcohol gradient as follows (change gradient every 2 weeks):

· 2x in 100% ethanol (Fisher # A406-20) for 2 min each

· 2x 95% ethanol for 2 min each

· 1x 70% ethanol for 2 min

· 1x 50% ethanol for 2 min

· 1x 30% ethanol for 2 min

· 1x ddH2O for 2 min

Soak in DPBS for 5 min (DPBS = Dulbecco’s modified Phosphate Buffered Saline with Ca2+ and Mg2+).

Antigen recovery:

Pre-heat the Na-Citrate buffer (10 mM, pH 6.5) in the microwave. Cook the slides for 15 min in the microwave. The slides should never dry so check every min and add Na-Citrate when necessary.

Let cool to room temperature.

Block endogenous peroxidase activity with 1% H2O2 in DPBS for 20 min (1.5 ml of 30% stock Sigma H-1009 in 50 ml DPBS).

Soak in DPBS 3 x 5 min.

Block non-specific sites by incubating overnight at +4°C in DPBS + 5% bovine serum albumin (BSA) + 0.1% Na Azide + 5% serum. Choice of serum will depend on species in which antibodies used for staining were made. Block with serum from the species in which the secondary Ab (conjugated to biotin) was made. If this is not available, use serum from a species different from the one in which the primary Ab was made.

Block the biotin sites with the avidin/biotin blocking kit (Vector laboratories catalog # SP-2001):

· Incubate with Avidin D for 15 min. Rinse briefly with DPBS.

· Incubate with the biotin solution for 15 min.

Incubate in primary Ab for 2 hours at room temperature in DPBS + 2% BSA +  0.1% Na Azide + 2% serum (same as used for the blocking step).

Soak in PBS 3 x 5 min.

Incubate with the secondary Ab conjugated with biotin for 1 hour at room temperature in DPBS + 2% BSA + 0.1% Na Azide + 2% serum (same as used for the blocking step).

Prepare ABC reagent at the same time because it has to develop for at least 30 min before use!!!

Prepare in a 50 ml conical tube. In 15 ml DPBS (no serum, no azide) add 3 drops of reagent A, mix and add 3 drops of reagent B and mix. Avoid squeezing the bottles, rather wait for the drops to form on their own. ABC kit Vectastain PK-6100 from Vector Labs.

Soak in DPBS 3 x 5 min.

Incubate with ABC reagent for 30-45 min at room temperature.

Soak in DPBS 3 x 5 min.

Prepare DAB peroxidase substrate (Vector Labs # SK-4100) in 5 ml ddH2O in a glass vial immediately before use:

· 2 drops of buffer stock solution, mix

· 4 drops of DAB, mix (should become slightly brown)

· 2 drops H2O2, mix

Drop the DAB substrate on top of the slides and watch for brown staining.

Dip slides into ice + tap water to stop the reaction.

Rinse under cold tap water for 5 min.

Counterstain with Hematoxylin (20 sec; Fisher CS401-D) and rinse in tap water until water comes out clear.

Dehydrate through alcohol gradient starting at 30% ethanol up to 100% ethanol (2 min each).

Soak in xylene 3x 5 min. 

Mount with Permount (Fisher # SP15-100): put some above the section on the slide and press slowly onto the section with a coverslip without air bubbles. Do not move the coverslip until completely dry, takes ~ 24 hours. 

PAGE  
1

