1.   First, prepare the fluorescent calcium indicator solution. We use acetoxymethyl ester dyes, or AM dyes for short. These are dyes that can be taken up by cells when injected extracellularly. We typically use Oregon-Green BAPTA-1 AM or Fluo-4 AM  at a concentration of 1 mM.   AM dyes can be obtained from Invitrogen in 50 microgram vials.  We first prepare a 20% solution of Pluronic F-127 in DMSO.  We warm the solution prior to use every day until its clear.  We dissolve the calcium indicator the 20% Pluronic F-127/DMSO for 15-20 minutes to a concentration of 10 mM.   We then dilute the solution to 1mM in a solution containing, in mM: 150 NaCl, 2.5 KCl, 10 Hepes, pH 7.4.  In addition, 100 µM Sulforhodamine 101 is usually included to label astrocytes and visualize the pipette during the injection.   We filter the solution prior to injection with a 0.49 micron centrifugal filter (Stosiek et al., 2003; Garaschuk et al., 2006).  

2.  We next implant a cranial window over the area to be imaged. The general approach to this surgery is described by us in JoVE, but the following modifications are important for calcium dye injection. A smaller craniotomy of 2 mm in diameter is made over the cortical area of interest, taking extreme care not to damage the underlying dura.  A coverslip is secured in place over the craniotomy, but only partially covering the craniotomy, leaving a small gap between the edge of the craniotomy and the glass coverslip to allow room for a pipette to enter the cortex obliquely.    Prior to injection, a shallow well is made with dental cement around the craniotomy.    The well should extend as rostral in direction and be shallow enough to allow insertion of the micropipette for injection.  

3. The mouse is then transferred to the stage of the microscope and the head immobilized as shown in our video on blood flow imaging.

4.  
Next, we pull glass microelectrode pipettes to a tip diameter yielding 2-4 Mega Ohms in resistance, using a pipette puller.  The calcium indicator dye mix is loaded onto the glass pipette using a microsyringe.  Using a micromanipulator, the micropipette is gently lowered onto the surface of the brain using a 4X objective and then more finely positioned under a 40X objective. A suitable location for injection is chosen such the there are few or no overlying blood vessels to obscure the imaging. Using two-photon microscopy, the tip of the pipette is visualized and advanced slowly into the cortex, to a depth of 200 micrometers below the dura. The dye mixture is then pressure injected at 10 PSI for 1 minute using a Picospritzer.    We usually deliver two to four injections of the AM calcium dye mix, separated in space by approximately 200-300 microns. This bulk loading approach of slightly overlapping injections ensures that an area as large as 600X600 microns is adequately stained for calcium imaging.  Imaging begins 1 hour after the injection of the AM dye mixture, to allow for the dye to diffuse and be taken up by neurons. 

5.  In-vivo two-photon imaging is performed with a custom made two-photon microscope using a Chameleon Ti-Sapphire Laser (tuned to 800-880 nm) and Cambridge Technology galvanometer mirrors.   Images are acquired using ScanImage Software developed in Karel Svoboda’s laboratory  (Pologruto et al., 2003).  Laser Power is typically well below 70 mW at the sample.    Whole field images are acquired either using a 20X (0.95 NA) or 40X (0.8 NA) Olympus objectives, at 1.95-15.63 frames per second (512 x 256 pixels to 256 x 64 pixels).   Line scans are acquired at 500 Hz.  During imaging, animals are kept under light isoflurane anesthesia (0.6-0.9%), and are also kept at 37 degrees Celsius using a Harvard Apparatus Temperature Control Device.   Care is taken to keep the respiratory rate of animals as close to 100 breaths/minute as possible. This level of anesthesia use is the lowest level that immobilizes the animal, but still permits spontaneous activity to be recorded. 

References:

Garaschuk O, Milos RI,  Konnerth A.  Targeted bulk-loading of fluorescent indicators for two-photon brain imaging in vivo. Nat Protoc. 2006;1(1):380-6. 

Stosiek C, Garaschuk O, Holthoff K,  Konnerth A.   In-vivo two-photon calcium imaging of neuronal networks.  Proc Natl Acad Sci USA  2003 100(12):7319-24.
Pologruto TA, Sabatini BL, Svoboda K.  ScanImage: flexible software for operating laser scanning microscopes.   Biomed Eng Online 2:13 2003.  





 
