High Resolution Clear Native Gel Electophoresis (hrCNE) 
for Mitochondrial Complex In-Gel Activity Assays
Human embryonic stem cells (hESCs) were maintained on a monolayer of (-irradiated or mitomycin C-treated mouse embryonic fibroblasts (MEFs) and then switched to growth on matrigel for 5 days in MEF-conditioned medium using standard conditions. To remove contaminating MEFs, hESCs were re-plated on matrigel and grown in MEF-conditioned medium for an additional 3 days. Immunofluorescent staining of pluripotency markers Oct-4 and SSEA-4 was used to confirm the lack of hESC differentiation.
1. Wash cells with warm 1( PBS, pH 7.4, followed by trypsinization (1ml of 1x trypsin per well in a 6-well plate) for 5 min. 
2. Add an equal volume of fresh Trypsin Inhibitor (1mg/ml in 1( PBS, pH 7.4). Harvest cells and centrifuge at 200 g, 5 min, room temperature.
3. Discard supernatant and resuspend pelleted cells in 0.8 – 1.7 ml (based upon the size of the cell pellet) of ice cold mitochondria isolation buffer (83 mM sucrose; 6.6 mM imidazole/HCl, pH 7.0) with freshly prepared 1( Protease Inhibitor Cocktail. Incubate on ice for 10 min.
4. Dounce cells with a homogenizer (~40 - 50 strokes). Stain an aliquot of the dounced cells with trypan blue to check for completeness of homogenization using a light microscope. 
5. Centrifuge at 20,000 g for 10 min at 4(C to obtain a crude mitochondrial pellet that also contains nuclei and larger cell fragments. Decant and discard the supernatant and weigh the precipitated crude mitochondrial pellet. The pellet can be stored at (80 (C following instant freezing in liquid nitrogen if this is a stopping point.
NOTE: Differential centrifugation or other gradient-based procedures can be used for isolating and collecting a pure mitochondrial membrane fraction. See ref. 4 for details. This approach will yield the mitochondrial complex activity per mg of mitochondrial protein instead of complex activity per mg of cell weight or cell number. The concentration of mitochondrial proteins will need to be determined after purification to make this comparison. Also, a different isolation buffer may be required for this approach. For solubilization of the pure mitochondrial membrane fraction see the note following step 6 below.
6. Solubilize the crude mitochondrial pellet on ice by vortexing with ice cold solubilization buffer (50 mM NaCl, 50 mM imidazole/HCl pH 7.0, 1 mM EDTA, 2 mM 6-aminohexanoic acid). 6-aminohexanoic acid can be replaced with the 1( Protease Inhibitor Cocktail. Use 35 (l of solubilization buffer per 20 mg of pellet weight. Add 10 (l of 20% w/v digitonin per 20 mg of pellet weight and mix by flicking the tube. Incubate for 5-10 min on ice. Dodecyl-(-D-maltoside or triton X-100 can be substituted for digitonin to solubilize proteins. The choice of detergent and its quantity may affect the formation of supercomplexes or multimeric forms of mitochondrial complexes. For more information, see ref.1.
NOTE: The quantity of detergent required to solubilize a pure mitochondrial membrane fraction corresponds to a detergent/protein weight ratio ranging from 2–6 g/g. The optimal ratio to solubilize mitochondrial membranes is 2.5 g/g for dodecyl-(-D-maltoside, 3 g/g for triton X-100, and 6 g/g for digitonin.
7. Centrifuge the solubilized pellet at 100,000 g for 15 min at 4(C. Collect the clear supernatant.
8. Add loading buffer to a final 5% w/v glycerol and 0.01% w/v Ponceau S (use a 50% w/v glycerol, 0.1% w/v Ponceau S loading buffer stock solution). 
9. Load gel wells with a volume that contains 20-40 mg of the crude mitochondrial pellet per lane. Use an acrylamide gradient gel (4 -13%) with a 3.5% stacking gel. 
NOTE- Gel preparation and electrophoresis conditions: 
For gel preparation, use an acrylamide/bis-acrylamide (AA/bisAA) 3 mix as follows: 48g of acrylamide and 1.5g of bisacrylamide (49.5% T, 3% C. Where T is total concentration of AA and bisAA and C is the percentage of crosslinker (bisAA) to total monomer). 
Gel buffer (3(): 1.5 M 6-aminohexanoic acid; 75 mM imidazole, pH 7.0 

Gradient gel: 

4%

13%

Stacking gel:
3.5%

AA/bisAA 3 mix
2 ml

6.5 ml



0.6 ml

Gel buffer 3(

8.3 ml

8.3 ml



2.7 ml

Glycerol



5 g

H2O


14.7 ml
5 ml



4.7 ml
Total volume

25 ml

25 ml



8 ml
10% APS

139 (l

125 (l



67 (l
TEMED

14 (l

12.5 (l


6.7 (l
Anode buffer: 25 mM imidazole/HCl, pH 7.0
Cathode buffer: 50mM Tricine, 7.5mM imidazole/HCl, 0.02% w/v dodecyl-(-D-maltoside, 0.05% w/v deoxycholate, pH 7.0
Pour and run gels in a cold room (4–7 °C). The initial voltage used is 100 V. When the sample has entered the stacking gel, the voltage is raised to 500 V with the current limited to 15 mA (for 0.15 ( 14 ( 14-cm gels). Electrophoresis is stopped after 3–4 h when the sharp line of the red Ponceau S dye approaches the gel front. Alternatively, a gel can be run overnight with constant voltage at 70-100 V. 
10. In-gel activity assays. The time of incubation for each assay depends on the efficiency of protein solubilization and the amount of material loaded per well. Complexes I, IV and V usually yield stronger signals than complexes II and III.
Complex I (CI)
Incubate the gel slice with CI buffer (5 mM Tris-HCl, pH 7.4; 0.1 mg/ml NADH; 2.5 mg/ml NBT) at room temperature for several hours.

CI buffer: Add per 100 ml of 5 mM Tris-HCl, pH 7.4:
0.01 g NADH

0.25 g NBT
Fix the gel in 50% methanol and 10% acetic acid for 15-45 min. The fixed gel is preserved in 10% acetic acid. 
Complex II (CII)
Incubate the gel slice with CII buffer (20 mM sodium succinate; 0.2 mM phenazine methasulfate; 2.5 mg/ml NBT; 5 mM Tris-HCl pH 7.4) at room temperature for several hours.

CII buffer: Add per 100 ml of 5 mM Tris-HCl, pH 7.4:
200 (l 1M sodium succinate
80 (l phenazine methasulfate (250mM PMS dissolved in DMSO)
0.25 g NBT
Fix the gel as described for Complex I
Complex III (CIII)
Incubate the gel slice with CIII buffer (50 mM sodium phosphate, pH 7.2; 0.05% 3,3’-diaminobenzidine tetrahydrochloride (DAB)) at room temperature for several hours.
CIII buffer: Add per 100 ml of 50 mM sodium-phosphate, pH 7.2:
50 mg diaminobenzidine tetrahydrochloride
Fix the gel as described for Complex I

Complex IV (CIV)
Incubate the gel slice with CIV buffer (50 mM sodium phosphate, pH 7.2; 0.05% 3,3’-diaminobenzidine tetrahydrochloride (DAB), 50 (M horse heart cytochrome c) at room temperature for several hours.
CIV buffer: Add per 100 ml of 50 mM sodium-phosphate, pH 7.2:
50 mg diaminobenzidine tetrahydrochloride

0.1g horse heart cytochrome c 
Fix the gel as described for Complex I

Complex V  (CV)
Incubate the gel slice with CV buffer (35 mM Tris-base, 270 mM glycine, pH 8.3 at 25(C, 14 mM MgSO4, 0.2% w/v Pb(NO3)2, 8 mM ATP) at room temperature for several hours.

CV buffer: Per 100 ml of solution add:
Tris-base


0.424 g
Glycine


2.026 g

MgSO4 


0.345 g
Pb(NO3)2 


0.29 g
No need to adjust pH (should be 8.3) – do not use acid or base. Filter and add  
ATP 



0.441 g
Fix the gel in 50% methanol for 30 min and transfer to water.
