TITLE  
Neutrophil Isolation Procedure
Authors: 
Hana Oh

Institute for Medicine and Engineering, University of Pennsylvania

hanaoh@seas.upenn.edu

Brian Siano 

Institute for Medicine and Engineering, University of Pennsylvania

siano@seas.upenn.edu

Scott L. Diamond , Ph.D.
Institute for Medicine and Engineering, University of Pennsylvania

sld@seas.upenn.edu
Corresponding author: Scott L. Diamond
Keywords: (minimum 4, maximum 10) 

immunology, blood, neutrophils, neutrophil polymorphonuclear granulocytes, cell separation, cell isolation
Short Abstract: should include a general description of the article (10 word minimum, 50 word maximum)

Neutrophils are among the first cells to arrive on the site of inflammatory immune response, and their functions and mechanisms have been studied extensively in vitro. We demonstrate a standard density gradient separation method to isolate human neutrophils from whole blood using commercially available separation media.
Long Abstract: (150 word minimum, 400 word maximum)

Neutrophil polymorphonuclear granulocytes (PMN) are the most abundant leukocytes in humans and among the first cells to arrive on the site of inflammatory immune response. Due to their key role in inflammation, neutrophil functions such as locomotion, cytokine production, phagocytosis, and tumor cell combat are extensively studied. To characterize the specific functions of neutrophils, a clean, fast, and reliable method of separating them from other blood cells is desirable for in vitro studies, especially since neutrophils are short-lived and should be used within 2-4 hours of collection. Here, we demonstrate a standard density gradient separation method to isolate human neutrophils from whole blood using commercially available separation media that is a mixture of sodium metrizoate and Dextran 500. The procedure consists of layering whole blood over the density gradient medium, centrifugation, separation of neutrophil layer, and lysis of residual erythrocytes. Cells are then washed, counted, and resuspended in buffer to desired concentration. When performed correctly, this method has been shown to yield samples of >95% neutrophils with >95% viability.
Text: 


Neutrophil Isolation Protocol
A.  Purpose

This procedure will extract white blood cells from a whole blood sample. 

B.  Equipment

1.  Centrifuge and Vials

2.  Vortexer
3.  Needle and Syringe 

4.  Syringe filter 

Millipore brand

Millex GV

0.22 μm
C.  Materials

1.  Hank’s Balanced Salt Solution, both and without CaCl2
Neutrophil separation requires two kinds of HBSS solution. 

HBSS with CaCl2 will be used to make a solution with Human Serum Albumin. 

HBSS without CaCl2 will be used to suspend the neutrophils. 

Please take special care to use the appropriate HBSS solution in this procedure.

2.  Human Serum Albumin 

This will be used to create a mixture of HBSS and HSA.

Do not use bovine serum albumin.
3.  Red Cell Lysis Buffer 

Manufactured by Roche Diagnostics

Stored in 4o C refrigerator. 
Use at room temperature. Remove from fridge one hour before use.

4.  Neutrophil Isolation Media (NIM)

Cedarline Labs’ Lympholyte-Poly Separation Media 

Kept in 4o C refrigerator 
Protected from light with foil
5.  Use Reagents at Room Temperature

For best results, all reagents should be at room temperature at time of use.
Remove reagents from refrigerator 1 hour before experiment. 
D.  Prepare 40 ml HBSS/HSA Solution

1.  Pipette 36.8 ml HBSS with CaCl2 into vial

2.  Draw HSA into syringe

Avoid trapping air bubbles.
3.  Remove the syringe needle and replace it with the Millipore filter
4.  Inject 3.2 ml HSA through filter into HBSS vial

5.  Vortex to mix
E.  Obtain Whole Blood
1.  Whole Blood (10 ml)

When you have your other materials ready, and at room temperature acquire 15 ml of whole blood.

This will yield 10-15 ml 108 Neutrophils (PMN/ml)
The donor should not have consumed alcohol or over-the-counter drugs for 24 hours prior to donating the blood sample. These can disrupt the separation process. 
After collection from a donor, whole blood may be anticoagulated with EDTA, citrate, or heparin by adding nine parts blood to one part K3EDTA, sodium citrate or heparin following manufacturers' instructions.

F.  Procedure

The following steps will be described in this procedure. 

1.  [image: image1.png]maym

 First Separation: Acquire Neutrophils

Pipsiie slowly
Lower {ip closs Yaes of NIM
De neofl mix he seluljons

Layer 5.0 mi blood over NIM




Separate and Remove Plasma and Monocytes

2.  Separate and Acquire Neutrophil Layer

3.  Lysing Red Blood Cells

4.  Resuspend Neutrophils

G.  First Separation: Acquire Neutrophils and NIM layer

1.  Collect 5.0 ml of Isolation Media in centrifuge tube

The centrifuge process will force the blood down through the separation media.

Placing the isolation media lower in the tube allows it to act as a filter, as the centrifuge will force the blood down through it. 

2.  Carefully layer 5.0 ml of blood over the NIM.

Perform this step slowly and carefully, and with your pipette tip close to the surface of the resolving media to prevent mixing. 

For clean separation, be very careful to avoid mixing the solutions. 

[image: image4.png]7

Separate and
remove plasma
and monocytes

Separate and acquire
neutrophil layer

Lysing RBCs

Resuspend
neutrophils




3.  Centrifuge the solution at 500 RCF for 35 min. at 20-25ºC.

Centrifuge the solution at 500 RCF for 35 min. at 20-25oC. 

4.  The blood should separate out into 6 distinct bands. 

Here we see the six bands: Plasma, Monocytes, Isolation Media, Neutrophils, more Isolation Media, and the Red Blood Cell Pellet. 

[image: image2.png]o

Plasws

lunveyss

—8

i

siupills





If these bands are not clear, the separation process was not clean and will need to be repeated.

Common causes of bad separation include: 
Old Isolation Media

Donor having consumed alcohol in the past 72 hours

Donor having taken medications such as Tylenol or aspirin in the past 72 hours

5.  Carefully remove and discard the Plasma, monocytes, and isolation media. 

Use a pipette to remove the top three layers.

Place these layers in a sealable tube, and discard

6.  Carefully pipette neutrophils into a clean centrifuge vial.

Carefully pipette the layer of neutrophils and all of the isolation media beneath the neutrophils into a clean centrifuge vial.
To recover as many neutrophils as possible, it is often easiest to include some of the isolation media from the layer below as well. 
Do not disturb the pellet at the bottom.

H.  Second Separation: Refine Neutrophil Layer

1.  Dilute the neutrophil solution to 10 ml with HBSS w/o Ca2+. 

Dilute the neutrophil solution to 10 ml with Hank’s Buffered Salt Solution.

Invert the tube a few times to suspend the cells. 

2.  Centrifuge the Neutrophil Solution

350 RCF

10 minutes

20-25o C
A red pellet should be present on the bottom of the tube, containing neutrophils and residual RBCs. 

3.  Remove the supernatant with a pipette

Be careful to not disturb the pellet. 

I.  Lysing the Red Blood Cells

1.  The RBCs in the sample must now be destroyed by lysis.

2.  Lyse the RBCs with 2 ml Buffer 

To lyse the residual RBCs, add 2 ml Red Cell Lysis Buffer to the tube.
[image: image3.png]



3.  To resuspend the pellet, vortex the vial at a setting of 3-4

Avoid increasing the vortex setting above 4. This may cause the neutrophils to activate.

It may be necessary to vortex for several seconds, or to “pulse” the vortex to dissolve the pellet. 

4.  Centrifuge the Lysis Solution 

250 RCF

5 min.

Soft Start

Centrifuge the lysis solution at 250 RCF for 5 minutes.

Use the “soft start” option to minimize damage to the sample.

5.  Remove the supernatant with pipette

Repeat the lysing process if required.

J.  Resuspension of Neutrophils

1.  Add 500 μl HBSS w/o Ca2+ to each tube

2.  Vortex to resuspend the pellet/ Vortex the pellet at a setting of 3-4

Avoid increasing the vortex setting above 4. This may cause the neutrophils to activate. 

It may be necessary to vortex for several seconds, or to “pulse” the vortex to dissolve the pellet. 

3.  Dilute to 10 ml with HBSS w/o Ca2+ 

Dilute the tube to 10 ml with HBSS w/o Ca2+

4.  Centrifuge the Neutrophils

250 RCF

5 min

5.  Aspirate the supernatant and discard.

6.  Resuspend the pellet in 250 μl HBSS/HSA Solution 

Resuspend the pellet in 250 μl HBSS with Ca2+ and 2% Human Serum Albumin (HSA). 

2 x 106 PMN per ml are typically collected.

Cells may then be counted and adjusted to desired concentration. 

Discussion: 

The density gradient separation method is used to isolate human neutrophils from whole blood using a mixture of sodium metrizoate and Dextran 500. This method is based on the mononuclear leukocyte separation method by Boyum (1968) which was modified for neutrophil separation by Ferrante and Thong (1980). 

After collection from a donor, whole blood may be anticoagulated with EDTA, citrate, or heparin. Since they are short-lived, neutrophils should be used within 2-4 hours of collection. The procedure consists of layering whole blood over the density gradient medium, centrifugation, separation of neutrophil layer, and lysis of residual erythrocytes. Cells are then washed, counted, and resuspended to desired concentration. 

If the six bands are not distinct after the first centrifugation step, the separation process was not clean and will need to be repeated. For clean separation, make sure that the isolation media has not expired or contaminated. Separation may also be unsuccessful if the blood donor has consumed alcohol or medications in the 72 hours prior to blood collection. 

To prevent neutrophil activation during the separation procedure, it is best to use HBSS without Ca2+/Mg2+, since the ions have been shown to prime cells. Resuspension of pellets should also be performed slowly, and vortex settings should be kept in the low- to mid-range so that cells do not become activated. 

When performed correctly, this method has been shown to yield samples of >95% neutrophils with >95% viability. Purity and viability can be assessed by labeling the cells with neutrophil-specific marker CD66b and trypan blue dye exclusion.
Acknowledgments: 

Funding from NIH R01 HL56621.
Disclosures: describe potential conflicting interests or state “I have nothing to disclose”
We have nothing to disclose.
Table of specific reagents and equipment:

	Name 
	Type 
	Company 
	Catalog Number 
	Comments

	Lymphocyte Poly(R)
	Reagent
	Cedarlane Labs
	
	PolymorphprepTM can be used as an alternative

	Hank's Balanced Salt Solution without Calcium Chloride
	Reagent
	Invitrogen Gibco
	
	

	Human Serum Albumin
	Reagent
	ZLB Bioplasma
	
	

	Red Cell Lysis Buffer
	Reagent
	Roche Diagnostics
	
	

	Centrifuge
	Tool
	
	
	

	Vortexer
	Tool
	
	
	

	Pasteur Pipettes and bulb
	Tool
	
	
	

	PolymorphprepTM
	Reagent
	Axis-Shield PoC
	
	Alternative reagent to Lymphocyte-Poly (R)

	Syringe Filter
	Other
	Millipore
	SLGV033RS
	Millex-GV, 0.22 m, PVDF, 33 mm, gamma-sterilizable

	Hank's Balance Salt Solution with Calcium Chloride
	Reagent
	Invitrogen Gibco
	
	


References: please use the same format you would use for a Nature article.  For example:
1. Boyum, A. Separation of leucocytes from blood and bone marrow. Scand. J. Clin. Invest. 21, Suppl. 97, 77-83 (1968).

2. England, J.M., Rowan, R.M. et al. The assignment of values to fresh blood used for calibrating automated blood cell counters. Clin. Lab. Haemat. 10, 203-212 (1988).

3. Garcia, A. et al. Comparison of two leukocyte extraction methods for cytomegalovirus antigenemia assay. J. Clin. Microbiol.  34, 182-184 (1996)

4. Ferrante, A. & Thong, Y.H. Optimal conditions for simultaneous purification of mononuclear and polymorphonuclear leucocytes from human peripheral blood by the Ficoll-Hypaque method. J. Immunol. Methods. 36, 109 (1980).

Tables

No tables.
Figure legends
Figure 1. Separation of whole blood into plasma, monocytes, neutrophils, and red blood cell layers.
