TITLE
The MODS method for diagnosis of tuberculosis and multidrug resistant tuberculosis

Authors:
Mark F. Brady

Jorge Coronel

Robert H. Gilman

David A.J. Moore

Authors: institution(s)/affiliation(s) for each author:

Mark F. Brady

The Warren Alpert Medical School of Brown University

brady@post.harvard.edu
Jorge Coronel

Laboratorio de Investigacion de Enfermedades Infecciosas

Universidad Peruana Cayetano Heredia

jcoronelh@yahoo.es
Robert H. Gilman

Department of International Health

Johns Hopkins Bloomberg School of Public Health

gilmanbob@gmail.com
David A.J. Moore

Wellcome Trust Centre for Clinical Tropical Medicine

Imperial College London

davidajmoore@msn.com
Corresponding author: Mark F. Brady

Keywords: (minimum 4, maximum 10) 

tuberculosis, TB, multidrug resistant tuberculosis, MDRTB, culture, diagnostic

Short Abstract: should include a general description of the article (10 word minimum, 50 word maximum)

The microscopic-observation drug-susceptibility (MODS) assay is a low-cost, low-tech tool for high-performance detection of tuberculosis (TB) and multidrug-resistant tuberculosis (MDRTB).  This video describes the MODS liquid media culture method.

Long Abstract: (150 word minimum, 400 word maximum)

Patients with active pulmonary tuberculosis (TB) infect 10-15 other persons per year, making diagnosing active TB essential to both curing the patient and preventing new infections.  Furthermore, the emergence of multidrug resistant tuberculosis (MDRTB) means that detection of drug resistance is necessary for stopping the spread of drug-resistant strains.  The microscopic-observation drug-susceptibility (MODS) assay is a low-cost, low-tech tool for high-performance detection of TB and MDRTB.  The MODS assay is based on three principles: 1) mycobacterium tuberculosis (MTB) grows faster in liquid media than on solid media 2) microscopic MTB growth can be detected earlier in liquid media than waiting for the macroscopic appearance of colonies on solid media, and that growth is characteristic of MTB, allowing it to be distinguished from atypical mycobacteria or fungal or bacterial contamination 3) the drugs isoniazid and rifampicin can be incorporated into the MODS assay to allow for simultaneous direct detection of MDRTB, obviating the need for subculture to perform an indirect drug susceptibility test. Competing current diagnostics are hampered by low sensitivity with sputum smear, long delays until diagnosis with solid media culture, prohibitively high cost with existing liquid media culture methods, and the need to do subculture for indirect drug susceptibility testing to detect MDRTB.  In contrast, the non-proprietary MODS method has a high sensitivity for TB and MDRTB, is a relatively rapid culture method, provides simultaneous drug susceptibility testing for MDRTB, and is accessible to resource-limited settings at just under $3 for testing for TB and MDRTB.
Text: 

The following is modified from the more thorough protocol in the User Guide available at modsperu.org

I. Prepare stock solutions

1. Phosphate buffer stock 
1. Mix 950ml of sodium dibasic solution (9.47g of sodium phosphate dibasic dissolved in 1000ml distilled water) with 950ml of potassium phosphate monobasic solution (9.07g of potassium phosphate monobasic dissolved in 1000ml distilled water) and stir; keep back 50ml of each solution to adjust pH if necessary 

2. Adjust pH to 6.8 ± 0.2: add sodium phosphate dibasic solution to raise pH; add potassium phosphate monobasic solution to lower pH
3. Autoclave at 121‐124°C for 15 minutes to sterilize
4. Plate a 100μl aliquot of the phosphate buffer solution on nutrient agar medium in a Petri dish and incubate at 37°C for 48 hours to confirm sterility
5. Store in refrigerator at 2‐8°C for up to one month
Note: Each sputum sample requires 10ml of phosphate buffer solution 
2. Decontamination stock
1. Combine equal volumes of sodium hydroxide solution (8.0g of sodium hydroxide dissolved in 200ml sterile distilled water) and sodium citrate solution (5.8g of sodium citrate distilled in 200ml sterile distilled water)
2. Mix and autoclave at 121‐124°C for 15 minutes
3. Store in refrigerator at 2‐8°C for up to one month
Note: Each sputum sample requires 2ml of decontamination stock
3. Culture media stock
1. Into 900ml of sterile distilled water add 3.1ml of glycerol and 1.25g of casitone and 5.9g of 7H9 medium powder; mix with constant agitation until completely dissolved
2. Autoclave at 121‐124°C for 15 minutes
3. Cool and divide the sterile medium into 4.5ml aliquots in sterile 16x 100 mm glass tubes for sample preparation, and 10.8ml aliquots for preparation of antibiotic solutions and internal controls
5. Incubate at 37°C for 48 hours to verify sterility (lack of turbidity)
6. Store at 2‐8°C with cap tightly closed for up to one month
Note: Each sputum sample requires one tube containing 4.5ml of 7H9 medium
4. Antibiotic stock solutions
A. Isoniazid stock (8 mg/ml)
1. Dissolve 20 mg isoniazid completely in 2.5ml sterile distilled water
2. Filter with 0.2μm syringe filter for aqueous solvent
3. Store in 20μl aliquots in sterile micro centrifugation tubes at ‐20°C for up to 6 months
Note: Each stored 20μl aliquot is sufficient for up to 100 samples (including wastage)
B. Rifampicin stock (8 mg/ml)
1. Dissolve 20mg rifampicin completely in 1.25ml DMSO
2. Add 1.25ml sterile distilled water and mix
3. Filter with 0.2μm syringe filter for organic solvent
4. Store in 20μl aliquots in sterile microcentrifuge tubes at ‐20°C for up to 6 months 

Note: Each stored 20μl aliquot is sufficient for up to 100 samples (including wastage) 

II. Prepare working solutions
1. Decontamination working solution

1. Dissolve 0.1g of NALC crystals in every 20ml of decontamination solution required
Note: Each sample needs 2ml of decontamination solution
Note: Discard any NaOH‐NALC decontamination solution that remains unused after 24 hours as NALC loses its mucolytic activity over time
2. Culture media working solution

1. Set out: 

a. 1 tube with 7H9 medium for every sputum sample to be processed, plus 1 additional tube for every plate (for the negative control column)
b. 2 tubes of 7H9 medium for the positive controls (3 if monoresistant strains are used)
c. 1‐2 tubes with 10.8ml 7H9 for antibiotic solution preparation
2. Add 0.5ml OADC to the 4.5ml of 7H9 in each sample tube
3. Add 1.2ml OADC to tubes with 10.8ml 7H9
4. Set aside 2 tubes with 5ml 7H9‐OADC for positive controls, and tube(s) with 12ml 7H9‐OADC to be used for antibiotic solution preparation (these do not require PANTA)
5. Reconstitute PANTA and add 0.1ml to each sample tube and to the negative control tubes (7H9‐OADC‐PANTA: total volume=5.1ml)
Note: Complete medium with PANTA (7H9‐OADC‐PANTA) is used for sputum samples and negative controls; use 7H9‐OADC without PANTA for positive controls and for antibiotic solution preparation
3. Antibiotic working solutions

1. See Figure 1 for steps to making the antibiotic working solution in an unused 24-well plate
Note: For accurate susceptibility results, the final antibiotic concentrations are critical. The following procedure is suitable for laboratories equipped with micropipettes. If micropipettes are not available, tuberculin syringes can be used with a different series of dilutions described in the User Guide Appendix 3 at modsperu.org

Note: Do not re‐freeze or re‐use antibiotic working or stock solutions as drug activity may be lost. Discard all unused antibiotic solutions at the end of the processing day
Figure 1. Making the antibiotic working solutions (from User Guide at modsperu.org )
[image: image1.wmf]QuickTime™ and a

TIFF (Uncompressed) decompressor

are needed to see this picture.


III. Sputum sample and plate preparation

Note: See Figure 2 for overview of sputum preparation and 24-well plate inoculation

Figure 2. Overview of sputum preparation and 24-well plate inoculation (from User Guide at modsperu.org )
[image: image2.wmf]QuickTime™ and a

TIFF (Uncompressed) decompressor

are needed to see this picture.


1. Decontamination
1. Place 2ml of sputum sample into a 15ml centrifuge tube (if less, make up to 2ml with phosphate buffer; if more, use only 2ml)

2. Add 2ml NaOH‐NALC solution
3. Cap tube tightly and vortex for 20 seconds; invert tube to ensure NaOH‐NALC solution contacts the entire interior surface of the tube and lid 

4. Let stand for a minimum of 15 minutes – can prolong by a few minutes if the sample is particularly viscous. To avoid over treatment, should not exceed 20 minutes
5. Fill the tube to 14ml with phosphate buffer (pH 6.8) to neutralize alkali and terminate the decontamination process, and mix well by inverting the tube 4 times
6. Centrifuge at 3000 g for 15 minutes (see Appendix 2 in User Guide at modsperu.org for equation of rotations per minute necessary to reach 3000 g)
7. Carefully pour off supernatant into a liquid waste container with 10% sodium hypochlorite or other suitable disinfectant and retain the pellet
2. Preparation of final sample suspension and backup
1. Using 7H9‐OADC‐PANTA (from the tube containing 5.1ml), resuspend the sample pellet in a total volume of 2ml in the centrifuge tube with a Pasteur pipette; mix well

2. Remove 1ml of sample suspension and store in a microcentrifuge tube at 2‐8°C as a backup
3. Add the second 1ml of sample suspension to the tube with the remaining 7H9‐OADC‐PANTA; mix well. This is the final sample solution ready for plating
3. Placing sample suspensions into 24-well plate
1. Place 900μl of the final sample suspension into each of the 4 wells of a column in the 24‐well plate
2. Repeat with additional samples until all columns of the plate, except Column 3, are filled (or until all samples are plated)
3. Place 900μl of 7H9‐OADC medium without sample in the 4 wells of Column 3 of each sample plate (negative internal controls)
4. Adding antibiotics to samples

1. Using a multi‐channel pipette, carefully fill 4 tips with 100μl from the wells with 7H9‐OADC and antibiotic working solutions (Column 2 in antibiotic dilution plate- see Figure 1)
2. Add the 100μl aliquots to the column 1 wells with 900μl sample solutions without touching plate or sample
3. Repeat until all columns have received the additional 100μl of medium (drug‐free wells) or antibiotic solutions (including negative control column 3)
4. Close the plate with its lid and place in a sealable polythene (Ziplock) bag and seal (bag is not opened again from this point onwards)
5. Incubate at 37°C (CO2 enrichment is not necessary)
IV. Quality control

1. Negative controls are run on each plate.  The presence of any growth in any of the wells in the negative control column indicates cross-contamination, therefore the entire plate must be discarded and the samples re-plated.

2. Positive controls are run on a separate plate at the end of the day.  One fully drug-susceptible strain is run in a column and a strain resistant to INH and RIF is run in another column.  If there is concern about running an MDR strain, both an INH monoresistant strain and a RIF monoresistant strain can be run in the place of the susceptible and MDR strains.  All positive controls should have growth in the drug-free wells to demonstrate that the media support growth.  To demonstrate that the drug concentrations are correct, the susceptible strain should not grow in the INH or RIF wells, but the MDR strain should grow also grow in the INH and RIF wells.

V. Plate reading

1. With the day of plating as “Day 0,” plate reading starts on Day 5, and if negative on Day 5 reading is done every day (or alternate days depending on workload) until day 14 and then every 2-3 days from day 15-21.  Plates are examined on an inverted light microscope with the 10x objective

2. A positive culture is one in which there are two or more colony forming units (>2 CFU) in BOTH drug‐free wells.  Early mycobacterial growth looks like small curved commas or spirals (days 5‐9).  Colony formation usually progresses to “cords” or “tangles  (see image library on modsperu.org )

3. On the day a culture is positive in the 2 drug-free wells, the drug-containing wells should be read.  Any growth in the presence of a drug indicates resistance to that drug.

Note: If the reading of the drug-containing wells is done >1 week after a positive culture is noted in the drug-free wells, this may not represent resistance as break-through growth is occasionally seen
4. Samples that are not positive by Day 21 are considered negative cultures
5. Cloudiness of the wells is a result of contamination overgrowth, whereas mycobacterial growth does not result in cloudiness

6. On completion of 21 days cultures may be discarded.  Cultures remain in their sealed bags and are placed in autoclave bags and autoclaved at 121-124°C for 45-60 minutes
Discussion:
The MODS assay is targeted at resource-limited settings.  For the first time, MODS brings the ability for rapid liquid culture detection of tuberculosis and multidrug resistant tuberculosis to resource-limited settings at just under $3 per test.  MODS is a non-proprietary, iterative methodology, and the MODS community is always interested in improvements that other laboratories have managed to make.

A recurrent concern is the biosafety of liquid media culture of tuberculosis because liquids can be spilt or aerosolized.  We believe that the MODS assay is more biosafe than any assay that involved indirect drug susceptibility testing because indirect drug susceptibility testing involves the manipulation of highly concentrated solutions of mycobacteria with the attendant risks of spillage and aerosolization; in contrast, MODS simply involves the inoculation of a sputum sample into a plate, after which the plate is sealed within a plastic bag and never again opened.  This is supported by data from Korea (Kim 2007) which showed that the occupational risk to laboratory workers who plated out sputum samples without doing drug-susceptibility testing was no greater than that in workers doing sputum smear microscopy; in contrast, those doing drug-susceptibility testing had much higher occupational risk for tuberculosis.

We strongly recommend that none of these procedures be undertaken without proper precautions for laboratory workers.  This includes N-95 masks for personal respiratory protection, a Class 2 biological safety cabinet with exhausted air filtered through HEPA filters, and a lock on the laboratory door to stop turbulence of airflow while samples are being manipulated.

Standard operating procedures for processing extrapulmonary samples, a photo library of mycobacterium tubercuclosis and other mycobacteria and bacterial and fungal contamination, a recommended quality assurance strategy, a procedure for accreditation of laboratories to start using MODS, and an FAQ sheet are available at modsperu.org

Acknowledgments:
We would like to acknowledge Sean Fitzwater and Carmen Giannina Luna Colombo for the tuberculosis growth time-lapse video segment.  We thank Marty Roper for her thorough and excellent feedback during the editing and co-authoring the User Guide, from which the current protocol was taken mostly verbatim.  Production of this video was funded by the NIH/ Fogarty International Center http://www.fic.nih.gov/ David A.J. Moore contributed as a Wellcome Trust Clinical Research Fellow in Tropical Medicine and Reader in Infectious Diseases at Imperial College London (Fellowship award number 078067/Z/05).  Mark F. Brady contributed as an NIH/ Fogarty International Center Research Fellow.
Disclosures:
I have nothing to disclose.

Table of specific reagents and equipment:

	Name
	Type
	Company
	Catalogue #
	Comments

	Refrigerator/ freezer 
	Equipment 
	 
	 
	to store pre-prepared broth and antibiotic stocks

	Vortex 
	Equipment 
	 
	 
	to aid sputum decontamination

	Centrifuge 
	Equipment 
	 
	 
	for sputum concentration; capable of reaching 3000 g; does not need to be refrigerated, but MUST be biosafe (buckets can be sealed)

	Incubator (37 degree C) 
	Equipment 
	 
	 
	for culture; need not be CO2 enriched

	Inverted light microscope 
	Microscope 
	 
	 
	to read MODS plates

	Autoclave 
	Equipment 
	 
	 
	to sterilize media, PBS and used plates

	Balance 
	Equipment 
	 
	 
	to weigh isoniazid, rifampicin and NALC

	Middlebrook 7H9 broth (Difco) 
	Reagent 
	Fisher 
	DF0713-17-9 
	500gr/bottle; culture media base

	Casitone (pancreatic digest casein) 
	Reagent 
	Fisher 
	DF0259‐17‐9 
	500gr/bottle; culture media base

	Glycerol (glycerin) lyophilized 
	Reagent 
	Sigma 
	G‐33‐500 
	500ml/bottle; culture media base

	PANTA (Antibiotic mixture lyophilized BD) 
	Reagent 
	Fisher 
	B4345114 
	6 bottles/pack; antibiotic media supplement

	OADC (Middlebrook OADC enrichment BD) 
	Reagent 
	Fisher 
	B11886 
	10 x 20ml/pack; nutritional media supplement

	Dimethyl sulphoxide (Hibri-Max) 
	Reagent 
	Sigma 
	D-2650 
	100ml/bottle; to prepare rifampicin stock

	Antibiotic stocks: isoniazid 
	Reagent 
	Sigma 
	I-3377 
	50gr/bottle; direct susceptibility testing

	Antibiotic stocks: rifampicin 
	Reagent 
	Sigma 99 
	R-3501 
	1gr/bottle; direct susceptibility testing

	Sodium hydroxide (pellets) 
	Reagent 
	Sigma 
	221465
	500gr/bottle; sputum decontamination

	Sodium citrate (trisodium salt dihydrate) 
	Reagent 
	Sigma 
	S-4641 
	500gr/bottle; sputum decontamination

	N-acetyl-L-cysteine 
	Reagent 
	Sigma 
	A-7250 
	50gr/bottle; sputum decontamination

	Potassium Phosphate Monobasic crystal. KH2PO4 
	Reagent 
	Sigma 
	P0662 
	500gr/bottle; sputum decontamination

	Sodium Phosphate Dibasic, anhydrous. Na2HPO4 
	Reagent 
	Sigma 
	S0876 
	500gr/bottle; sputum decontamination

	Sodium hypochlorite 
	Reagent 
	household bleach 
	 
	to discard contaminated waste

	15ml centrifuge tubes (polypropylene 15ml Falcon 35‐2096) 
	Consumable 
	Fisher 
	14‐959‐49B 
	500ea/case; for sputum decontamination and concentration

	24 well plates (Plates Tissue 24 wells BD Falcon 35‐3047) 
	Consumable 
	Fisher 
	08-772-1 
	50 plates/case; for culture and reading

	Sealable polythene bags 6 X 6 “ (ziplock) 
	Consumable 
	 
	 
	for biosecurity to contain 24 well plate

	Glass tubes with lid (16 x 100mm and 18 x 145mm) 
	Consumable 
	VWR 
	47729-583 
	500 tubes/case; to store aliquots of prepared broth

	Screw cap microcentrifuge tubes (1.5ml) 
	Consumable 
	Fisher 
	05‐669‐22 
	1000ea/case; to store aliquots of antibiotic stocks

	0.22μm filters (aqueous solvents) Syringe filter Millex blue 
	Consumable 
	Fisher 
	SLGL 025 OS 
	50 units/case; to filter antibiotic stocks

	0.22μm filters (organic solvents) Syringe filter Millex yellow 
	Consumable 
	Fisher 
	SLGV 033 RS 
	50 units/case; to filter antibiotic stocks

	Disposable Pasteur pipettes borosilicate glass 9″ 
	Consumable 
	Fisher 
	13‐678‐20C 
	720ea/case; to mix PANTA with media mix

	Aerosol barrier tips 1000‐1300μl 
	Consumable 
	Fisher 
	02‐707‐51 
	1000ea/pk; to dispense media into plate

	USA Scientific Tips One 1‐200μl yellow tips 
	Consumable 
	Fisher 
	1111‐0006 
	1000 tips/bag; to dilute antibiotic stocks


References: please use the same format you would use for a Nature article.  For example:

1.
Arias, M. et al., Clinical evaluation of the microscopic-observation drug-susceptibility assay for detection of tuberculosis. Clin Infect Dis 44 (5), 674 (2007).

2.
Caviedes, L. et al., Rapid, efficient detection and drug susceptibility testing of Mycobacterium tuberculosis in sputum by microscopic observation of broth cultures. The Tuberculosis Working Group in Peru. J Clin Microbiol 38 (3), 1203 (2000).

3.
Caviedes, L. and Moore, D. A., Introducing MODS: a low-cost, low-tech tool for high-performance detection of tuberculosis and multidrug resistant tuberculosis. Indian J Med Microbiol 25 (2), 87 (2007).

4.
Caws, M. et al., Evaluation of the MODS culture technique for the diagnosis of tuberculous meningitis. PLoS ONE 2 (11), e1173 (2007).

5.
Ejigu, G. S. et al., Microscopic-observation drug susceptibility assay provides rapid and reliable identification of MDR-TB. Int J Tuberc Lung Dis 12 (3), 332 (2008).

6.
Kim, S. J. et al., Risk of occupational tuberculosis in National Tuberculosis Programme laboratories in Korea. Int J Tuberc Lung Dis 11 (2), 138 (2007).

7.
Mello, F. C. et al., Clinical evaluation of the microscopic observation drug susceptibility assay for detection of Mycobacterium tuberculosis resistance to isoniazid or rifampin. J Clin Microbiol 45 (10), 3387 (2007).

8.
Moore, D. A., Future prospects for the MODS assay in multidrug-resistant tuberculosis diagnosis. Future Microbiol 2, 97 (2007).

9.
Moore, D. A. et al., Infrequent MODS TB culture cross-contamination in a high-burden resource-poor setting. Diagn Microbiol Infect Dis 56 (1), 35 (2006).

10.
Moore, D. A. et al., Microscopic-observation drug-susceptibility assay for the diagnosis of TB. N Engl J Med 355 (15), 1539 (2006).

11.
Moore, D. A. et al., Microscopic observation drug susceptibility assay, a rapid, reliable diagnostic test for multidrug-resistant tuberculosis suitable for use in resource-poor settings. J Clin Microbiol 42 (10), 4432 (2004).

12.
Moore, D. A. and Roper, M. H., Diagnosis of smear-negative tuberculosis in people with HIV/AIDS. Lancet 370 (9592), 1033 (2007).

13.
Oberhelman, R. A. et al., Improved recovery of Mycobacterium tuberculosis from children using the microscopic observation drug susceptibility method. Pediatrics 118 (1), e100 (2006).

14.
Palomino, J. C., Martin, A., and Portaels, F., MODS assay for the diagnosis of TB. N Engl J Med 356 (2), 188; author reply 189 (2007).

15.
Park, W. G., Bishai, W. R., Chaisson, R. E., and Dorman, S. E., Performance of the microscopic observation drug susceptibility assay in drug susceptibility testing for Mycobacterium tuberculosis. J Clin Microbiol 40 (12), 4750 (2002).

16.
Shiferaw, G. et al., Evaluation of microscopic observation drug susceptibility assay for detection of multidrug-resistant Mycobacterium tuberculosis. J Clin Microbiol 45 (4), 1093 (2007).

17.
Tovar, M. et al., Improved diagnosis of pleural tuberculosis using the microscopic- observation drug-susceptibility technique. Clin Infect Dis 46 (6), 909 (2008).

18.
Vargas, D. et al., Diagnosis of sputum-scarce HIV-associated pulmonary tuberculosis in Lima, Peru. Lancet 365 (9454), 150 (2005).

Tables
Figure legends
Figure 1. Making the antibiotic working solutions (from User Guide at modsperu.org )

Figure 2. Overview of sputum preparation and 24-well plate inoculation (from User Guide at modsperu.org )
Figures: should be uploaded electronically as separate files (TIFF, JPEG and other formats are acceptable)
