## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
Zeiss Axio Imager 2 microscope | Carl Zeiss MicroImaging GmbH, Germany | Axio Imager D2 | Microscope
Green filter (λ = 540 ± 25 nm) | Chroma Technology Corp., Bellows Falls, Vermont | D540/25x | Green filter
SlideBook 5.5 software | Intelligent Imaging Innovations, Denver, Colorado |  | Image acquistion software
Polystyrene microspheres | Bangs Laboratory, Inc., Fishers, IN | PS06N | Polystyrene spheres
Fluoromount-G | SouthernBiotech, Birmingham, Alabama | 0100-01 | Mounting media

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=